ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | BUHWEJU LG |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | 0778566516 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……………BITSYA HEALTH CENTRE 3…………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift ALL THE UGIFT ASSETS ARE STILL NEW |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

ISSUES

Some ugift assets are not engraved

RECOMMENDATION

Need for staff quarters

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………BUHWEJU LG………………………………… NAME OF HEALTH FACILITY…………BITSYA HEALTH CENTRE 3………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | White with a black Cluff |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| B.P. Machine (Aneroid wall mounted) |  |  | Blue in color with the word syphymometer upper arm type |  |  |  |  |  |  |  |  |  | Good condition | 1 in use and in store |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  | Silver metallic dish |  |  |  |  |  |  |  |  |  | Still in store | 1 was supplied |
| Bowl Stand |  |  | Metallic silver bowls used to hold bowl kick |  |  |  |  |  |  |  |  |  | Still in store | 2 were supplied |
| Counting chamber Neubauer- Improved |  |  | White power button cell battery |  |  |  |  |  |  |  |  |  | Still in store | 2 were supplied |
| Cupboard Steel, Lockable |  |  | A white carbin made up of steel and fitted with drawrs |  | BITSYA HC3 |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  | A tall movable stand used in iv fluid with blue designs |  |  |  |  |  |  |  |  |  | Good condition | 8 were supplied all in use |
| ESR Stand |  |  | A device used to access patients its grey in color |  |  |  |  |  |  |  |  |  | Good condition | One was supplied |
| Examination Couch |  |  | A metallic bed with a head side can go up and down used in patient examination |  |  |  |  |  |  |  |  |  | Good condition and all in use | 2 were supplied |
| Examination light,LED |  |  | A mobile stand with adjustable head powered bright white used in patient examination |  |  |  |  |  |  |  |  |  | Good condition in use | 2 were supplied |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  | White long |  | Not engraved |  |  |  |  |  |  |  | In use and good condition | 1 was supplied |
| Instrument Trolley |  |  | Metallic blue movable with tyres |  | Not engraved |  |  |  |  |  |  |  | All in use and in good condition | 2 were supplied |
| Microscope Binocular |  |  | A compound eye piece microscope with two black lens |  | Not engraved |  |  |  |  |  |  |  | In use and good condition | 1 was supplied |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  | Blue with metallic holders and blue fold cloth used in patient examination |  | Not engraved |  |  |  |  |  |  |  | Good condition | 4 were supplied |
| Patient Trolley |  |  | Asilver metallic movable equipment used to carry patients’ instruments |  | Not engraved |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Refrigerator, Basic |  |  | An electronic appliance used to store laboratory materials and controls low temperature |  | Not engraved |  |  |  |  |  |  |  | In use | 1 was supplied |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  | In use | 04 were supplied |
| Stop Watch |  |  | White with blue buttons of min use to show the exact duration set |  |  |  |  |  |  |  |  |  | In use and good condition | 02 were supplied |
| Stretcher |  |  | A full stainless steel frame silver strong washable with wheels and brakes movable used to transport weak patients |  |  |  |  |  |  |  |  |  | In use and functional | 01 was supplied |
| Stove, Gas |  |  | Black color seater |  |  |  |  |  |  |  |  |  | In use and good condition | 1 complete set was supplied |
| Weighing Scale with Height Meter, Adult |  |  | Clock like with black height metre |  |  |  |  |  |  |  |  |  | All in use good condition | 02 were supplied |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  | Measures the body weight of new borne |  |  |  |  |  |  |  |  |  | One in use and other in store good condition | 2 were supplied |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  | White circular shows time |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  | A set diogionalist instrument used in testing pregnancy in mothers |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Diagnostic Equipment Set for OPD |  |  | Medical instrument used to examine patient OPD |  |  |  |  |  |  |  |  |  | Good condition 1 in use | 2 were supplied |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  | It is a collection of stainless steel used to carry medical instruments |  |  |  |  |  |  |  |  |  | Good condition all in use | 3 were in use |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  | An apparatus used to measure a person blood oxygen |  |  |  |  |  |  |  |  |  | All in use and good condition | 2 were supplied |
| Bed, Adult Patient with Mattress |  |  | A silver stainless steel patient adult bed with brakes with mattress |  |  |  |  |  |  |  |  |  | All in use and functional | 10were supplied |
| Bed, Pediatric Patient, With Mattress |  |  | 5 pediatric beds without mattress |  |  |  |  |  |  |  |  |  |  | They didn’t mattress from ugift |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 was supplied |
| Oxygen Concentrator, Duo Flow |  |  |  |  | BITSYA HC3,all engraved |  |  |  |  |  |  |  |  | 4 were supplied |
| Bench |  |  | Wooden brown benches used by patients |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  | Plastic buckets with silver handles used to dispose medical wastes |  |  |  |  |  |  |  |  |  | All in good condition | 6 were supplied |
| Baby Cot |  |  | A silver stainless steel with vertical side bars all around used to protect the baby from falling |  |  |  |  |  |  |  |  |  | Good condition | 5 were supplied all in use |
| Diagnostic Equipment Set for Ward |  |  | A set of instrument used in OPD FOR CHECKING PATIENTS |  |  |  |  |  |  |  |  |  | Good condition in store | 2 were supplied |
| Hollow Ware Set, Ward |  |  | A set of stainless steel containers which includes dressing drum, kidney dishes |  |  |  |  |  |  |  |  |  | Good condition and functional | 3 were supplied all in use |
| Instrument Set, Delivery |  |  | A set of instrument used to assist in mother normal delivery |  |  |  |  |  |  |  |  |  | Good condition | 3 were delivered all in store |
| Instrument Set, Stitch Removing |  |  | Consists of suture scissors tissue forcepts ,needle holder used in cleaning and stitching cuts and wounds |  |  |  |  |  |  |  |  |  | Still in store | 3 were supplied |
| MVA Kit |  |  | A set of medical instruments used to remove tissues in uterus using normal vacuum |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  | A black in color stool with handles used in the laboratory by medical workers |  |  |  |  |  |  |  |  |  | Good condition and in use | 1 was supplied and in use |
| Penguin Sucker |  |  | A disposable with filter and clear tubes used to suck mucus from new borne |  |  |  |  |  |  |  |  |  | All in good condition | 3 were supplied |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  | A special chair with a seat wide and adjustable backrest used in postnatal ward |  |  |  |  |  |  |  |  |  | Good condition and in use | 1 was supplied |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  | A strong metal frame stainless steel painted I black used in mothers delivery |  |  |  |  |  |  |  |  |  | In use and good condition | 1 was supplied |
| Examination light |  |  | Round with adjustable neck head with bright white LED bulb inside used to provide light during examination |  |  |  |  |  |  |  |  |  | Good condition | 02 wee supplied all in use |
| Instrument set, ENT Basic for HCIII |  |  | Medical set instrument’s used to examine ear, nose and patient throat |  |  |  |  |  |  |  |  |  | Still in store but in good condition | 3 were supplied |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | Black metallic with soft cotton and with silver handles used by doctors in executing their work |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  | 2 crescent tanks near the block building ,staff quarters, toilet with a crescent tank,placenta pit, waste pit |  |  |  |  |  |  |  |  |  | All in use | Good condition |
| Residential Buildings |  |  | OPD building, maternity building |  |  |  |  |  |  |  |  |  | All in use | Good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………NDIBAREMA MEMORIAL NSIIKA………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

CHALLENGES

The contractor did not properly construct the toilet floor and the lab.

RECOMMENDATION

Continued support of more ugift equipment’s to the school

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……BUHWEJU LG…………………………………………………………… Name of SCHOOL……NDIBAREMA MEMORIAL NSIIKA SEED SCHOOL…………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks |  |  | Long brown 3-4 seater |  | ND2021/002 LOT 10/MOES/UGIFT |  |  |  |  |  |  |  | All in use | 39 desks were supplied |
| OFffice chairs |  |  | Wooden with soft |  | ND/2021/002/LOT 10/MOES/UGIFT |  |  |  |  |  |  |  | Good condition | All in use 33 received |
| Lalaboratory stool |  |  | Lon wooden with top round |  | ND/2021/2022/002LOT /MOE/UGIFT |  |  |  |  |  |  |  | Good condition | 120 st ools are in use |
| Book s |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BOOK SHELVES |  |  | 5-6 feet white with 6shelves |  |  |  |  |  |  |  |  |  | In good condition | Shelves With books |
| TABLES |  |  | 71 tables |  |  |  |  |  |  |  |  |  | In good condition | All 71 tables in use |
| LOCKERS |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | inuse |
| CUPBOARD |  |  | 1 was supplied |  |  |  |  |  |  |  |  |  | In use | Good condition |
| ENT. SYSTEM |  |  | 2 medium speakers with microphone |  | Not engraved |  |  |  |  |  |  |  | In use | Functional |
| DESKTOP COMPUTERS | EDUCATION |  | All are HP BLACK |  | Engraved as N.M.SS 1-20 |  |  |  |  |  |  |  | FUNCTIONAL | 20 were supplied |
| MULTI PURPOSE PRINTER |  |  | Black |  |  |  |  |  |  |  |  |  | In use | Good condition |
| 1 CCTV CAMERA |  |  | 1 was supplied |  |  |  |  |  |  |  |  |  | In use | Functional |
| UPS |  |  | 1 U.P.S |  | NOT engraved |  |  |  |  |  |  |  | In use | functional |
| SERVER PROCESSOR |  |  | Black and rectangular |  | Engraved N.M.SS/K 01-20 |  |  |  |  |  |  |  | In use | Good condition |
| NETWORK SITCH |  |  | Network switch 24 port 1 |  |  |  |  |  |  |  |  |  | Good condition | functional |
| PROJECTOR |  |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | functional |
| AIR CONDITIONER |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | Function |
| ADMINISTRATION BLOCK |  |  | With H/M office,bursars office ,secretary, reception |  |  |  |  |  |  |  |  |  | functional | In use |
| CLAclasses |  |  | 2 in one block with red iron sheets |  |  |  |  |  |  |  |  |  | functional | Good conditio |
| ICT AND LIB BLOCK |  |  | 2 IN 1 Block with ICT and library |  |  |  |  |  |  |  |  |  | In use | Good condition |
| STAFFstaff houses |  |  | Two in one building with a shade |  |  |  |  |  |  |  |  |  | functional | In use |
| KKITCHEN |  |  | Well ventilated 2 in 1 kitchen |  |  |  |  |  |  |  |  |  | In use | Good condition |
| PIUT LATRINES |  |  | With 2 doors urinals fenced |  |  |  |  |  |  |  |  |  | In use | Good condition |
| Water tanks |  |  | Round plastic crescent tank |  |  |  |  |  |  |  |  |  | In use | Good condition |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |