ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | BUHWEJU LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | 0762372501/0778566516 |
| Supervisor/ Sub team leader |  |
| Name | Mr.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

ENGAAJU HEALTH CENTRE 3

Name of Health Centre: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

ISSUES

Maternity building constructed under ugift has cracks behind

Limited space in the store since the building is acting as ward for patients

Staff quarters steps were poorly constructed

Some of the equipment’s are not in use because the solar system is weak and they lack electricity

CHALLENGES

No knowledge on how to use some equipment’s

Inside staff quarter bathroom and toilets aren’t in used because the pump which was constructed in glass now it had to rust now cant pump water inside the house

The waste pit wall has cracks

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

RECOMMENDATION

Need for new solar panel

Repair/ replacement of the broken assets under ugift

Construction of OPD building

Construction of behind ward wall, waste pit wall

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…BUHWEJU LOCAL GOVERNMENT…………………………………… NAME OF HEALTH FACILITY……ENGAAJU HEALTH CENTRE……………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  | Blue in color with the label syphygometer upper CE 0197 |  |  |  |  |  |  |  |  |  | Working well | 1 was supplied and in use |
| Autoclave 20 Liters.,Duo Operated |  |  | An electronic autoclave machine large metallic silver used for sterilizing medical instruments |  |  |  |  |  |  |  |  |  | 1 in use and in good condition | 4 were supplied |
| Bowl, Kick |  |  | A metallic silver bowls |  |  |  |  |  |  |  |  |  | Not in use | 1 was supplied |
| Bowl Stand |  |  | A metallic silver bowl stand used to hold the bowl kick |  |  |  |  |  |  |  |  |  | Not in use but in good condition | 1 was supplied |
| Counting chamber Neubauer- Improved |  |  | 407A Air compressing neublizer |  |  |  |  |  |  |  |  |  | Not engraved | 2 were supplied |
| Cupboard Steel, Lockable |  |  | Metallic office storage cupboard used by medical documents to keep the files |  |  |  |  |  |  |  |  |  | All in use and in good condition | 3 were supplied |
| Drip Stand |  |  | An adjustable metallic height caster with wheels and plastic blue designs |  |  |  |  |  |  |  |  |  | 2 in good condition | 5 were supplied only 3 have broken tyres |
| ESR Stand |  |  | A device used in patient examination |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied in use |
| Examination Couch |  |  | A black and with white handles used to examine patients |  |  |  |  |  |  |  |  |  | Good condition | 2 were supplied all in use |
| Examination light,LED |  |  | Mobile stand adjustable head powered bright light used in examining patients |  |  |  |  |  |  |  |  |  | Working well in use | 4 were supplied |
| Glucometer |  |  | A digital hand held device with labels of m & s powered by a cell button |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Haemoglobin Meter, Digital |  |  | A device used to measure the patients level of blood |  |  |  |  |  |  |  |  |  | Working well and functional | 2 were supplied all in use |
| Height Meter |  |  | Used to measure the body weight of patients |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  | A compound light microscope with an eye piece object it’s a black mixed with white colors |  |  |  |  |  |  |  |  |  | In use and working well | 1 was supplied |
| Otoscope |  |  | Black in color use to see in the ear, nose and throat |  |  |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied |
| Patient Screen |  |  | 4 fold metallic frame cloth caster wheels used to maintain privacy during examination |  |  |  |  |  |  |  |  |  | Good condition and functional | 3 were supplied all in use |
| Patient Trolley |  |  | Metallic silver trolley with 4 and 2 drawers |  |  |  |  |  |  |  |  |  | Good condition and working well | 1 was supplied and in use |
| Refrigerator, Basic |  |  | An electric appliance used to store lab materials e.g. tablets |  |  |  |  |  |  |  |  |  | 2 were supplied and functional | All in use |
| Stethoscope |  |  | An apparatus used to listen to the sound of patients inside the body |  |  |  |  |  |  |  |  |  | Good condition | 2 were supplied all in use |
| Stop Watch |  |  | A device used to measure the exact duration of the activity |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  | A metallic handle with a mattress like used to carry patients who a cannot walk |  |  |  |  |  |  |  |  |  | In use and in good condition | 1 Was supplied |
| Stove, Gas |  |  | Black stove seater |  |  |  |  |  |  |  |  |  | Not in use bse they never provided the gas cylinder to connect to the stove | Only a stove was supplied |
| Weighing Scale with Height Meter, Adult |  |  | A scale used used to measure the patients weight . it has a stand |  |  |  |  |  |  |  |  |  | In use | 1 was supplied |
| Weighing Scale, Infant |  |  | A weighing scale used to measure weight of infants |  |  |  |  |  |  |  |  |  | Not in use but in good condition | I was supplied |
| Weighing Scale, Toddler |  |  | A weighing scale designed for toddlers |  |  |  |  |  |  |  |  |  | In use and in good condition | 1 was supplied |
| Wheel Chair |  |  | A black chair with a two large wheels metallic with rubber wheel tyres |  |  |  |  |  |  |  |  |  | Not in use all the the wheel tyres are damaged | 2 were supplied |
| Audio Visual Equipment |  |  | Projector model m5 light source LED lamp power ac110-240v /S/N/A03217012103280028D,LG type T.V . |  |  |  |  |  |  |  |  |  | Only t.v in use, | 1 T.V was supplied, 1 projector |
| Medical Waste Bin |  |  | Metallic waste bins with the label infectious on top |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  | Circular white in color used to time |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  | A set of dragonize instrument used to test pregnancy in mothers |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  | A medical instrument set used to examine patients in OPD |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  | A set of glass instrument device used in lab |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  | A collection of stainless steel used to carry medical instruments |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  | A set instrument with instruments used to assist in normal birth |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  | A set instrument used in collection stainless steel for minor procedures |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  | A set of instruments used to close wounds |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  | A medical device used to measure a persons blood oxygen |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  | Metallic handle with 4 wheels beds used by patients to have arest |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  | A metallic bed with with mattress and white color with a words happy birthday |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  | A small cabinet placed besides patients bed |  | Not engraved |  |  |  |  |  |  |  | 6 are in use and in good condition but 4 need repair | 10 were supplied 4 arenot in use |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  | Pink in color where pregnant mothers deliver they babies from |  |  |  |  |  |  |  |  |  | Good condition and working | 1 was supplied and in use |
| Oxygen Therapy Apparatus, Mininum 45Lused cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | Masks made to help infants in breathing |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  | Adult masks specifically used by adults to help them in breathing |  |  |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied all in use |
| Suction Apparatus, (Electric) |  |  | Apparatus has two bottle with rubber cover yuwel 7A-23B electric sunction appartus |  |  |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and in use |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  | In use and in good condition | 1 was supplied |
| Bench |  |  | Brown wooden in color benches used by patients |  |  |  |  |  |  |  |  |  | Good condition and functional | 4 were supplied and all in use |
| Disinfection Buckets |  |  | Plastic bucket used to dispose off medical wastes |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  | A small bed specifically designed for new born babies |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  | A set of instruments used to examine patients |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  | A set of medical instruments used to remove tissue in the uterus |  |  |  |  |  |  |  |  |  | Good condition and functional | 5 were supplied all in use |
| Stool, Laboratory |  |  | A metallic stool used by doctors in the lab |  |  |  |  |  |  |  |  |  | Good condition and functional | 3 were supplied all in use |
| Penguin Sucker |  |  | A plastic disposable with a filter and tubes used to suck mucus from new born babies |  |  |  |  |  |  |  |  |  | 2 are in use and functioning well | 3 were supplied but 1 still in store |
| Fetoscope, Dopplar |  |  | An instrument used to examine fetal heart rate during pregnancy |  |  |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and 1 in store |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  | An electric appliance used in separate substances in liquids |  |  |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and in use |
| Kangaroo Mother Care Chair |  |  | A mothers sit with a new born baby after delivery |  |  |  |  |  |  |  |  |  | Working well | 1 was supplied and in use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  | A machine used to measure haemoglobin level in blood |  |  |  |  |  |  |  |  |  | Functional and in good condition | 2were supplied all in use |
| Delivery Bed |  |  | A metallic bed with a grey mattress used by pregnant mothers during delivery |  |  |  |  |  |  |  |  |  | Functional and working | 1 was supplied and its in use |
| Examination light |  |  | A instrument used by medical doctors used during patient examination |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 3 were supplied all in use |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | A black color chair with silver handles used by medical doctors |  | Not engraved |  |  |  |  |  |  |  | Working well and functional. | 4 were supplied All in use |
| Desk |  |  | A wooden brown desks with drawer locks used by medical doctors to keep their files |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied. |
| Filing Cabinet |  |  | A white cabinet with drawers locks that are used to keep medical documents . |  |  |  |  |  |  |  |  |  | Not functional all the drawer locks are damaged | 2 were supplied |
| Non Residential Buildings |  |  | 3 cresent tanks 10000litres,3000li .tres,10000litres Placenta pit, waste pit |  |  |  |  |  |  |  |  |  | The waste pit wall has a crack | All in use |
| Residential Buildings |  |  | Maternity ward Staff quarters |  | Not engraved |  |  |  |  |  |  |  | The maternity ward has a crack behind | All in use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of SCHOOL…………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………… Name of SCHOOL……………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Nuember ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status |  | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compu |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dde2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department |  | Asset Number |  | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 150 were supplied all in use |
|  | BOOKS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |