ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | BUHWEJU LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | 0762372501/0778566516 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …MUSHASHA HEALTH CENTRE 3……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift.. Asset are still in good condition |
| --- | --- |

CHALLENGES

Lack of knowledge on how to use some of the assets

RECOMMENDATION

Training on how to use some of the equipment’s

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…BUHWEJU LG……………………………………… NAME OF HEALTH FACILITY…MUSHASHA HEALTH CENTRE 3………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | An electronic device used to measure a persons blood pressure |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | In use |
| B.P. Machine (Aneroid wall mounted) |  |  | A manual white and black color with the word syphogmometer type |  | Not engraved |  |  |  |  |  |  |  | In use and in good condition | In use |
| Autoclave 20 Liters.,Duo Operated |  |  | An electric autoclave large in size used to sterilize medical instruments |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  | It is a metallic object designed to hold and support the bowl |  | Not engraved |  |  |  |  |  |  |  | Still in store | 1 was supplied |
| Counting chamber Neubauer- Improved |  |  | A white in color with a power button in white |  | Not engraved |  |  |  |  |  |  |  | Still in store | Not in use |
| Cupboard Steel, Lockable |  |  | Blue white 2 lockers |  |  |  |  |  |  |  |  |  | Good condition | 01 was supplied |
| Drip Stand |  |  | A tall movable stand used I iv fluid bay blue in color |  | Not engraved |  |  |  |  |  |  |  | Good condition | 5 were supplied |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  | A metallic stainless steel shelves and with wheels used to carry sterilize instruments |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  | A compound light microscope with an eye piece objective |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  | An instrument with metallic frames and cloth caster wheels used for maintaining privacy during patient examination |  |  |  |  |  |  |  |  |  | Good condition | 4 were supplied |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  | 1 metre 2 door grey used keep medical instruments at low temperature |  |  |  |  |  |  |  |  |  | Good condition | All in use |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  | A device with a bottom used to set exact duration of the activity |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  | 1 black stove gas |  |  |  |  |  |  |  |  |  | In good condition | Ugift only provided the stove without the cyliner |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  | A metallic adult chair with large 2wheels used by patients who are not able to walk |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 were supplied |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  | Metallic waste buckets used to dispose off the medical wastes |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Wall Clock |  |  | White coated round |  |  |  |  |  |  |  |  |  | In use good condition | 04 were supplied |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  | A collection of stainless steel instrument used to carry medical instrunment |  |  |  |  |  |  |  |  |  | Not in use but in good condition | Still in store |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  | Silver stainless steel black mattress on a bed with 4 white wheels and brakes so it can be moved easily in the ward |  | Not engraved |  |  |  |  |  |  |  | All in use and functional | 06 were supplied |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  | Metallic small cabinets placed besides patients bed |  | Not engraved |  |  |  |  |  |  |  | Good condition | 08 were supplied |
| Cupboard, Instrument |  |  | A tall standing cupboard made of metal steel with lockable drawers to protect instruments |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Delivery Bed, Hydraulic Manual |  |  | A metallic bed with made in mattress used in mothers delivery |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 was supported |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | A cylinder with a black color and some white color on top with 45litres |  |  |  |  |  |  |  |  |  | Good condition still in store | Not in use |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  | Still in store |  | Not engraved |  |  |  |  |  |  |  | Good state | 1 was supplied |
| Nebulizer, Ultrasonic |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition still in store | 1 was supplied |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  | Brown long wooden |  | Engraved mushasha Hc3 |  |  |  |  |  |  |  | 04 were supplied | Good condition |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  | A small bed made of stainless steel with vertical bars to protect the baby from falling |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 wee supplied |
| Diagnostic Equipment Set for Ward |  |  | A set of medical instruments used in patient examination |  | Not engraved |  |  |  |  |  |  |  | functional | 1 was supplied |
| Hollow Ware Set, Ward |  |  | A set of metallic instruments used by medical doctors to care for patients |  | Not engraved |  |  |  |  |  |  |  | Still in store | 1 was supplied |
| Instrument Set, Delivery |  |  | A collection of set instrument used by medical doctors to assist in child birth |  | Not engraved |  |  |  |  |  |  |  | functional | 2 were supplied |
| Instrument Set, Stitch Removing |  |  | A stainless steel used by medical workers to assist in removing sutures after a wound healed |  |  |  |  |  |  |  |  |  | 1 in use and 1 in store | 2 were supplied |
| MVA Kit |  |  | a set of medical stainless steel instrument’s used to remove tissues from uterus using normal vacuum |  |  |  |  |  |  |  |  |  | I in store but in good condition | 2 were supplied |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  | A silver in color metallic hallow tube with ear piece used to listen to fetal heart sounds during pregnancy |  |  |  |  |  |  |  |  |  |  | 1 was supplied |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  | Cresent tanks,1 placenta pit,1 pit latrine |  |  |  |  |  |  |  |  |  | Functional and in use | All in use |
| Residential Buildings |  |  | Maternity ward constructed under ugift with painted upper part with cream off white and lower part bright Staff quarters |  |  |  |  |  |  |  |  |  | All in use | 1 was supplied |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …ST.ANTHONY SEED KYANKANDA……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

CHALLENGES

Some UGIFT chairs are broken

The school lacks ICT block

RECOMENDATION

Repair or replacement of broken chairs, cameras and printer

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………BUHWEJU LOCAL ………………………………………………………… Name of SCHOOL……ST.ANTHONY SEED SCHOOL…KYANKANDA………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks |  |  | Brown long 3 seater |  | Engraved st.Anthony s.s |  |  |  |  |  |  |  | Good condition | 120 were supplied |
| Office chairs |  |  | Wooden hard seat cautioned chairs |  | ST.ANTHONY |  |  |  |  |  |  |  | Functional |  |
| Laboratory stools |  |  | Long 3 metal stands with wooden to round |  | ST.ANTHONY S.S |  |  |  |  |  |  |  | Functional |  |
| Book shelves |  |  | 2.5m high white in color |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Tables 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Classroom teachers tables |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reading tables ICT and multipurpose |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Function and one broken | 1 was supplied |
| Single seater chairs |  |  | Metallic with wood single seater |  | Not engraved |  |  |  |  |  |  |  | Need for repair | 32 broken chairs |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG……BUHWEJU LG……………………………………………………………………… Name of SCHOOL…ST .ANTHONY SEED SCHOOL KYANKANDA……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computer(28) |  |  | Lenovo black |  | not engraved |  |  |  |  |  |  |  | functional | All of 28 are placed |
| Server processor |  |  | Black with silver |  | Not engraved |  |  |  |  |  |  |  | functional | 1 was supplied |
| Network switch |  |  | With silver wires |  | Not engraved |  |  |  |  |  |  |  | functional | Working well |
| printers |  |  | HP type multipurpose |  |  |  |  |  |  |  |  |  | Functional | 1 in use |
| u |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| U.P.S |  |  | 300VA black,650VA, 28 were supplied |  | Not engraved |  |  |  |  |  |  |  | functional | 10 are not in good condition |
| projector |  |  | EPSON HDM 1 white |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Air conditioner |  |  | DUO INVERTER AVS 30 WHITE |  | Not engraved |  |  |  |  |  |  |  | functional | 1 was supplied |
| server |  |  | Black Rectangular Office point |  |  |  |  |  |  |  |  |  | Functional | 1 was supplied |
| CCTV camera |  |  | Single small Black and white |  | Not engraved |  |  |  |  |  |  |  | Not in use | Failed to work The day it was Delivered |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG……………BUHWEJU LOCAL GOVERNMENT……………………………………………………………… Name of SCHOOL……ST.ATHONY SEED SCHOOL KYANKANDA…………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Administration block |  |  | 3 offices with Staff room Brown iron roofed |  | BUH/UGIFT 2018-19 |  |  |  |  |  |  |  | Functional | Good state |
| Multi purpose hall |  |  | 2entry doors 2 exit doors brown iron rooted |  | BUH/UGI FT 2018-2019 |  |  |  |  |  |  |  | Functional | In use |
| ICT /LIB block |  |  | 2 blocks in one with different entry doors |  | BUH/UGIFT 2018-2019 |  |  |  |  |  |  |  | Good state but the door is broken | it has lib books kept there with also librarian office |
| Classroom Block1 |  |  | White and grey painted With brown iron sheets |  | BUH/UGIFT 2018- 2019 |  |  |  |  |  |  |  | Good state | In use |
| Classroom Block 2 and 3 |  |  | White and grey painted Brown iron sheets |  | BUH/UGIFT 2018- 2019 |  |  |  |  |  |  |  | In use | the two blocks are used as dormitories |
| Science laboratory |  |  | With tap sinks and gas pipes |  | BUH/UGIFT2018- 2019 |  |  |  |  |  |  |  | Functional | In use |
| SPORTS field with glass |  |  | Flat level with grass |  | BUH/UGIFT 2018- 2019 |  |  |  |  |  |  |  | Good state | In use |
| Staff house block 1 |  |  | Two in one house brown iron sheets |  |  |  |  |  |  |  |  |  | Good state | In use |
| Block 2 and 3 |  |  | Two in one house with brown ironsheets |  | BUH/UGIFT 2018- 2019 |  |  |  |  |  |  |  | Good state | In use |
| Kitchen |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Water tanks |  |  | Black crescent round plastic tanks |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use |
| Pit latrines |  |  |  |  | BUH/UGIFT 2018 2019 |  |  |  |  |  |  |  | Good state | functional |
| Staff latrines |  |  | 2 in 1 with urinals |  | BUH/UGIFT/2018 2019 |  |  |  |  |  |  |  | One has a crack | 5 latrine rooms 1 with a crack |