ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | BUHWEJU LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | O778566516 0762372501 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …RUSHAMBYA HEALH CENTRE

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift. |
| --- | --- |

The                    facility doesn’t repair or                  service

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

ASSET THAT NEED REPAIR

`Chairs 03

Tables with drawers 03								`

Filing cabinets 04

Waste bins 14

Patient lockers 04

Stool chairs 02

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Any issues. Poor quality

Need for electricity they use solar which cannot be to operate with some electric appliance.

Challenges.

Some equipment aren’t engraved.

Repair of wornout equipment.

Need for a gas cylinder to connect to the stove inorder to operate.

The wheel chairs were  of poor quality since the day they were delivered the wheel tyres broke before were put in use.

The engravement people made some faults with their solar system.

RECOMMENDATION

Repairing some of the               equipments especially fileing cabints,placenta pit, drip stands,wheel chairs tyres.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG BUHWEJU LOCAL GOVERNMENT………………………………………… NAME OF HEALTH FACILITY…RUSHAMBYA HEALTH CENTRE 111………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  | It isa manual device used to measure blood pressure. |  | Engraved as Rushambya Heaith centre 3 |  |  |  |  |  |  |  | Not functional but in good condition | Not in use still in store (2 B.Pmachine wee supplied |
| Autoclave 20 Liters.,Duo Operated |  |  | An electric autoclaves machine large metallic with asilver and black color used in sterizing medicine |  | Engraved as Rushambya health centre 3 |  |  |  |  |  |  |  | Not functional | 1 autoclave was supplied its not in use but in good condition |
| Bowl, Kick |  |  | Asilver in color bowls used with the stands |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 1 bowl kick was supplied and its in use and in good condition |
| Bowl Stand |  |  | A metallic device designed to support bowl kick |  | Not engraved |  |  |  |  |  |  |  | In use and functional | 1bowl stand was supplied and its working well in use |
| Counting chamber Neubauer- Improved |  |  | 407A Air compressing nebulizer was supplied |  | Not engraved |  |  |  |  |  |  |  | In use | 1 was supplied and its working well |
| Cupboard Steel, Lockable |  |  | Acabinet white in color made from steel and fitted with drawer locker to keep items safe |  | Engraved as rushambya HC3 |  |  |  |  |  |  |  | Functinonal and working well | 3 cupboard steel lockable were supplied and all are in use and in good condition |
| Drip Stand |  |  | A tall movable stand used an iv fluid bag adjustable metallic height castor wheels and with blue designs |  |  |  |  |  |  |  |  |  | all are in good condition and fuctional | 6 were supplied and all are in use |
| ESR Stand |  |  | Grey iin color used to examine and access patients |  | Engraved as Rushambya HC3 |  |  |  |  |  |  |  | FUNCTONAL AND WORKING WELL | 1 was supplied and its in use and working well |
| Examination Couch |  |  | Black and white in color used to examine patients |  | Engraved as rushambya health centre 3 |  |  |  |  |  |  |  | Functional and working well | 2 were supplied in use and in good condition |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  | Digital hand held powered by button cell battery |  | Engraved as Rushambya health centre 3 |  |  |  |  |  |  |  | Fuctional and working w ell | 1 was supplied and its in use |
| Haemoglobin Meter, Digital |  |  | A device that measures a person blood (red and white color |  | Not engraved |  |  |  |  |  |  |  | 2were supplied and all in use | Working well and functional |
| Height Meter |  |  | A device that measures a persons height |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 1 was supplied Good condition and functional |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  | A compound light microscope with an eye piece objective and its white and black in color |  | Engraved as RUSHAMBYA HEAITH CENTRE 3 |  |  |  |  |  |  |  | Good condition and working well | 1 was supplied and its in use |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  | Good condition and working well | 1 was supplied |
| Patient Screen |  |  | Blue in color four fold metallic frame with cloth caster wheels used to maintain privacy during examination |  |  |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and in use |
| Patient Trolley |  |  | Bed in balance metric part used to carry patients medications |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and all in use and in good condition |
| Refrigerator, Basic |  |  | An electric appliance used to store laboratory medical materials |  | Not engraved |  |  |  |  |  |  |  | One in use and functional | 2 were supplied and one is in use another in store |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  | A device that measures exact duration of the activity |  | Not engraved |  |  |  |  |  |  |  | One in use and functioning well | Good condition and functioning well |
| Stretcher |  |  | Used to carry or transfer patients who cant walk |  | Not engraved |  |  |  |  |  |  |  | One in use and another not in use | One stretcher has damage and needs repair |
| Stove, Gas |  |  | A black stove seater |  | Not engraved |  |  |  |  |  |  |  | Not in use because only a stove was supplied | 1stove gas was supplied because it lacks a gas cylinder for fixation to the stove |
| Weighing Scale with Height Meter, Adult |  |  | Its used to measure the height of adults |  | Engraved as rushambya health centre 3 |  |  |  |  |  |  |  | Functional and working well | 1 was supplied and its in good condition |
| Weighing Scale, Infant |  |  | Used to measure height of babies. Has labels cap 20kg grad 100g ybb-20 |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 1 was supplied |
| Weighing Scale, Toddler |  |  | Measures body weight of new borne toddlers |  |  |  |  |  |  |  |  |  | Not working its broken | Not in use |
| Wheel Chair |  |  | A chair with black tyre wheels used to carry patients who cant walk |  | Engraved as Rushambya health centre3 |  |  |  |  |  |  |  | Not functional | Not working and not in good condition all wheel tyres are broken |
| Audio Visual Equipment |  |  | DVD PLAYER, LG type TV, projector |  |  |  |  |  |  |  |  |  | Only the t.v is in use and in good condition | The DVD player is still in store and not in use but all are in good condition |
| Medical Waste Bin |  |  | Metallic buckets different sizes and infectious on top |  | Not engraved |  |  |  |  |  |  |  | 3 buckets have damaged covers, but all are functional | 10 were supplied all in use |
| Wall Clock |  |  | White in color and they show time |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 3 were supplied all in use |
| Diagnostic Equipment Set for MCH |  |  | A set of diagionalists used in testing pregnant mothers |  |  |  |  |  |  |  |  |  | All still in store but in good condition | 3 were supplied all in store but in good condition |
| Diagnostic Equipment Set for OPD |  |  | Medical instrument set used to examine patients in OPD |  |  |  |  |  |  |  |  |  | Good condition | 2 were supplied all in store |
| Glassware Set, Laboratory, Basic |  |  | A set of glass instrument used in the laboratory |  |  |  |  |  |  |  |  |  | Good condition but in store | 2 were supplied |
| Hollow Ware Set, Treatment |  |  | A collection of stainless steel used to carry medical instruments |  |  |  |  |  |  |  |  |  | Good condition but in store | 2 were supplied and some of the instrument are in use |
| Instrument Set, Dressing |  |  | An instrument set used to close wounds |  |  |  |  |  |  |  |  |  | Good condition but in store | 4 were supplied still in store |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  | Still in store but in good condition | 1was supplied and in store |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  | 3were supplied but all in store |
| Pulse Oximeter, Hand held |  |  | An apparatus used to measure a persons oxygen. It has the label of yawell branding |  | Engaved as Rushambya health centre 3 |  |  |  |  |  |  |  | Working well good condition | 1 was supplied but in use |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  | These are silver with blue color labels |  | Engraved as Rushambya health centre 3 |  |  |  |  |  |  |  | Good condition and functional | 10 were supplied all in use |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  | A metallic bed with a grey mattress used during delivery by pregnant mothers |  | rushambya health centre 3 Engraved as |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and its working well |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  | Engraved as Rushambya HC3 |  |  |  |  |  |  |  | Good condition but in store. | 2 were supplied still in store |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  | Engraved as Rushambya HC3 |  |  |  |  |  |  |  | Good condition but in store | 1 was supplied not in use |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  | Engravedas Rushambya Hc3 |  |  |  |  |  |  |  | Not in use but in good condition | 1 was supplied but not in use |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  | Plastic buckets used to dispose of medical wastes |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 2 WERE SUPPLIED AND ALL IN USE |
| Baby Cot |  |  | A small bed specifically for new borne babies |  | Engraved as rushambya HC3 |  |  |  |  |  |  |  | Good condition and working well | 2 were supplied all in use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  | A set of medical instruments used to remove tissue from uterus using a normal vacuum |  | Not engraved |  |  |  |  |  |  |  | Goodcondition and w orking well | 5 were supplied 2 are use and other 3 are still in store |
| Stool, Laboratory |  |  | A metallic black in color stool used by doctors in the laboratory |  | Engraved as rushambya HC3 |  |  |  |  |  |  |  | Functional working well and in good condition | 3 wee supplied and all are in use |
| Penguin Sucker |  |  |  |  | Engraved as Rushambya HC3 |  |  |  |  |  |  |  | Good condition and working well | 3wee supplied only one still in store |
| Fetoscope, Dopplar |  |  | An instrument used to examine the fetal heart during pregnancy |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied all in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  | An electric appliance used in the labaratory to separate substance in liquid |  | Engraved asRushambyaHC3 |  |  |  |  |  |  |  | In use and working well | 1 was supplied |
| Kangaroo Mother Care Chair |  |  | Amother seat after anewborne delivery |  | Engraved as RushambyaHC3 and ugift |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and it is in use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  | A machine used to measure haemoglobin level in blood |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied |
| Delivery Bed |  |  | A metallic grey in color bed where pregnant mothers deliver from |  | Engraved as Rushambya HC3 |  |  |  |  |  |  |  | Good condition and in use | 1 was supplied an functional |
| Examination light |  |  | An instrument used to provide light during patient |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied all in use |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | These are chairs used by doctors and they a black in color. |  | Engraved as Rushambya HC3 |  |  |  |  |  |  |  | Good condition and working well | 4 were supplied and all are in use |
| Desk |  |  | Wooden brown desks with drawers locks and are used by doctors to keep their files |  | Engraved as Rushambya HC3 |  |  |  |  |  |  |  | Functional and working well | 4 were supplied and in use and in good condition |
| Filing Cabinet |  |  | THESE A WHITE CABINETS WUTH DRAWER LOCKS WHERE MEDICAL DOCTORS KEEP FILES |  | Engraved as rushambya HC3 |  |  |  |  |  |  |  | The drawer locks are damaged .not functional | 2 weresupplied but the drawer locks were weak they all need repair |
| Non Residential Buildings |  |  | They have a blue and orange colors |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional though the report suggested for the need of the covers and doors for the placenta pit | A placenta pit,toilets were constructed by Ugift |
| Residential Buildings |  |  | Maternity building ,staff quarters constructed under ugift program |  |  |  |  |  |  |  |  |  | Some cement is getting off from the building though the same maternity building is in use | All in use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |