ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTREN |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KAZO |
| VERIFIER PARTICULARS |  |
| Full name |  |
| Contact/ email and Telephone | 0762372501 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ENGALI HEALTH CENTRE3………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift THE ASSETS ARE STILL NEW |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

CHALLENGES

There is a challenge of sharing electricity meter by all the staff because the contractors didn’t separate electricity during construction

recommendation

the facility commented that the ugift services are okay and thanked the UGIFT department

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……………KAZO…………………………… NAME OF HEALTH FACILITY…………………ENGALI………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | White arm type |  | Not engraved |  |  |  |  |  |  |  | All in use | 2 were supplied |
| B.P. Machine (Aneroid wall mounted) |  |  | White and blue in color with the word syphgometer upper arm |  |  |  |  |  |  |  |  |  | All in use and in good condition | 3 were supplied |
| Autoclave 20 Liters.,Duo Operated |  |  | An automatic autoclave large in size used in sterilization of medical equipments |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Bowl, Kick |  |  | A silver metallic dish bowls |  |  |  |  |  |  |  |  |  | In use | 1 was supplied |
| Bowl Stand |  |  | Three silver leg stand used to hold bowl kick bowls |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Counting chamber Neubauer- Improved |  |  | A white in color with a power button |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 were supplied |
| Cupboard Steel, Lockable |  |  | Two door with shelves used in storage |  |  |  |  |  |  |  |  |  | All in use Good condition | 2 were supplied |
| Drip Stand |  |  | Blue plastic with long silver metal and movable stands |  |  |  |  |  |  |  |  |  | All in good use | 13 were supplied |
| ESR Stand |  |  | Stainless metal used to examine patients |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Examination Couch |  |  | A metallic with handles used by health worker used in patient examination |  |  |  |  |  |  |  |  |  | Functional | 4 were supplied |
| Examination light,LED |  |  | A movable bright light used to see the body clearly during examination or minor procedures |  |  |  |  |  |  |  |  |  | All in use | 4 were supplied |
| Glucometer |  |  | White with strips |  |  |  |  |  |  |  |  |  | 3 still in store Good condition | 4 were supplied |
| Haemoglobin Meter, Digital |  |  | A device with portable LC-04A USED TO MEASURE BLOOD OXYGEN |  |  |  |  |  |  |  |  |  | Not in use Still in store | 2 were supplied |
| Height Meter |  |  | Long numbered With a base |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Instrument Trolley |  |  | A stainless steel device silver in color used to carry sterilize instruments |  |  |  |  |  |  |  |  |  | All in use | 4 were supplied |
| Microscope Binocular |  |  | A compound light microscope with eye piece white and black in color |  |  |  |  |  |  |  |  |  | Not in use | 2 were supplied |
| Otoscope |  |  | Stil in store |  |  |  |  |  |  |  |  |  | Not in use | 1 was supplies |
| Patient Screen |  |  | An instrument blue cloth with metallic silver long movable used in privacy of a patient |  |  |  |  |  |  |  |  |  | Good condition all in use | 8 were supplied |
| Patient Trolley |  |  | A trolley in silver color used to carry medical equipments |  | Not engraved |  |  |  |  |  |  |  | in use | 1 was supplied |
| Refrigerator, Basic |  |  | An electric appliance used to listen to patients inside the body |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Stethoscope |  |  | A device used to listen to the sound inside the body |  |  |  |  |  |  |  |  |  | Still in store good condition | 8 were supplied |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  | 1 stove gas supplied |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Weighing Scale with Height Meter, Adult |  |  | Aplatform used to measure the weight it has meter ruler plus a ruler |  |  |  |  |  |  |  |  |  | Good condition | 4 were supplied all in use |
| Weighing Scale, Infant |  |  | A device used to measure body weight of infants |  |  |  |  |  |  |  |  |  | All in use | 4 were supplied |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  | Functional | 2 were supplied |
| Wheel Chair |  |  | An adult size metallic frame with arm rests and big 2 black wheels used to transport patients who cant walk |  |  |  |  |  |  |  |  |  | Still in store | 2 were supplied |
| Audio Visual Equipment |  |  | 1 projector, 1 t.v ,1 DVD player |  |  |  |  |  |  |  |  |  | Good condition | the t.v ,projector are in use |
| Medical Waste Bin |  |  | Metallic waste bins with the same size and with label on top cover infectious |  |  |  |  |  |  |  |  |  | Functional | All in used |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  | Aset instrument with stainless equipment’s |  |  |  |  |  |  |  |  |  | Functional | Still in store |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  | An apparatus used to measure a persons blood oxygen it has a yuwell branding |  |  |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied |
| Bed, Adult Patient with Mattress |  |  | Adult metallic beds with black mattress |  |  |  |  |  |  |  |  |  | All in use and in good condition | 20 were supplied |
| Bed, Pediatric Patient, With Mattress |  |  | Metallic beds enclosed for patient children |  |  |  |  |  |  |  |  |  | Good condition | All in use |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  | A instrument used in storing document with cupboard shelves |  |  |  |  |  |  |  |  |  | In use and in good condition | One was supplied |
| Delivery Bed, Hydraulic Manual |  |  | A strong steel metal painted with a blue color used in pregnant mothers’ delivery |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | Long black cylinder |  |  |  |  |  |  |  |  |  | Still in store | 2 were supplied |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | White rubber masks used infants who can’t breathe well |  |  |  |  |  |  |  |  |  | Not in use but in good condition | 5 were supplied |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Green rubber masks still in packages |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  | Brown long benches used by patients |  | GOU/MOH UGIFT/FY 2023/2024 |  |  |  |  |  |  |  | Good condition all in use | 4 were supplied |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  | Small beds enclosed silver metallic handles to prevent the baby from falling |  |  |  |  |  |  |  |  |  | Good condition | 3 were supplied |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  | A set of medical instrument to remove tissue from uterus using normal vacuum |  |  |  |  |  |  |  |  |  | Good condition | 2were supplied |
| Stool, Laboratory |  |  | A metallic stool cautioned used by doctors in the lab black in color |  |  |  |  |  |  |  |  |  | Good condition and functional | 3 were supplied |
| Penguin Sucker |  |  | Rubber disposable device used to suck mucus from a new born |  |  |  |  |  |  |  |  |  | Good condition and functional | 3 were supplied |
| Fetoscope, Dopplar |  |  | A laboratory machine used to separate substances in liquid |  |  |  |  |  |  |  |  |  | Good condition and in use | 3 were supplied |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  | A mothers chair used to hold premature baby on her chest soft cotton made in fabric |  |  |  |  |  |  |  |  |  | In use and in good condition | 1 was supplied |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  | A white in color instrument with mobile stand ,wheels adjustable LED |  |  |  |  |  |  |  |  |  | All in use and in good condition | 3 were supplied |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | Light blue bags with valve masks in ruber |  |  |  |  |  |  |  |  |  | Good condition and in use | 15 were supplied |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | Black chairs with metallic silver handles used by doctors |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  | Grey metallic cabinets used in storage |  |  |  |  |  |  |  |  |  | functional | Good condition |
| Non Residential Buildings |  |  | Placenta pit, waste pit, |  |  |  |  |  |  |  |  |  | Good state | Good condition |
| Residential Buildings |  |  | Main building maternity, OPD building, staff quarters. |  | MOH/UGIFT 2022-2023 |  |  |  |  |  |  |  | In good condition | Good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …………BURUNGA SEED SCHOOL……………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…KAZO LOCAL GOVERNMENT……………………………………………………………… Name of SCHOOL…BURUNGA…SEED SECONDARY…………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BOOKSHELVES |  |  | A wall built shelves with books are kept |  |  |  |  |  |  |  |  |  | Good state | All shelves in use |
| Computer laboratory |  |  | A computer laboratory with computer and tables used by learners to carry out practical lessons |  |  |  |  |  |  |  |  |  | Good state | functional |
| Desktop computer |  |  | Black dell computers |  |  |  |  |  |  |  |  |  | 21 was supplied | In use |
| Air conditioner |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Server processor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Network switch |  |  | A small black metal box with a glass door a lock white color cable trucking going down the wall to hide wires |  |  |  |  |  |  |  |  |  | Good state | In use |
| Multi purpose printer |  |  | A big white lasser printer that can print photocopy and scan lide whole top cover and control screen |  |  |  |  |  |  |  |  |  | Not in use | Cant print |
| U.P.S |  |  | UNINTERRUPTIBLE POWER SUPPLY LARGE BLACK BATTERY BACK UP BOX IT STANDING ON A SMALL wooden pallet on the floor |  |  |  |  |  |  |  |  |  | In good Condition | 1 was supplied |
| FI |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| F |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

NAME OF LG…………KAZO LOCAL GOVERNMENT…………………………………………… Name of SCHOOL…BURUNGA SEED SCHOOL……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Library |  |  | A light grey Metal door with glass Panes on top painted cream |  | Not egraved |  |  |  |  |  |  |  | Good state | In use |
| Fore extinuisher |  |  | Red in color with a black Handle where They squeeze When spray |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| tables |  |  | 11 tables brown Wooden supplied |  |  |  |  |  |  |  |  |  | Good state | 11tables Were supplied |
| Projector |  |  | A black electronic device That takes an Image on a computer |  |  |  |  |  |  |  |  |  | In use | 1 was supplied |
| chairs |  |  | Wood varnished Brown the metal is Plaited Black and grey simple And strong Design Used by students |  |  |  |  |  |  |  |  |  | All in use | 24 were supplied |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |