ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KAZO LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | O762372501/0778566516 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KYAMPANGARA HEALTH CENTRE 3.………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift.NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

ISSUES ON UGIFT ASSETS.

Wheel chairs  had weak wheel tyres so they didn’t work at all the tyres broke before use

Need for training on some the equipment’s before   they are supplied

CHALLENGES ON UGIFT ASSETS

Some of the equipment’s are at the station but aren’t in use reason being they do not admit such ill cases

No knowledge on how to use some of the equipment’s

Congestion of the store .

Only two staff members are at the station

RECOMMENDATIONS   FOR BETTER PROGRAM

More benches for the patients.

Need for staff toilets

More of the bed adult patient with mattress

Need for  OPD department construction

Need for a store  because the maternity building is used to cater for both patients and as a store

Needfor scan

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OFLG …KAZO LOCAL GOVERNMENT………………………………… NAME OF HEALTH FACILITY……KYAMPANGARA HEALTH CENTRE 3……………………………………………………

`

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  | Blue in color with the word syphygomometer upper arm type cerified CE 0123 |  | Not engraved |  |  |  |  |  |  |  | In use and good condition | 1 was supplied at its in use |
| Autoclave 20 Liters.,Duo Operated |  |  | Model yx 280b(18L) NO.EYXB220233 |  | NOT ENGRAVED |  |  |  |  |  |  |  | One in use another in store but all in good condition | 2were supplied but 1 still in store |
| Bowl, Kick |  |  | A silver metallic bowl dish |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 1 was supplied and its in use |
| Bowl Stand |  |  | Metallic silver 3 bowl stands to support the bowl stand |  | Not engraved |  |  |  |  |  |  |  | All in use and in good condition | 3were supplied and all in good condition |
| Counting chamber Neubauer- Improved |  |  |  |  | Not engraved |  |  |  |  |  |  |  | In good condition and functional | 2 were supplied and all in use |
| Cupboard Steel, Lockable |  |  | Metallic adjustable shelves used to secure storage |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 6 were supplied and all are in use |
| Drip Stand |  |  | A metallic adjustable height cast with support wheels and it is blue in color and movable |  | Not engraved |  |  |  |  |  |  |  | Functional and all in use | 8 were supplied and all are in use |
| ESR Stand |  |  | Used to examine and access patients its grey in color |  | Not engraved |  |  |  |  |  |  |  | Working well and in use | 1 was supplied and its functioning well |
| Examination Couch |  |  | Metallic with color black mattress covered used during patient examination |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 4 were supplied all in use |
| Examination light,LED |  |  | Mobile stand with adjustable head and electric bright colored used during patient examination |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 3 were supplied and all are in use |
| Glucometer |  |  | Digital handled powered by button shell |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and all in use |
| Haemoglobin Meter, Digital |  |  | A device used to measure the person’s blood |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 1 was supplied and it is in use |
| Height Meter |  |  | A device used to measure a person’s weight |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 2 were supplied and all in use |
| Instrument Trolley |  |  | A metallic shelves and with wheels |  | Not engraved |  |  |  |  |  |  |  | Functional and working well all are in use | 4 were supplied and in use |
| Microscope Binocular |  |  | A compound light microscope with an eye piece object white and black in color |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 1 was supplied and it is in use |
| Otoscope |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 1 was supplied and in use |
| Patient Screen |  |  | 4 fold metallic frame with blue cloth, caster wheels used for maintaining privacy of a patient during examination |  | Not engraved |  |  |  |  |  |  |  | Working well and all in use | 5 were supplied and all are in good condition |
| Patient Trolley |  |  | A movable equipment with wheels used to support in the carry of the patients’ drugs |  |  |  |  |  |  |  |  |  | Good condition and working well | 3 were supplied and all in use |
| Refrigerator, Basic |  |  | An electric appliance used to store laboratory materials and controls temperature |  | Not engraved |  |  |  |  |  |  |  | Functional and one in use | 2were supplied 1 in use and another still in store but all in good condition |
| Stethoscope |  |  | Equipment used to listen to the body sound |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 8 were supplied but only 4 are in use but all are in good condition |
| Stop Watch |  |  | Device that measures exact duration time as start |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 1 was supplied and its in use |
| Stretcher |  |  | Carries patients who can’t move at the moment |  | Not engraved |  |  |  |  |  |  |  | Functional and all in use | 3 were supplied and all in use |
| Stove, Gas |  |  | The facility received a gas without a stove seater |  |  |  |  |  |  |  |  |  | Still in the store | Only a gas stove cylinder was supplied so its not in use because they lack a stove |
| Weighing Scale with Height Meter, Adult |  |  | Measures body weight of adults and its white in color |  | Not engraved |  |  |  |  |  |  |  | Not in good condition | 2 were supplied and their need for repair in order to function |
| Weighing Scale, Infant |  |  | Measures body weight of babies that are new borne |  | Not engraved |  |  |  |  |  |  |  | Functional and in use | 2 were supplied but one in use another in store |
| Weighing Scale, Toddler |  |  | Measures the body weight of toddlers |  | Not engraved |  |  |  |  |  |  |  | Functional and in use | 1 was supplied and it is working well. |
| Wheel Chair |  |  | Chairs with wheel tyres use to transfer sick patients who can’t walk |  |  |  |  |  |  |  |  |  | Not functional the wheel tyres were rubber and weak | 4 were supplied and all aren’t in use |
| Audio Visual Equipment |  |  | 1 L.G T.V was supplied black in color ,1 projector and 1 DVD player all in black color |  | Not engraved |  |  |  |  |  |  |  | The projector is not in use but in good condition, TV and DVD player are in use | All in good condition |
| Medical Waste Bin |  |  | Metallic waste buckets but different sizes all with the top labelling of infectious |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 20 were supplied all are in use |
| Wall Clock |  |  | Circular clock with the label quartz maiwanng nian white in color |  | Not engraved |  |  |  |  |  |  |  | Still in store but in good condition | 4 were supplied and only 1 in use |
| Diagnostic Equipment Set for MCH |  |  | It is a set that diagnoses pregnanent mothers |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | One in use and another in store |
| Diagnostic Equipment Set for OPD |  |  | Medical instrument used to examine patient CRD |  | NOT ENGRAVED |  |  |  |  |  |  |  | Functional and working well | 1 was supplied and its in use |
| Glassware Set, Laboratory, Basic |  |  | Set instruments used in medical laboratory to test patients |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and all in use |
| Hollow Ware Set, Treatment |  |  | Instrument container with cover 300 200 50mm |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and all in use |
| Instrument Set, Dressing |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Still in store | 4 were supplied |
| Instrument Set, Basic ENT |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 1 was supplied and in use |
| Instrument Set, Suture |  |  | Set instrument that includes tongue depressor, ease hook forceps nasal dressing |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 3 were supplied and all in use |
| Pulse Oximeter, Hand held |  |  | Labels operators manual used to measure the blood oxygen has branding yavell |  | Not engraved |  |  |  |  |  |  |  | Good condition but not in store | 1 was supplied but still in store |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  | NOT SUPPLIED |  |
| Bed, Pediatric Patient, With Mattress |  |  | These a beds being used by patients |  | Not engraved |  |  |  |  |  |  |  | FUNCTIONAL AND IN USE | 4 were supplied and all the handles are off and in use. Need for repair |
| Bedside Locker |  |  | A small metallic cabinets placed besides patients beds |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 10 were supplied all in use |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  | A black in color bed where pregnant mother deliver from |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 1 was supplied and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 2 were supplied and all in use |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | Helps in infant breathing |  | Not engraved |  |  |  |  |  |  |  | Not in use but in good condition | 15 were supplied all in store |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  | Not in use | Still in store |
| Suction Apparatus, (Electric) |  |  | 7A-23B electric sanction apparatus |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied |
| Nebulizer, Ultrasonic |  |  | 1 Air compressing nebulizer |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 1 was supplied and it is in use |
| Oxygen Concentrator, Duo Flow |  |  | 2 oxygen concentrator cylinders in black tall and with some white on top |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and all in use |
| Bench |  |  | Brown in color patients’ seat and it can accommodate like 4-5 people |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 4 were supplied and all in use |
| Disinfection Buckets |  |  | Plastic disinfection buckets with silver metallic handles |  | Not engraved |  |  |  |  |  |  |  | functional | 12 buckets were supplied but4 are missing handles though they still function |
| Baby Cot |  |  | A small bed specifically designated for new borne babies |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and all in use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  | A set of medical instrument used doctors in the laboratory |  | Not engraved |  |  |  |  |  |  |  | Not in use but in good condition | 5 were supplied all are still in store |
| Stool, Laboratory |  |  | Black in color with a tyre used by medical persons |  | Not engraved |  |  |  |  |  |  |  | All in use and in good condition | 3 were supplied and all in use |
| Penguin Sucker |  |  | White in color disposable with filter and clear tubes to suck mucus from new borne |  | Not engraved |  |  |  |  |  |  |  | 1 in store but in good condition | 3 were supplied and 2 are in use |
| Fetoscope, Dopplar |  |  | A silver in color hallow tube with ear piece to listen to fetal heart sounds during pregnancy |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied and all in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  | An electric low speed centrifuge ppmr/min time min |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 1 was supplied and it’s in use |
| Kangaroo Mother Care Chair |  |  | Grey in color where a mother seat with a new borne after delivering |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and its in use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  | Sn.12.213594 URIT-12 |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and it is in use. |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | Blue bags with mask inside used during medical work |  | Not engraved |  |  |  |  |  |  |  |  | 15 were supplied and only 8 are in use |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | Black and brown metallic hanles used by the doctors during they medical work |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 7 were supplied all in use |
| Desk |  |  | Wooden brown in color desks used by medical doctors while performing their work the desks have drawer locks for keeping documents |  | Not engraved |  |  |  |  |  |  |  | The drawer locks are broken and damaged | 5 were supplied andot in use |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  | Not in use and not functional | 6 were supplied but all are not in use since the drawer lockers are spolit |
| Non Residential Buildings |  |  | 5 crescent tanks all in black color 300litres,1000litres overflow black 1000litres crescent tank |  |  |  |  |  |  |  |  |  | Functional and working well | All in use and in good condition |
| Residential Buildings |  |  | Staff quarters Maternity ward |  | The maternity ward has a label tag engraved as Ugift program |  |  |  |  |  |  |  | Functional and working well | All in use and good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |