ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KAZO LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | 0778566516/ 0762372501 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …KYENGANDO HEALTH CENTRE 3……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

UGIFT ASSETS THAT NEED REPAIR

Filing cabinets 06

Weighing scale adult 01

Kangaroo mother chair 01

Wooden desk draws 04

Cupboard instrument 02

ISSUES ONUGIFT ASSETS

Need for repair of the assets

Training of some staff on the assets once they are supplied.

The solar  batteries aren’t functional since a year back so they occasionally get challenges at night when mothers are in labor.

CHALLENGES

The facility has one building which acts as a maternity ward at the same time as a store.

Limited staff on the ground

Lack of OPD building.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

RECOMMENDATION FOR BETTER PROGRAM

Need for a transport service like motorcycle to help in transportation service of patients that need referral hospitals.

Need for patients drinking water tanks.

Toilets for staff

Health information assistants to help in proper record keeping.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

KYENGANDO HEALTH CENTRE 3

NAME OF LG KAZO LOCAL…GOVERNMENT…………………………………… NAME OF HEALTH FACILITY…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | White color and black arm cuff automatic serial no. SN 527001372 |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 2 were supplied and working well accurate readings. |
| B.P. Machine (Aneroid wall mounted) |  |  | Blue in color with the synphygometer upper arm type certified CE 0123 |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 2 were supplied and all in use |
| Autoclave 20 Liters.,Duo Operated |  |  | An electric autoclave machine large metallic silver round used for sterilizing medical instruments with high pressure stream |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 2 were supplied and all in use |
| Bowl, Kick |  |  | 3 were supplied silver metallic dishes with two bowls |  | Not engraved |  |  |  |  |  |  |  | All in use and functional | 3 were supplied and all are in use |
| Bowl Stand |  |  | Metallic silver bowl stands |  | Not engraved |  |  |  |  |  |  |  | Working well and functional | All in use |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  | Metallic office storage cupboard adjustable shelves used for storage |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  | It is metallic adjustable height castor wheels and blue plastic designs |  | Not engraved |  |  |  |  |  |  |  | Working well and good condition | 8 were supplied and all in good condition |
| ESR Stand |  |  | Used to examine and access patients .it is grey in color |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 1 was supplied and its in use |
| Examination Couch |  |  | Metallic with a black covered mattress covered used for patient examination |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 4 were supplied and all in good condition and in use |
| Examination light,LED |  |  | Mobile stand with adjustable head and electric powered light used during patient examination |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 3 were supplied and all in use |
| Glucometer |  |  | Digital hand held powered by button cell battery |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied all in use |
| Haemoglobin Meter, Digital |  |  | Digital white used for estimation of haemoglobin level in blood |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and all in use |
| Height Meter |  |  | A device used to measure the weight of the patients |  |  |  |  |  |  |  |  |  | Working well and functional | 2 were supplied and all in use |
| Instrument Trolley |  |  | Metallic silver shelves with wheels used two trolley shelves for carrying sterile instrument |  | Not engraved |  |  |  |  |  |  |  | Working well and functional | 4 were supplied and all in use |
| Microscope Binocular |  |  | A compound light microscope with an eye piece object .it has white and black color |  | Not engraved |  |  |  |  |  |  |  | Working and functioning well | 1 was supplied and its in use and in good condition |
| Otoscope |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Working well | 1 was supplied and in use and in good condition |
| Patient Screen |  |  | 3 fold metallic frame with blue cloth,caster wheels used in maintaining privacy during examination |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 5 were supplied and all in use |
| Patient Trolley |  |  | An instrument used to provide light during patient |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 2 were supplied and are in use |
| Refrigerator, Basic |  |  | An electric appliance used to store laboratory materials and to control temperature |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 2 were supplied one in use and another still in store |
| Stethoscope |  |  | An instrument used to sound inside the body |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 8 were supplied and 3 are in use and others are still in store |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  | Transports patients who cant walk or move at the moment. |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 2 were supplied and all in use |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  | Measures the weight of adults.it is white in color |  | Not engraved |  |  |  |  |  |  |  | Working well and functional | 2 were supplied and all in use and in good condition |
| Weighing Scale, Infant |  |  | Measures the body weight of babies |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 2 were supplied and all in use |
| Weighing Scale, Toddler |  |  | Measures the body weight for toddlers |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 2 were supplied and all in use |
| Wheel Chair |  |  | Adult size metallic two large wheels and small front caster wheels |  | Not engraved |  |  |  |  |  |  |  | Not in use and not functional | 4 were supplied and all not in use the in charge gave a report that the wheel tyres were weak reason being it was a rubber and didn’t function at all |
| Audio Visual Equipment |  |  | 2 T.V,1 DVD player,2 projector |  | Not engraved |  |  |  |  |  |  |  | GOOD CONDITION AND FUNCTION | 1 t.v is a Hisense type still in store and the L.G type is in use |
| Medical Waste Bin |  |  | Metallic waste bins with same size and the labelling of infectious on top |  | Not engraved |  |  |  |  |  |  |  | All in use and in good condition | 20 medical wastes were supplied and all in use |
| Wall Clock |  |  | White in color with labels quartz maiwang nian |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 4 wee supplied and all in use |
| Diagnostic Equipment Set for MCH |  |  | Asset used to diagnose pregnant mothers |  | Not engraved |  |  |  |  |  |  |  | All in use | 2 were supplied and all in good function |
| Diagnostic Equipment Set for OPD |  |  | A set of medical instruments used to examine in OPD |  | Not engraved |  |  |  |  |  |  |  | All in use and in good condition | 2 were supplied and all in use |
| Glassware Set, Laboratory, Basic |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition and in functional | 2 were supplied all in use |
| Hollow Ware Set, Treatment |  |  | A collection of stainless steel used to carry medical instruments |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied and all in use |
| Instrument Set, Dressing |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied 1 in use and another still in store |
| Instrument Set, Basic ENT |  |  | A collection of stainless steelfor minor procedures |  | Not engraved |  |  |  |  |  |  |  | In use and in good condition | 1 was supplied an d in use |
| Instrument Set, Suture |  |  | A set used to close wounds |  | Not engraved |  |  |  |  |  |  |  | Good condition and only 2 are in use | 3 was supplied and its in use |
| Pulse Oximeter, Hand held |  |  | An apparatus used to measure the persons blood oxygen |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied all in use |
| Bed, Adult Patient with Mattress |  |  | Black color in made mattress where the patients have some rest with metallic handles |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 6 Adult patient beds were supplied all in good condition and in use |
| Bed, Pediatric Patient, With Mattress |  |  | A small bed with a mattress for young pediatric patients |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | The in charge gave a report that 10 pediatric beds were supplied and were offered to kazo HC4 as requested by DHO so we were able to see only 8 beds but all in use |
| Bedside Locker |  |  | A small metallic cabinets placed besides patients beds |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 10 were supplied all in use |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  | A bed where pregnant mothers deliver from |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 01 was supplied and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | Long fian medical oxygen concentrator.2022-07-08 Exp;5years |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 1was supplied and in use |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  | Electric suction apparatus. Two bottles yuwell .Sn.00038 2022-08-22 |  | Not engraved |  |  |  |  |  |  |  | Working well and good condition | 1 was supplied and in use |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  | Not engraved |  |  |  |  |  |  |  | Still in store but all in good condition | 4 were supplied |
| Bench |  |  | A seat where 4-5 patients can seat and it’s a brown bench in color |  | Not engraved |  |  |  |  |  |  |  | Good condition all in use | 4 were supplied all in use |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  | A small bed specifically designed for new born babies |  | Not engraved |  |  |  |  |  |  |  | Working well and functional | 2were supplied and all in use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  | Metallic black in color stool where medical doctors sit |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 3 were supplied all in use |
| Penguin Sucker |  |  | A disposable with filter and clear used to suck mucus from new borne babies |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 3 were supplied |
| Fetoscope, Dopplar |  |  | An instrument used to listen to the fatal heartbeat during pregnancy |  | Not engraved |  |  |  |  |  |  |  | All in good condition and functional | 2 were supplied and all in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  | A laboratory machine used to separate in liquid |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 01 was supplied and in use |
| Kangaroo Mother Care Chair |  |  | Its green in color and mothers use this chair after delivery with their baby |  | Not engraved |  |  |  |  |  |  |  | The equipment needs technical person to repair it | 1 was supplied but not in good condition |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  | A bed where pregnant mothers deliver from |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and in use |
| Examination light |  |  | It is grey color and medical doctors use them to clearly the patients with adjustable with white LED |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | Wee supplied and all in use |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | Blue bags with masks inside |  | Not engraved |  |  |  |  |  |  |  | All in good condition but in store | 14 were supplied and all not in use |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | Black with silver handles where medical doctors do they work from |  | Not engraved |  |  |  |  |  |  |  | Working well and in good condition | 7 were supplied and all in use |
| Desk |  |  | Wooden brown in color and doctors use them while during their work |  | Not engraved |  |  |  |  |  |  |  | The drawers of the desks aranotin good all broken | 5 were supplied not functional |
| Filing Cabinet |  |  | Metallic grey with file drawers |  | Not engraved |  |  |  |  |  |  |  | All not functional drawers lockers were weak right when they were delivered | 6 were supplied but all the drawer are spoilt need for repair |
| Non Residential Buildings |  |  | Placenta disposal unit, staff quarters, toilets for staff,cresent tanks 10000litres,1000litres,also a staff toilet has a 500litre crescent tank, |  | Not engraved |  |  |  |  |  |  |  | All in use good condition | functional |
| Residential Buildings |  |  | Maternity building |  | Not engraved |  |  |  |  |  |  |  | In use and working well | Functional and in good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |