ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KAZO LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | 0762372501 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………NKUNGU HEALTH CENTRE 3………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UGIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

ANY ISSUES

Lack of technical person to orient about the assets.

Lack of awareness on when to deliver the assets i.e  the facility complains that the assets were delivered in the night hours.

CHALLENGES.

A gas stove was given while leaking

Congestion of the store.

RECOMMENDATION

OPD construction

Motorcycle to help in EPI

Provision of drinking water to patients

Construction of a security guards house.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

RECOMMENDATION

Repairing of wornout assets

Staff quarters construction

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist	NKUNGU HC3

NAME OF LG…KAZO LOCAL GOVERNMENT……………………………………… NAME OF HEALTH FACILITY…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  | Sphymomanometer certified as the label |  | Not engraved |  |  |  |  |  |  |  | Good condition and functioning well | 2 were supplied and all in use |
| Autoclave 20 Liters.,Duo Operated |  |  | Model yx -280B NO.EYB220247 date 2022.08 Pressured 0.14mpa.0.165mpa Working volt AC20v50hz 2.0w Gw/nw 15.5/14.5kg |  | Not engraved |  |  |  |  |  |  |  | Functional and good condition | 2 were supplied all in use |
| Bowl, Kick |  |  | A silver metallic dish |  | Not engraved |  |  |  |  |  |  |  | Functional and in use | 1 was supplied and in use |
| Bowl Stand |  |  | 3 bowl stands metallic silver that supports the bowl kick |  | Not engraved |  |  |  |  |  |  |  | Function and in good condition | 3 were supplied and all in use |
| Counting chamber Neubauer- Improved |  |  | Label of yuwel 407A Power button white in color |  | Not engraved |  |  |  |  |  |  |  | Good condition but not in use | 2 were supplied and all in store |
| Cupboard Steel, Lockable |  |  | A Carbin white in color made up of steel and fitted used to keep medical files |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 6 were supplied all in use |
| Drip Stand |  |  | A tall movable stand used in an iv fluid Bay blue in color |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 8 were supplied all in use |
| ESR Stand |  |  | A device used to examine and access patients and it is grey in color |  | Not engraved |  |  |  |  |  |  |  | 1 was supplied and it is good condition and functional | In use |
| Examination Couch |  |  | Metallic handle with a black mattress covered and used during examination |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 4 were supplied and all in use |
| Examination light,LED |  |  | Mobile operating auxiliary lighting lamp model zc.0803 power consumption 3va lot no.202208054 mt.no 202208 |  | Not engraved |  |  |  |  |  |  |  | Good condition | 3 were supplied all still in store |
| Glucometer |  |  | Digital hand held powered by button cell battery |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 were supplied and all still in store |
| Haemoglobin Meter, Digital |  |  | Digital white in color used to estimate the haemoglobin level in blood |  | Not engraved |  |  |  |  |  |  |  | Good condition but still in store | 2 were supplied and all still in store |
| Height Meter |  |  | Measures the body weight of patients |  | not engraved |  |  |  |  |  |  |  | All in use and good condition | 2 were supplied and all in use |
| Instrument Trolley |  |  | Metallic with shelves and with wheels used to carry sterile instruments . its silver and blue in color |  | Not engraved |  |  |  |  |  |  |  | All in use and in good condition | 2 were supplied and all in use |
| Microscope Binocular |  |  | A compound light microscope with an eye piece object. White and black in color |  | Not engraved |  |  |  |  |  |  |  | 1 is in use and in good condition | 2 were supplied but 1 one in use and the deliver note list show that 1 was taken to engari |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  | Good condition and still in store | 1 otoscope was supplied and not in use |
| Patient Screen |  |  | 3 fold metallic frames with blue cloth with wheels used in maintaining privacy while patients examination |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 5 were supplied and all in use |
| Patient Trolley |  |  | Bed in balance in the metallic part |  |  |  |  |  |  |  |  |  | Good condition and working well | 1 was supplied and in use |
| Refrigerator, Basic |  |  | An electric appliance used to store lab materials and controls low temperatures |  | Not engraved Chigo type label china energy gb 12021-2015 |  |  |  |  |  |  |  | All in use and in good condition | 2 were supplied all in use |
| Stethoscope |  |  | Used to listen to the sound inside the patient’s body |  | Not engraved |  |  |  |  |  |  |  | 6 are still in use but in good condition | 8 were supplied only two are in use |
| Stop Watch |  |  | A device that measures the exact time start |  | Not engraved |  |  |  |  |  |  |  | Good condition and in use | 1 was supplied |
| Stretcher |  |  | Used to transport patients who can’t move at the moments |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 was supplied and in used |
| Stove, Gas |  |  | A gas cylinder total type but the top had some leakage |  | Not engraved |  |  |  |  |  |  |  | Not functional | 1 was supplied but the total cylinder has a leakage and its not in use |
| Weighing Scale with Height Meter, Adult |  |  | A device used to measure adult body weight |  | Not engraved |  |  |  |  |  |  |  | All in use ang in good condition | 2 were supplied and all in use |
| Weighing Scale, Infant |  |  | A device used to measure the body weight of infants |  | Not engraved |  |  |  |  |  |  |  |  | 2 were supplied and all in use |
| Weighing Scale, Toddler |  |  | Used in measuring the body weight of toddlers new bone babies |  | Not engraved |  |  |  |  |  |  |  | In good condition | 1 was supplied and in use |
| Wheel Chair |  |  | Adult size metallic frame with arm rests two large wheels |  | Not engraved |  |  |  |  |  |  |  | The wheel tyres were weak and all damaged | 4 were supplied not in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  | Metallic waste bins with the label infectious on top |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 20 were supplied all in use |
| Wall Clock |  |  | White in color and they show time |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 4 were supplied and all in use |
| Diagnostic Equipment Set for MCH |  |  | A set instruments used in testing pregnancy |  | not engraved |  |  |  |  |  |  |  | Good condition still in store | 2 were supplied all in store |
| Diagnostic Equipment Set for OPD |  |  | Medical instrument’s used to examine OPD patients |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 were supplied still in store |
| Glassware Set, Laboratory, Basic |  |  | Instrument set used in medical laboratory |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 was supplied but still in store |
| Hollow Ware Set, Treatment |  |  | A collection of stainless steel used to carry medical instunments |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 were supplied but all in store |
| Instrument Set, Dressing |  |  | A set of silve medical instruments |  | Not engraved |  |  |  |  |  |  |  | 4 were supplied but all in good condition | All in store |
| Instrument Set, Basic ENT |  |  | A set instrument |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 was supplied some instruments are in use |
| Instrument Set, Suture |  |  | A set material instruments used to close the wounds |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 was supplied and in store |
| Pulse Oximeter, Hand held |  |  | An apparatus used to measure a person blood oxygen . has yaw well branding |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied and all in use |
| Bed, Adult Patient with Mattress |  |  | These are black color mattress where patients have some rest |  | Not engraved |  |  |  |  |  |  |  | Functional and in good condition | 4 were supplied and all in use |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  | A small metallic cabinets placed besides patients bed for patients to keep the stuff |  | Not engraved |  |  |  |  |  |  |  | In use and functional | 10 were supplied and 2 arenot in good condition |
| Cupboard, Instrument |  |  | It was grey in color and its used to store documents like patients files and facility records |  | Not engraved |  |  |  |  |  |  |  | In good condition and working well | 1 was supplied and its in use |
| Delivery Bed, Hydraulic Manual |  |  | Pink in color used by pregnant mothers in delivery |  | Not engraved |  |  |  |  |  |  |  | In good condition and working well | 1 was supplied and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | These apparatus used to used patients with problems in breathing |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 were supplied and all in store |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  | Has two bottles with rubber cover labelled yuwell electric sunction apparatus |  | Not engraved Product name bench type low speed centrifuge product model td4c Rated voiltage ACC220v+-10v 50HZ+HZ |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied in use |
| Nebulizer, Ultrasonic | health |  |  |  | Not engraved |  |  |  |  |  |  |  | Still in store | 1 supplied not in use |
| Oxygen Concentrator, Duo Flow |  |  | Provides oxygen to patients |  | Not engraved |  |  |  |  |  |  |  | Good condition but still in store | 2 were supplied still store |
| Bench |  |  | Wooden brown benches and it accommodates 4-5patients |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | All in use |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  | A set of instruments used in maternity to assist the pregnant mothers in delivery. |  | Not engraved |  |  |  |  |  |  |  | All in good condition | 5 were supplied and 1 in use |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  | It is a disposable with filter and clear tube used to suck mucus from new borne |  | Not engraved |  |  |  |  |  |  |  | Good condition and function | 3 were supplied only 2 are in use |
| Fetoscope, Dopplar |  |  | Is a laboratory device to separate substances in liquid |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 3were supplied and one in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  | Product name bench type low speed centrifuge |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and in use |
| Kangaroo Mother Care Chair |  |  | A seat where a mother seats after giving birth |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and in use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  | Grey in color and patients use them to see patients clearly .it has wheels adjustable with white LED |  | Not engraved |  |  |  |  |  |  |  | Good condition and working | 3 were supplied all in use |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | Chairs used by doctors they are black in color with silver handles |  | Not engraved |  |  |  |  |  |  |  | Good condition and working well | 7 were supplied and all in use |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  | Metallic grey in color with draw locks used to keep documents including files and documents |  | Not engraved |  |  |  |  |  |  |  | Not in good condition | 6 were supplied though in use but the drawer lockers are not in good condition |
| Non Residential Buildings |  |  | Cresent tank black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Residential Buildings |  |  | OPD buildings |  |  |  |  |  |  |  |  |  | Good condition and functional | In use . the facility complains that there congestion in that building because it also acts as a store. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …ENGALI SECONDARY SCHOOL.……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugif NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

CHALLENGES

Lack of infrastructure for example ICT laboratory,library,classroom blockS

RECOMMENDATION

Construction of ICT block,library and classroom blocks

Need for school furniture

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………KAZ0………………………………………………………… Name of SCHOOL………ENGALI SECONDARY SCHOOL………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computers |  |  | Dell black | 12 months | Engraved as engari 1 to 20 |  |  |  |  |  |  |  | All in use Functional | 20 were supplied all in use |
| Server processor |  |  |  |  | Black with glass |  |  |  |  |  |  |  | all in use | 4 were supplied |
| CPU |  |  | Black |  |  |  |  |  |  |  |  |  |  |  |
| UPS |  |  | Office point | 12months |  |  |  |  |  |  |  |  | Good condition | 4 were supplied |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |