ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KIRUHURA LOCAL GOVERNMENT. |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | 0778566516/0762372501 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …………………KITURA HEALTH CENTRE                     3……………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

RECOMMENDATIONS

Need for a store

Need for a motocycle

Need for enough furniture

Reinnovation of OPD building

Technical assistance on how to operate on some assets  before being supplied

Need for staff quarters.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

CHALLENGES

Chairs aren’t enough

Poor balance of the delivery bed

Congestion in the store

Substandard assets

Few medical waste bins

Furniture especially patients benches aren’t enough

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…KIRUHURA LOCAL GOVERNMENT……………………………………… NAME OF HEALTH FACILITY……KITURA HEALTH CENTRE 3……………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | An electric device used to measure patients blood patients. White in color with black handles |  | Not engraved |  |  |  |  |  |  |  | Working well | 2 were supplied and all in use |
| B.P. Machine (Aneroid wall mounted) |  |  | A blue color manual device used with a label syphygmometer |  | Not engraved |  |  |  |  |  |  |  | All in function | 2 were supplied |
| Autoclave 20 Liters.,Duo Operated |  |  | An electric autoclave machine large metallic silver for sterilizing medical instruments |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied and in use |
| Bowl, Kick |  |  | A silver in color with two bowls |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied and in use |
| Bowl Stand |  |  | A stand used to hold kick bowls |  | KIR/008934 |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  | White and blue in color |  | KIRUHURA/00985/HELH |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Cupboard Steel, Lockable |  |  | A metallic medical storage cupboard with adjustable shelves with a grey in color |  | Engraved KIRUHURA 01144 KIRUHURA00865HELH |  |  |  |  |  |  |  | Good condition | 2 were supplied all in use |
| Drip Stand |  |  | A tall movable stand used aniv fluid bag blue in color |  | KIRUHURA 01144 KIRUHURA0885 KIRUHURA 00814 |  |  |  |  |  |  |  | 5 aren’t in good condition with broken wheels | 8 were supplied and only 2 are working well |
| ESR Stand |  |  | A device used to examine patients .grey in color |  |  |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied |
| Examination Couch |  |  | Metallic with blue mattress made and metallic handles |  |  |  |  |  |  |  |  |  | Working well and functional | 2 were supplied and all in use |
| Examination light,LED |  |  | Mobile adjustable head and electric powered used patient examination |  |  |  |  |  |  |  |  |  | Working well | 2 were supplied and all in use |
| Glucometer |  |  | Digital hand held with label on call pulse of m&s button |  |  |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied and all in use |
| Haemoglobin Meter, Digital |  |  | It has white and red color used to measure the patients blood |  |  |  |  |  |  |  |  |  | Working well and functional | 1 was supplied and in use |
| Height Meter |  |  | A device that measures a patients body weight |  |  |  |  |  |  |  |  |  | Working well and functional | 1 was supplied and in use |
| Instrument Trolley |  |  | Silver colored movable trolley with shelves used to carry medical instruments |  |  |  |  |  |  |  |  |  | Working well and in good condition | 2 were supplied all in use |
| Microscope Binocular |  |  | A compound light microscope with an eye piece object .white and black in color |  |  |  |  |  |  |  |  |  | Functional | 1 was supplied |
| Otoscope |  |  | A movable |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Patient Screen |  |  | A fold metallic frame with ablue cloth used in maintaining privacy during patient examination |  | Label N2M company |  |  |  |  |  |  |  | Good condition | 4 were supplied |
| Patient Trolley |  |  | A metallic silver trolley with 4 wheels and 2 drawers |  | N2M company label |  |  |  |  |  |  |  | Good condition | 1 was supplied and in use |
| Refrigerator, Basic |  |  | An electric appliance used to store laboratory materials to a controlled low temperature |  |  |  |  |  |  |  |  |  | Working and functional | 1 was supplied and in use |
| Stethoscope |  |  | A device used to listen inside the body sound |  |  |  |  |  |  |  |  |  | Functional and in good condition | 4 were supplied and all in use |
| Stop Watch |  |  | A device used to measure the exact set duration |  |  |  |  |  |  |  |  |  | All in use and working wel | 2 were supplied |
| Stretcher |  |  | An instrument used to transport patients who a cant walk |  |  |  |  |  |  |  |  |  | Functional and in use | 1 was supplied |
| Stove, Gas |  |  | Black seater stove |  | ENGRAVED KIRUHURA 00979 |  |  |  |  |  |  |  | Functional and working well | Functional and working well |
| Weighing Scale with Height Meter, Adult |  |  | A scale used to measure the patients adult weight body |  |  |  |  |  |  |  |  |  | Functional and working well | 2 were supplied all in use |
| Weighing Scale, Infant |  |  | A white in color and it is used to measure body weight for babies |  | KIRUHURA 00965HELH KIRUHURA 00964 |  |  |  |  |  |  |  | Good condition | 2 were supplied and all in store |
| Weighing Scale, Toddler |  |  | Measures toddles body weight |  |  |  |  |  |  |  |  |  | Good condition | 2 were supplied all in use |
| Wheel Chair |  |  | A chair with 2 large black wheels and seat for patients who cant walk |  |  |  |  |  |  |  |  |  | The wheel chair not functional | Not in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  | Metallic waste bins with different sizes and label of infectious |  | KIRUHURA 0 0910HELH KIRUHURA 00907HELH |  |  |  |  |  |  |  | Some 2 medical waste bins are missing covers | 6 were supplied and all in use |
| Wall Clock |  |  | White circular in color used to show time |  |  |  |  |  |  |  |  |  | All in good condition | 4 were supplied and 2 are in use |
| Diagnostic Equipment Set for MCH |  |  | A set of instruments used to diogionise pregnant mothers |  |  |  |  |  |  |  |  |  | Not functional since still in store but in good condition | 2 were supplied and all in store |
| Diagnostic Equipment Set for OPD |  |  | A set of medical +instrument used in OPD examination |  |  |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and in use |
| Glassware Set, Laboratory, Basic |  |  | A set of glass instrument used in the lab |  |  |  |  |  |  |  |  |  | Not in use but in good condition | 2 were supplied |
| Hollow Ware Set, Treatment |  |  | A collection of stainless steel used to carry medical instruments |  |  |  |  |  |  |  |  |  | Good condition not in use | 1 was supplied but in store |
| Instrument Set, Dressing |  |  | A set of instrument tools used in medical facilities and were in boxes |  |  |  |  |  |  |  |  |  | Not in use but all in good condition | 2 were supplied |
| Instrument Set, Basic ENT |  |  | Still in box |  |  |  |  |  |  |  |  |  | Good condition but not in use | 3 were supplied all in store |
| Instrument Set, Suture |  |  | Set of instrument includes ear speculum,tongue depressor,ease hook,forceps nasal dressing |  |  |  |  |  |  |  |  |  | Good condition but not in use | 1 was supplied but in store |
| Pulse Oximeter, Hand held |  |  | A device used to measure patients blood oxygen .it has a yawell brand |  |  |  |  |  |  |  |  |  | Functional and good condition | 2 were supplied all in use |
| Bed, Adult Patient with Mattress |  |  | A black in color made mattress with metallic made beds used by adult patients |  | Kiruhura 00877HELH N2M company |  |  |  |  |  |  |  | Good condition and functional | 10 were supplied all in use |
| Bed, Pediatric Patient, With Mattress |  |  | 5 were supplied ,pediatric bed with some design of happy birthday and with black mattress |  | Engraved with company label N2M company |  |  |  |  |  |  |  | All in use and in good condition | 5 were supplied |
| Bedside Locker |  |  | A small metallic cabinets placed besides patients beds |  |  |  |  |  |  |  |  |  |  | Good condition |
| Cupboard, Instrument |  |  | A grey metallic cupboard used to store medical equipment’s like files |  |  |  |  |  |  |  |  |  | Functional and in good condition | 1 was supplied and in use |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  | The bed is not in good condition due to improper balancing | 1 was supplied not in used |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | 4 were supplied one taken to kiruhura district |  | Engraved 00966 |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | Apparatus used to help infants in breathing |  |  |  |  |  |  |  |  |  | 2 were supplied all in store | Good condition |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  | An apparatus with 2 two bottles and with a rubber cover yuwell electric auction |  |  |  |  |  |  |  |  |  | 1 in use | 2 were supplied but 1 was taken to district |
| Nebulizer, Ultrasonic |  |  | A machine that is in liquid can help patient to breath |  | Engraved kiruhura 00985/HELH |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  | Engraved 00966 |  |  |  |  |  |  |  | 3 still in store | 4 were supplied 1 was taken to the district |
| Bench |  |  | Wooden brown benches for patients |  |  |  |  |  |  |  |  |  | Good condition and functional | 4 were supplied all iin use |
| Disinfection Buckets |  |  | Green in color plastic buckets with a silver handle |  |  |  |  |  |  |  |  |  | One not in good condition | 6 were supplied 5 in use |
| Baby Cot |  |  | A small bed specifically designed for new born babies |  |  |  |  |  |  |  |  |  | Good condition and in use | 1 was supplied |
| Diagnostic Equipment Set for Ward |  |  | A set collection of instruments used in patient examination |  |  |  |  |  |  |  |  |  | 1 still in store good condition | 3 were supplied and 2 taken to the district |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  | A set of medical instruments used to remove tissues from the uterus |  | Not engraved |  |  |  |  |  |  |  | Good condition | 4 were supplied only 2 are in use |
| Stool, Laboratory |  |  | A stool used by medical doctors while in the laboratory |  | Engraved kiruhura 01017 |  |  |  |  |  |  |  | Good condition | 1 was supplied and in use |
| Penguin Sucker |  |  | Plastic disposable like tube used to suck mucus from babies |  |  |  |  |  |  |  |  |  | All in good condition | 3 were supplied and only one in use |
| Fetoscope, Dopplar |  |  | An instrument used to listen to the fetal heart beat during pregnancy |  |  |  |  |  |  |  |  |  | 1 instore but all in good condition | 2 were supplied and on e in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  | An electric appliance used in laboratory to separate substance in liquids |  | Kiruhura 01016 |  |  |  |  |  |  |  | 1 in use | 2 were supplied and 1 was taken to kiruhura district |
| Kangaroo Mother Care Chair |  |  | a soft cotton fabric used to hold premature baby on mothers chest |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied and in use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  | A medical equipment used to see clearly patients during examination |  | Not engraved |  |  |  |  |  |  |  | Working well | 2 were supplied all in good condition |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | Office chairs used doctors black in color seat with metallic handles |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 7 were supplied all in use |
| Desk |  |  | Brown color doctors desks with drawer locks where they keep documents |  | Kiruhura 01750 |  |  |  |  |  |  |  | Good condition and functional | A were supplied all in use |
| Filing Cabinet |  |  | Metallic grey drawers for keeping medical files |  |  |  |  |  |  |  |  |  | The draw lockers need repair | 2 were supplied all in use |
| Non Residential Buildings |  |  | 2 Cresent tank 5000litres, placenta pit,toilets |  |  |  |  |  |  |  |  |  | Good condition | All in use |
| Residential Buildings |  |  | Maternity ward has an orange color |  |  |  |  |  |  |  |  |  | Good condition | In use the building is congested because it also acts as a store |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |