ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KIRUHURA LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | 0762372501 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …………NSHWERE HEALTH CENTRE 3……………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift. NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

CHALLENGES

Poor quality of the equipment

RECOMMENDATION

Improvement on the quality of assets to be supplied

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…KIRUHURA LOCAL GOVERNMENT……………………………………… NAME OF HEALTH FACILITY………NSWERE HEALTH CENTRE3…………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  | White and black |  |  |  |  |  |  |  |  |  | Functional and working | All in use |
| B.P. Machine (Aneroid wall mounted) |  |  | Mechanical non digital mounted long silver stand with sphygmomanoeter |  |  |  |  |  |  |  |  |  | Functional | 2 was supplied |
| Autoclave 20 Liters.,Duo Operated |  |  | Metallic silver black colour |  | KIRUHURA 00261 ,KIRUHURA 269 |  |  |  |  |  |  |  | Functional | 2 was supplied |
| Bowl, Kick |  |  | Round stainless steel bowl medium in size mounted on circular metal frame called a bowl stand |  |  |  |  |  |  |  |  |  | In use and functional | 1 was supplied |
| Bowl Stand |  |  | Has 2 round holders on top of the same size used to hold the bowl kick |  |  |  |  |  |  |  |  |  | All in use and functional | 3 were supplied |
| Counting chamber Neubauer- Improved |  |  | White box like |  |  |  |  |  |  |  |  |  | Good condition | 2 were supplied all in use |
| Cupboard Steel, Lockable |  |  | A heavy steel metal sheets painted grey very strong not wooden used to keep records safe and organized |  |  |  |  |  |  |  |  |  | Good condition | 6 were supplied |
| Drip Stand |  |  | A stainless-steel pole silver with a screw to adjust the height used in wards for iv fluid patients. |  | KIRUHURA 00234,00422,000406,00238,00411 HELH |  |  |  |  |  |  |  | Good condition | 8 were supplied |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  | A metallic bed with the head side can go up and down used in patient examination |  |  |  |  |  |  |  |  |  | All in use | 3 were supplied |
| Glucometer |  |  | Digital hand held powered by cell battery |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Haemoglobin Meter, Digital |  |  | A device used to measure the oxygen blood level |  |  |  |  |  |  |  |  |  | Good condition in use | 2 were supplied |
| Height Meter |  |  | White and long with meter ruler on top and with a base used to measure the body weight |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  | All in use | 4 were supplied |
| Microscope Binocular |  |  |  |  | KIR/02091 /HELH |  |  |  |  |  |  |  |  | 1 was supplied and in use |
| Otoscope |  |  | A small handle held instrument used to examine inside the nose,ear,and throat |  |  |  |  |  |  |  |  |  | In use | 1 was supplied |
| Patient Screen |  |  | A blue curtain stand on wheels light metal frame painted white used in wards to provide privacy when many beds are in one room |  |  |  |  |  |  |  |  |  | Good condition | 5 were supplied all in sue |
| Patient Trolley |  |  | A stainless steel with 2 rectangular shelves |  |  |  |  |  |  |  |  |  | Good condition and in use | 1 was supplied |
| Refrigerator, Basic |  |  | An electronic appliance used to store laboratory .chigo made |  |  |  |  |  |  |  |  |  | In use and good condition | 1 was supplied |
| Stethoscope |  |  | A medical instrument used to listen to sounds inside the body |  |  |  |  |  |  |  |  |  |  | 8 ere supplied |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  | A full stainless steel frame silver strong and washable with 4 wheels and brakes movable to transport patient |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied and in use |
| Stove, Gas |  |  | Orange |  |  |  |  |  |  |  |  |  | Good condition | 2 were supplied |
| Weighing Scale with Height Meter, Adult |  |  | A weighing platform designed for adults to measure their body weight |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Weighing Scale, Infant |  |  | A weighing scale used by infants to measure weight |  |  |  |  |  |  |  |  |  | In use | 1was supplied |
| Weighing Scale, Toddler |  |  | A weighing platform at bottom and round dial at top with numbers used in measuring weinht of toddlers |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Wheel Chair |  |  | Has 2 big wheels with rubber with 2 fixed black padded arm rests on both sides patient can res hands with brakes |  | KIRUHURA 00258 |  |  |  |  |  |  |  | Good condition | 4 were supplied |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  | Metallic silver buckets used to dispose off infectious medical wastes |  |  |  |  |  |  |  |  |  | All in use | 20 were supplied |
| Wall Clock |  |  | Round battery-operated quartz clock used in used in duration frequency |  |  |  |  |  |  |  |  |  | All in use | 4 were supplied |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  | A small medical device that measures oxygen in blood |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  | A small metallic cabinet placed besides patients’ bed |  |  |  |  |  |  |  |  |  | All in use | 10 were supplied |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | A cylinder large medical cylinder used to provide oxygen to patients |  |  |  |  |  |  |  |  |  | Good condition and in use | 2 were supplied |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  | An electric appliance used in sterilizing medical equipment |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied in use |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  | Wooden rectangular in shape with brown color used by patients |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  | A silver stainless steel with a tall vertical sides bars all around to protect the baby from falling |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Diagnostic Equipment Set for Ward |  |  | A set of instrument used in opd for checking patients |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  | A set of stainless steel containers which includes kidney dishes dressing drums |  |  |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied |
| Instrument Set, Delivery |  |  | A set of instrument used to assist a mother in normal delivery |  |  |  |  |  |  |  |  |  | In use | 2 were supplied |
| Instrument Set, Stitch Removing |  |  | It consists of suture scissors tissue forcepts needle holder used in cleaning and stitching cuts and wounds |  |  |  |  |  |  |  |  |  | Good condition | 3 were supplied |
| MVA Kit |  |  | A set of medical instrunments used to remove tissues in the tissues |  |  |  |  |  |  |  |  |  | 2 in use and 3 still in store but in good condition | 5 were supplied |
| Stool, Laboratory |  |  | A metallic stool with a soft cotton seat with a wheelusedin a laboratory |  |  |  |  |  |  |  |  |  | All in use | 3 were supplied |
| Penguin Sucker |  |  | A dispose white in color tube fitter used to suck mucus in anew borne nose |  |  |  |  |  |  |  |  |  | Good condition | 3 were supplied |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  | A special chair with a seat wide and adjustable back rest used in post natal ward |  |  |  |  |  |  |  |  |  | In use | 1was supplied |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  | A strong metal frame stainless steel painted in black used to assist in mothers delivery |  |  |  |  |  |  |  |  |  | Good condition in sue | 1 was supplied |
| Examination light |  |  | Round with adjustable neck head with bright white LED bulb inside used to provide light during examination |  |  |  |  |  |  |  |  |  | Good condition and all in use | 3 were supplied |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | Metallic with soft cotton |  |  |  |  |  |  |  |  |  | All in use | 7 were supplied |
| Desk |  |  | Wooden brown flat with a rectangular shape and drawers likely open below |  |  |  |  |  |  |  |  |  | All in use | 5 were supplied |
| Filing Cabinet |  |  | Are cabinets grey in color used in keeping files |  |  |  |  |  |  |  |  |  | In use | 6 were supplied |
| Non Residential Buildings |  |  | Toilets, waste pit,cresent tank, Crest tank on Staff quarters |  |  |  |  |  |  |  |  |  | Good condition | All in use |
| Residential Buildings |  |  | Maternity ward with a solar panel, Staff quarters |  |  |  |  |  |  |  |  |  | In use | Good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ……NYAKASHASHARA SEED SCHOOL…………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

CHALLENGES

Few furniture

RECOMMENDATION

More of the ugift structures

Need for library furniture and computers in the computer laboratory

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……………KIRUHURA ……………………………………………… Name of SCHOOL NYAKASHASHARA SEED SCHOOL…………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Class room 1 |  |  | Desks 12,chairs 12,stools 09 |  |  |  |  |  |  |  |  |  | good | 2 stools broken |
| Classroom 2 |  |  | Desks 07,stool 08,chairs 09 |  |  |  |  |  |  |  |  |  | Good condition | 1 stool broken,2 broken chairs |
| Block 2 ugift |  |  | 1 table, desks 17,chairs 12,stools 1 |  |  |  |  |  |  |  |  |  | Good condition | All in use |
|  |  |  | Desks 14,chaistool 1 table |  |  |  |  |  |  |  |  |  | Good condition | All in use |
| laboratory | 1st lab,1st lab,2nd lab,2nd,2nd lab |  | Tables 14,stools 64,stools 64,chairs 2,tables 13 |  |  |  |  |  |  |  |  |  | Good condtion | All in use |
| Staff room |  |  | Tables 13,chairs 35 |  |  |  |  |  |  |  |  |  | All in use | functional |
| Askaris gate |  |  | 1 table,1 chair,1 stool |  |  |  |  |  |  |  |  |  | functional | All in use |
| Classroom desks |  |  | Multi purpose hall 64, chairs 52 |  |  |  |  |  |  |  |  |  |  |  |
| Block 3 |  |  | Tables 06,chairs 12 |  |  |  |  |  |  |  |  |  | functional | 1 broken was broken, |
| Classroom 2 |  |  | Desks 02,chairs19,stools 03 |  |  |  |  |  |  |  |  |  | functional | 1 broken |
| Multi purpose hall |  |  | 1 tank(5000litres |  |  |  |  |  |  |  |  |  | function | In use |
| Classroom |  |  | 1 tank (10000litres |  |  |  |  |  |  |  |  |  |  |  |
| Administration block |  |  | 5000litres cresent tank |  |  |  |  |  |  |  |  |  |  | the tap needs replacement |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |