ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KIRUHURA LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | 0778566516/ 0762372501 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …………RWABARATA HEALTH CENTRE……………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

ISSUES

No knowledge on how to use some of the assets

Challenges.

Lack of technical skilled doctors to use some of the assets at the facility

Rubbish being for the whole month since they were stopping from burning them.

The crest tank is not fully supported hence no full platform  and the tank will burst

RECOMMONDATION

Need for motorcycle to help in EPI

Need to separate solar system from hydroelectric power

Provision of the scan.

Ambulance to take women especially pregnant mothers.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

UGIFIT has supported in providing equipments that the facility uses to provide services to the patients.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…………KIRUHURA LOCAL GOVERNMENT…………………………… NAME OF HEALTH FACILITY  ……RWABARATA HEALTH CENTRE 3……………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  | Blue in color with the word syphygmometer upper arm type |  | Engraved KIR/03136/HELH |  |  |  |  |  |  |  | One in use and another in store | 2 were supplied and all in good condition. |
| Autoclave 20 Liters.,Duo Operated |  |  | An electronic autoclave machine large metallic used in sterilizing medical instruments |  | KIR/02937/HELH |  |  |  |  |  |  |  | 1 in use | 2 were supplied and all in use |
| Bowl, Kick |  |  |  |  | Taken to rwetamu |  |  |  |  |  |  |  |  | 1 was supplied but report confirms that it was taken to rwetamu |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  | White in color |  | Not engraved |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied 1 still in store |
| Cupboard Steel, Lockable |  |  | White and blue designs used to keep medical documents like files |  | KIR/02835/HELH KIR/02869/HELH KIR/02842/HELH |  |  |  |  |  |  |  | All in use and in good condition | 6 were supplied and all in use |
| Drip Stand |  |  | Metallic adjustable height caster wheels and with blue plastic designs silver and blue |  | Engraved KIR/02961/HELH, KIR 02861/HELH KIR/02910/HELH KIR 02867/HELH |  |  |  |  |  |  |  | Good condition and all in use | 9 were supplied and all in use |
| ESR Stand |  |  | Sealed in a white packaging |  | Not engraved |  |  |  |  |  |  |  | Not in use but in good condition | 1 was supplied still in store |
| Examination Couch |  |  | White in blue color . Used in patient examination |  | Engraved KIR /02848/HELH KIR /02952/HELH |  |  |  |  |  |  |  | Good condition | 4were supplied all in use |
| Examination light,LED |  |  | Mobile stand with an adjustable head bright white used in examining patients |  | Engraved KIR/02953/HELH KIR/02952/HELH |  |  |  |  |  |  |  | Good condition | 3 were supplied and all in use |
| Glucometer |  |  | Digital hand held powered by battery cell |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 were supplied and only 1 is in use another still in store |
| Haemoglobin Meter, Digital |  |  | The item has a label hblyzer plus med |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 were supplied only 1 in use |
| Height Meter |  |  | Silver in color with a base used to measure the body weight of patients |  | Not engraved |  |  |  |  |  |  |  | Good condition and one still in store | 2 were supplied and 1 in use |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  | The asset is still in store |  | Not engraved |  |  |  |  |  |  |  | Still in store and in good condition | I was supplied |
| Otoscope |  |  | Still in store |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 was supplied and still in store |
| Patient Screen |  |  | 3 fold metallic frame with ablue cloth and wheel used in maintaining patients privacy in examination |  | Engraved KIR/02951/HELH KIR/02893/HELH |  |  |  |  |  |  |  | All in use and in good condition | 5 were supplied and all in use |
| Patient Trolley |  |  | Silver metallic with shelves movable used to carry patients medications |  | Engraved KIR/02885/HELH |  |  |  |  |  |  |  | IN USE and in good condition | 1 Was supplied and working well |
| Refrigerator, Basic |  |  | Blue in color An electronic appliances used to store lab. Materials at allow temperature |  | KIR/02832/HELH KIR/02949/HELH |  |  |  |  |  |  |  | Good condition | 2 were supplied all in used |
| Stethoscope |  |  | Black and white designs used to listen to the body sound inside . |  | Not engraved |  |  |  |  |  |  |  | Only 3 are in use and all in good condition | 8 were supplied and all in use |
| Stop Watch |  |  | White and blue buttons min sec used to show the exact time set |  | Not engraved |  |  |  |  |  |  |  | I still in store | 2 were supplied all in good condition |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  | Black seater stove and a mogas cylinder |  | Not engraved |  |  |  |  |  |  |  | The asset is in use and in good condition | All in use |
| Weighing Scale with Height Meter, Adult |  |  | Used to measure the patients body weight |  | Engraved KIR/028291/HELH |  |  |  |  |  |  |  | In use and in good condition | 1 was supplied and in use |
| Weighing Scale, Infant |  |  | Blue and yellow designs and used to measure the body weight of infants |  | KIR/02962/HELH KIR/02963/HELH |  |  |  |  |  |  |  | All in use | 2 were supplied and all in use |
| Weighing Scale, Toddler |  |  | Measures the body weight of new born |  | KIR/02828/HELH |  |  |  |  |  |  |  | In use and in good condition | 1 was supplied and in use |
| Wheel Chair |  |  |  |  | Engraved KIR/028721/HELH KIR/02874/HELH |  |  |  |  |  |  |  | Not functional the wheel were rubber and got spoilt before use | 4 were supplied all not in use |
| Audio Visual Equipment |  |  | 1 T.V, 1 DVD,1 PROJECTOR |  | LG type television black in color KIR/030781/HELH |  |  |  |  |  |  |  | Not in use | All in store |
| Medical Waste Bin |  |  | Metallic waste bins but different sizes with the label infectious |  | Not engraved |  |  |  |  |  |  |  | All in use | 20 were supplied and 3 have damaged covers all in use |
| Wall Clock |  |  | White designed clock used to show time |  | Not engraved |  |  |  |  |  |  |  | Good condition | 4 were supplied and all in use |
| Diagnostic Equipment Set for MCH |  |  | A set of instruments used to diagnose pregnant mothers |  | Not engraved |  |  |  |  |  |  |  | Good condition and still in boxes | Still in store |
| Diagnostic Equipment Set for OPD |  |  | A set of medical instruments used in examination of OPD |  | Not engraved |  |  |  |  |  |  |  | Still in store | Good condition but in store |
| Glassware Set, Laboratory, Basic |  |  | A collection of instruments used in laboratory |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in store |
| Hollow Ware Set, Treatment |  |  | A collection of stainless steel used to carry medical instruments |  | Not engraved |  |  |  |  |  |  |  | Good condition and in store | still in store and 2 were supplied |
| Instrument Set, Dressing |  |  | A collection of set instrunments in silver tools |  | Not engraved |  |  |  |  |  |  |  | 1 in use | 7 pacs were supplied and all in good condition |
| Instrument Set, Basic ENT |  |  | A collection of stainless steel used in minor procedures |  | Not engraved |  |  |  |  |  |  |  | Good condition still in store | 1 was supplied |
| Instrument Set, Suture |  |  | A set of instruments used to close wounds |  | Not engraved |  |  |  |  |  |  |  | 2 in use and 1 still in store | 3 was supplied |
| Pulse Oximeter, Hand held |  |  | An apparatus used to estimate the patients blood oxygen. Grey and white color |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 were supplied all in use |
| Bed, Adult Patient with Mattress |  |  | A mattress and metallic bed adults the mattress has a company log of Rodrisa supplies ltd |  | KIR/02905/HELH KIR/02898/HELH KIR/02853/HELH KIR/02862/HELH |  |  |  |  |  |  |  | Good condition | 10 were supplied all in use |
| Bed, Pediatric Patient, With Mattress |  |  | The pediatric patient with mattress has company name Rodrisa supplies ltd under ugift 2020/2021 |  | KIR/02904/HELH KIR/02902/HELH |  |  |  |  |  |  |  | All functional | 4 were supplied all in use |
| Bedside Locker |  |  | A small metallic cabinet placed besides patients beds |  | Engraved KIR/0290/HELH KIR/02897/HELH |  |  |  |  |  |  |  | The bed side lockers are not in use due to the reason that all the drawer are damaged | 10 were supplied |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  | A black in color bed with silver handles where pregnant mothers deliver from |  | KIR/02947/HELH |  |  |  |  |  |  |  | Good condition and working well | 1 was supplied and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | Apparatus used by infants to breath when are not in condition to breath well |  | Not engraved |  |  |  |  |  |  |  | Functional and working well | 2 were supplied and only one in use |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  | An apparatus with The two bottles with a rubber covers labbelled yuwell |  | KIR/02934/HELH |  |  |  |  |  |  |  | Good condition and functional | 1 was supplied and in use |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  | Used in providing oxygen to the patients |  |  |  |  |  |  |  |  |  | Good condition and functional | 2 were supplied and 1 in use |
| Bench |  |  | Brown in color wooden bench can fit 4-5 patients |  |  |  |  |  |  |  |  |  | 2 are in use | 4 benches were supplied and 2 taken to the district |
| Disinfection Buckets |  |  | Blue in color buckets with silver handles |  |  |  |  |  |  |  |  |  | Working well and functional | 2 were supplied and all in use |
| Baby Cot |  |  | Small silver beds with a black color made in mattress for babies |  |  |  |  |  |  |  |  |  | All in use and working | 2 were supplied and all in use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  | A set of instrument used in maternity to assist pregnant mothers in giving birth |  |  |  |  |  |  |  |  |  |  | Good condition and working well | 5 were supplied and all in use |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  | A disposable with filter and clear tube used to suck mucus from new born babies |  |  |  |  |  |  |  |  |  |  | Good condition and working well | 3 were supplied and all are in use |
| Fetoscope, Dopplar |  |  | Silver in color hallow tub with ear piece to listen to fetal heart sounds during pregnancy |  |  |  |  |  |  |  |  |  | Good condition | 2 were supplied and all in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  | Taken to kiruhura local government |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  | Brown color soft cotton fabric used to hold premature baby on mother’s chest |  | KIR/02883/HELH |  |  |  |  |  |  |  | Working well | 1 was supplied and in good condition |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  | A metallic adjustable black and leg rest with mattress in black color wheels with brakes for child birth |  | Engraved KIR/02947/HELH |  |  |  |  |  |  |  | Working well | All in good condition |
| Examination light |  |  | A medical instrument used to see patients clearly its grey with a mobile stand and adjustable with white LED |  | KIR/02952/HELH KIR/02952/HELH |  |  |  |  |  |  |  | One not engraved all in good condition | 3 were supplied and all in use |
| Instrument set, ENT Basic for HCIII |  |  | A set of diagonalist instrument used in treatment of nose ear and throat |  |  |  |  |  |  |  |  |  | Good condition but not function | Not in use |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | Black in color chairs with metallic silver handles used by doctors |  |  |  |  |  |  |  |  |  | Good condition | 7 were supplied and all in use |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  | A white cabinets with drawers lockers that are used to keep files |  | KIR/02960/HELH KIR/O2840/HELH KIR/02841/HELH |  |  |  |  |  |  |  | Functional and in good condition | 5 were supplied only 3 are in use and 2 were taken to the district |
| Non Residential Buildings |  |  | Cresent tank 500litre,5000 litres cresent tank ,toilets 2 rooms each for gents and females. Placenta pit |  |  |  |  |  |  |  |  |  |  | . |
| Residential Buildings |  |  | OPD BUILDING |  | Engraved as RWABARATA health centre 3 |  |  |  |  |  |  |  | Functional and in good condition | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |