ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KIRUHURA LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KEMIGISHA WINFRED |
| Contact/ email and Telephone | 0762372501 |
| Supervisor/ Sub team leader |  |
| Name | MR.GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission |  |

ss

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……RWETAMU  HEALTH CENTRE 3…………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

Ugift has supported in service delivery by supplying equipments

CHALLENGES

Some equipment’s are not in use they need repair

RECOMMENDATION

Some of the equipment’s are at the facility but not being used so they recommend UGIFT to take them to other facilities.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……KIRUHURA…………………………………… NAME OF HEALTH FACILITY……RWENTAMU HEALTH CENTRE 3……………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | White color with a black arm cuff |  | KIRUHURA 00640 |  |  |  |  |  |  |  | Functional | All in use |
| B.P. Machine (Aneroid wall mounted) |  |  | White and blue color with the word syphymometer upper arm type |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  | An electronic autoclaved machine large metallic silver round used to sterilize medical instrument |  |  |  |  |  |  |  |  |  | Functional | 2 were supplied all in use |
| Bowl, Kick |  |  | A silver metallic bowl dishes |  |  |  |  |  |  |  |  |  | Functional | One was supplied |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  | White in color with power cell button |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Cupboard Steel, Lockable |  |  | A carbin white in color made up of steel with filled drawers used to keep file documents |  | KIRUHURA 00510,00614 |  |  |  |  |  |  |  | All in use good condition | 6 were supplied |
| Drip Stand |  |  | A tall movable stand in iv fluid bay with a blue design in the middle of stand with wheels |  | Engraved KIRUHURA 00576,0091,00566,00589,00492 |  |  |  |  |  |  |  | Good condition | 9 were received all in use |
| ESR Stand |  |  | A device used to examine and access patients its grey in color |  | Not engraved |  |  |  |  |  |  |  | In use and in good condition | 1 was supplied |
| Examination Couch |  |  | A metallic with washable mattress used in patient examination and with brakes |  |  |  |  |  |  |  |  |  | Good condition and all in use | 6 were supplied |
| Examination light,LED |  |  | A mobile stand with adjustable head powered bright light used in patient examination |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  | A white digital with strips |  |  |  |  |  |  |  |  |  | Good condition | 1 was supplied |
| Haemoglobin Meter, Digital |  |  | Digital white in color used in estimation of hemoglobin level in blood patient |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  | Long numbered metre with abase |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  | A compound light microscope light microscope with an eye piece object white and black in color |  |  |  |  |  |  |  |  |  | All in use | Two were supplied |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  | 3 fold metallic with acloth caster wheels used for maintaining privacy during patient examination |  |  |  |  |  |  |  |  |  | All in use | 5 were supplied |
| Patient Trolley |  |  | Bed in balance silver metallic stainless steel used to carry sterilizing instruments |  |  |  |  |  |  |  |  |  | Functional | 1 was supplied in good condition |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Two were supplied | All in use |
| Refrigerator, Basic |  |  | Blue rousheng type |  | KIRUHURA 00635HELH |  |  |  |  |  |  |  | In use | 1was supplied |
| Stethoscope |  |  | A device used to sound inside the patients body |  |  |  |  |  |  |  |  |  | All in use | 6 were supplied |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  | Blue in metallic handles and brakes |  |  |  |  |  |  |  |  |  | In use | 1 was supplied |
| Stove, Gas |  |  | Orange gas cylinder’s with a stove white in color |  |  |  |  |  |  |  |  |  | In use | 1 was supplied |
| Weighing Scale with Height Meter, Adult |  |  | a digital scale with a base used to measure adult weight |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Weighing Scale, Infant |  |  | A digital electronic platform scale white display head and silver platform at bottom |  |  |  |  |  |  |  |  |  | In use | One was supplied |
| Weighing Scale, Toddler |  |  | A circular hanging dial scale numbered 0-25 around the circle at the top |  |  |  |  |  |  |  |  |  | In use | 1 was supplied in use |
| Wheel Chair |  |  | A two large wheel chair with a seat black in color |  |  |  |  |  |  |  |  |  | Not in use need repair | 4 were supplied |
| Audio Visual Equipment |  |  | 1 projector,1 printer,1 t.v LG TYPE |  |  |  |  |  |  |  |  |  | ALL IN USE | Good condition |
| Medical Waste Bin |  |  | Metallic waste bin with the same base size and labelling of infectious |  |  |  |  |  |  |  |  |  | All in use and in good condition | 24 were supplied |
| Wall Clock |  |  | White circular wall clock used to show duration |  |  |  |  |  |  |  |  |  | All in use | 5 were supplied |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  | All in use | 5 were supplied |
| Diagnostic Equipment Set for OPD |  |  | Medical instrument’s set used to examine patients in OPD |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  | A set of glass instrunment device used in the laboratory |  |  |  |  |  |  |  |  |  | In store good condition | 4 were supplied |
| Hollow Ware Set, Treatment |  |  | Transparent set glassware |  |  |  |  |  |  |  |  |  | Still in store | 2 were supplied |
| Instrument Set, Dressing |  |  | A set of instrunment used by medical workers to assist in normal birth |  |  |  |  |  |  |  |  |  | In store | 1 was supplied |
| Instrument Set, Basic ENT |  |  | A collection of stainless steel set used in minor procedures |  |  |  |  |  |  |  |  |  | Not supplied |  |
| Instrument Set, Suture |  |  | A set of instruments used to close wounds |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  | A hand held device used to listen to ear sound |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  | Metallic beds with a mattress label supplied by Rodrisa supplies limited under ugift |  |  |  |  |  |  |  |  |  | All in use | 10 were supplied |
| Bed, Pediatric Patient, With Mattress |  |  | Metallic beds with a mattress label supplied by Rodrisa supplies limited under ugift |  |  |  |  |  |  |  |  |  | Good condition | 4 were supplied |
| Bedside Locker |  |  | A small metallic cabinet placed besides patients beds |  | KIRUHURA 00592,00590,00634 |  |  |  |  |  |  |  | The bed side locker drawers need repair | 10 WERE SUPPLIED |
| Cupboard, Instrument |  |  | White in color with 3 shelves |  | KIRUHURA 00634 |  |  |  |  |  |  |  | Good condition | Functional in use |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | A long cylinder with a black color and some white on top part |  |  |  |  |  |  |  |  |  | All in use | 2 were supplied |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | A mask used to help infants who cant breath well |  |  |  |  |  |  |  |  |  | In use | 1 was supplied |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  | An instrument used by patients to take air from the surrounding environment |  | KIRUHURA 00666 |  |  |  |  |  |  |  | In use | 1 was supplied |
| Bench |  |  | Wooden brown in colour used by patients |  | KIRUHURA 00476,00480 |  |  |  |  |  |  |  | All in use | 8 were supplied |
| Disinfection Buckets |  |  | A blue plastic buckets with a silver handle used to dispose off medical wastes |  | Not engraved |  |  |  |  |  |  |  | All in use | 5 were supplied |
| Baby Cot |  |  | A small bed with a mattress and large handles to help the baby not to fall |  | Not engraved |  |  |  |  |  |  |  | 2 were suppled | All in use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  | A medical set of instruments used to remove tissues in the uterus |  |  |  |  |  |  |  | Some in use others still in store | 5 were supplied |
| Stool, Laboratory |  |  |  |  | A metallic stool with seat used by doctors in the laboratory |  |  |  |  |  |  |  | All in use good condition | 3 were supplied |
| Penguin Sucker |  |  |  |  | A disposable with filter and clear tubes used to suck mucus in anew born |  |  |  |  |  |  |  | Good condition | 4 were supplied |
| Fetoscope, Dopplar |  |  |  |  | A silver in color metallic hallow tube with ear piece used to listen to fetal heart sounds during pregnancy |  |  |  |  |  |  |  | Still in store | Not in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  | A mother chair used to hold a premature baby on her mothers chest |  |  |  |  |  |  |  |  |  | In use and in good condition | 1 was supplied |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  | Electric digital device with strips used to measure the hemoglobin level in blood |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  | Metallic adjustable back and leg rest with a mattress and wheels with brakes for child birth |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | Blue bags with masks inside the bags |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  | Black cautioned chairs used by medical workers while executing their work |  |  |  |  |  |  |  |  |  | All in use and in good condition | 7 were supplied |
| Desk |  |  | Long brown wooden desk with drawers |  |  |  |  |  |  |  |  |  | All in use good condition | 5 were supplied |
| Filing Cabinet |  |  | Metallic grey cabinet with draws used to keep the documents |  | KIRUHURA 00561,00574,00605HELH |  |  |  |  |  |  |  | Good condition | 6 were supplied all in use |
| Non Residential Buildings |  |  | Pit latrine,cresent tank |  |  |  |  |  |  |  |  |  | Good condition | All in use |
| Residential Buildings |  |  | Maternity ward ,staff quarters |  |  |  |  |  |  |  |  |  | Functional all in use | All in use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …………KAARO HIGH SCHOOL……………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift NO |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

RECOMMENDATION

Need for more furniture for studients

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

CHALLENGES

Equipment’s not graved

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……KIRUHURA LG…………………………………………………………… Name of SCHOOL……………………KAARO SEED SCHOOL…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks |  |  | 108 brown 1 seater and 3 seater |  |  |  |  |  |  |  |  |  | functional | Some desks are broken |
| Office chairs |  |  | 7 plastic wood lnong |  |  |  |  |  |  |  |  |  | Functional | In use |
| Laboratory stools |  |  | 33 wooden | 1 year |  |  |  |  |  |  |  |  | Good | In use |
| Book shelves |  |  | 6 wall fixed |  |  |  |  |  |  |  |  |  | Good | In use |
| Desktop computes |  |  | 18 dell black |  |  |  |  |  |  |  |  |  | Functional |  |
| Server |  |  | 1 black color |  |  |  |  |  |  |  |  |  | functionla | In use |
| Network switch |  |  | 1 black |  |  |  |  |  |  |  |  |  |  |  |
| UPS |  |  | 1 Black lights |  |  |  |  |  |  |  |  |  | Functional | In use |
| multipurpose |  |  | Printer 1 white |  |  |  |  |  |  |  |  |  | Good | In use |
| Water tanks |  |  | 2 |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Kitchen |  |  | 1 |  |  |  |  |  |  |  |  |  | Good condition |  |
| Dormitory |  |  | Boys dorm |  |  |  |  |  |  |  |  |  |  | in use |
| Fences |  |  | 02 |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Library |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
| Lab |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
| Classes |  |  | 6 classes |  |  |  |  |  |  |  |  |  | functional | In use |
| Bus shed |  |  | 01 brick built |  |  |  |  |  |  |  |  |  | functional | In use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |