ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | BUSOGA |
| Name of Local Government | KALIRO DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | KOJJOSHADRACK |
| Contact/ email and Telephone | Kojjoshadrack129@gmail.com 0731144191 |
| Supervisor/ Sub team leader | SULAINA NANDUDU |
| Name | SULAINA NANDUDU |
| Contact | 0758998084 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG:  KALIRO DISTRICT                                                                                      NAME OF HEALTH FACILITY:   KISINDA HEALTH CENTER II

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD | 1 | Small electronic unit with a digital display, buttons, rubber tubing and an inflatable |  |  |  |  |  | 300,000 |  |  |  | Good |  |
| B.P. Machine (Aneroid wall mounted) | OPD | 2 | Round analogue pressure gauge mounted on a wall, connected to an arm cuff by rubber |  |  |  |  |  | 300,000 |  |  |  | Good |  |
| Autoclave 20 Liters., Duo Operated | OPD | 1 | shallow, kidney-shaped stainless-steel bowl with smooth edges. |  |  |  |  |  | 900,000 |  |  |  | Good |  |
| Bowl, Kick | OPD | 2 | Metal stand with a circular or shaped holder at the top for supporting a medical bowl |  |  |  |  |  | 800,000 |  |  |  | Good |  |
| Bowl Stand | OPD | 3 | Small thick glass slide with a precisely marked counting grid in the centre. |  |  |  |  |  | 584,417 |  |  |  | Good |  |
| Counting chamber Neubauer- Improved | Laboratory | 2 | Tall rectangular metal cabinet with doors, shelves and a lockable handle. |  |  |  |  |  | 240,000 |  |  |  | Good |  |
| Cupboard Steel, Lockable | Stores department | 2 | Tall adjustable metal pole with a wide base and hooks at the top for hanging fluid bags. |  |  |  |  |  | 3,000,000 |  |  |  | Good |  |
| Drip Stand |  | 0 | Small vertical metal or plastic rack with several slots for holding ESR tubes uprigh |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Laboratory | 1 | Long rectangular padded couch with a firm mattress and washable covering, sometimes with an adjustable head section. |  |  |  |  |  | 150,000 |  |  |  | Good |  |
| Examination Couch | OPD | 2 | Portable or mounted lamp with a bright LED light head attached to an adjustable arm or stand. |  |  |  |  |  | 600,000 |  |  |  | Good |  |
| Examination light,LED | OPD | 2 | Small handheld electronic device with a digital screen and a slot for inserting test |  |  |  |  |  | 600,000 |  |  |  | Good |  |
| Glucometer | OPD | 3 | Compact electronic device with a digital display, buttons and a sample-testing area |  |  |  |  |  | 150,000 |  |  |  | Good |  |
| Haemoglobin Meter, Digital | Laboratory | 2 | Vertical measuring rod with a movable horizontal headpiece and graduated measurement markings |  |  |  |  |  | 1,200,000 |  |  |  | Good |  |
| Instrument Trolley | Theatre | 2 | Wheeled metal trolley with one or more flat trays or shelves and a push handle. |  |  |  |  |  | 1,600,000 |  |  |  | Good |  |
| Microscope Binocular | Laboratory | 0 | Laboratory instrument with two eyepieces, objective lenses, a specimen stage, focusing knobs and a heavy base. |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | OPD | 1 | Small handheld instrument with a handle, narrow examination head and a viewing/light opening. |  |  |  |  |  | 100,000 |  |  |  | Good |  |
| Patient Screen | OPD | 4 | Foldable frame covered with fabric or plastic material, usually consisting of two or more connected panels. |  |  |  |  |  | 600,000 |  |  |  | Good |  |
| Patient Trolley | OPD | 1 | Wheeled rectangular patient bed with a padded surface, side rails and push handle |  |  |  |  |  | 2,500,000 |  |  |  | Good |  |
| Refrigerator, Basic | Laboratory | 1 | Upright rectangular refrigerator with an insulated door, internal shelves and temperature-control section |  |  |  |  |  | 4,000,000 |  |  |  | Good |  |
| Stethoscope | OPD | 4 | Flexible rubber tubing with a circular chest piece and two ear tips connected by metal tubing. |  |  |  |  |  | 120,000 |  |  |  | Good |  |
| Stop Watch | All departments | 2 | Small handheld digital or analogue timer with a display and control buttons |  |  |  |  |  | 80,000 |  |  |  | Good |  |
| Stretcher | OPD | 1 | Long flat patient-carrying frame with a padded surface, handles and sometimes wheels and side rails. |  |  |  |  |  | 2,400,000 |  |  |  | Good |  |
| Stove, Gas | Kitchen | 1 | Metal cooking appliance with one or more burners, control knobs and a gas connection |  |  |  |  |  | 800,000 |  |  |  | Good |  |
| Weighing Scale with Height Meter, Adult | OPD | 2 | Large standing scale with a weighing platform and an attached vertical height-measuring rod. |  |  |  |  |  | 1,100,000 |  |  |  | Good |  |
| Weighing Scale, Infant | Paediatric ward | 2 | Small weighing platform or tray mounted on an electronic or mechanical scale, designed for babies. |  |  |  |  |  | 400,000 |  |  |  | Good |  |
| Weighing Scale, Toddler | Paediatric ward | 2 | Compact weighing scale with a broad platform suitable for young children to stand on. |  |  |  |  |  | 300,000 |  |  |  | Good |  |
| Wheel Chair | General ward | 2 | Padded chair with a backrest, seat, legs or wheels and sometimes adjustable height. |  |  |  |  |  | 360,000 |  |  |  | Good |  |
| Height meter | OPD | 1 | Narrow flexible measuring tape, usually marked with measurement graduations and colour-coded sections. |  |  |  |  |  | 250,000 |  |  |  | Good |  |
| Medical Waste Bin | All departments | 3 | Rectangular work tables with a flat top and supporting legs |  |  |  |  |  | 240,000 |  |  |  | Good |  |
| Wall Clock | All departments | 4 | Tall rectangular metal cabinet containing several horizontal drawers with handles and often a lock. |  |  |  |  |  | 120,000 |  |  |  | Good |  |
| Diagnostic Equipment Set for MCH |  | 0 | Plastic or metal container with a lid, usually marked or colour-coded for medical waste. |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | OPD | 2 | Round clock with a face, numbers/markings and hands, designed for wall mounting. |  |  |  |  |  | 3,000,000 |  |  |  | Good |  |
| Glassware Set, Laboratory, Basic | Laboratory | 2 | Collection of small medical instruments packed together in a protective case or container. |  |  |  |  |  | 300,000 |  |  |  | Good |  |
| Office Chair | Administration | 4 | Set of examination instruments, usually arranged inside a portable metal or plastic carrying case. |  |  |  |  |  | 280,000 |  |  |  | Good |  |
| Instrument Set, Dressing | OPD | 2 | Collection of laboratory glass containers such as test tubes, beakers, measuring cylinders and flasks. |  |  |  |  |  | 1,600,000 |  |  |  | Good |  |
| Instrument Set, Basic ENT | ENT Department | 2 | Set of stainless-steel instruments such as forceps, scissors and dressing tools arranged in a tray or case. |  |  |  |  |  | 11,200,000 |  |  |  | Good |  |
| Pulse Oximeter, Hand held | OPD | 2 | Collection of small ENT instruments, normally stainless steel, arranged in a tray or carrying case. |  |  |  |  |  | 500,00 |  |  |  | Good |  |
| Bed, Adult Patient with Mattress | General ward | 10 | Small handheld electronic unit with a digital screen and a sensor connected by a cable. |  |  |  |  |  | 7,500,000 |  |  |  | Good |  |
| Bed, Pediatric Patient, With Mattress | Paediatric ward | 5 | Small hospital bed with a metal frame, mattress and protective side rails. |  |  |  |  |  | 9,000,000 |  |  |  | Good |  |
| Mid Upper Arm Tape | Physiotherapy department | 4 | Compact metal or stainless-steel cabinet with doors, shelves and a lock or handle. |  |  |  |  |  | 280,000 |  |  |  | Good |  |
| Cupboard, Instrument | Theatre | 1 | Large padded hospital bed with an adjustable frame, leg sections and hydraulic adjustment mechanism. |  |  |  |  |  | 900,000 |  |  |  | Good |  |
| Delivery Bed, Hydraulic Manual |  | 0 | Large oxygen cylinder made of metal, |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder |  | 0 | Hand-operated self-inflating rubber/silicone bag with connecting tubing and several small face masks. |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | Neonatal unit | 3 | Larger hand-operated self-inflating bag with tubing, reservoir and adult-sized face masks |  |  |  |  |  | 270,000 |  |  |  | Good |  |
| Resuscitator Manual, Adult, with all mask sizes | Emergency department | 3 | Electrically powered machine with a motor, collection bottle, pressure gauge, tubing and suction outlet. |  |  |  |  |  | 270,000 |  |  |  | Good |  |
| Suction Apparatus, (Electric) | Theatre | 1 | Compact electrical machine with a medication chamber, control buttons and tubing or mask attachment. |  |  |  |  |  | 548,340 |  |  |  | Good |  |
| Nebulizer, Ultrasonic | OPD | 1 | Box-shaped electrical machine with ventilation openings, control panel, oxygen outlets and flow controls. |  |  |  |  |  | 259,739 |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | Maternity ward | 2 | Long, simple seat with a flat surface and supporting legs, commonly made of wood |  |  |  |  |  | 3,800,000 |  |  |  | Good |  |
| Bench |  | 0 | metal buckets with handles, |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | All departments | 6 | Small baby bed with a mattress and raised protective bars or solid sides. |  |  |  |  |  | 480,000 |  |  |  | Good |  |
| Baby Cot | Maternity ward | 2 | Collection of basic medical examination instruments packed in a tray, case or container. |  |  |  |  |  | 700,000 |  |  |  | Good |  |
| Diagnostic Equipment Set for Ward | Laboratory | 1 | Collection of stainless-steel medical containers, bowls, trays and similar hollow items. |  |  |  |  |  | 500,000 |  |  |  | Good |  |
| Hollow Ware Set, Ward | IPD | 1 | Collection of stainless-steel obstetric instruments arranged in a sterilization tray or protective case. |  |  |  |  |  | 1,400,000 |  |  |  | Good |  |
| Instrument Set, Delivery | Maternity ward | 3 | Small set of stainless-steel scissors, forceps and other instruments arranged in a tray or case. |  |  |  |  |  | 1,200,000 |  |  |  | Good |  |
| Instrument Set, Stitch Removing |  | 0 | Set of plastic and stainless-steel instruments, including syringe-like suction equipment and cannulae, packed in a case or tray. |  |  |  |  |  |  |  |  |  | Good |  |
| MVA Kit | Maternity ward | 3 | Tall or medium-height seat with a round or flat padded seat and metal legs, sometimes with a footrest. |  |  |  |  |  | 149,976 |  |  |  | Good |  |
| Stool, Laboratory | laboratory | 1 | Small soft rubber suction device shaped like a small bulb, with a narrow nozzle. |  |  |  |  |  | 150,000 |  |  |  | Good |  |
| Penguin Sucker | Maternity ward | 3 | Small handheld electronic device with a probe connected by a cable to a display |  |  |  |  |  | 60,000 |  |  |  | Good |  |
| Fetoscope, Dopplar | Maternity ward | 2 | Respiratory support equipment consisting of a chamber, tubing, pressure bottle and patient interface such as nasal prongs or mask. |  |  |  |  |  | 346,320 |  |  |  | Good |  |
| Bubble CPAP | Neonatal unit | 2 | Compact laboratory machine with a hinged lid, control panel and internal rotating chamber for sample tubes. |  |  |  |  |  | 24,000,000 |  |  |  | Good |  |
| Centrifuge (Electric) | Laboratory | 1 | Large padded reclining chair with armrests, back support and a comfortable seat designed for holding a baby. |  |  |  |  |  | 2,200,000 |  |  |  | Good |  |
| Kangaroo Mother Care Chair | Maternity | 1 |  |  |  |  |  |  | 450,000 |  |  |  | Good |  |
| Radiant Infant Warmer | Neonatal unit | 1 |  |  |  |  |  |  | 4,761,900 |  |  |  | Good |  |
| Desk | All departments | 3 |  |  |  |  |  |  | 1,500,000 |  |  |  | Good |  |
| Filing Cabinet | Administration | 2 |  |  |  |  |  |  | 2,000,000 |  |  |  | Good |  |
|  |  | 132 |  |  |  |  |  |  | 106,101,268 |  |  |  |  |  |