ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |  |
| --- | --- | --- |
| SUB-REGION: | BUSOGA |  |
| Name of Local Government | KALIRO DISTRICT |  |
| VERIFIER PARTICULARS |  |  |  |
| Full name | KOJJOSHADRACK |  |
| Contact/ email and Telephone | kojjoshadrack120@gmail.com 0731144191 |  |
| Supervisor/ Sub team leader | SULAINA NANDUDU |  |
| Name | SULAINA NANDUDU |  |
| Contact | 0758998084 |  |
| Date of submission |  |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: KALIRO DISTRICT              NAME OF HEALTH FACILITY: KISINDA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Aneroid | OPD | 2 | Small electronic unit with a digital display, buttons, rubber tubing and an inflatable |  | Not engraved |  |  |  | 700,000 |  |  |  | Good |  |
| B.P. Machine (Aneroid wall mounted) | OPD | 1 | Round analogue pressure gauge mounted on a wall, connected to an arm cuff by rubber |  | Not engraved |  |  |  | 700,000 |  |  |  | Good |  |
| Autoclave, External |  | 1 | shallow, kidney-shaped stainless-steel bowl with smooth edges. |  | Not engraved |  |  |  | 950,000 |  |  |  | Good |  |
| Diagnostic Equipment Set | Laboratory department | 3 | Metal stand with a circular or shaped holder at the top for supporting a medical bowl |  | Not engraved |  |  |  | 1,650,000 |  |  |  | Good |  |
| Delivery Bed | Maternity department | 2 | Small thick glass slide with a precisely marked counting grid in the centre. |  | Not engraved |  |  |  | 12,000,000 |  |  |  | Good |  |
| Examination Couch | OPD | 2 | Tall rectangular metal cabinet with doors, shelves and a lockable handle. |  | Not engraved |  |  |  | 1,600,000 |  |  |  | Good |  |
| Examination light | OPD | 2 | Tall adjustable metal pole with a wide base and hooks at the top for hanging fluid bags. |  | Not engraved |  |  |  | 1,800,000 |  |  |  | Good |  |
| Glucometer | Laboratory | 1 | Small vertical metal or plastic rack with several slots for holding ESR tubes uprigh |  | Not engraved |  |  |  | 300,000 |  |  |  | Good |  |
| Hemoglobin Meter, Sahil | Laboratory | 2 | Long rectangular padded couch with a firm mattress and washable covering, sometimes with an adjustable head section. |  | Not engraved |  |  |  | 400,000 |  |  |  | Good |  |
| Height Meter | Physiotherapy department | 1 | Portable or mounted lamp with a bright LED light head attached to an adjustable arm or stand. |  | Not engraved |  |  |  | 80,000 |  |  |  | Good |  |
| Microscope Binocular | Physiotherapy department | 1 | Small handheld electronic device with a digital screen and a slot for inserting test |  | Not engraved |  |  |  | 2,000,000 |  |  |  | Good |  |
| Otoscope | Physiotherapy department | 1 | Compact electronic device with a digital display, buttons and a sample-testing area |  | Not engraved |  |  |  | 250,000 |  |  |  | Good |  |
| Pulse oximeter | OPD | 2 | Vertical measuring rod with a movable horizontal headpiece and graduated measurement markings |  | Not engraved |  |  |  | 1,700,000 |  |  |  | Good |  |
| Penguin sucker | Theatre department | 3 | Wheeled metal trolley with one or more flat trays or shelves and a push handle. |  | Not engraved |  |  |  | 90,000 |  |  |  | Good |  |
| Stethoscope | OPD | 4 | Laboratory instrument with two eyepieces, objective lenses, a specimen stage, focusing knobs and a heavy base. |  | Not engraved |  |  |  | 1,600,000 |  |  |  | Good |  |
| Bed, adult patient |  | 10 | Small handheld instrument with a handle, narrow examination head and a viewing/light opening. |  | Not engraved |  |  |  | 7,608,000 |  |  |  | Good |  |
|  |  |  | Foldable frame covered with fabric or plastic material, usually consisting of two or more connected panels. |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | OPD | 2 | Wheeled rectangular patient bed with a padded surface, side rails and push handle |  | Not engraved |  |  |  | 2,200,000 |  |  |  | Good |  |
| Resuscitator,Manual,adult | Emergency department | 15 | Upright rectangular refrigerator with an insulated door, internal shelves and temperature-control section |  | Not engraved |  |  |  | 6,000,000 |  |  |  | Good |  |
| Resuscitator, manual, infant | Neonatal department | 15 | Flexible rubber tubing with a circular chest piece and two ear tips connected by metal tubing. |  | Not engraved |  |  |  | 6,000,000 |  |  |  | Good |  |
| Suction Apparatus, (Electric) | Emergency department | 1 | Small handheld digital or analogue timer with a display and control buttons |  | Not engraved |  |  |  | 2,000,000 |  |  |  | Good |  |
| Nebulizer | Emergency department | 1 | Long flat patient-carrying frame with a padded surface, handles and sometimes wheels and side rails. |  | Not engraved |  |  |  | 550,000 |  |  |  | Good |  |
| Oxygen Concentrator | Emergency department | 2 | Metal cooking appliance with one or more burners, control knobs and a gas connection |  | Not engraved |  |  |  | 10,000,000 |  |  |  | Good |  |
| MVA Kit, Reusable | maternity department | 3 | Large standing scale with a weighing platform and an attached vertical height-measuring rod. |  | Not engraved |  |  |  | 1,200,000 |  |  |  | Good |  |
| Instrument Set, Delivery | Maternity department | 2 | Small weighing platform or tray mounted on an electronic or mechanical scale, designed for babies. |  | Not engraved |  |  |  | 1,600,000 |  |  |  | Good |  |
| Weighing scale, infant | Neonatal department | 2 | Compact weighing scale with a broad platform suitable for young children to stand on. |  | Not engraved |  |  |  | 800,000 |  |  |  | Good |  |
| Fetoscope | Neonatal department | 4 | Padded chair with a backrest, seat, legs or wheels and sometimes adjustable height. |  | Not engraved |  |  |  | 220,000 |  |  |  | Good |  |
|  |  |  | Narrow flexible measuring tape, usually marked with measurement graduations and colour-coded sections. |  | Not engraved |  |  |  |  |  |  |  |  |  |