ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN REGION |
| --- | --- |
| SUB-REGION: | BUSOGA REGION |
| Name of Local Government | NAMAYINGO DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | KOJJO SHADRACK NAKABIITO SHARITA |
| Contact/ email and Telephone | Kojjoshadrack120@gmail.com 0731144191 Nakabiitosharita70@gmail.com 0708454061 |
| Supervisor/ Sub team leader |  |
| Name | NANDUDU SULAINA |
| Contact | 0758998084 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  BUGANA HEALTH CENTER

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes But for the construction of the buildings are kept by the municipal engineer |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility maintains their assets

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Appreciations - Improved infrastructure – UgIFT supports construction and upgrading of health centres, including maternity wards, laboratories and other essential facilities. - Provision of medical equipment – Health centres receive essential equipment for laboratory services, maternity care, immunisation and general patient treatment. - Improved access to healthcare – New and upgraded health centres bring healthcare services closer to communities, reducing the distance and cost of seeking medical care. - Improved maternal and child health services – Facilities are better equipped to provide antenatal care, safe deliveries, immunisation and treatment for mothers and children. - Improved service delivery – Better infrastructure, equipment and staffing enable health workers to provide faster, safer and more effective healthcare services. Challenges - The institution has limited space for the better utilisation of the some of the big movable assets - Some The government suppliers have not taken the initiative of installing and assembling some of the items received - items supplied are below standards e.g. the microscopes - Some government contractors have failed to provide the the complete paperwork upto now - High costs in replacement of the solar power system Recommendations - The suppliers should take time to assemble the assets or train the stores person - OPD remodelling to cater for supplied equipment usage |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: NAMAYINGO DISTRICT                                                              NAME OF HEALTH FACILITY: BUGIRI MUNICIPAL COUNCIL HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD | 2 | Small electronic unit with a digital display, buttons, rubber tubing and an inflatable | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| B.P. Machine (Aneroid wall mounted) | OPD | 2 | Round analogue pressure gauge mounted on a wall, connected to an arm cuff by rubber | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Bowl, Kick | OPD | 1 | shallow, kidney-shaped stainless-steel bowl with smooth edges. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Bowl Stand | OPD | 2 | Metal stand with a circular or shaped holder at the top for supporting a medical bowl | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Counting chamber Neubauer- Improved | Laboratory | 2 | Small thick glass slide with a precisely marked counting grid in the centre. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Cupboard Steel, Lockable | Stores department | 2 | Tall rectangular metal cabinet with doors, shelves and a lockable handle. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Drip Stand | OPD | 8 | Tall adjustable metal pole with a wide base and hooks at the top for hanging fluid bags. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| ESR Stand | Laboratory | 1 | Small vertical metal or plastic rack with several slots for holding ESR tubes uprigh | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Examination Couch | OPD | 2 | Long rectangular padded couch with a firm mattress and washable covering, sometimes with an adjustable head section. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Examination light, LED | OPD | 2 | Portable or mounted lamp with a bright LED light head attached to an adjustable arm or stand. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Glucometer | OPD | 2 | Small handheld electronic device with a digital screen and a slot for inserting test | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Haemoglobin Meter, Digital | Laboratory | 2 | Compact electronic device with a digital display, buttons and a sample-testing area | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Height Meter | OPD | 1 | Vertical measuring rod with a movable horizontal headpiece and graduated measurement markings | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Instrument Trolley | Theatre | 2 | Wheeled metal trolley with one or more flat trays or shelves and a push handle. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Microscope Binocular | laboratory | 1 | Laboratory instrument with two eyepieces, objective lenses, a specimen stage, focusing knobs and a heavy base. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Otoscope | Stores Department | 1 | Small handheld instrument with a handle, narrow examination head and a viewing/light opening. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Patient Screen | OPD | 4 | Foldable frame covered with fabric or plastic material, usually consisting of two or more connected panels. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Patient Trolley | OPD | 1 | Wheeled rectangular patient bed with a padded surface, side rails and push handle | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Refrigerator, Basic | ward | 1 | Upright rectangular refrigerator with an insulated door, internal shelves and temperature-control section | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Stethoscope | OPD | 4 | Flexible rubber tubing with a circular chest piece and two ear tips connected by metal tubing. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Stop Watch | Laboratory | 2 | Small handheld digital or analogue timer with a display and control buttons | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Stretcher | OPD | 1 | Long flat patient-carrying frame with a padded surface, handles and sometimes wheels and side rails. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Stove, Gas | Kitchen | 1 | Metal cooking appliance with one or more burners, control knobs and a gas connection | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Weighing Scale with Height Meter, Adult | OPD | 2 | Large standing scale with a weighing platform and an attached vertical height-measuring rod. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Weighing Scale, Infant | Paediatric ward | 2 | Small weighing platform or tray mounted on an electronic or mechanical scale, designed for babies. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Weighing Scale, Toddler | Paediatric ward | 2 | Compact weighing scale with a broad platform suitable for young children to stand on. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Office Chair | Administration | 7 | Padded chair with a backrest, seat, legs or wheels and sometimes adjustable height. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Mid Upper Arm Tape | Physiotherapy department | 4 | Narrow flexible measuring tape, usually marked with measurement graduations and colour-coded sections. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Desks | All departments | 3 | Rectangular work tables with a flat top and supporting legs | 03 | Not engraved |  |  |  |  |  |  |  | functional |  |
| Filling cabinet | Administration | 2 | Tall rectangular metal cabinet containing several horizontal drawers with handles and often a lock. | 03 | Not engraved |  |  |  |  |  |  |  | functional |  |
| Medical Waste Bin | All departments | 6 | Plastic or metal container with a lid, usually marked or colour-coded for medical waste. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Wall Clock | All departments | 4 | Round clock with a face, numbers/markings and hands, designed for wall mounting. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Diagnostic Equipment Set for MCH | ALL department | 2 | Collection of small medical instruments packed together in a protective case or container. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Diagnostic Equipment Set for OPD | OPD | 2 | Set of examination instruments, usually arranged inside a portable metal or plastic carrying case. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Glassware Set, Laboratory, Basic | Laboratory | 2 | Collection of laboratory glass containers such as test tubes, beakers, measuring cylinders and flasks. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Instrument Set, Dressing | OPD | 2 | Set of stainless-steel instruments such as forceps, scissors and dressing tools arranged in a tray or case. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Instrument Set, Basic ENT | OPD | 3 | Collection of small ENT instruments, normally stainless steel, arranged in a tray or carrying case. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Pulse Oximeter, Hand held | OPD | 2 | Small handheld electronic unit with a digital screen and a sensor connected by a cable. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Bed, Pediatric Patient, With Mattress | Maternity ward | 5 | Small hospital bed with a metal frame, mattress and protective side rails. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Cupboard, Instrument | stores | 1 | Compact metal or stainless-steel cabinet with doors, shelves and a lock or handle. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Delivery Bed, Hydraulic Manual | Maternity ward | 1 | Large padded hospital bed with an adjustable frame, leg sections and hydraulic adjustment mechanism. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Maternity ward | 2 | Large oxygen cylinder made of metal, | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Resuscitator Manual, Infant, with all Mask sizes | Maternity ward | 2 | Hand-operated self-inflating rubber/silicone bag with connecting tubing and several small face masks. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Resuscitator Manual, Adult, with all mask sizes | Emergency ward | 2 | Larger hand-operated self-inflating bag with tubing, reservoir and adult-sized face masks | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Suction Apparatus, (Electric) | OPD | 2 | Electrically powered machine with a motor, collection bottle, pressure gauge, tubing and suction outlet. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Nebulizer, Ultrasonic | OPD | 1 | Compact electrical machine with a medication chamber, control buttons and tubing or mask attachment. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Oxygen Concentrator, Duo Flow | OPD | 4 | Box-shaped electrical machine with ventilation openings, control panel, oxygen outlets and flow controls. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Bench | All departments | 4 | Long, simple seat with a flat surface and supporting legs, commonly made of wood | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Disinfection Buckets | All departments | 6 | metal buckets with handles, | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Baby Cot | Maternity ward | 5 | Small baby bed with a mattress and raised protective bars or solid sides. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Diagnostic Equipment Set for Ward | OPD | 3 | Collection of basic medical examination instruments packed in a tray, case or container. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Hollow Ware Set, Ward |  | 3 | Collection of stainless-steel medical containers, bowls, trays and similar hollow items. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Instrument Set, Delivery | Maternity | 3 | Collection of stainless-steel obstetric instruments arranged in a sterilization tray or protective case. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Instrument Set, Stitch Removing | Maternity | 3 | Small set of stainless-steel scissors, forceps and other instruments arranged in a tray or case. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| MVA Kit | Maternity | 4 | Set of plastic and stainless-steel instruments, including syringe-like suction equipment and cannulae, packed in a case or tray. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Stool, Laboratory | laboratory | 1 | Tall or medium-height seat with a round or flat padded seat and metal legs, sometimes with a footrest. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Penguin Sucker | Maternity | 3 | Small soft rubber suction device shaped like a small bulb, with a narrow nozzle. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Fetoscope, Dopplar | Maternity | 2 | Small handheld electronic device with a probe connected by a cable to a display | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Bubble CPAP | Maternity ward | 2 | Respiratory support equipment consisting of a chamber, tubing, pressure bottle and patient interface such as nasal prongs or mask. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Centrifuge (Electric) | laboratory | 2 | Compact laboratory machine with a hinged lid, control panel and internal rotating chamber for sample tubes. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
| Kangaroo Mother Care Chair | Maternity ward | 1 | Large padded reclining chair with armrests, back support and a comfortable seat designed for holding a baby. | 03 | Not engraved |  |  |  |  |  |  |  | functional | Good |
|  |  |  |  | 03 | Not engraved |  |  |  |  |  |  |  |  |  |