VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN REGION |
| --- | --- |
| SUB-REGION: | KAMULI |
| Name of Local Government | KAMULI DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NAMUGANGA SHARYPHA |
| Contact/ email and Telephone | 0782 619901 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  Bukungu Health Center III

| 1a | Does the Facility have a record of all assets provided under UgIFT? (Obtain a record and verify if it has the costs and numbers supplied | Record has only quantity and no costs |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……Kamuli District…………………………………… NAME OF HEALTH FACILITY…………Bukungu HC III………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Received 2. Indicated on the delivery note but not seen at the facility |
| B.P. Machine (Aneroid wall mounted) | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Received 2. Indicated on the delivery note but not seen at the facility |
| Autoclave 20 Liters.,Duo Operated | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Received 1 |
| Bowl, Kick | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 1 |
| Bowl Stand | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 3 |
| Counting chamber Neubauer- Improved | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2. Indicated on the delivery note but not seen at the facility |
| Cupboard Steel, Lockable | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 1 |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 1 |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Glucometer | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 3 |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 1 |
| Instrument Trolley | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  |  |
| Otoscope | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  | Functional |  | Not indicated on the delivery note. However, the in-charge has 1 in store |
| Patient Screen | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  | Functional |  | Received 4 |
| Patient Trolley | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  | Functional |  | Received 1 |
| Refrigerator, Basic | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  | Functional |  | Received 1 |
| Stethoscope | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Delivery note indicates 4 while the in-charge has 7 in store |
| Stop Watch | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Stretcher | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 1 |
| Stove, Gas | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Received 1. The stov cant be used because gas wasn’t provided. |
| Weighing Scale with Height Meter, Adult | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Weighing Scale, Infant | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Weighing Scale, Toddler | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Received 2 |
| Wheel Chair | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Received 2 |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 3 |
| Wall Clock | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 4 |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Glassware Set, Laboratory, Basic | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Received 2 |
| Hollow Ware Set, Treatment | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Received 1 |
| Instrument Set, Dressing | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | In store | Received 2 |
| Instrument Set, Basic ENT | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | In store | Received 2 |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | In store | Received 2 |
| Bed, Adult Patient with Mattress | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 10 |
| Bed, Pediatric Patient, With Mattress | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 4 |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 1 |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  |  | Received 2 |
| Resuscitator Manual, Adult, with all mask sizes | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | In store | Received 2 |
| Suction Apparatus, (Electric) | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | In store | Received 2 |
| Nebulizer, Ultrasonic | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Still in store | Received 1 |
| Oxygen Concentrator, Duo Flow | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Still in store | Received 2. |
| Bench | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 4. |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Ward | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 1 |
| Instrument Set, Delivery | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 3 |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Stool, Laboratory | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 1 |
| Penguin Sucker | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 3 |
| Fetoscope, Dopplar | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Still in store | Received 2 |
| Bubble CPAP | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Centrifuge (Electric) | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Still in store | Received 1 |
| Kangaroo Mother Care Chair | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 1 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Instrument set, ENT Basic for HCIII | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Still In store | Received 2 |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 4 but 2 have their armrest broken |
| Desk | Health |  |  |  |  |  |  |  |  |  |  |  | Functional | Received 7 but 3 had tops missing |
| Filing Cabinet | Health |  |  |  |  |  | 15/11/2025 |  |  |  |  |  | Functional | Received 2 |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

BUKUNGU HEALTH CENTRE III ASSETS- PICTORIAL

| No | Asset description | Photo asset |
| --- | --- | --- |
| 1. | The signage of Bukungu HC III |  |
| 2 | The entire block housing all health Centre departments |  |
| 3 | The nebulizer still packed in store |  |
| 4 | The wheel chair in store |  |
| 5 | A metallic 3 layered instrument trolley still in store |  |
| 6 | Stethoscopes still in store |  |
| 7 | A metallic autoclave still in store |  |
| 8 | Electronic examination lights not under use |  |
| 9 | Instrument set (Dressing) still in store at the facility |  |
| 10 | Weighing scale for toddlers. Asset still in store |  |
| 11 | Packaged otoscopes in store |  |
| 12 | An ultrasonic nebulizer and bubble CPAP still packaged in store |  |
| 13 | An electronic suction machine still in store |  |
| 14 | Infant radiant warmer, wall clock and kangaroo chair place in the maternity ward. |  |
| 15 | A metallic bowl stand that accommodates 2 bowls at ago |  |
| 16 | Duo-flow oxygen concentrator placed in the labor suite |  |
| 17 | An adult weighing scale with a heightmeter |  |
| 18 | Metallic disinfectant bins placed in the Adult ward |  |
| 19 | Patient trolley with an adjustable backrest, fold- down safety side rails and hydraulic height adjustment mechanism |  |
| 20 | Laboratory centrifuge with a circular specimen chamber, hinged lid and front control panel place in laboratory section. Equipment not engraved. |  |
| 21 | A basic refrigerator with 2 layers placed in the laboratory |  |
| 22 | Pediatric admission beds with mattresses attachments of drip stands |  |
| 23 | Adult admission beds with mattresses |  |
| 24 | Steel cupboard in the in-charge’s office. It is not engraved |  |
| 25 | An office chair and wooden desk with drawers |  |
|  | A stop watch and pulse oximeter. Each equipment is nonfunctional |  |