VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN REGION |
| --- | --- |
| SUB-REGION: | KAMULI |
| Name of Local Government | KAMULI DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NAMUGANGA SHARYPHA |
| Contact/ email and Telephone | 0782 619901 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bubago Health Center III

| 1a | Does the Facility have a record of all assets provided under UgIFT? (Obtain a record and verify if it has the costs and numbers supplied | Record has only quantity and no costs |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……Kamuli District…………………………………… NAME OF HEALTH FACILITY…………Bubago HC III………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| B.P. Machine (Aneroid wall mounted) | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Autoclave 20 Liters.,Duo Operated | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Bowl, Kick | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1 |
| Bowl Stand | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | All rusty | Received 3 |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  |  | Received 6 |
| Drip Stand | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  |  | Received 9 |
| ESR Stand | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  |  | Received 1 |
| Examination Couch | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  |  | Received 4 |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | All broken down | Received 2 |
| Instrument Trolley | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 4 |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1 |
| Patient Screen | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | 4 broke down on delivery | Received 5 |
| Patient Trolley | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1 |
| Refrigerator, Basic | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Stethoscope | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 8 |
| Stop Watch | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1 |
| Stretcher | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Stove, Gas | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  |  | The stove is not in use because there no gas was provided |
| Weighing Scale with Height Meter, Adult | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Broke down | Received 2. Equipment wasn’t used as it was already not functioning on delivery |
| Weighing Scale, Infant | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Weighing Scale, Toddler | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Wheel Chair | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 4 |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 10 |
| Wall Clock | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 4 |
| Diagnostic Equipment Set for MCH | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 3 |
| Diagnostic Equipment Set for OPD | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Glassware Set, Laboratory, Basic | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Hollow Ware Set, Treatment | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Instrument Set, Dressing | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Instrument Set, Basic ENT | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1 |
| Instrument Set, Suture | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 3 |
| Pulse Oximeter, Hand held | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Bed, Adult Patient with Mattress | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 10 adult patient beds and mattresses |
| Bed, Pediatric Patient, With Mattress | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 4 pediatric patient beds with mattresses |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1 |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  |  | Received 1. Equipment still in store |
| Resuscitator Manual, Adult, with all mask sizes | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1. Equipment still in store |
| Suction Apparatus, (Electric) | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1. |
| Nebulizer, Ultrasonic | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1. |
| Oxygen Concentrator, Duo Flow | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Not operational | Received 1. Staff were not trained to use the equipment. |
| Bench | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 4. |
| Disinfection Buckets | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 6. |
| Baby Cot | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Diagnostic Equipment Set for Ward | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Hollow Ware Set, Ward | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Instrument Set, Delivery | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 5 |
| Instrument Set, Stitch Removing | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 5 |
| MVA Kit | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 5 |
| Stool, Laboratory | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 4 |
| Penguin Sucker | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 3 |
| Fetoscope, Dopplar | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 2 |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1 |
| Kangaroo Mother Care Chair | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 1 |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 15 |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 5 |
| Desk | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 7 |
| Filing Cabinet | Health |  |  |  | Bubago HC III |  | 21/09/2022 |  |  |  |  |  | Functional | Received 6 |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Bubago HC III: Key Challenges and Recommendations

Challenges

- Inadequate lighting: 8 ceiling light fittings are non-functional and costly to replace, resulting in inadequate lighting in affected rooms particularly at night.

- Equipment failure: The solar inverter, weighing scale, TV screen, and blood pressure machines supplied to the facility have broken down, limiting their functionality

- Limited equipment capacity: The oxygen concentrator is currently non-functional due to inadequate staff capacity to operate and maintain the equipment.

Recommendations

- Provision of essential medical and safety equipment: UGiFT should support the facility with an ultrasound machine, CBC analyzer, chemistry analyzer, suction machine, fire extinguishers, incinerator, and appropriately sized waste bins to strengthen diagnostic, emergency, infection-prevention, and waste-management services.

- Solar power for staff quarters: Provide a solar power system for the staff quarters to improve reliable access to electricity.

- Equipment operation and maintenance: Provide user training and basic maintenance support to health workers on the operation and management of specialized equipment, particularly the oxygen concentrator.

| No | Asset description | Photo asset |
| --- | --- | --- |
| 1 | The entire facility building that houses all departments. |  |
| 2 | The patient waiting area at the facility. |  |
| 3 | The male and female VIP latrines (4 stance) |  |
| 4 | A steel cupboard placed in the in-charge’s office |  |
| 5 | An engraved examination couch |  |
| 6 | A metallic instrument trolley under use in the OPD |  |
| 7 | An engraved wooden desk |  |
| 8 | Some of the medical equipment still in store. |  |
| 9 | The patient screen and duo flow oxygen concentrator in the labor suite |  |
| 10 | The metallic cots with drip stands, 2-layered instrument trolley metallic and disinfectant bins. |  |
| 11 | Adult admission bed with black mattress, delivery bed with pink mattress and black LED examination lights in the labor suite. |  |
| 12 | A wall clock and a weighing scale for newborns. |  |
| 13 | A water facility and metallic bowl stand |  |
| 14 | The adult admission bed that is broken down. It’s placed in the OPD ward because the facility doesn’t have a store for non-functional equipment. |  |
| 15 | Wheelchairs and bowl stand. The kick bowls in the picture are all rusty |  |
| 16 | A refrigerator and centrifuge all placed in the laboratory |  |
| 17 | Adult admission beds, drip stands in the adult ward |  |
| 18 | Metallic pink Pediatric beds with small sized plastic cabinets. |  |
| 19 | Engraved pink Metallic pediatric bed. |  |
| 20 | Leather office chairs and a wooden desk in the OPD |  |
| 21 | The adult weighing scale that is already broken down |  |
| 22 | The solar inverter that isn’t functioning. |  |