ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government |  |
| VERIFIER PARTICULARS |  |
| Full name |  |
| Contact/ email and Telephone |  |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …………………… KAGUMBA HC III ………………………………………….

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

No assets have broken down yet.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes, the health facility has got a book where they keep records of the conditions of their assets.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Yes, they are able to deliver over 50 mothers a month due to the maternity ward provided. It’s the only facility serving over the parishes including those from the landing site.

It has le to an increase in ANC services with over 165 mothers turning up in a month up from 56.

Challenges:

- They still have challenges with staff housing.

- They lack an OPD, store, and lab.

- Lack of a patient’s kitchen.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………… Kamuli District ………………… NAME OF HEALTH FACILITY…………… Kagumba Health Centre III ……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Kagumba HC III |  | 2 Pieces Received. Digital, plastic, handheld |  | KAG UGIFT | 13/02/2026 |  |  | @300,000 |  |  |  | Good Condition | In use |
| B.P. Machine (Aneroid wall mounted) |  |  | 2 Pieces Received. Round dial, wall-mounted |  | KAG UGIFT |  |  |  | @150,000 |  |  |  | Good Condition | In use |
| Autoclave 20 Liters.,Duo Operated |  |  | 1 Piece Received. Stainless steel, electric/dual operated 75 litres |  | N/A | 27/06/2026 | 03/08/2026 |  | 8,344,279 |  |  |  | Good Condition | In use |
| Bowl, Kick |  |  | 1 Piece Received. Stainless steel |  | KAG UGIFT |  |  |  | @400,000 |  |  |  | Good Condition | In use |
| Bowl Stand |  |  | 2 Pieces Received. Stainless steel |  | KAG UGIFT |  |  |  | @194,806 |  |  |  | Good Condition | In use |
| Counting chamber Neubauer- Improved |  |  | 2 Pieces Received. Glass slide |  | KAG UGIFT |  |  |  | @120,000 |  |  |  | Good Condition | In use |
| Cupboard Steel, Lockable |  |  | 2 Pieces Received. Steel, two-door, lockable |  | KAG UGIFT |  |  |  | @150,000 |  |  |  | Good Condition | In use |
| Drip Stand |  |  | 8 Pieces Received. Stainless steel, wheeled base |  | KAG UGIFT |  |  |  | @50,000 |  |  |  | Good Condition | In use |
| ESR Stand |  |  | 1 Stand Received. Metal, multi-tube rack |  | KAG UGIFT |  |  |  | @150,000 |  |  |  | Good Condition | Not yet in use. |
| Examination Couch |  |  | 2 Pieces Received. Padded, metal-framed |  | KAG UGIFT |  |  |  | @300,000 |  |  |  | Good Condition | 1 in Ap room & the other in Antenatal |
| Examination light,LED |  |  | 2 Pieces Received. LED, adjustable metal stand |  | KAG UGIFT |  |  |  | @300,000 |  |  |  | Good Condition | Not in use. |
| Glucometer |  |  | 2 Pieces Received. Small, plastic, handheld |  | KAG UGIFT |  |  |  | @50,000 |  |  |  | Good Condition | They ran out of strips |
| Haemoglobin Meter, Digital |  |  | 2 Pieces Received. Digital, handheld, plastic |  | KAG UGIFT |  |  |  | @600,000 |  |  |  | Good Condition | They ran out of strips |
| Height Meter |  |  | 1 Piece Received. Tall, graduated measuring rod |  | KAG UGIFT |  |  |  | @250,000 |  |  |  | Good Condition |  |
| Instrument Trolley |  |  | 2 Pieces Received. Stainless steel, two-tier |  | KAG UGIFT |  |  |  | @800,000 |  |  |  | Good Condition |  |
| Microscope Binocular |  |  | 1 Piece Received. Binocular, metal, optical |  | KAG UGIFT |  |  |  | @700,000 |  |  |  | Good Condition | Not in use. |
| Otoscope |  |  | 1 Piece Received. Handheld, illuminated, plastic |  | KAG UGIFT |  |  |  | @100,000 |  |  |  | Good Condition | Not in use |
| Patient Screen |  |  | 4 Pieces Received. Foldable, metal-framed, fabric |  | KAG UGIFT |  |  |  | @150,000 |  |  |  | Good Condition | In use |
| Patient Trolley |  |  | 1 Piece Received. Metal-framed, wheeled, padded |  | KAG UGIFT |  |  |  | @2,500,000 |  |  |  | Good Condition | In use. |
| Refrigerator, Basic |  |  | 1 Piece Received. Upright, electric |  | KAG UGIFT |  |  |  | @4,000,000 |  |  |  | Good Condition | In use |
| Stethoscope |  |  | 4 Pieces Received. Flexible tubing, dual-head |  | KAG UGIFT |  |  |  | @30,000 |  |  |  | Good Condition | 2 in use. 2 still kept. |
| Stop Watch |  |  | 2 Pieces Received. Digital, handheld, plastic |  | KAG UGIFT |  |  |  | @40,000 |  |  |  | Good Condition | 1 in use. 1 still kept. |
| Stretcher |  |  | 1 Piece Received. Metal-framed, wheeled, padded |  | KAG UGIFT |  |  |  | @2,400,000 |  |  |  | Good Condition | In use |
| Stove, Gas |  |  | 1 Piece Received. Metal, two-burner, freestanding |  | KAG UGIFT |  |  |  | @800,000 |  |  |  | Good Condition | In use |
| Weighing Scale with Height Meter, Adult |  |  | 2 Pieces Received. Mechanical, metal, platform-type, height rod |  | KAG UGIFT |  |  |  | @550,000 |  |  |  | Good Condition | In use |
| Weighing Scale, Infant |  |  | 2 Pieces Received. Digital, tray-type, plastic |  | KAG UGIFT |  |  |  | @200,000 |  |  |  | Good Condition | 1 in use while other still New |
| Weighing Scale, Toddler |  |  | 2 Pieces Received. Mechanical, hanging-type, metal |  | KAG UGIFT |  |  |  | @150,000 |  |  |  | Good Condition | Not in use |
| Wheel Chair |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Audio Visual Equipment |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Medical Waste Bin |  |  | 6 Pieces Received. Plastic, stainless-steel, pedal-operated, lidded |  | KAG UGIFT |  |  |  | @80,000 |  |  |  | Good Condition | 3 in use. 3 kept. |
| Wall Clock |  |  | 4 Pieces Received. Round, plastic, glass, wall-mounted |  | KAG UGIFT |  |  |  | @30,000 |  |  |  | Good Condition | 2 in use. 2 kept. |
| Diagnostic Equipment Set for MCH |  |  | 2 Sets Received. Metal instruments, assorted set |  | KAG UGIFT |  |  |  | @350,000 |  |  |  | Good Condition | 1 in use |
| Diagnostic Equipment Set for OPD |  |  | 2 Sets Received. Metal instruments, assorted set |  | KAG UGIFT |  |  |  | @1,500,000 |  |  |  | Good Condition | 1 in use |
| Glassware Set, Laboratory, Basic |  |  | 2 Sets Received. Glass, assorted laboratory pieces |  | KAG UGIFT |  |  |  | @1,500,000 |  |  |  | Good Condition | Not in use |
| Hollow Ware Set, Treatment |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Instrument Set, Dressing |  |  | 2 Sets Received. Stainless steel, assorted instruments |  | KAG UGIFT |  |  |  | @800,000 |  |  |  | Good Condition | 1 in use |
| Instrument Set, Basic ENT |  |  | 3 Sets Received. Stainless steel, assorted instruments |  | KAG UGIFT |  |  |  | @5,600,000 |  |  |  | Good Condition | Not in use |
| Instrument Set, Suture |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Pulse Oximeter, Hand held |  |  | 2 Pieces Received. Digital, handheld, plastic |  | KAG UGIFT |  |  |  | @250,000 |  |  |  | Good Condition | 1 in use |
| Bed, Adult Patient with Mattress |  |  | 10 Pieces Received. Metal-framed, mattress included |  | KAG UGIFT |  |  |  | @750,000 |  |  |  | Good Condition | All in use |
| Bed, Pediatric Patient, With Mattress |  |  | 5 Pieces Received. Metal-framed, mattress included |  | KAG UGIFT |  |  |  | @1,800,000 |  |  |  | Good Condition | All in use |
| Bedside Locker |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Cupboard, Instrument |  |  | 1 Piece Received. Metal, glass-fronted, lockable |  | KAG UGIFT |  |  |  | @900,000 |  |  |  | Good Condition | In use |
| Delivery Bed, Hydraulic Manual |  |  | 1 Piece Received. Metal-framed, hydraulic adjustable |  | KAG UGIFT |  |  |  | @4,000,000 |  |  |  | Good Condition | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | 2 Cylinders Received. Metal regulator, cylinder-mounted |  | KAG UGIFT |  |  |  | @1,500,000 |  |  |  | Good Condition | Not yet in use. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | 2 Sets Received. Manual bag, silicone masks |  | KAG UGIFT |  |  |  | @90,000 |  |  |  | Good Condition | Not yet in use. |
| Resuscitator Manual, Adult, with all mask sizes |  |  | 2 Sets Received. Manual bag, silicone masks |  | KAG UGIFT |  |  |  | @90,000 |  |  |  | Good Condition | Not yet in use. |
| Suction Apparatus, (Electric) |  |  | 2 Pieces Received. Electric, plastic, wheeled |  | KAG UGIFT |  |  |  | @548,340 |  |  |  | Good Condition | Not yet in use. |
| Nebulizer, Ultrasonic |  |  | 1 Piece Received. Electric, plastic, handheld |  | KAG UGIFT |  |  |  | @259,739 |  |  |  | Good Condition | Not yet in use. |
| Oxygen Concentrator, Duo Flow |  |  | 4 Pieces Received. Electric, plastic, wheeled |  | KAG UGIFT |  |  |  | @1,900,000 |  |  |  | Good Condition | 2 in use. 2 kept. |
| Bench |  |  | 4 Pieces Received. Metal-framed, wooden seat |  | KAG UGIFT |  |  |  | @280,000 |  |  |  | Good Condition | All in use |
| Disinfection Buckets |  |  | 6 Pieces Received. Plastic, lidded, handled |  | KAG UGIFT |  |  |  | @80,000 |  |  |  | Good Condition | All in use |
| Baby Cot |  |  | 5 Pieces Received. Metal-framed, enclosed sides, Pink |  | KAG UGIFT |  |  |  | @350,000 |  |  |  | Good Condition | All in use |
| Diagnostic Equipment Set for Ward |  |  | 3 Sets Received. Metal instruments, assorted set |  | KAG UGIFT |  |  |  | @500,000 |  |  |  | New Condition | In use |
| Hollow Ware Set, Ward |  |  | 3 Sets Received. Stainless steel, assorted pieces |  | KAG UGIFT |  |  |  | @1,400,000 |  |  |  | New Condition | Not yet in use. |
| Instrument Set, Delivery |  |  | 3 Sets Received. Stainless steel, assorted instruments |  | KAG UGIFT |  |  |  | @400,000 |  |  |  | New Condition | 2 in use |
| Instrument Set, Stitch Removing |  |  | 3 Sets Received. Stainless steel, assorted instruments |  | KAG UGIFT |  |  |  | @432,900 |  |  |  | New Condition | Not yet in use. |
| MVA Kit |  |  | 4 Kit Received. Stainless steel, assorted instruments |  | KAG UGIFT |  |  |  | @49,992 |  |  |  | Good Condition | Not yet in use. |
| Stool, Laboratory |  |  | 1 Piece Received. Metal-framed, adjustable height |  | KAG UGIFT |  |  |  | @150,000 |  |  |  | Good Condition | In use |
| Penguin Sucker |  |  | 3 Pieces Received. Plastic, handheld suction device |  |  |  |  |  | @20,000 |  |  |  | Good Condition | In use |
| Fetoscope, Dopplar |  |  | 2 Pieces Received. Digital, handheld, plastic |  |  |  |  |  | @173,160 |  |  |  | Good Condition | In use |
| Bubble CPAP |  |  | 2 Pieces Received. Plastic tubing, pressure chamber |  |  |  |  |  | @12,000,000 |  |  |  | Good Condition | Not yet in use. |
| Centrifuge (Electric) |  |  | 2 Pieces Received. Electric, metal, benchtop |  | KAG UGIFT |  |  |  | @2,200,576 |  |  |  | Good Condition | 1 in use |
| Kangaroo Mother Care Chair |  |  | 1 Piece Received. Padded, metal-framed, reclining |  | KAG UGIFT |  |  |  | @450,000 |  |  |  | Good Condition | Not in use, due to lack of a Kangaroo chair room. |
| Radiant Infant Warmer |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Haemoglobin Meter, Sahli |  |  | 2 Pieces Received. Glass tube, graduated comparator |  | KAG UGIFT |  |  |  | @600,000 |  |  |  | Good Condition | 1 in use |
| Delivery Bed |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Examination light |  |  | 2 Pieces Received. Adjustable metal stand, lamp |  |  |  |  |  |  |  |  |  | Good Condition | In use |
| Instrument set, ENT Basic for HCIII |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Incubator |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Not given |
| Office Chair |  |  | 7 Pieces Received. Padded, metal-framed, swivel |  | KAG UGIFT |  | 25/09/2025 |  | @70,000 |  |  |  | Good Condition | All in use |
| Desk |  |  | 3 Pieces Received. Wooden, rectangular, drawers |  | KAG UGIFT |  | 25/09/2025 |  | @500,000 |  |  |  | Good Condition | All in use |
| Filing Cabinet |  |  | 2 Pieces Received. Steel, multi-drawer, lockable |  | KAG UGIFT |  | 25/09/2025 |  | @1,000,000 |  |  |  | Good Condition | All in use |
| Non Residential Buildings | Maternity Block |  | 1 MHC block |  |  |  |  |  |  |  |  |  | Good Condition | All in use |
| Residential Buildings | 1 block 2in1 Nurses |  | 2 Bedrooms 1 Sitting rooms Kitchen Bathroom Pit latrine |  |  |  |  |  |  |  |  |  | Good Condition | The staff house is occupied by 4 Nurses. |