ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | BUSOGA |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | Kayunga District |
| VERIFIER PARTICULARS |  |
| Full name |  |
| Contact/ email and Telephone |  |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bukamba HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes The list did not have the costs and number of items delivered. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift. |
| --- | --- |

They often get help and support to repair the broken items from Kayunga Regional referral hospital.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes, the facility in charge under takes the functionality of the assets on an annual basis.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Yes. |
| --- | --- | --- |

Ugift enabled them access most of the equipment’s required to deliver mothers in the maternity unit. The facility was up graded from the Health Center II to III, this has led to an increase in patient numbers from the surrounding communities.

Challenges:

There is a need for capacity building on how to use some of the equipment’s they received.

They facility needs a power back up

They received a gas cylinder and burners without the horse pipe hence they are unable to use them.

Recommendations:

There is need for more community outreaches to address the issues of children marriages which has led to an increase in child mothers at the facility

There is need for more staff accommodation

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: kayunga District 		 NAME OF HEALTH FACILITY: Bukamba H/C III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD & Maternity | 02 | Riester diplomat |  | - |  | 22/06/21 |  |  |  |  |  | Good | Both machines are in use |
| B.P. Machine (Aneroid wall mounted) | Out Patient | 2 machines received | Riester diplomat aneroid wall moun |  | - |  | 22/06/21 |  |  |  |  |  | Good condition | One in use Not mounted on the wall |
| Autoclave 20 Liters.,Duo Operated | OPD& Maternity | 2 pieces received | 24 Liters |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good condition | Both in use |
| Bowl, Kick | store | 01 | Stainless steel kick bucket |  | - |  | 22/06/21 |  |  |  |  |  | Good condition | Not in use Not engraved |
| Bowl Stand | store | 03 | Stainless steel stand with single basin |  | - |  | 22/06/21 |  |  |  |  |  | Good condition | Not in use not engraved |
| Counting chamber Neubauer- Improved | Lab | 02 | LG Neubauer counting chamber |  | - |  | 22/06/21 |  |  |  |  |  | Good | One not in use still in the store. |
| Cupboard Steel, Lockable | - | - | - | - |  |  | 22/06/21 |  |  |  |  |  | bad | They are broken down |
| Drip Stand | Maternity | 14 pieces | IV stainless steel stands |  |  |  | 22/06/21 |  |  |  |  |  | - | Not seen |
|  | Pediatric ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Lab | 1 | West gren stainless steel |  | BUKMB H/C III |  | 14/10/21 |  |  |  |  |  | Good | In use |
| Examination Couch | OPD | 1 | A metallic frame couch with a cushioned top surface |  | - |  | 22/06/21 |  |  |  |  |  | Good | I couch seen in OPD but not engraved |
| Examination light,LED | Maternity | 03 delivered | One stand LED examination light |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | 02 lights in the store |
| Glucometer | Lab | 01 | - |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | 1machine in use |
| Haemoglobin Meter, Digital | Lab | 01 | - |  | - |  | 22/06/21 |  |  |  |  |  | Good | In use not engraved |
| Height Meter | Maternity | 01 | - |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Instrument Trolley | Maternity | 01 | Stainless steel |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | Not seen |
| Microscope Binocular | Lab | 01 | - |  | - |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Otoscope | OPD | 01 | Otoscope Riester |  | - |  | 22/06/21 |  |  |  |  |  | Good | In use not seen |
| Patient Screen | Maternity | 05 | Stainless steel frame with a blue blinder |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Bad | All the patient screens are broken |
| Patient Trolley | Maternity | 01 |  |  | - |  | 22/06/21 |  |  |  |  |  | Good | Not seen |
| Refrigerator, Basic | Lab, Maternity | 01 | LG silver grey in colour |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | In use |
|  | Maternity | 01 | LG, silver grey in color |  | BUKMB H/C III |  | ,, |  |  |  |  |  | Good | In use |
| Stethoscope | store | 01 |  |  | - |  | 22/6/21 |  |  |  |  |  | Good | Not in use |
| Stop Watch | - | - |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Maternity | 01 | Stretcher with adjustable height |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | In use |
| Stove, Gas | Maternity | 1 | Gas cylinder |  | - |  | 22/6/21 |  |  |  |  |  | Good | Not in use still in the store |
|  |  | 1 | Gas stove |  |  |  | ,, |  |  |  |  |  | Good | ,, |
| Weighing Scale with Height Meter, Adult | Maternity | 1 | Weighing scale with height meter |  | BUKMB H/C III/07 |  | 22/6/21 |  |  |  |  |  | Good | In use |
| Weighing Scale, Infant | Maternity | 1 | Infant scale |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | In use |
| Weighing Scale, Toddler | ANC | 1 | Toddler weighing scale |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | In use |
| Wheel Chair | maternity | 1 | 4 standard economical wheel chairs |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | 2 wheel chairs are in the store. Not seen |
|  | Female ward | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | ANC | 1 |  |  | - |  | 14/10/21 |  |  |  |  |  | Good | Not verified |
| Medical Waste Bin | All departments | 22 medical waste bins | 12 Black 10L medical waste bins |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | In use |
|  |  |  | 08 Red 10L medical waste bins |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | ,, |
|  |  |  | 09 Yellow 10Lmedical waste bins |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | ,, |
|  |  |  | 03 Brown 10 L medical waste bins |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | ,, |
| Wall Clock | OPD | 03 pieces of wall clocks | Wall Clocks |  | - |  | 22/6/21 |  |  |  |  |  | Good | 2 in good condition 1 none functional |
|  | Lab | ,, | ,, |  | - |  | 22/6/21 |  |  |  |  |  | Bad |  |
|  | Maternity | ,, | ,, |  | - |  | 22/6/21 |  |  |  |  |  | Good |  |
| Diagnostic Equipment Set for MCH | Ward | 02 pieces | MCH diagnostic set in the female ward |  | - |  | 22/6/21 |  |  |  |  |  | Good | I in the store not seen |
| Diagnostic Equipment Set for OPD | OPD | 02 pieces | OPD diagnostic set |  | - |  | 22/6/21 |  |  |  |  |  | Good | 1 in store not seen |
| Glassware Set, Laboratory, Basic | Lab | 02 | Glass ware set |  | - |  | 22/6/21 |  |  |  |  |  | Good | 1 in store not verified |
| Hollow Ware Set, Treatment | Store | 01 | Treatment set |  | - |  | 22/6/21 |  |  |  |  |  | - | Not in use still in the store |
| Instrument Set, Dressing | Maternity, OPD, Ward | 07 sets delivered | Maternity 01 OPD 01 Female ward 01 |  | - |  |  |  |  |  |  |  | Good | 04 in the store not in use |
| Instrument Set, Basic ENT | store | 01 | Basic ENT set |  | - |  | 22/6/21 |  |  |  |  |  | Good | Not in use |
| Instrument Set, Suture | Maternity/OPD | 03 suture sets delivered | 1 Maternity 1 OPD |  | - |  | 22/6/21 |  |  |  |  |  | Good | 01 suture set in store |
| Pulse Oximeter, Hand held | Maternity | 01 | H100B pulse oximeter hand held |  | - |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Bed, Adult Patient with Mattress | Maternity and Ward | 14 beds and mattress | 14 Patient bed with rails adjustable back rest and drip stand with mattresses with mackintosh |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | In use |
| Bed, Pediatric Patient, With Mattress | Pediatric ward | 4 beds with mattress | 4 pink pediatric mattresses with mackintosh covers. |  | BUKMB H/C III |  | 22/6/21 |  |  |  |  |  | Good | In use |
| Bedside Locker | Wards | 10 | Bed side cabinet with stainless steel top |  | BUKMB H/ C III |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Cupboard, Instrument | OPD | 01 | Lockable cupboard |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Delivery Bed, Hydraulic Manual | Maternity | 1 | 1 hydraulic manual delivery bed |  | BUKMB H/C III/01 |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | Maternity | 02 |  |  |  |  |  |  |  |  |  |  |  | Not verified |
| Resuscitator Manual, Adult, with all mask sizes | - | - | - | - |  |  |  |  |  |  |  |  |  | Not verified |
| Suction Apparatus, (Electric) | Store | 4 | 1 electric suction apparatus with 2 pcs spare bottles, 2 pcs PVC tubing |  | BUKMB H/C III/01 |  | 22/06/21 |  |  |  |  |  | Good | Not in use |
| Nebulizer, Ultrasonic | Store | 1 | I infant nebulizer |  | BUKMB H/C III/02 |  | 22/06/21 |  |  |  |  |  | Good | Not in use |
| Oxygen Concentrator, Duo Flow | Maternity | 1 | Duo flow oxygen concentrator 10L |  | BUKMB H/C III/02 |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Bench | Maternity | 05 | Wooden Benches |  | BUKMB H/C III/ 01 |  | 22/06/21 |  |  |  |  |  | Good | In use |
|  |  |  | ,, |  | BUKMB H/C III / 02 |  | ,, |  |  |  |  |  | Good | ,, |
|  |  |  | ,, |  | BUKMB H/C III/ 03 |  | ,, |  |  |  |  |  | Good | ,, |
|  |  |  | ,, |  | BUKMB H/C III /04 |  | ,, |  |  |  |  |  | Good | ,, |
|  |  |  | ,, |  | BUKMB H/C III/ 05 |  | ,, |  |  |  |  |  | Good | ,, |
| Disinfection Buckets | Maternity | 02 | 20 L buckets for disinfecting the instruments |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Baby Cot | Maternity | 01 | I baby cot with mattress |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Diagnostic Equipment Set for Ward | Ward | 02 | Two diagnostic set for the ward |  | - |  | 22/06/21 |  |  |  |  |  | Good | 1 in the store, 1 in use |
| Hollow Ware Set, Ward | Ward | 01 | Hollow ware set |  | - |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Instrument Set, Delivery | Maternity | 05 | 5 delivery sets |  | - |  | 22/06/21 |  |  |  |  |  | Good | 4 not in use still in the store, 1 in use in maternity |
| Instrument Set, Stitch Removing | Maternity and OPD | 05 | 5 stitch removing sets |  | - |  | 22/06/21 |  |  |  |  |  | Good | 3 sets not in use,1 in OPD,1 in Maternity |
| MVA Kit | All departments | 5 | MVA plus Aspirator with 2ml silicon |  | - |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Stool, Laboratory | Laboratory | 3 | Hydraulic with back support |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Penguin Sucker | Maternity | 03 | 3 Newborn reusable suction |  | - |  | 22/06/21 |  |  |  |  |  | Good | 1 in use, 02 in the store |
| Fetoscope, Doppler | Store | 02 | Pinard Aluminum Riester |  | - |  | 22/06/21 |  |  |  |  |  | Good | In store not in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Lab | 01 | DLAB Digital Electric Centrifuge |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Kangaroo Mother Care Chair | Ward | 1 | Brown Kangaroo care Chair |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | Not being used because they lack the other equipment |
| Radiant Infant Warmer | - | - | - |  |  |  |  |  |  |  |  |  |  | Never received the warmer |
| Haemoglobin Meter, Sahli | - | - | - |  |  |  |  |  |  |  |  |  |  | Not verified |
| Delivery Bed | Maternity | 01 | Hydraulic delivery bed |  | BUKMB H/C III |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Examination light | Maternity | 03 | Black flexible spotlight on a rolling stand |  | - |  | 22/06/21 |  |  |  |  |  | Good | 2 not in use(store) |
| Instrument set, ENT Basic for HCIII | Store | 1 instrument set | ENT set with various equipment |  | - |  | 22/06/21 |  |  |  |  |  | Good | Not in use |
| Bag Valve mask (Ambu Bag), Neonatal | Maternity and PEAD | 15 | Silicone infant kit |  | - |  | 22/06/21 |  |  |  |  |  | Good | 10 in store not in use- |
| Incubator | - |  | - |  |  |  | - |  |  |  |  |  |  | Not delivered |
| Office Chair | Nurses station, OPD | 04 | Officer chairs with rollers |  | BUKMB H/C III/ 01-04 |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Desk | Lab, OPD, Nurses station | 05 | 5 wooden top and metallic stands |  | BUKMB H/C III/ 01-05 |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Filing Cabinet | Stores | 02 | Double lock cabinet |  | - |  | 22/06/21 |  |  |  |  |  | Good | In use not engraved |
|  |  |  | Glass lock cabinet |  | - |  | 22/06/21 |  |  |  |  |  | Good | In use not engraved |
| Non Residential Buildings | Maternity | 01 | 19 bed Maternity block with Maternity wing, female ward, pediatric ward and labour suit |  | Maternity |  | 22/06/21 |  |  |  |  |  | Good | In use |
| Residential Buildings | Staff Quarters | 01 | Twin 02 bed rooms, 1 sitting room and kitchen, pit latrines |  | Staff Quarters |  | 22/06/21 |  |  |  |  |  | Good | In use |