ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government |  |
| VERIFIER PARTICULARS |  |
| Full name |  |
| Contact/ email and Telephone |  |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …………………… BUSAALE HC III ………………………………………….

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

By using Primary Health Care (PHC) money.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes, it is recorded quarterly. They have a physical file for their inventory where they record all their assets.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

UgIFT fulfilled what they promised by delivering the equipment.

Challenges:

- They are experiencing roof leakage, which is affecting the ceiling in the maternity ward.

- Most of their main doors leading to the corridors are in poor condition. The hinges are broken, which affects the opening and closing of the doors.

- Their solar systems have deteriorated and are no longer functional. It is understood that the batteries were affected during the welding of the iron doors, and all the batteries are leaking and require replacement.

It is recommended that all items be tagged. However, none of them have been tagged yet.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………… Kayunga District………………… NAME OF HEALTH FACILITY…………… Busaale Health Centre III……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Busaale HC III |  | 2 Pieces Received. Digital, plastic, handheld |  |  |  | 23/09/2025 |  |  |  |  |  | Both in Good Condition | 1 is in use while the other is still New kept in the store. |
| B.P. Machine (Aneroid wall mounted) |  |  | 2 Pieces Received. Round dial, wall-mounted |  |  |  | 23/09/2025 |  |  |  |  |  | Both in Good Condition | Both are in use. |
| Autoclave 20 Liters.,Duo Operated |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Bowl, Kick |  |  | 1 Piece Received. Stainless steel |  |  |  | 23/09/2025 |  |  |  |  |  | Good | In use |
| Bowl Stand |  |  | 2 Pieces Received. Stainless steel |  |  |  | 23/09/2025 |  |  |  |  |  | Both Good | In use |
| Counting chamber Neubauer- Improved |  |  | 2 Pieces Received. Glass slide |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Both not in use, still in box and kept in the store. |
| Cupboard Steel, Lockable |  |  | 2 Pieces Received. Steel, two-door, lockable |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | Both in use. |
| Drip Stand |  |  | 8 Pieces Received. Stainless steel, wheeled base |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | 6 in use. 2 still New & kept in store. |
| ESR Stand |  |  | 1 Set/Piece Received. Metal, multi-tube rack |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, kept in store. |
| Examination Couch |  |  | 2 Pieces Received. Padded, metal-framed |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | 1 in use, other kept in store. |
| Examination light,LED |  |  | 2 Pieces Received. LED, adjustable metal stand |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | Both in use. |
| Glucometer |  |  | 2 Pieces Received. Small, plastic, handheld |  |  |  | 23/09/2025 |  |  |  |  |  | Poor Condition | Device never used but with expired strips. 1 box came incomplete with no device in it. |
| Haemoglobin Meter, Digital |  |  | 2 Pieces Received. Digital, handheld, plastic |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use. |
| Height Meter |  |  | 1 Piece Received. Tall, graduated measuring rod |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Instrument Trolley |  |  | 2 Pieces Received. Stainless steel, two-tier |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | 1 in use while other still kept in store. |
| Microscope Binocular |  |  | 1 Piece Received. Binocular, metal, optical |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use. |
| Otoscope |  |  | 1 Piece Received. Handheld, illuminated, plastic |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Patient Screen |  |  | 4 Pieces Received. Foldable, metal-framed, fabric |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | 2 in use. 2 still new & kept in store. |
| Patient Trolley |  |  | 1 Piece Received. Metal-framed, wheeled, padded |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use. |
| Refrigerator, Basic |  |  | 1 Piece Received. Upright, Grey, electric |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in the store. |
| Stethoscope |  |  | 4 Pieces Received. Flexible tubing, dual-head |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | 2 in use. 2 still new & kept in store. |
| Stop Watch |  |  | 2 Pieces Received. Digital, handheld, plastic |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in the store. |
| Stretcher |  |  | 1 Piece Received. Metal-framed, wheeled, padded |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in the store. |
| Stove, Gas |  |  | 1 Piece Received. Metal, two-burner, freestanding |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use |
| Weighing Scale with Height Meter, Adult |  |  | 2 Pieces Received. Mechanical, metal, platform-type, height rod |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use |
| Weighing Scale, Infant |  |  | 2 Pieces Received. Digital, tray-type, plastic |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use |
| Weighing Scale, Toddler |  |  | 2 Pieces Received. Mechanical, hanging-type, metal |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | 1 in use while other still New & kept in store. |
| Wheel Chair |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Audio Visual Equipment |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Medical Waste Bin |  |  | 6 Pieces Received. Plastic, stainless-steel, pedal-operated, lidded |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Wall Clock |  |  | 4 Pieces Received. Round, plastic, glass, wall-mounted |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Diagnostic Equipment Set for MCH |  |  | 2 Sets Received. Metal instruments, assorted set |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Diagnostic Equipment Set for OPD |  |  | 2 Sets Received. Metal instruments, assorted set |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Glassware Set, Laboratory, Basic |  |  | 2 Sets Received. Glass, assorted laboratory pieces |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Hollow Ware Set, Treatment |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Instrument Set, Dressing |  |  | 2 Sets Received. Stainless steel, assorted instruments |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Instrument Set, Basic ENT |  |  | 3 Sets Received. Stainless steel, assorted instruments |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Instrument Set, Suture |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Pulse Oximeter, Hand held |  |  | 2 Pieces Received. Digital, handheld, plastic |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Bed, Adult Patient with Mattress |  |  | 10 Pieces Received. Metal-framed, mattress included |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Bed, Pediatric Patient, With Mattress |  |  | 5 Pieces Received. Metal-framed, mattress included |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Bedside Locker |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Cupboard, Instrument |  |  | 1 Piece Received. Metal, glass-fronted, lockable |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use |
| Delivery Bed, Hydraulic Manual |  |  | 1 Piece Received. Metal-framed, hydraulic adjustable |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | 2 Cylinders Received. Metal regulator, cylinder-mounted |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | Not in use, still kept in store. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | 2 Sets Received. Manual bag, silicone masks |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Resuscitator Manual, Adult, with all mask sizes |  |  | 2 Sets Received. Manual bag, silicone masks |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Suction Apparatus, (Electric) |  |  | 2 Pieces Received. Electric, plastic, wheeled |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Nebulizer, Ultrasonic |  |  | 1 Piece Received. Electric, plastic, handheld |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Oxygen Concentrator, Duo Flow |  |  | 4 Pieces Received. Electric, plastic, wheeled |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Bench |  |  | 4 Pieces Received. Metal-framed, wooden seat |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Disinfection Buckets |  |  | 6 Pieces Received. Plastic, lidded, handled |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Baby Cot |  |  | 5 Pieces Received. Metal-framed, enclosed sides, Pink |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Diagnostic Equipment Set for Ward |  |  | 3 Sets Received. Metal instruments, assorted set |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Hollow Ware Set, Ward |  |  | 3 Sets Received. Stainless steel, assorted pieces |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Instrument Set, Delivery |  |  | 3 Sets Received. Stainless steel, assorted instruments |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Instrument Set, Stitch Removing |  |  | 3 Sets Received. Stainless steel, assorted instruments |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| MVA Kit |  |  | 4 Kits Received. Stainless steel, assorted instruments |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | 1 in use. 3 still New & kept in store. |
| Stool, Laboratory |  |  | 1 Piece Received. Metal-framed, adjustable height |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use |
| Penguin Sucker |  |  | 3 Pieces Received. Plastic, handheld suction device |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | 1 in use. 2 still New & kept in store. |
| Fetoscope, Dopplar |  |  | 2 Pieces Received. Digital, handheld, plastic |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Bubble CPAP |  |  | 2 Pieces Received. Plastic tubing, pressure chamber |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Centrifuge (Electric) |  |  | 2 Pieces Received. Electric, metal, benchtop |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use |
| Kangaroo Mother Care Chair |  |  | 1 Piece Received. Padded, metal-framed, reclining |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Radiant Infant Warmer |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Haemoglobin Meter, Sahli |  |  | 2 Pieces Received. Glass tube, graduated comparator |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Delivery Bed |  |  | 1 Piece Received. Metal-framed, adjustable |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | In use |
| Examination light |  |  | 2 Pieces Received. Adjustable metal stand, lamp |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Instrument set, ENT Basic for HCIII |  |  | 3 Sets Received. Stainless steel, assorted instruments |  |  |  | 23/09/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Incubator |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Office Chair |  |  | 7 Pieces Received. Padded, metal-framed, swivel |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Desk |  |  | 3 Pieces Received. Wooden, rectangular, drawers |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Filing Cabinet |  |  | 2 Pieces Received. Steel, multi-drawer, lockable |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Non Residential Buildings | Maternity Block |  | 1 MHC building 1 Placenta Pit 1 Washroom block |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |
| Residential Buildings | 1 Block; 2 Units. 2 staff (In-charge & Midwife) |  | 2 Sitting rooms 4 Bedrooms 2 Dining rooms 2 Kitchens 2 Toilets + Bathroom 2 Pit latrines 1 Outside bathroom |  |  |  | 23/09/2025 |  |  |  |  |  | Good Condition | All in use |