ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government |  |
| VERIFIER PARTICULARS |  |
| Full name |  |
| Contact/ email and Telephone |  |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …………………… NYANJA HC III ………………………………………….

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, but Limited. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

Though with only 2 lists with limited items as delivery documentation for the items received.

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They facility engages relevant technical personnel, including a biochemical engineer, welder, and plumber to carry out repairs and maintenances.

Maintenance and minor repairs are supported using the PHC fund.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes. Whenever an asset or equipment’s issue is identified, it is addressed through repair or other appropriate action and the issue is recorded.

Thus, equipment breakdowns and functionality issues are identified, recorded and followed up for repair or corrective action.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

UgIFT support has greatly improved service delivery through provision of equipment and facility infrastructure.

Challenges:

- Some poor-quality items were delivered/ received.

- Inadequate repair response.

- Faulty toilets and staff doors.

- They lack an OPD and lab. They have improvised rooms that are still small.

- Inadequate water supply. The facility only depends on rainy water trapped in the water tanks.

- Lack of delivery notes, and some instruments required are not being supplied.

- The facility is also exposed to outsiders due to lack of a perimeter fence.

It is recommended that the engravings on all items be reviewed and re-engraved. Some items have duplicate engraving numbers, while others have incomplete or missing engraving numbers. In addition, the engraving on most items was poorly done, making the numbers faint and barely visible.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………… Mukono Municipal Council ………………… NAME OF HEALTH FACILITY…………… Nyanja Health Centre III ……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Nyanja HC III |  | Zero (0) Received. |  |  |  | 17/06/2025 |  | 276,000 |  |  |  | N/A | Didn’t receive any. |
| B.P. Machine (Aneroid wall mounted) |  |  | 3 Pieces Received. Round dial, wall-mounted |  | N/A |  |  |  |  |  |  |  | All Spoilt | Beyond repair, need new replacement. Poor-quality items delivered. |
| Autoclave 20 Liters.,Duo Operated |  |  | 1 Piece Received. Stainless steel, electric/dual operated |  | AC/001 |  | 17/06/2025 |  | 2,394,000 |  |  |  | Good Condition | In use |
| Bowl, Kick |  |  | 2 Piece Received. Stainless steel |  | N/A |  |  |  |  |  |  |  | Good Condition | In use |
| Bowl Stand |  |  | 2 Pieces Received. Stainless steel |  | HWS/001 HSW/002 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Counting chamber Neubauer- Improved |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Cupboard Steel, Lockable |  |  | 2 Pieces Received. Steel, two-door, lockable |  | CB/0001 CB/0003 |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use. |
| Drip Stand |  |  | 25 Pieces Received. Stainless steel, all attached on the beds. |  | BD/001 to BD/0025 |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use. Attached on all beds. |
| ESR Stand |  |  | 1 Set/Piece Received. Metal, multi-tube rack |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Examination Couch |  |  | 5 Pieces Received. Padded, metal-framed |  | EC/001 to EC/005 |  | 17/06/2025 |  | 600,000 |  |  |  | Good Condition | All in use |
| Examination light,LED |  |  | 2 Pieces Received. LED, adjustable metal stand |  | EL/003 EL/004 |  | 17/06/2025 |  |  |  |  |  | Good Condition | Both in use. |
| Glucometer |  |  | 1 Pieces Received. Small, plastic, handheld |  | GM/0001 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Haemoglobin Meter, Digital |  |  | 2 Pieces Received. Digital, handheld, plastic |  | HB/001 HB/002 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use. |
| Height Meter |  |  | 1 Piece Received. Tall, graduated measuring rod |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Instrument Trolley |  |  | 2 Pieces Received. Stainless steel, two-tier |  | TR/0001 TR/0002 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Microscope Binocular |  |  | 2 Piece Received. Binocular, metal, optical |  | MP/001 MP/002 |  | 17/06/2025 |  | 2,500,000 |  |  |  | Faulty | Kept in store. Not focusing well. |
| Otoscope |  |  | 1 Piece Received. Handheld, illuminated, plastic |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Patient Screen |  |  | 4 Pieces Received. Foldable, metal-framed, fabric |  | HS/0001 to HS/0004 |  | 17/06/2025 |  |  |  |  |  | Faulty | Missing screws & rollers. Poor-quality. |
| Patient Trolley |  |  | 1 Piece Received. Metal-framed, wheeled, padded |  | ST/0001 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use. |
| Refrigerator, Basic |  |  | 1 Piece Received. Upright, Grey, electric CHIQ – 150L |  | FG/0001 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Stethoscope |  |  | 4 Pieces Received. Flexible tubing, dual-head |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Stop Watch |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Stretcher |  |  | 1 Piece Received. Metal-framed, wheeled, padded |  | ST/0002 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Stove, Gas |  |  | 2 Pieces Received. Metal, two-burner, freestanding |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Weighing Scale with Height Meter, Adult |  |  | 5 Pieces Received. Mechanical, metal, platform-type, height rod |  | WS/004 to WS/008 |  | 17/06/2025 |  | 367,080 |  |  |  | Good Condition | All In use |
| Weighing Scale, Infant |  |  | 3 Pieces Received. Digital, tray-type, plastic |  | WS/001 to WS/003 |  | 17/06/2025 |  |  |  |  |  | Good Condition | 2 in use. 1 still New & kept in store. |
| Weighing Scale, Toddler |  |  | 2 Pieces Received. Mechanical, hanging-type, metal |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Wheel Chair |  |  | 3 Pieces Received. Metal-framed, four-wheeled |  | N/A |  | 17/06/2025 |  |  |  |  |  | 2 Good 1 Broken | 2 in use. 1 not in use. |
| Audio Visual Equipment |  |  | 2 Pieces Received. Electronic, plastic, assorted components |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Medical Waste Bin |  |  | 3 Pieces Received. Plastic, stainless-steel, pedal-operated, lidded |  | BN/0010 BN/0012 BN/0013 |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use |
| Wall Clock |  |  | 5 Pieces Received. Round, plastic, glass, wall-mounted |  | WC/001 to WC/005 |  | 17/06/2025 |  |  |  |  |  | 3 Good 1 Broken glass 1 Spoilt | 4 in use 1 not in use |
| Diagnostic Equipment Set for MCH |  |  | 2 Sets Received. Metal instruments, assorted set |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Diagnostic Equipment Set for OPD |  |  | 2 Sets Received. Metal instruments, assorted set |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Glassware Set, Laboratory, Basic |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Hollow Ware Set, Treatment |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Instrument Set, Dressing |  |  | 2 Sets Received. Stainless steel, assorted instruments |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Instrument Set, Basic ENT |  |  | 2 Sets Received. Stainless steel, assorted instruments |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Instrument Set, Suture |  |  | 2 Sets Received. Stainless steel, assorted instruments |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Pulse Oximeter, Hand held |  |  | 2 Pieces Received. Digital, handheld, plastic |  | N/A |  | 17/06/2025 |  |  |  |  |  | 1 Faily Good 1 Faulty | Both need replacement. |
| Bed, Adult Patient with Mattress |  |  | 20 Pieces Received. Metal-framed, mattress included |  | BD/001 to BD/0020 |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use |
| Bed, Pediatric Patient, With Mattress |  |  | 5 Pieces Received. Metal-framed, mattress included |  | PB/0001 to PB/0005 |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use |
| Bedside Locker |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Cupboard, Instrument |  |  | 2 Piece Received. Metal, glass-fronted, lockable |  | CB/0002 CB/0004 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Delivery Bed, Hydraulic Manual |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | 11 Sets Received. Manual bag, silicone masks |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, others still New & kept in store. |
| Resuscitator Manual, Adult, with all mask sizes |  |  | 12 Sets Received. Manual bag, silicone masks |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, others still New & kept in store. |
| Suction Apparatus, (Electric) |  |  | 2 Pieces Received. Electric, plastic, wheeled |  | SM/0001 SM/0002 |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Nebulizer, Ultrasonic |  |  | 1 Piece Received. Electric, plastic, handheld |  | N/A |  | 17/06/2025 |  |  |  |  |  | New Condition | Not in use, still kept in store. |
| Oxygen Concentrator, Duo Flow |  |  | 2 Pieces Received. Electric, plastic, wheeled |  | OC/001 OC/002 |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Bench |  |  | 4 Pieces Received. Metal-framed, wooden seat |  | WC/0001 to WC/0004 |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use |
| Disinfection Buckets |  |  | 8 Pieces Received. Plastic, handled |  | MCH/001 to MCH/008 |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use |
| Baby Cot |  |  | 2 Pieces Received. Metal-framed, enclosed sides, Pink |  | BC/0001 BC/0002 |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use |
| Diagnostic Equipment Set for Ward |  |  | 2 Sets Received. Metal instruments, assorted set |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Hollow Ware Set, Ward |  |  | 2 Sets Received. Stainless steel, assorted pieces |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Instrument Set, Delivery |  |  | 2 Sets Received. Stainless steel, assorted instruments |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Instrument Set, Stitch Removing |  |  | 2 Sets Received. Stainless steel, assorted instruments |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| MVA Kit |  |  | 2 boxes Received. Stainless steel, assorted instruments |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, other still New & kept in store. |
| Stool, Laboratory |  |  | 1 Piece Received. Metal-framed, adjustable height |  | LS/0001 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Penguin Sucker |  |  | 3 Pieces Received. Plastic, handheld suction device |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 2 in use. 1 still New & kept in store. |
| Fetoscope, Dopplar |  |  | 3 Pieces Received. Digital, handheld, plastic |  | UD/0001 to UD/0003 |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use. 2 still New & kept in store. |
| Bubble CPAP |  |  | 2 Pieces Received. Plastic tubing, pressure chamber |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Centrifuge (Electric) |  |  | 1 Pieces Received. Electric, metal, benchtop |  | CF/0001 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Kangaroo Mother Care Chair |  |  | 1 Piece Received. Padded, metal-framed, reclining |  | MK/0001 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Radiant Infant Warmer |  |  | 1 Piece Received. Electric, metal-framed, overhead heater |  | W/001 |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Haemoglobin Meter, Sahli |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Delivery Bed |  |  | 2 Piece Received. Metal-framed, adjustable |  | N/A |  | 17/06/2025 |  |  |  |  |  | Poor Condition | Faulty adjusters, they barely adjust & uncomfortable. |
| Examination light |  |  | 2 Pieces Received. Adjustable metal stand, lamp |  | EL/001 EX/002 |  | 17/06/2025 |  |  |  |  |  | Good Condition | Both in use |
| Instrument set, ENT Basic for HCIII |  |  | 2 Sets Received. Stainless steel, assorted instruments |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | In use |
| Bag Valve mask (Ambu Bag), Neonatal |  |  | 11 Pieces Received. Silicone bag, neonatal masks |  | N/A |  | 17/06/2025 |  |  |  |  |  | Good Condition | 1 in use, others still New & kept in store. |
| Incubator |  |  | Zero (0) Received. |  |  |  |  |  |  |  |  |  | N/A | Didn’t receive any. |
| Office Chair |  |  | 7 Pieces Received. Padded, metal-framed, swivel |  | CH/001 to CH/003 & CH/008 to CH/011 |  | 01/10/2025 & 17/06/2025 |  |  |  |  |  | Fair Condition | Faulty parts. Repaired so many times. (CH/008 to CH/011) are of poor-quality. |
| Desk |  |  | 5 Pieces Received. Wooden, rectangular, drawers |  | OD/001 OD/002 OD/005 OD/006 OD/007 |  | 01/10/2025 & 17/06/2025 |  |  |  |  |  | Fairly- Good Condition | All were repaired but still have faulty drawers. |
| Filing Cabinet |  |  | 2 Pieces Received. Steel, multi-drawer, lockable |  | FC/0002 FC/0003 |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use |
| Non Residential Buildings | Maternity Ward Block |  | 1 MHC building 1 Placenta Pit 1 Washroom block |  |  |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use |
| Residential Buildings | 1 Block; 2 Units. 6 staff (5 Midwives & 1 Nurse) |  | 2 Sitting rooms 4 Bedrooms 2 Dining rooms 2 Kitchens 2 Toilets + Bathroom 2 Pit latrines 1 Outside bathroom |  |  |  | 17/06/2025 |  |  |  |  |  | Good Condition | All in use |