## Asset Verification
KASHOZI HEALTH CENTRE III - ASSET VERIFICATION REPORT
District: | Ibanda DLG
Procurement Entity: | N2M Company Limited
Verification Status: | Completed
Name of Verifier: | Byaruhanga Jackson Musafiri
Name of Supervisor: | Gumisiriza Johnson
SN | Equipment Name | Qty | Unit Cost (UGX) | Total Cost (UGX) | Equipment Description | Status | Verification Remarks
1 | B.P. Machine, Digital | 2 | 350000 | 700000 | Automated non-invasive blood pressure monitor with digital display for measuring systolic/diastolic pressure and pulse. | Functional / Good | Verified 2 units. Fully operational; calibrated for routine triage.
2 | B.P. Machine (Aneroid wall mounted) | 2 | 700000 | 1400000 | Wall-mounted precision gauge aneroid sphygmomanometer with adjustable cuff and extra-long coiled tubing. | Functional / Good | Verified 2 units. Securely wall-mounted in clinical rooms.
3 | Autoclave 20 Liters, Duo Operated | 0 | — | 0 | 20L dual-power (electric and thermal source) steam sterilizer for surgical instruments and medical supplies. | Not Supplied / Zero Qty | Quantity listed as 0. No stock physical unit presented during verification.
4 | Bowl, Kick | 1 | 200000 | 200000 | Stainless steel basin set on a heavy-duty mobile wheeled frame for operating and procedure rooms. | Functional / Good | Verified 1 unit. Wheels and stainless frame intact.
5 | Bowl Stand | 2 | 600000 | 1200000 | Single/double basin stainless steel support stand for surgical and washing procedures. | Functional / Good | Verified 2 units. Clean condition, corrosion-free.
6 | Counting chamber Neubauer- Improved | 1 | 40000 | 40000 | Precision glass grid hemocytometer chamber for accurate manual blood cell count under microscope. | Functional / Good | Verified 1 unit. Micro-grid lines crisp and clear.
7 | Cupboard Steel, Lockable | 2 | 1200000 | 2400000 | Heavy-gauge metal storage cabinet with double doors and secure locking mechanism for clinical supplies. | Functional / Good | Verified 2 units. Key set and locking mechanisms verified.
8 | Drip Stand | 8 | 150000 | 1200000 | Height-adjustable mobile IV pole with 4-hook top and castors for patient intravenous therapy. | Functional / Good | Verified 8 units. All height adjustment locks operational.
9 | ESR Stand | 1 | 150000 | 150000 | Vertical rack for holding Erythrocyte Sedimentation Rate tubes steadily during diagnostic testing. | Functional / Good | Verified 1 unit. Stable vertical alignment intact.
10 | Examination Couch | 2 | 700000 | 1400000 | Padded clinical examination bed with adjustable headrest section and washable vinyl upholstery. | Functional / Good | Verified 2 units. Upholstery clean, no tears.
11 | Examination light, LED | 2 | 450000 | 900000 | Flexible gooseneck LED spot light on mobile stand for minor surgical procedures and diagnostics. | Functional / Good | Verified 2 units. LED brightness and gooseneck position stable.
12 | Glucometer | 2 | 180000 | 360000 | Handheld digital point-of-care capillary blood glucose meter. | Functional / Good | Verified 2 units. Battery powered and tested with control strips.
13 | Haemoglobin Meter, Digital | 2 | 850000 | 1700000 | Portable digital analyzer (Hb meter) for rapid determination of blood hemoglobin concentration. | Functional / Good | Verified 2 units. Accurate calibration confirmed.
14 | Height Meter | 1 | 250000 | 250000 | Stadiometer / wall-mountable or free-standing height measuring rod with sliding headpiece. | Functional / Good | Verified 1 unit. Metric scale clearly legible.
15 | Instrument Trolley | 2 | 750000 | 1500000 | Stainless steel 2-tier mobile trolley with guard rails for transporting sterile surgical instruments. | Functional / Good | Verified 2 units. Swivel castors moving smoothly.
16 | Microscope Binocular | 1 | 3000000 | 3000000 | High-precision laboratory compound binocular microscope with LED illumination and multiple objective lenses. | Functional / Good | Verified 1 unit. Lenses clean, focus controls smooth.
17 | Mid Upper Arm Tape (MUAC) | 4 | 5000 | 20000 | Color-coded flexible measuring tapes for evaluating nutritional status in infants/children. | Functional / Good | Verified 4 units. Graduations intact.
18 | Otoscope | 1 | 350000 | 350000 | Handheld diagnostic illumination device for examining the external ear canal and tympanic membrane. | Functional / Good | Verified 1 unit. Fiber optic lighting operational.
19 | Patient Screen | 4 | 500000 | 2000000 | 3-panel folding privacy screen with durable frame and washable curtains for patient rooms. | Functional / Good | Verified 4 units. Hinges and fabric panels intact.
20 | Patient Trolley | 1 | 4000000 | 4000000 | Heavy-duty patient transfer stretcher/trolley equipped with side rails and brake castors. | Functional / Good | Verified 1 unit. Braking mechanism and drop-down rails functional.
21 | Refrigerator, Basic | 4 | 120000 | 480000 | Compact medical/laboratory cooling unit for sample storage or basic pharmaceutical cold storage. | Functional / Good | Verified 4 units. Cooling temperatures maintained.
22 | Stethoscope | 2 | 40000 | 80000 | Dual-head clinical acoustic stethoscope for cardiac and pulmonary auscultation. | Functional / Good | Verified 2 units. Diaphragm and eartips intact.
23 | Stop Watch | 1 | 4500000 | 4500000 | High-precision digital timing device for laboratory assays and clinical diagnostic timing. | Functional / Good | Verified 1 unit. High value specialist digital timer system.
24 | Stretcher | 1 | 350000 | 350000 | Emergency transport stretcher with folding poles and heavy-duty canvas/synthetic bed. | Functional / Good | Verified 1 unit. Canvas intact, handles sturdy.
25 | Stove, Gas | 2 | 450000 | 900000 | Industrial/laboratory dual burner gas stove for sterilization water heating and facility utility. | Functional / Good | Verified 2 units. Burners and valves tested.
26 | Weighing Scale with Height Meter, Adult | 2 | 300000 | 600000 | Mechanical column physician scale with integrated height rod and heavy base plate. | Functional / Good | Verified 2 units. Balance weight calibrated.
27 | Weighing Scale, Infant | 2 | 150000 | 300000 | Pediatric tray scale with smooth curved cradle for safe weighing of newborn infants. | Functional / Good | Verified 2 units. Zero-tare adjustment working.
28 | Weighing Scale, Toddler | 0 | — | 0 | Low-profile mechanical or digital spring scale for young children. | Not Supplied / Zero Qty | Quantity listed as 0. No physical unit present.
29 | Wheel Chair | 0 | — | 0 | Folding manual wheelchair with footrests and armrests for patient mobility. | Not Supplied / Zero Qty | Quantity listed as 0. Not delivered / present.
30 | Audio Visual Equipment | 7 | 600000 | 4200000 | Multimedia presentation / public address equipment for health education and community outreach. | Functional / Good | Verified 7 units. All accessories and speakers present.
31 | Office Chair | 3 | 1000000 | 3000000 | Ergonomic executive swivel office chair with padded armrests and height adjustment. | Functional / Good | Verified 3 units. Swivel and tilt mechanisms fine.
32 | Desk | 2 | 900000 | 1800000 | Wooden/metal executive office desk with integrated drawer units for administrative work. | Functional / Good | Verified 2 units. Drawers and surface in good condition.
33 | Filing Cabinet | 6 | 135000 | 810000 | Multi-drawer metal lockable filing cabinet for medical record cards and administrative files. | Functional / Good | Verified 6 units. Drawers slide smoothly, locks present.
34 | Medical Waste Bin | 4 | 50000 | 200000 | Color-coded hands-free foot pedal biohazard waste bin for segregation of infectious waste. | Functional / Good | Verified 4 units. Foot pedal mechanisms working.
35 | Wall Clock | 0 | — | 0 | Standard analog wall-mounted clock for clinical ward time tracking. | Not Supplied / Zero Qty | Quantity listed as 0. None present.
36 | Diagnostic Equipment Set for MCH | 2 | 600000 | 1200000 | Comprehensive maternal & child health diagnostic kit (fetal stethoscope, tape, speculums, etc.). | Functional / Good | Verified 2 complete sets in MCH department.
37 | Diagnostic Equipment Set for OPD | 2 | 1100000 | 2200000 | Outpatient department primary diagnostic kit including BP kit, thermometer, and torch. | Functional / Good | Verified 2 complete sets in OPD clinic.
38 | Glassware Set, Laboratory, Basic | 2 | 700000 | 1400000 | Assorted laboratory glassware including beakers, test tubes, graduated cylinders, and flasks. | Functional / Good | Verified 2 sets. No cracked or damaged pieces.
39 | Hollow Ware Set, Treatment | 0 | — | 0 | Stainless steel renal trays, gallipots, and kidney dishes for procedure rooms. | Not Supplied / Zero Qty | Quantity listed as 0. No stock delivered.
40 | Instrument Set, Dressing | 2 | 600000 | 1200000 | Surgical stainless steel dressing tray set (forceps, scissors, gallipots) for wound care. | Functional / Good | Verified 2 sets. Sterilizable stainless steel.
41 | Instrument Set, Basic ENT | 3 | 3000000 | 9000000 | Specialized Ear, Nose & Throat examination and minor intervention instrument set. | Functional / Good | Verified 3 sets. High grade stainless steel tools.
42 | Instrument Set, Suture | 0 | — | 0 | Surgical wound closure kit including needle holder, tissue forceps, and stitch scissors. | Not Supplied / Zero Qty | Quantity listed as 0. Not present.
43 | Pulse Oximeter, Hand held | 2 | 600000 | 1200000 | Portable digital pulse oximeter with finger probe for measuring SpO2 and pulse rate. | Functional / Good | Verified 2 units. Bright display, fast reading.
44 | Bed, Adult Patient with Mattress | 10 | 760000 | 7600000 | Standard hospital ward bed with backrest adjustment and waterproof covered foam mattress. | Functional / Good | Verified 10 units. Installed in main inpatient ward.
45 | Bed, Pediatric Patient, With Mattress | 5 | 2000000 | 10000000 | Pediatric ward bed featuring safety side rails and comfortable waterproof mattress. | Functional / Good | Verified 5 units. Side safety guards fully functional.
46 | Bedside Locker | 0 | — | 0 | Patient bedside storage cabinet with top surface, drawer, and cupboard compartment. | Not Supplied / Zero Qty | Quantity listed as 0. Not delivered.
47 | Cupboard, Instrument | 1 | 1500000 | 1500000 | Glass-fronted tall medical cupboard for visible organized storage of sterile instruments. | Functional / Good | Verified 1 unit. Glass panels intact and clean.
48 | Delivery Bed, Hydraulic Manual | 1 | 7000000 | 7000000 | Multi-section obstetric delivery bed with hydraulic height adjustment and leg supports. | Functional / Good | Verified 1 unit. Hydraulic foot lever tested.
49 | Oxygen Therapy Apparatus, Minimum 45L cylinder | 0 | — | 0 | High capacity 45L medical oxygen cylinder complete with flowmeter, regulator, and humidifier. | Not Supplied / Zero Qty | Quantity listed as 0. Cylinder unit not supplied.
50 | Resuscitation Manual, Infant, with all Mask sizes | 2 | 1300000 | 2600000 | Neonatal silicone manual resuscitator (Ambu bag) with multi-sized infant face masks. | Functional / Good | Verified 2 sets. Silicone valves resilient, no leaks.
51 | Resuscitation Manual, Adult, with all mask sizes | 2 | 300000 | 600000 | Adult manual resuscitation bag with transparent face masks and safety pressure valve. | Functional / Good | Verified 2 sets. Complete with masks and reservoir.
52 | Suction Apparatus, (Electric) | 2 | 300000 | 600000 | Heavy-duty electric suction pump with dual overflow jar system for airway clearance. | Functional / Good | Verified 2 units. Vacuum pressure output confirmed.
53 | Nebulizer, Ultrasonic | 2 | 1500000 | 3000000 | High-efficiency ultrasonic nebulizer machine for respiratory aerosol medication delivery. | Functional / Good | Verified 2 units. High mist generation working.
54 | Oxygen Concentrator, Duo Flow | 1 | 450000 | 450000 | Dual-outlet medical oxygen concentrator delivering continuous high-purity oxygen. | Functional / Good | Verified 1 unit. Dual flow outlets tested.
55 | Bench | 4 | 4000000 | 16000000 | Heavy-duty 3-to-4 seater wooden/metal waiting bench for OPD and patient triage areas. | Functional / Good | Verified 4 units. Sturdy structural frame.
56 | Disinfection Buckets | 4 | 800000 | 3200000 | Heavy-grade chemical resistant buckets for instrument cold sterilization and disinfection. | Functional / Good | Verified 4 units. Covers and handles intact.
57 | Baby Cot | 6 | 50000 | 300000 | Infant sleeping cot with surrounding safety bars for maternity and pediatric wards. | Functional / Good | Verified 6 units. Bars intact, clean condition.
58 | Diagnostic Equipment Set for Ward | 5 | 750000 | 3750000 | Comprehensive clinical ward diagnostic set (thermometers, BP units, reflex hammers). | Functional / Good | Verified 5 sets distributed across clinical wards.
59 | Hollow Ware Set, Ward | 3 | 1000000 | 3000000 | Stainless steel bedpans, urinals, and wash basins for inpatient ward nursing care. | Functional / Good | Verified 3 sets. High-grade stainless steel.
60 | Instrument Set, Delivery | 3 | 1500000 | 4500000 | Complete surgical delivery kit (episiotomy scissors, artery forceps, umbilical clamps). | Functional / Good | Verified 3 sets in Maternity ward.
61 | Instrument Set, Stitch Removing | 3 | 400000 | 1200000 | Suture removal kit featuring fine stitch scissors and anatomical dissection forceps. | Functional / Good | Verified 3 sets in Minor theatre / dressing room.
62 | MVA Kit | 4 | 400000 | 1600000 | Manual Vacuum Aspiration kit with double-valve aspirators and flexible flexible cannulae. | Functional / Good | Verified 4 kits. Valves seal firmly.
63 | Stool, Laboratory | 1 | 500000 | 500000 | Adjustable height round lab stool with chemical-resistant seat cover for benchwork. | Functional / Good | Verified 1 unit. Height spindle rotates smoothly.
64 | Penguin Sucker | 3 | 15000 | 45000 | Reusable suction bulb made of silicone for clearing newborn nasal and oral airways. | Functional / Good | Verified 3 units. Soft, squeezable silicone intact.
65 | Fetoscope, Doppler | 2 | 30000 | 60000 | Handheld acoustic Pinard fetoscope / electronic ultrasonic fetal doppler detector. | Functional / Good | Verified 2 units. Clear heart sound detection.
66 | Bubble CPAP | 2 | 3000000 | 6000000 | Continuous Positive Airway Pressure machine designed for neonatal respiratory distress support. | Functional / Good | Verified 2 units. Pressure generator and circuit ready.
67 | Centrifuge (Electric) | 2 | 1200000 | 2400000 | Electric benchtop laboratory centrifuge for blood and urine sample separation. | Functional / Good | Verified 2 units. Rotor balance and speed control tested.
68 | Kangaroo Mother Care Chair | 1 | 2700000 | 2700000 | Specially contoured reclining comfort armchair for continuous skin-to-skin KMC care. | Functional / Good | Verified 1 unit located in Neonatal/KMC area.
69 | Radiant Infant Warmer | 0 | — | 0 | Microprocessor-controlled infant warming bed with overhead radiant heating element. | Not Supplied / Zero Qty | Quantity listed as 0. Unit not delivered to site.
| TOTAL | 159 |  | 134795000