## Sheet1
BUTOHA HEALTH CENTRE lll UGIFT Asset Verification Tool Kit RUBIRIZI L.G
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service | Cost | Equipment status | Remarks
B.P Machine,Digital | Health | Portable with a digital display | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
B.P machine (Aneroid wall mounted) | Health | Aneroid wall mounted | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Autoclave 20 litres, Duo operated | Health | metalic 20 litre, Duo operated | Not Engraved | 14/04/2025 | 30/5/2025 |  | in good condition | present and functional
Bowl,Kick | Health | Metalic bowel shaped | Not Engraved | 14/04/2025 | 30/5/2025 |  | in good condition | present and functional
Bowl stand | Health | metalic stand for supporting kick bowls | Not Engraved | 14/04/2025 | 30/5/2025 |  | in good condition | present and functional
CountingChamber Neubauer-improved | Health | precision glass counting chamber | Not Engraved | 14/04/2025 | 30/5/2025 |  | in good condition | present and functional
cupboard steel, lockable | Health | steel storage cupboard withlockable doors | Not Engraved | 14/04/2025 | 30/5/2025 |  | in good condition | present and functional
Drip stand | Health | Height adjustable mobile stand | Not Engraved | 14/04/2025 | 30/5/2025 |  | in good condition | present and functional
ESR stand | Health | Stand for holding ESR tubes in an upright position | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Examination Couch | Health | padded patient examination couch | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Examination light, LED | Health | Adjustable LED examination lamp | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Glucommeter | Health | Portable instrument with a screen | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Height Meter | Health | Movable vertical instrument with a scale | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Instrument Trolley | Health | stainless steel mobile trolley with 2 shelves | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Microscope Binocular | Health | Binocular optical two eyed microscope | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Otoscope | Health | portable illuminated instrument | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Patient Screen | Health | Foldable privacy screen | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Patient Trolley | Health | mobile trolley | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Refrigerator, Basic | Health | Electric 2 unit refrigerator | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Stethoscope | Health | Acoustic medical instrument | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Stop watch | Health | portable hand held with asmall screen | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Stretcher | Health |  | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Stove, Gas | Health | Gas powered stove | Not Engraved | 14/4/2025 | 30/4/2025 |  | in good condition | present and functional
Weighing Scale with Height Meter, Adult | Health | Adult weighing scale combined with an integrated height measuring device | Not Engraved | 14/4/2025 | 30/5/2025 |  | present but unfunctional | present though unfunctioanl, got spoilt after 1 week usage
Weighing Scale, Infant | Health | basin like desined to measure infants | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Weighing Scale , Toddler | Health | designed to measure toddlers weight | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Wheel Chair | Health | manual wheeled mobility chair with footrests and armrests | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Audio Visual Equipment | Health | Display equipment like TV | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
wall clock | Health | wall mounted round clock | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Diagonistic Equipment set for MCH | Health | stainless steel set with various tools inside | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Diagonistic Equipment set for OPD | Health | stainless steel set with various tools inside | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Glassware Set, Laboratory, Basic | Health | Basic laboratory glassware set including commonly used measuring and spacimen handling items | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Hollow ware Set, Dressing | Health | stainless steel set with various tools inside | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Instrument Set , Basic ENT | Health | stainless steel set with various tools inside | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Instrument Set, Suture | Health | stainless steel set with various tools inside | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Pulse Oximeter, Hand held | Health | portable hand held | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Bed Adult Patient With Mattress | Health | metalic beds with matress | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Bed Pediatric Patient with Mattress | Health | metalic beds with matress | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Bedside Locker | Health | metalic with drawers | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Cupboard, Instrument | Health | lockable cabinet | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | apparatus compatible with a cylinder | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Resuscitator Manual, infant, with all mask sizes | Health | manual infant resuscitator bag | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Resuscitator Manual, Adult, with all mask sizes | Health | manual infant resuscitator bag | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Suction Apparatus(Electric) | Health | Electric powered | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Nebulizer, Ultrasonic | Health | Ultrasonic nebulizer | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Oxgyen Concentrator, Duo Flow | Health | Duo in nature | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Bench | Health | wooden without back rest | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Disinfection Buckets | Health | plastic buckets | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Baby Cot | Health | stainless steel with a matress | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Diagnostic Equipment Set, for Ward | Health | stainless steel set with various tools inside | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Hollow Ware Set,Ward | Health | stainless steel set with various tools inside | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Instrument Set , Delivery | Health | stainless steel set with various tools inside | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Instrument Set, Stitch Removing | Health | stainless steel set with various tools inside | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
MVA Kit | Health | plastic container with different tools in | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Stool, Laboratory | Health | movable raised stool | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Penguin Sucker | Health | hand operated | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Fetoscope, Doppler | Health | hand held doppler | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Centrifuge (Electric) | Health | electrically powered | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Kangaroo Mother Care Chair | Health | comfortable supportive leather chair | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Haemoglobin Meter, Sahli | Health | sahli haemoglobin meter | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Delivery Bed | Health | adjustablemetalic bed designed for labor | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Office Chair | Health | movable adjustable leather chair | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Bag valve mask (Ambu Bag), Neonatal | Health | manual neonatal resustation device | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Desk | Health | office work station with flat writing station | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Filing cabinet | Health | lockable cabinet | Not Engraved | 14/4/2025 | 30/5/2025 |  | in good condition | present and functional
Non Residential Buildings | Health | permanent buildings with various rooms |  |  |  |  | in good condition | present and functional
Residential Buildings | Health | accomodation 2 unit structure |  |  |  |  | in good condition | present and functional