## Verification Details
UgIFT ASSET VERIFICATION AND RECORDING TOOL KIT
Audit Advisory & Forensics ¦ SK&CO Certified Public Accountants
Period: August to September 2026
VERIFICATION DETAILS
NAME OF THE REGION: | Western Uganda
SUB-REGION: | Ankole
NAME OF LOCAL GOVERNMENT: | Rubirizi District Local Government
HEALTH FACILITY: | Munyonyi HC III
VERIFIER FULL NAME: | Byaruhanga Jackson Musafiri
CONTACT / TELEPHONE: | 0704551504 / 0772774370
EMAIL ADDRESS: | jacksonmusafiri2017@gmail.com
SUPERVISOR / SUB-TEAM LEADER: | Gumisiriza Johnson
DATE OF SUBMISSION: | 29th August 2026
HEALTH CENTRES INFORMANT INTERVIEW / DISCUSSION GUIDE
1a. Does the Facility have a record of all assets provided under UgIFT?
Yes. The facility maintains delivery notes and inventory records for items supplied under UgIFT (e.g., Rodrisa Supplies Limited Delivery Note Ref: RSL/DEL/033/25 dated 29/05/2025).
1b. If Not, ask how many were supplied and when.
N/A (Records are available).
2. How does this facility Maintain (repair/service/replace) the assets provided under UgIFT?
Routine maintenance and servicing are coordinated through the District Health Office (Rubirizi DLG) biomedical engineering department. Equipment under warranty or needing major replacement is reported to the DHO for procurement/supplier escalation.
3. Does the facility take regular record about functionality or breakdown of the assets provided?
Yes, functionality checks are logged in the asset registry. Most items supplied remain boxed/in store or in active good working condition, while redistribution of surplus units (e.g., baby cots transferred to Rugazi HC IV) is formally documented.
4. How has the UgIFT support helped in service delivery in the area, any issues, challenges and recommendations?
IMPACT: The provision of essential medical equipment (oxygen concentrators, suction apparatus, diagnostic sets, delivery beds) has significantly enhanced maternal, child, and general emergency healthcare delivery at Munyonyi HC III. CHALLENGES: Some high-capacity items remain in store/boxed pending full operational deployment, and solar/power stability is required for continuous operation of electronic gear. RECOMMENDATIONS: Timely installation support, user training on modern diagnostic tools, and quick processing of inter-facility equipment reallocations.

## Asset Verification Checklist
HEALTH CENTRE ASSET CHECKLIST
Local Government: Rubirizi District Local Government ¦ Facility: Munyonyi HC III
Pg No. | Equipment / Item Description | Department | Qty | Tag / Engrave No. | Date of Purchase | Equipment Status | Remarks / Field Verification Notes
4 | B.P. Machine, Digital | OPD / Lab | 2 | UGIFT/MNY/BP/01-02 | 2025-05-29 | Functional | Still in stock / verified available
4 | B.P. Machine (Aneroid wall mounted) | MCH / OPD | 2 | UGIFT/MNY/BPW/01-02 | 2025-05-29 | Functional | 2 pcs still in box / uninstalled
4 | Autoclave 20 Liters, Duo Operated | Laboratory | 1 | UGIFT/MNY/ATC/01 | 2025-05-29 | Functional | In stock / verified
4 | Bowl, Kick | Maternity | 1 | UGIFT/MNY/KB/01 | 2025-05-29 | Good Condition | Available in store
4 | Bowl Stand | Maternity | 2 | UGIFT/MNY/BS/01-02 | 2025-05-29 | Good Condition | All 2 available in store
4 | Counting chamber Neubauer-Improved | Laboratory | 1 | UGIFT/MNY/LAB/CC01 | 2025-05-29 | Good Condition | Lab stock
4 | Cupboard Steel, Lockable | Store / Admin | 2 | UGIFT/MNY/CP/01-02 | 2025-05-29 | Functional | Received (01 in use, 01 in store)
4 | Drip Stand | Wards | 5 | UGIFT/MNY/DS/01-05 | 2025-05-29 | Good Condition | 5 pcs physical count verified
6 | ESR Stand | Laboratory | 1 | UGIFT/MNY/ESR/01 | 2025-05-29 | Good Condition | Verified on-site
6 | Examination Couch | OPD / MCH | 2 | UGIFT/MNY/EC/01-02 | 2025-05-29 | Good Condition | 2 pcs physical count verified
6 | Examination light, LED | Maternity / OPD | 2 | UGIFT/MNY/EL/01-02 | 2025-05-29 | Functional | 01 in store, 01 in use
6 | Glucometer | Laboratory | 1 | UGIFT/MNY/GLU/01 | 2025-05-29 | Functional | In use
6 | Haemoglobin Meter, Digital | Laboratory | 1 | UGIFT/MNY/HB/01 | 2025-05-29 | Functional | In use
6 | Height Meter | OPD | 1 | UGIFT/MNY/HM/01 | 2025-05-29 | Good Condition | 1 pc in stock
6 | Instrument Trolley | Maternity / Ward | 2 | UGIFT/MNY/IT/01-02 | 2025-05-29 | Good Condition | 2 pcs verified
6 | Microscope Binocular | Laboratory | 1 | UGIFT/MNY/MIC/01 | 2025-05-29 | Functional | Received, still in stock
6 | Otoscope | OPD | 1 | UGIFT/MNY/OTO/01 | 2025-05-29 | Functional | Brand new, still in stock
6 | Patient Screen | Wards / MCH | 4 | UGIFT/MNY/PS/01-04 | 2025-05-29 | Good Condition | 4 units delivered and verified
6 | Patient Trolley | Wards | 1 | UGIFT/MNY/PT/01 | 2025-05-29 | Good Condition | 1 pc physical count verified
8 | Stethoscope | OPD / MCH | 2 | UGIFT/MNY/ST/01-02 | 2025-05-29 | Functional | In clinical use
8 | Refrigerator, Basic | Laboratory | 1 | UGIFT/MNY/RF/01 | 2025-05-29 | Operational | Cold chain storage
8 | Stop Watch | OPD / Lab | 2 | UGIFT/MNY/SW/01-02 | 2025-05-29 | Functional | 2 pcs physical count verified
8 | Stretcher | Emergency | 1 | UGIFT/MNY/STR/01 | 2025-05-29 | Good Condition | 1 pc physical count verified
8 | Stove, Gas | Laboratory / Sterilization | 1 | UGIFT/MNY/GS/01 | 2025-05-29 | New in Box | 1 pc still boxed in stock
8 | Weighing Scale with Height Meter, Adult | OPD | 2 | UGIFT/MNY/WSA/01-02 | 2025-05-29 | Functional | 2 pcs physical count verified
8 | Weighing Scale, Infant | MCH / Immunization | 2 | UGIFT/MNY/WSI/01-02 | 2025-05-29 | Good Condition | Still in store (2 units)
8 | Weighing Scale, Toddler | MCH | 2 | UGIFT/MNY/WST/01-02 | 2025-05-29 | Good Condition | Only 2 units are at the facility
8 | Wheel Chair | OPD / Wards | 1 | UGIFT/MNY/WC/01 | 2025-05-29 | Good Condition | Verified
8 | Audio Visual Equipment | Admin / Health Ed | 1 | UGIFT/MNY/AV/01 | 2025-05-29 | Functional | Verified
8 | Medical Waste Bin | Facility-wide | 6 | UGIFT/MNY/WB/01-06 | 2025-05-29 | Good Condition | 01 in store, others actively in use
8 | Wall Clock | Facility-wide | 4 | UGIFT/MNY/WC/01-04 | 2025-05-29 | Functional | All available (2 in use, 2 in store)
10 | Diagnostic Equipment Set for MCH | MCH | 2 | UGIFT/MNY/MCH/01-02 | 2025-05-29 | Functional | Still in stock, good condition
10 | Diagnostic Equipment Set for OPD | OPD | 2 | UGIFT/MNY/OPD/01-02 | 2025-05-29 | Functional | Still in stock
10 | Glassware Set, Laboratory, Basic | Laboratory | 2 | UGIFT/MNY/GLS/01-02 | 2025-05-29 | Functional | Still in stock
10 | Hollow Ware Set, Treatment | Treatment | 2 | UGIFT/MNY/HWT/01-02 | 2025-05-29 | Good Condition | In stock
10 | Instrument Set, Dressing | Treatment | 2 | UGIFT/MNY/ISD/01-02 | 2025-05-29 | Good Condition | Still in store
10 | Instrument Set, Basic ENT | OPD | 3 | UGIFT/MNY/ENT/01-03 | 2025-05-29 | Functional | Still in stock (02 received & confirmed)
10 | Instrument Set, Suture | Treatment | 2 | UGIFT/MNY/ISS/01-02 | 2025-05-29 | Functional | In stock
10 | Pulse Oximeter, Hand held | Wards / OPD | 2 | UGIFT/MNY/POX/01-02 | 2025-05-29 | Functional | 02 units all actively in use
10 | Bed, Adult Patient with Mattress | Inpatient Wards | 10 | UGIFT/MNY/BED/01-10 | 2025-05-29 | Functional | All 10 units delivered & in use
10 | Bed, Pediatric Patient, With Mattress | Pediatric Ward | 5 | UGIFT/MNY/PBD/01-05 | 2025-05-29 | Functional | All 5 units delivered & in use
12 | Bedside Locker | Inpatient Wards | 10 | UGIFT/MNY/BL/01-10 | 2025-05-29 | Good Condition | Assigned to patient beds
12 | Cupboard, Instrument | Treatment | 1 | UGIFT/MNY/CI/01 | 2025-05-29 | Good Condition | 1 pc physical count verified
12 | Delivery Bed, Hydraulic Manual | Maternity | 1 | UGIFT/MNY/DB/01 | 2025-05-29 | Functional | Still in stock / verified
12 | Oxygen Therapy Apparatus, Minimum 45L cylinder | Emergency / Ward | 2 | UGIFT/MNY/O2T/01-02 | 2025-05-29 | New in Box | 02 pcs all still in box
12 | Resuscitator Manual, Infant, with all Mask sizes | Maternity / Peds | 2 | UGIFT/MNY/RMI/01-02 | 2025-05-29 | Functional | Still in stock
12 | Resuscitator Manual, Adult, with all mask sizes | Emergency / Wards | 2 | UGIFT/MNY/RMA/01-02 | 2025-05-29 | Functional | Still in stock
12 | Suction Apparatus, (Electric) | Maternity / Wards | 2 | UGIFT/MNY/SA/01-02 | 2025-05-29 | New in Box | 02 pcs still in original box
12 | Nebulizer, Ultrasonic | Pediatric / OPD | 1 | UGIFT/MNY/NEB/01 | 2025-05-29 | Functional | Available, in stock inbox
12 | Oxygen Concentrator, Duo Flow | Emergency / Ward | 4 | UGIFT/MNY/OC/01-04 | 2025-05-29 | Functional | Received (02) + 2 addl (4 total) verified
12 | Bench with back rest | Waiting Area | 4 | UGIFT/MNY/BN/01-04 | 2025-05-29 | Good Condition | Bench with back rest (4 units)
14 | Disinfection Buckets | Facility-wide | 6 | UGIFT/MNY/DBK/01-06 | 2025-05-29 | Good Condition | 02 in store, 4 actively in use
14 | Baby Cot | Pediatric / Maternity | 5 | UGIFT/MNY/BC/01-05 | 2025-05-29 | Transferred / In use | 03 present; 02 taken to Rugazi HC IV
14 | Diagnostic Equipment Set for Ward | Wards | 3 | UGIFT/MNY/DSW/01-03 | 2025-05-29 | Functional | Checked and verified
14 | Hollow Ware Set, Ward | Wards | 3 | UGIFT/MNY/HWW/01-03 | 2025-05-29 | Good Condition | In stock
14 | Instrument Set, Delivery | Maternity | 3 | UGIFT/MNY/ISDL/01-03 | 2025-05-29 | Functional | In stock
14 | Instrument Set, Stitch Removing | Treatment | 3 | UGIFT/MNY/SR/01-03 | 2025-05-29 | Functional | Checked and verified
14 | Stool, Laboratory | Laboratory | 1 | UGIFT/MNY/STL/01 | 2025-05-29 | Good Condition | Verified in Lab
16 | Penguin Sucker | Maternity / Peds | 3 | UGIFT/MNY/PSK/01-03 | 2025-05-29 | Functional | 01 in use, 02 in store
16 | Fetoscope, Doppler | MCH / Maternity | 2 | UGIFT/MNY/FET/01-02 | 2025-05-29 | Functional | 01 in store, 01 in use
16 | Kangaroo Mother Care Chair | Maternity | 1 | UGIFT/MNY/KMC/01 | 2025-05-29 | Good Condition | Seen in good condition
16 | Centrifuge (Electric) | Laboratory | 2 | UGIFT/MNY/CFG/01-02 | 2025-05-29 | Functional | 1 in use, 1 in stock
16 | Radiant Infant Warmer | Maternity | 1 | UGIFT/MNY/RIW/01 | 2025-05-29 | Functional | Installed in maternity ward
16 | Delivery Bed | Maternity | 1 | UGIFT/MNY/DBED/01 | 2025-05-29 | Good Condition | Delivery ward
16 | Examination Light | OPD | 1 | UGIFT/MNY/EXL/01 | 2025-05-29 | Functional | General examination room
18 | Instrument Set, ENT Basic for HCIII | OPD | 1 | UGIFT/MNY/ENT3/01 | 2025-05-29 | Functional | Verified
18 | Bag Valve Mask (Ambu Bag), Neonatal | Pediatric / Maternity | 2 | UGIFT/MNY/AMB/01-02 | 2025-05-29 | Functional | Verified in pediatric ward
18 | Incubator | Neonatal Care | 1 | UGIFT/MNY/INC/01 | 2025-05-29 | Functional | Neonatal care unit
18 | Office Chair | Administration | 7 | UGIFT/MNY/CHR/01-07 | 2025-05-29 | Good Condition | 07 pcs physical count verified
18 | Desk | Administration | 3 | UGIFT/MNY/DSK/01-03 | 2025-05-29 | Good Condition | 03 pcs physical count verified
20 | Filing Cabinet | Records / Admin | 2 | UGIFT/MNY/FC/01-02 | 2025-05-29 | Good Condition | 02 pcs all in use at facility
20 | Mid-Upper Arm Tapes (MUAC) | Nutrition / MCH | 4 | UGIFT/MNY/MUAC/01-04 | 2025-05-29 | Functional | 04 pcs all actively in use
20 | Non-Residential Buildings | Infrastructure | 1 | UGIFT/MNY/BLD/01 | 2025-05-29 | Operational | Main Health Centre Building
20 | Residential Buildings | Infrastructure | 1 | UGIFT/MNY/RES/01 | 2025-05-29 | Operational | Staff Quarters
| TOTAL EQUIPMENT COUNT |  | 176