## Sheet1
NYARUHANDAGAZI HEALTH CENTRE lll UGIFT Asset Verification Tool Kit RWAMPARA LOCAL GOVERNMENT
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service | Cost | Equipment status | Remarks
B.P Machine,Digital | Health | small electronic device with a screen and an inflatable arm cuff connected by a tube. | Not Engraved | 19/6/23 |  |  | Available | In good condition
B.P machine (Aneroid wall mounted) | Health | Round pressure gauge mounted on the wall. Has an arm cuff connected by a rubber tube. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Autoclave 20 litres, Duo operated | Health | Small, sturdy metal chamber,Has pressure gauges | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bowl,Kick | Health | stainless-steel bowl with a wide, rounded shape. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bowl stand | Health | metal stand with a circular holder at the top. | Not Engraved | 19/6/23 |  |  | Available | In good condition
CountingChamber Neubauer-improved | Health | flat rectangular glass slide. |  |  |  |  | NOT AVAILABLE
cupboard steel, lockable | Health | Tall, rectangular cabinet made of steel. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Drip stand | Health | slim metal pole with a sturdy base | Not Engraved | 19/6/23 |  |  | Available | In good condition
ESR stand | Health | Small metal or plastic stand with several upright slots. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Examination Couch | Health | Long, padded table with a firm mattress-like surface. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Examination light, LED | Health | Slim adjustable stand with an LED light head. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Glucommeter | Health | electronic device with a screen and a slot for test strips. |  |  |  |  | NOT AVAILABLE
Height Meter | Health | all measuring scale with a movable headpiece | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Trolley | Health | Stainless-steel wheeled trolley with flat shelves | Not Engraved | 19/6/23 |  |  | Available | In good condition
Microscope Binocular | Health | Laboratory microscope with two eyepieces | Not Engraved | 19/6/23 |  |  | Available | In good condition
Otoscope | Health | handheld instrument with a narrow cone-shaped tip | Not Engraved | 19/6/23 |  |  | Available | In good condition
Patient Screen | Health | Foldable privacy screen with a metal frame | Not Engraved | 19/6/23 |  |  | Available | In good condition
Patient Trolley | Health | Wheeled metal trolley with a flat padded bed | Not Engraved | 19/6/23 |  |  | Available | In good condition
Refrigerator, Basic | Health | upright refrigerator | Not Engraved | 19/6/23 |  |  | Available | In good condition
Stethoscope | Health | Flexible rubber tubing with two earpieces | Not Engraved | 19/6/23 |  |  | Available | In good condition
Stop watch | Health | Small handheld timer with a digital display | Not Engraved | 19/6/23 |  |  | NOT AVAILABLE
Stretcher | Health |  | Not Engraved | 19/6/23 |  |  | Available | In good condition
Stove, Gas | Health | gas cylinder and stove | Not Engraved | 19/6/23 |  |  | Available | In good condition
Weighing Scale with Height Meter, Adult | Health | Upright weighing scale with a flat platform | Not Engraved | 19/6/23 |  |  | Available | In good condition
Weighing Scale, Infant | Health | Small flat scale with a curved tray on top | Not Engraved | 19/6/23 |  |  | Available | In good condition
Weighing Scale , Toddler | Health | Small weighing scale with a flat platform and an upright support. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Wheel Chair | Health | wheel chair | Not Engraved | 19/6/23 |  |  | Available | In good condition
Audio Visual Equipment | Health | TV and ptojector | Not Engraved | 19/6/23 |  |  | Broken and not working, projector not working | it came with a green line in the middle and cant display
wall clock | Health | Roud clock | Not Engraved | 19/6/23 |  |  | Available | Not working
Diagonistic Equipment set for MCH | Health | Compact kit containing small handheld tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
Diagonistic Equipment set for OPD | Health | Portable case containing assorted basic medical examination tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
Glassware Set, Laboratory, Basic | Health | Set of clear glass laboratory items such as test tubes, beakers | Not Engraved | 19/6/23 |  |  | Available | In good condition
Hollow ware Set, Dressing | Health | Set of stainless-steel bowls, trays, and containers | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Set , Basic ENT | Health | Compact set of small metal examination instruments | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Set, Suture | Health | Set of small stainless-steel surgical tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
Pulse Oximeter, Hand held | Health | handheld device with a display screen and a clip-shaped sensor |  |  |  |  | NOT AVAILABLE
Bed Adult Patient With Mattress | Health | adult hospital bed with a padded mattress, raised side rails | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bed Pediatric Patient with Mattress | Health | hospital bed for children with a padded mattress and raised safety side rails. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bedside Locker | Health | bedside cabinet with a drawer and cupboard compartment | Not Engraved | 19/6/23 |  |  | Available | In good condition
Cupboard, Instrument | Health | Tall metal cabinet with doors and shelves | Not Engraved | 19/6/23 |  |  | Available | In good condition
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | Tall oxygen cylinder with a pressure gauge | Not Engraved | 19/6/23 |  |  | Available | In good condition
Resuscitator Manual, infant, with all mask sizes | Health | Hand-operated infant resuscitation bag with attached tubing and masks | Not Engraved | 19/6/23 |  |  | Available | In good condition
Resuscitator Manual, Adult, with all mask sizes | Health | Hand-operated adult resuscitation bag with attached tubing and masks | Not Engraved | 19/6/23 |  |  | Available | In good condition
Suction Apparatus(Electric) | Health | Compact electric machine with a collection bottle | Not Engraved | 19/6/23 |  |  | Available | In good condition
Nebulizer, Ultrasonic | Health | Compact electric machine with a collection bottle | Not Engraved | 19/6/23 |  |  | Available | In good condition
Oxgyen Concentrator, Duo Flow | Health | Compact electric machine with a control panel, and air vents | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bench | Health | sitting benches | Not Engraved | 19/6/23
Disinfection Buckets | Health | normal buckets |  |  |  |  | NOT AVAILABLE
Baby Cot | Health | Small infant bed with a sturdy frame | Not Engraved | 19/6/23 |  |  | Available | In good condition
Diagnostic Equipment Set, for Ward | Health | Portable case containing basic examination tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
Hollow Ware Set,Ward | Health | Set of stainless-steel bowls, trays, basins, and containers | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Set , Delivery | Health | Set of stainless-steel delivery instruments | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Set, Stitch Removing | Health | Small set of stainless-steel tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
MVA Kit | Health | Compact medical kit containing small metal instruments |  |  |  |  | NOT AVAILABLE
Stool, Laboratory | Health | plastic stool with metal support | Not Engraved | 19/6/23 |  |  | Available | In good condition
Penguin Sucker | Health | mall soft rubber suction device shaped like a bulb, with a bird-like nozzle | Not Engraved | 19/6/23 |  |  | Available | In good condition
Fetoscope, Doppler | Health | Handheld electronic device with a small probe and display | Not Engraved | 19/6/23 |  |  | NOT AVAILABLE
Centrifuge (Electric) | Health | Compact laboratory machine with a round spinning chamber | Not Engraved | 19/6/23 |  |  | Available | In good condition
Kangaroo Mother Care Chair | Health | Padded chair with a high back and wide seat. | Not Engraved | 19/6/23
Radiant Infant warmer | Health | Infant bed with a clear overhead heating unit and control panel. |  |  |  |  | NOT AVAILABLE
Haemoglobin Meter, Sahli | Health | Small manual testing device with a graduated tube and stand |  |  |  |  | NOT AVAILABLE
Delivery Bed | Health | Adjustable hospital bed with a padded surface, and leg supports. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Office Chair | Health | office chairs | Not Engraved | 19/6/23
Bag valve mask (Ambu Bag), Neonatal | Health | Small hand-operated resuscitation bag with a face mask |  |  |  |  | NOT AVAILABLE
Desk | Health | office desks | Not Engraved | 19/6/23 |  |  | Available | In good condition
Filing cabinet | Health | metal cabinet with several drawers for storing files | Not Engraved | 19/6/23 |  |  | Available | In good condition
Non Residential Buildings | Health | [5 empty] | Present | In good condition
Residential Buildings | Health | [5 empty] | Present | In good condition