## Sheet1
BUSHEKA HEALTH CENTRE lll UGIFT Asset Verification Tool Kit ISINGIRO LOCAL GOVERNMENT
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service |  | Equipment status | Remarks
B.P Machine,Digital | Health | small electronic device with a screen and an inflatable arm cuff connected by a tube. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
B.P machine (Aneroid wall mounted) | Health | Round pressure gauge mounted on the wall. Has an arm cuff connected by a rubber tube. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Autoclave 20 litres, Duo operated | Health | Small, sturdy metal chamber,Has pressure gauges |  |  |  |  | NOT AVAILABLE
Bowl,Kick | Health | stainless-steel bowl with a wide, rounded shape. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Bowl stand | Health | metal stand with a circular holder at the top. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
CountingChamber Neubauer-improved | Health | flat rectangular glass slide. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
cupboard steel, lockable | Health | Tall, rectangular cabinet made of steel. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Drip stand | Health | slim metal pole with a sturdy base | Not Engraved | 5/6/2025. |  |  | Available | In good condition
ESR stand | Health | Small metal or plastic stand with several upright slots. |  |  |  |  | NOT AVAILABLE
Examination Couch | Health | Long, padded table with a firm mattress-like surface. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Examination light, LED | Health | Slim adjustable stand with an LED light head. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Glucommeter | Health | electronic device with a screen and a slot for test strips. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Height Meter | Health | all measuring scale with a movable headpiece | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Instrument Trolley | Health | Stainless-steel wheeled trolley with flat shelves | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Microscope Binocular | Health | Laboratory microscope with two eyepieces | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Otoscope | Health | handheld instrument with a narrow cone-shaped tip | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Patient Screen | Health | Foldable privacy screen with a metal frame | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Patient Trolley | Health | Wheeled metal trolley with a flat padded bed | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Refrigerator, Basic | Health | upright refrigerator | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Stethoscope | Health | Flexible rubber tubing with two earpieces | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Stop watch | Health | Small handheld timer with a digital display |  | 5/6/2025. |  |  | Available
Stretcher | Health |  | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Stove, Gas | Health | gas cylinder and stove |  |  |  |  | NOT AVAILABLE
Weighing Scale with Height Meter, Adult | Health | Upright weighing scale with a flat platform | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Weighing Scale, Infant | Health | Small flat scale with a curved tray on top | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Weighing Scale , Toddler | Health | Small weighing scale with a flat platform and an upright support. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Wheel Chair | Health | wheel chair |  |  |  |  | NOT AVAILABLE
Audio Visual Equipment | Health | TV and ptojector |  |  |  |  | NOT AVAILABLE
wall clock | Health | Roud clock | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Diagonistic Equipment set for MCH | Health | Compact kit containing small handheld tools | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Diagonistic Equipment set for OPD | Health | Portable case containing assorted basic medical examination tools | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Glassware Set, Laboratory, Basic | Health | Set of clear glass laboratory items such as test tubes, beakers | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Hollow ware Set, Dressing | Health | Set of stainless-steel bowls, trays, and containers | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Instrument Set , Basic ENT | Health | Compact set of small metal examination instruments | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Instrument Set, Suture | Health | Set of small stainless-steel surgical tools | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Pulse Oximeter, Hand held | Health | handheld device with a display screen and a clip-shaped sensor | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Bed Adult Patient With Mattress | Health | adult hospital bed with a padded mattress, raised side rails | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Bed Pediatric Patient with Mattress | Health | hospital bed for children with a padded mattress and raised safety side rails. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Bedside Locker | Health | bedside cabinet with a drawer and cupboard compartment |  |  |  |  | NOT AVAILABLE
Cupboard, Instrument | Health | Tall metal cabinet with doors and shelves | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | Tall oxygen cylinder with a pressure gauge | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Resuscitator Manual, infant, with all mask sizes | Health | Hand-operated infant resuscitation bag with attached tubing and masks | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Resuscitator Manual, Adult, with all mask sizes | Health | Hand-operated adult resuscitation bag with attached tubing and masks | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Suction Apparatus(Electric) | Health | Compact electric machine with a collection bottle | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Nebulizer, Ultrasonic | Health | Compact electric machine with a collection bottle | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Oxgyen Concentrator, Duo Flow | Health | Compact electric machine with a control panel, and air vents | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Bench | Health | sitting benches | Not Engraved | 5/6/2025.
Disinfection Buckets | Health | normal buckets |  | 5/6/2025. |  |  | Available
Baby Cot | Health | Small infant bed with a sturdy frame |  |  |  |  | NOT AVAILABLE
Diagnostic Equipment Set, for Ward | Health | Portable case containing basic examination tools | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Hollow Ware Set,Ward | Health | Set of stainless-steel bowls, trays, basins, and containers |  |  |  |  | NOT AVAILABLE
Instrument Set , Delivery | Health | Set of stainless-steel delivery instruments | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Instrument Set, Stitch Removing | Health | Small set of stainless-steel tools | Not Engraved | 5/6/2025. |  |  | Available | In good condition
MVA Kit | Health | Compact medical kit containing small metal instruments | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Stool, Laboratory | Health | plastic stool with metal support | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Penguin Sucker | Health | mall soft rubber suction device shaped like a bulb, with a bird-like nozzle | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Fetoscope, Doppler | Health | Handheld electronic device with a small probe and display | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Centrifuge (Electric) | Health | Compact laboratory machine with a round spinning chamber | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Kangaroo Mother Care Chair | Health | Padded chair with a high back and wide seat. | Not Engraved | 5/6/2025.
Radiant Infant warmer | Health | Infant bed with a clear overhead heating unit and control panel. |  |  |  |  | NOT AVAILABLE
Haemoglobin Meter, Sahli | Health | Small manual testing device with a graduated tube and stand | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Delivery Bed | Health | Adjustable hospital bed with a padded surface, and leg supports. | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Office Chair | Health | office chairs | Not Engraved | 5/6/2025.
Bag valve mask (Ambu Bag), Neonatal | Health | Small hand-operated resuscitation bag with a face mask |  |  |  |  | NOT AVAILABLE
Incubator | Health | incubator |  | 5/6/2025. |  |  | NOT AVAILABLE
Desk | Health | office desks | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Filing cabinet | Health | metal cabinet with several drawers for storing files | Not Engraved | 5/6/2025. |  |  | Available | In good condition
Non Residential Buildings | Health | [5 empty] | Present | In good condition
Residential Buildings | Health | [5 empty] | Present | In good condition
KYABAKARA HEALTH CENTRE lll UGIFT Asset Verification Tool Kit RUBIRIZI LOCAL GOVERNMENT
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service |  | Equipment status | Remarks
B.P Machine,Digital | Health | small electronic device with a screen and an inflatable arm cuff connected by a tube. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
B.P machine (Aneroid wall mounted) | Health | Round pressure gauge mounted on the wall. Has an arm cuff connected by a rubber tube. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Autoclave 20 litres, Duo operated | Health | Small, sturdy metal chamber,Has pressure gauges | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bowl,Kick | Health | stainless-steel bowl with a wide, rounded shape. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bowl stand | Health | metal stand with a circular holder at the top. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
CountingChamber Neubauer-improved | Health | flat rectangular glass slide. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
cupboard steel, lockable | Health | Tall, rectangular cabinet made of steel. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Drip stand | Health | slim metal pole with a sturdy base | Not Engraved | 21/6/2023 |  |  | Available | In good condition
ESR stand | Health | Small metal or plastic stand with several upright slots. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Examination Couch | Health | Long, padded table with a firm mattress-like surface. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Examination light, LED | Health | Slim adjustable stand with an LED light head. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Glucommeter | Health | electronic device with a screen and a slot for test strips. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Height Meter | Health | all measuring scale with a movable headpiece | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Trolley | Health | Stainless-steel wheeled trolley with flat shelves | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Microscope Binocular | Health | Laboratory microscope with two eyepieces | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Otoscope | Health | handheld instrument with a narrow cone-shaped tip | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Patient Screen | Health | Foldable privacy screen with a metal frame | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Patient Trolley | Health | Wheeled metal trolley with a flat padded bed | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Refrigerator, Basic | Health | upright refrigerator | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Stethoscope | Health | Flexible rubber tubing with two earpieces | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Stop watch | Health | Small handheld timer with a digital display |  | 21/6/2023 |  |  | Available
Stretcher | Health |  | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Stove, Gas | Health | gas cylinder and stove |  | 21/6/2023 |  |  | Available
Weighing Scale with Height Meter, Adult | Health | Upright weighing scale with a flat platform | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Weighing Scale, Infant | Health | Small flat scale with a curved tray on top | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Weighing Scale , Toddler | Health | Small weighing scale with a flat platform and an upright support. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Wheel Chair | Health | wheel chair | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Audio Visual Equipment | Health | TV and ptojector | Not Engraved | 21/6/2023 |  |  | Available | in good condition
wall clock | Health | Roud clock | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Diagonistic Equipment set for MCH | Health | Compact kit containing small handheld tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Diagonistic Equipment set for OPD | Health | Portable case containing assorted basic medical examination tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Glassware Set, Laboratory, Basic | Health | Set of clear glass laboratory items such as test tubes, beakers | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Hollow ware Set, Dressing | Health | Set of stainless-steel bowls, trays, and containers | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Set , Basic ENT | Health | Compact set of small metal examination instruments | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Set, Suture | Health | Set of small stainless-steel surgical tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Pulse Oximeter, Hand held | Health | handheld device with a display screen and a clip-shaped sensor | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bed Adult Patient With Mattress | Health | adult hospital bed with a padded mattress, raised side rails | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bed Pediatric Patient with Mattress | Health | hospital bed for children with a padded mattress and raised safety side rails. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bedside Locker | Health | bedside cabinet with a drawer and cupboard compartment | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Cupboard, Instrument | Health | Tall metal cabinet with doors and shelves | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | Tall oxygen cylinder with a pressure gauge | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Resuscitator Manual, infant, with all mask sizes | Health | Hand-operated infant resuscitation bag with attached tubing and masks | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Resuscitator Manual, Adult, with all mask sizes | Health | Hand-operated adult resuscitation bag with attached tubing and masks | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Suction Apparatus(Electric) | Health | Compact electric machine with a collection bottle | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Nebulizer, Ultrasonic | Health | Compact electric machine with a collection bottle | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Oxgyen Concentrator, Duo Flow | Health | Compact electric machine with a control panel, and air vents | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bench | Health | sitting benches | Not Engraved | 21/6/2023
Disinfection Buckets | Health | normal buckets |  | 21/6/2023 |  |  | Available
Baby Cot | Health | Small infant bed with a sturdy frame | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Diagnostic Equipment Set, for Ward | Health | Portable case containing basic examination tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Hollow Ware Set,Ward | Health | Set of stainless-steel bowls, trays, basins, and containers | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Set , Delivery | Health | Set of stainless-steel delivery instruments | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Set, Stitch Removing | Health | Small set of stainless-steel tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
MVA Kit | Health | Compact medical kit containing small metal instruments | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Stool, Laboratory | Health | plastic stool with metal support | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Penguin Sucker | Health | mall soft rubber suction device shaped like a bulb, with a bird-like nozzle | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Fetoscope, Doppler | Health | Handheld electronic device with a small probe and display | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Centrifuge (Electric) | Health | Compact laboratory machine with a round spinning chamber | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Kangaroo Mother Care Chair | Health | Padded chair with a high back and wide seat. | Not Engraved | 21/6/2023
Radiant Infant warmer | Health | Infant bed with a clear overhead heating unit and control panel. |  |  |  |  | NOT AVAILABLE
Haemoglobin Meter, Sahli | Health | Small manual testing device with a graduated tube and stand | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Delivery Bed | Health | Adjustable hospital bed with a padded surface, and leg supports. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Office Chair | Health | office chairs | Not Engraved | 21/6/2023
Bag valve mask (Ambu Bag), Neonatal | Health | Small hand-operated resuscitation bag with a face mask |  |  |  |  | NOT AVAILABLE
Incubator | Health | incubator |  | 21/6/2023 |  |  | NOT AVAILABLE
Desk | Health | office desks | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Filing cabinet | Health | metal cabinet with several drawers for storing files | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Non Residential Buildings | Health | [5 empty] | Present | In good condition
Residential Buildings | Health | [5 empty] | Present | In good condition
NDANGARO HEALTH CENTRE lll UGIFT Asset Verification Tool Kit RUBIRIZI LOCAL GOVERNMENT
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service |  | Equipment status | Remarks
B.P Machine,Digital | Health | small electronic device with a screen and an inflatable arm cuff connected by a tube. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
B.P machine (Aneroid wall mounted) | Health | Round pressure gauge mounted on the wall. Has an arm cuff connected by a rubber tube. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Autoclave 20 litres, Duo operated | Health | Small, sturdy metal chamber,Has pressure gauges |  |  |  |  | NOT AVAILABLE
Bowl,Kick | Health | stainless-steel bowl with a wide, rounded shape. |  |  |  |  | NOT AVAILABLE
Bowl stand | Health | metal stand with a circular holder at the top. |  |  |  |  | NOT AVAILABLE
CountingChamber Neubauer-improved | Health | flat rectangular glass slide. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available
cupboard steel, lockable | Health | Tall, rectangular cabinet made of steel. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Drip stand | Health | slim metal pole with a sturdy base | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
ESR stand | Health | Small metal or plastic stand with several upright slots. |  |  |  |  | NOT AVAILABLE
Examination Couch | Health | Long, padded table with a firm mattress-like surface. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Examination light, LED | Health | Slim adjustable stand with an LED light head. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Glucommeter | Health | electronic device with a screen and a slot for test strips. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available
Height Meter | Health | all measuring scale with a movable headpiece | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Instrument Trolley | Health | Stainless-steel wheeled trolley with flat shelves | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Microscope Binocular | Health | Laboratory microscope with two eyepieces | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Otoscope | Health | handheld instrument with a narrow cone-shaped tip | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Patient Screen | Health | Foldable privacy screen with a metal frame | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Patient Trolley | Health | Wheeled metal trolley with a flat padded bed | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Refrigerator, Basic | Health | upright refrigerator | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Stethoscope | Health | Flexible rubber tubing with two earpieces | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Stop watch | Health | Small handheld timer with a digital display |  |  |  |  | NOT AVAILABLE
Stretcher | Health |  | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Stove, Gas | Health | gas cylinder and stove |  |  |  |  | NOT AVAILABLE
Weighing Scale with Height Meter, Adult | Health | Upright weighing scale with a flat platform | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Weighing Scale, Infant | Health | Small flat scale with a curved tray on top | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Weighing Scale , Toddler | Health | Small weighing scale with a flat platform and an upright support. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Wheel Chair | Health | wheel chair | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Audio Visual Equipment | Health | TV and ptojector | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | in good condition
wall clock | Health | Roud clock | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Diagonistic Equipment set for MCH | Health | Compact kit containing small handheld tools |  |  |  |  | NOT AVAILABLE
Diagonistic Equipment set for OPD | Health | Portable case containing assorted basic medical examination tools |  |  |  |  | NOT AVAILABLE
Glassware Set, Laboratory, Basic | Health | Set of clear glass laboratory items such as test tubes, beakers |  |  |  |  | NOT AVAILABLE
Hollow ware Set, Dressing | Health | Set of stainless-steel bowls, trays, and containers | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Instrument Set , Basic ENT | Health | Compact set of small metal examination instruments | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Instrument Set, Suture | Health | Set of small stainless-steel surgical tools | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Pulse Oximeter, Hand held | Health | handheld device with a display screen and a clip-shaped sensor |  |  |  |  | NOT AVAILABLE
Bed Adult Patient With Mattress | Health | adult hospital bed with a padded mattress, raised side rails | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Bed Pediatric Patient with Mattress | Health | hospital bed for children with a padded mattress and raised safety side rails. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Bedside Locker | Health | bedside cabinet with a drawer and cupboard compartment | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Cupboard, Instrument | Health | Tall metal cabinet with doors and shelves | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | Tall oxygen cylinder with a pressure gauge |  |  |  |  | NOT AVAILABLE
Resuscitator Manual, infant, with all mask sizes | Health | Hand-operated infant resuscitation bag with attached tubing and masks | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Resuscitator Manual, Adult, with all mask sizes | Health | Hand-operated adult resuscitation bag with attached tubing and masks | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Suction Apparatus(Electric) | Health | Compact electric machine with a collection bottle | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Nebulizer, Ultrasonic | Health | Compact electric machine with a collection bottle | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Oxgyen Concentrator, Duo Flow | Health | Compact electric machine with a control panel, and air vents | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Bench | Health | sitting benches | Not Engraved | 31/10/2022
Disinfection Buckets | Health | normal buckets |  | 31/10/2022 |  |  | NOT AVAILABLE
Baby Cot | Health | Small infant bed with a sturdy frame | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Diagnostic Equipment Set, for Ward | Health | Portable case containing basic examination tools |  |  |  |  | NOT AVAILABLE
Hollow Ware Set,Ward | Health | Set of stainless-steel bowls, trays, basins, and containers | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Instrument Set , Delivery | Health | Set of stainless-steel delivery instruments | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Instrument Set, Stitch Removing | Health | Small set of stainless-steel tools | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
MVA Kit | Health | Compact medical kit containing small metal instruments | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Stool, Laboratory | Health | plastic stool with metal support | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Penguin Sucker | Health | mall soft rubber suction device shaped like a bulb, with a bird-like nozzle | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Fetoscope, Doppler | Health | Handheld electronic device with a small probe and display | Not Engraved | 31/10/2022 |  |  | NOT AVAILABLE
Centrifuge (Electric) | Health | Compact laboratory machine with a round spinning chamber | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Kangaroo Mother Care Chair | Health | Padded chair with a high back and wide seat. | Not Engraved | 31/10/2022
Radiant Infant warmer | Health | Infant bed with a clear overhead heating unit and control panel. |  |  |  |  | NOT AVAILABLE
Haemoglobin Meter, Sahli | Health | Small manual testing device with a graduated tube and stand | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Delivery Bed | Health | Adjustable hospital bed with a padded surface, and leg supports. | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Office Chair | Health | office chairs | Not Engraved | 31/10/2022
Bag valve mask (Ambu Bag), Neonatal | Health | Small hand-operated resuscitation bag with a face mask |  |  |  |  | NOT AVAILABLE
Incubator | Health | incubator |  |  |  |  | NOT AVAILABLE
Desk | Health | office desks | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Filing cabinet | Health | metal cabinet with several drawers for storing files | Not Engraved | 31/10/2022 | 2022-01-11 |  | Available | In good condition
Non Residential Buildings | Health | [5 empty] | Present | In good condition
Residential Buildings | Health | [5 empty] | Present | In good condition
NYARUHANDAGAZI HEALTH CENTRE lll UGIFT Asset Verification Tool Kit RWAMPARA LOCAL GOVERNMENT
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service | Cost | Equipment status | Remarks
B.P Machine,Digital | Health | small electronic device with a screen and an inflatable arm cuff connected by a tube. | Not Engraved | 19/6/23 |  |  | Available | In good condition
B.P machine (Aneroid wall mounted) | Health | Round pressure gauge mounted on the wall. Has an arm cuff connected by a rubber tube. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Autoclave 20 litres, Duo operated | Health | Small, sturdy metal chamber,Has pressure gauges | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bowl,Kick | Health | stainless-steel bowl with a wide, rounded shape. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bowl stand | Health | metal stand with a circular holder at the top. | Not Engraved | 19/6/23 |  |  | Available | In good condition
CountingChamber Neubauer-improved | Health | flat rectangular glass slide. |  |  |  |  | NOT AVAILABLE
cupboard steel, lockable | Health | Tall, rectangular cabinet made of steel. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Drip stand | Health | slim metal pole with a sturdy base | Not Engraved | 19/6/23 |  |  | Available | In good condition
ESR stand | Health | Small metal or plastic stand with several upright slots. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Examination Couch | Health | Long, padded table with a firm mattress-like surface. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Examination light, LED | Health | Slim adjustable stand with an LED light head. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Glucommeter | Health | electronic device with a screen and a slot for test strips. |  |  |  |  | NOT AVAILABLE
Height Meter | Health | all measuring scale with a movable headpiece | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Trolley | Health | Stainless-steel wheeled trolley with flat shelves | Not Engraved | 19/6/23 |  |  | Available | In good condition
Microscope Binocular | Health | Laboratory microscope with two eyepieces | Not Engraved | 19/6/23 |  |  | Available | In good condition
Otoscope | Health | handheld instrument with a narrow cone-shaped tip | Not Engraved | 19/6/23 |  |  | Available | In good condition
Patient Screen | Health | Foldable privacy screen with a metal frame | Not Engraved | 19/6/23 |  |  | Available | In good condition
Patient Trolley | Health | Wheeled metal trolley with a flat padded bed | Not Engraved | 19/6/23 |  |  | Available | In good condition
Refrigerator, Basic | Health | upright refrigerator | Not Engraved | 19/6/23 |  |  | Available | In good condition
Stethoscope | Health | Flexible rubber tubing with two earpieces | Not Engraved | 19/6/23 |  |  | Available | In good condition
Stop watch | Health | Small handheld timer with a digital display | Not Engraved | 19/6/23 |  |  | NOT AVAILABLE
Stretcher | Health |  | Not Engraved | 19/6/23 |  |  | Available | In good condition
Stove, Gas | Health | gas cylinder and stove | Not Engraved | 19/6/23 |  |  | Available | In good condition
Weighing Scale with Height Meter, Adult | Health | Upright weighing scale with a flat platform | Not Engraved | 19/6/23 |  |  | Available | In good condition
Weighing Scale, Infant | Health | Small flat scale with a curved tray on top | Not Engraved | 19/6/23 |  |  | Available | In good condition
Weighing Scale , Toddler | Health | Small weighing scale with a flat platform and an upright support. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Wheel Chair | Health | wheel chair | Not Engraved | 19/6/23 |  |  | Available | In good condition
Audio Visual Equipment | Health | TV and ptojector | Not Engraved | 19/6/23 |  |  | Broken and not working, projector not working | it came with a green line in the middle and cant display
wall clock | Health | Roud clock | Not Engraved | 19/6/23 |  |  | Available | Not working
Diagonistic Equipment set for MCH | Health | Compact kit containing small handheld tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
Diagonistic Equipment set for OPD | Health | Portable case containing assorted basic medical examination tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
Glassware Set, Laboratory, Basic | Health | Set of clear glass laboratory items such as test tubes, beakers | Not Engraved | 19/6/23 |  |  | Available | In good condition
Hollow ware Set, Dressing | Health | Set of stainless-steel bowls, trays, and containers | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Set , Basic ENT | Health | Compact set of small metal examination instruments | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Set, Suture | Health | Set of small stainless-steel surgical tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
Pulse Oximeter, Hand held | Health | handheld device with a display screen and a clip-shaped sensor |  |  |  |  | NOT AVAILABLE
Bed Adult Patient With Mattress | Health | adult hospital bed with a padded mattress, raised side rails | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bed Pediatric Patient with Mattress | Health | hospital bed for children with a padded mattress and raised safety side rails. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bedside Locker | Health | bedside cabinet with a drawer and cupboard compartment | Not Engraved | 19/6/23 |  |  | Available | In good condition
Cupboard, Instrument | Health | Tall metal cabinet with doors and shelves | Not Engraved | 19/6/23 |  |  | Available | In good condition
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | Tall oxygen cylinder with a pressure gauge | Not Engraved | 19/6/23 |  |  | Available | In good condition
Resuscitator Manual, infant, with all mask sizes | Health | Hand-operated infant resuscitation bag with attached tubing and masks | Not Engraved | 19/6/23 |  |  | Available | In good condition
Resuscitator Manual, Adult, with all mask sizes | Health | Hand-operated adult resuscitation bag with attached tubing and masks | Not Engraved | 19/6/23 |  |  | Available | In good condition
Suction Apparatus(Electric) | Health | Compact electric machine with a collection bottle | Not Engraved | 19/6/23 |  |  | Available | In good condition
Nebulizer, Ultrasonic | Health | Compact electric machine with a collection bottle | Not Engraved | 19/6/23 |  |  | Available | In good condition
Oxgyen Concentrator, Duo Flow | Health | Compact electric machine with a control panel, and air vents | Not Engraved | 19/6/23 |  |  | Available | In good condition
Bench | Health | sitting benches | Not Engraved | 19/6/23
Disinfection Buckets | Health | normal buckets |  |  |  |  | NOT AVAILABLE
Baby Cot | Health | Small infant bed with a sturdy frame | Not Engraved | 19/6/23 |  |  | Available | In good condition
Diagnostic Equipment Set, for Ward | Health | Portable case containing basic examination tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
Hollow Ware Set,Ward | Health | Set of stainless-steel bowls, trays, basins, and containers | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Set , Delivery | Health | Set of stainless-steel delivery instruments | Not Engraved | 19/6/23 |  |  | Available | In good condition
Instrument Set, Stitch Removing | Health | Small set of stainless-steel tools | Not Engraved | 19/6/23 |  |  | Available | In good condition
MVA Kit | Health | Compact medical kit containing small metal instruments |  |  |  |  | NOT AVAILABLE
Stool, Laboratory | Health | plastic stool with metal support | Not Engraved | 19/6/23 |  |  | Available | In good condition
Penguin Sucker | Health | mall soft rubber suction device shaped like a bulb, with a bird-like nozzle | Not Engraved | 19/6/23 |  |  | Available | In good condition
Fetoscope, Doppler | Health | Handheld electronic device with a small probe and display | Not Engraved | 19/6/23 |  |  | NOT AVAILABLE
Centrifuge (Electric) | Health | Compact laboratory machine with a round spinning chamber | Not Engraved | 19/6/23 |  |  | Available | In good condition
Kangaroo Mother Care Chair | Health | Padded chair with a high back and wide seat. | Not Engraved | 19/6/23
Radiant Infant warmer | Health | Infant bed with a clear overhead heating unit and control panel. |  |  |  |  | NOT AVAILABLE
Haemoglobin Meter, Sahli | Health | Small manual testing device with a graduated tube and stand |  |  |  |  | NOT AVAILABLE
Delivery Bed | Health | Adjustable hospital bed with a padded surface, and leg supports. | Not Engraved | 19/6/23 |  |  | Available | In good condition
Office Chair | Health | office chairs | Not Engraved | 19/6/23
Bag valve mask (Ambu Bag), Neonatal | Health | Small hand-operated resuscitation bag with a face mask |  |  |  |  | NOT AVAILABLE
Desk | Health | office desks | Not Engraved | 19/6/23 |  |  | Available | In good condition
Filing cabinet | Health | metal cabinet with several drawers for storing files | Not Engraved | 19/6/23 |  |  | Available | In good condition
Non Residential Buildings | Health | [5 empty] | Present | In good condition
Residential Buildings | Health | [5 empty] | Present | In good condition
BIRONGO HEALTH CENTRE lll UGIFT Asset Verification Tool Kit IBANDA
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service |  | Equipment status | Remarks
B.P Machine,Digital | Health | small electronic device with a screen and an inflatable arm cuff connected by a tube. | BH III/BP/04 | 11/6/2025. |  |  | Available | In good condition
B.P machine (Aneroid wall mounted) | Health | Round pressure gauge mounted on the wall. Has an arm cuff connected by a rubber tube. | BH III/96 | 11/6/2025. |  |  | Available | In good condition
Autoclave 20 litres, Duo operated | Health | Small, sturdy metal chamber,Has pressure gauges | BH III/AC/01 | 11/6/2025. |  |  | Available | In good condition
Bowl,Kick | Health | stainless-steel bowl with a wide, rounded shape. | BH III/BS/01 | 11/6/2025. |  |  | Available | In good condition
Bowl stand | Health | metal stand with a circular holder at the top. | BH III/BS/01 | 11/6/2025. |  |  | Available | In good condition
CountingChamber Neubauer-improved | Health | flat rectangular glass slide. | Not Engraved | 11/6/2025. |  |  | Available | In good condition
cupboard steel, lockable | Health | Tall, rectangular cabinet made of steel. | UGIFT BH III/77 | 11/6/2025. |  |  | Available | In good condition
Drip stand | Health | slim metal pole with a sturdy base | Not Engraved | 11/6/2025. |  |  | Available | In good condition
ESR stand | Health | Small metal or plastic stand with several upright slots. |  |  |  |  | NOT AVAILABLE
Examination Couch | Health | Long, padded table with a firm mattress-like surface. | BIRONGO HC III/79 | 11/6/2025. |  |  | Available | In good condition
Examination light, LED | Health | Slim adjustable stand with an LED light head. | BH III/114 | 11/6/2025. |  |  | Available | In good condition
Glucommeter | Health | electronic device with a screen and a slot for test strips. | BH III/BG01 | 11/6/2025. |  |  | Available | In good condition
Height Meter | Health | all measuring scale with a movable headpiece | UGIFT BH III/90 | 11/6/2025. |  |  | Available | In good condition
Instrument Trolley | Health | Stainless-steel wheeled trolley with flat shelves | BH III/IT/02 | 11/6/2025. |  |  | Available | In good condition
Microscope Binocular | Health | Laboratory microscope with two eyepieces | BH III/84 | 11/6/2025. |  |  | Available | In good condition
Otoscope | Health | handheld instrument with a narrow cone-shaped tip | BH III/05/01-04 | 11/6/2025. |  |  | Available | In good condition
Patient Screen | Health | Foldable privacy screen with a metal frame | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Patient Trolley | Health | Wheeled metal trolley with a flat padded bed | BH III/11/PI/01 | 11/6/2025. |  |  | Available | In good condition
Refrigerator, Basic | Health | upright refrigerator | BH III/REF/01 | 11/6/2025. |  |  | Available | In good condition
Stethoscope | Health | Flexible rubber tubing with two earpieces | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Stop watch | Health | Small handheld timer with a digital display | BHC III | 11/6/2025. |  |  | Available
Stretcher | Health |  | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Stove, Gas | Health | gas cylinder and stove | BH III/GS/01 | 11/6/2025. |  |  | Available
Weighing Scale with Height Meter, Adult | Health | Upright weighing scale with a flat platform | UGIFT BHC III/90 | 11/6/2025. |  |  | Available | In good condition
Weighing Scale, Infant | Health | Small flat scale with a curved tray on top | BH 111/155 | 11/6/2025. |  |  | Available | In good condition
Weighing Scale , Toddler | Health | Small weighing scale with a flat platform and an upright support. | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Wheel Chair | Health | wheel chair | UGIFT 2023/2024 | 11/6/2025. |  |  | Available
Audio Visual Equipment | Health | TV and ptojector |  | 11/6/2025. |  |  | Available
Medical waste bin | Health | waste bins with covers | BH 111/CBN/04 | 11/6/2025. |  |  | Available | In good condition
wall clock | Health | Roud clock | UGIFT FY2023/2024 | 11/6/2025. |  |  | Available | In good condition
Diagonistic Equipment set for MCH | Health | Compact kit containing small handheld tools | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Diagonistic Equipment set for OPD | Health | Portable case containing assorted basic medical examination tools | BH 111/15/01 | 11/6/2025. |  |  | Available | In good condition
Glassware Set, Laboratory, Basic | Health | Set of clear glass laboratory items such as test tubes, beakers | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Hollow ware Set, Dressing | Health | Set of stainless-steel bowls, trays, and containers | BH 111/15/01 | 11/6/2025. |  |  | Available | In good condition
Instrument Set , Basic ENT | Health | Compact set of small metal examination instruments | BH 111/15/03 | 11/6/2025. |  |  | Available | In good condition
Instrument Set, Suture | Health | Set of small stainless-steel surgical tools | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Pulse Oximeter, Hand held | Health | handheld device with a display screen and a clip-shaped sensor | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Bed Adult Patient With Mattress | Health | adult hospital bed with a padded mattress, raised side rails | BH 111/11 | 11/6/2025. |  |  | Available | In good condition
Bed Pediatric Patient with Mattress | Health | hospital bed for children with a padded mattress and raised safety side rails. | BH 111/PBED/03 | 11/6/2025. |  |  | Available | In good condition
Bedside Locker | Health | bedside cabinet with a drawer and cupboard compartment | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Cupboard, Instrument | Health | Tall metal cabinet with doors and shelves | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | Tall oxygen cylinder with a pressure gauge | UGIFT BH 111/157 | 11/6/2025. |  |  | Available | In good condition
Resuscitator Manual, infant, with all mask sizes | Health | Hand-operated infant resuscitation bag with attached tubing and masks | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Resuscitator Manual, Adult, with all mask sizes | Health | Hand-operated adult resuscitation bag with attached tubing and masks | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Suction Apparatus(Electric) | Health | Compact electric machine with a collection bottle | BH 111/150 | 11/6/2025. |  |  | Available | In good condition
Nebulizer, Ultrasonic | Health | Compact electric machine with a collection bottle | BH 111/156 | 11/6/2025. |  |  | Available | In good condition
Oxgyen Concentrator, Duo Flow | Health | Compact electric machine with a control panel, and air vents | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Bench | Health | sitting benches | Not Engraved | 11/6/2025.
Disinfection Buckets | Health | normal buckets | GOU/MOH-UGIFT 2023/2024 | 11/6/2025. |  |  | Available
Baby Cot | Health | Small infant bed with a sturdy frame | BHC III/0(not clear) | 11/6/2025. |  |  | Available
Diagnostic Equipment Set, for Ward | Health | Portable case containing basic examination tools | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Hollow Ware Set,Ward | Health | Set of stainless-steel bowls, trays, basins, and containers |  |  |  |  | NOT AVAILABLE
Instrument Set , Delivery | Health | Set of stainless-steel delivery instruments | BH 111/15/06 | 11/6/2025. |  |  | Available | In good condition
Instrument Set, Stitch Removing | Health | Small set of stainless-steel tools | Not Engraved | 11/6/2025. |  |  | Available | In good condition
MVA Kit | Health | Compact medical kit containing small metal instruments | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Stool, Laboratory | Health | plastic stool with metal support | BH 111/15/06 | 11/6/2025. |  |  | Available | In good condition
Penguin Sucker | Health | mall soft rubber suction device shaped like a bulb, with a bird-like nozzle | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Fetoscope, Doppler | Health | Handheld electronic device with a small probe and display | BH 111/FD/01 | 11/6/2025. |  |  | Available | In good condition
Centrifuge (Electric) | Health | Compact laboratory machine with a round spinning chamber | BHC III/CEUT/01 | 11/6/2025. |  |  | Available | In good condition
Kangaroo Mother Care Chair | Health | Padded chair with a high back and wide seat. | Not Engraved | 11/6/2025. |  |  | Available | In good condition
Radiant Infant warmer | Health | Infant bed with a clear overhead heating unit and control panel. | BH 111/IRW/01 | 11/6/2025. |  |  | Available | In good condition
Haemoglobin Meter, Sahli | Health | Small manual testing device with a graduated tube and stand | BH III/HBM/02 | 11/6/2025. |  |  | Available | In good condition
Delivery Bed | Health | Adjustable hospital bed with a padded surface, and leg supports. | UGIFT BH 111/111 | 11/6/2025. |  |  | Available | In good condition
Office Chair | Health | office chairs | BH 111/OCH/01 | 11/6/2025.
Bag valve mask (Ambu Bag), Neonatal | Health | Small hand-operated resuscitation bag with a face mask |  |  |  |  | NOT AVAILABLE
Incubator | Health | incubator |  |  |  |  | NOT AVAILABLE
Desk | Health | office desks | BH 111/BL/03 | 11/6/2025. |  |  | Available | In good condition
Filing cabinet | Health | metal cabinet with several drawers for storing files | GOU/MOH-UGIFT 2023/2024 | 11/6/2025. |  |  | Available | In good condition
Non Residential Buildings | Health | [5 empty] | Present | In good condition
Residential Buildings | Health | [5 empty] | Present | In good condition
KIHANI HEALTH CENTRE lll
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service | Cost | Equipment status | Remarks
B.P Machine,Digital | Health | Portable with a digital display | Not engraved | 17/12/2021 | 22/02/2022 | 96000 | in good condition | present and functional
B.P machine (Aneroid wall mounted) | Health | Aneroid wall mounted | Not engraved | 17/12/2021 | 22/02/2022 | 520000 | in good condition | present and functional
Autoclave 20 litres, Duo operated | Health | metalic 20 litre, Duo operated | Not engraved | 17/12/2021 | 22/02/2022 | 720000 | in good condition | present and functional
Bowl,Kick | Health | Metalic bowel shaped | Not engraved | 17/12/2021 | 22/02/2022 | 400000 | in good condition | present and functional
Bowl stand | Health | metalic stand for supporting kick bowls | Not engraved | 17/12/2021 | 22/02/2022 |  | in good condition | present and functional
CountingChamber Neubauer-improved | Health | precision glass counting chamber | Not engraved | 17/12/2021 | 22/02/2022 | 80000 | in good condition | present and functional
cupboard steel, lockable | Health | steel storage cupboard withlockable doors | Not engraved | 17/12/2021 | 22/02/2022 | 1120000 | in good condition | present and functional
Drip stand | Health | Height adjustable mobile stand | Not engraved | 17/12/2021 | 22/02/2022 | 280000 | in good condition | present, new kept in store
ESR stand | Health | Stand for holding ESR tubes in an upright position | Not engraved | 17/12/2021 | 22/02/2022 | 120000 | in good condition | present and functional
Examination Couch | Health | padded patient examination couch | Not engraved | 17/12/2021 | 22/02/2022 | 720000 | in good condition | present and functional
Examination light, LED | Health | Adjustable LED examination lamp | Not engraved | 17/12/2021 | 22/02/2022 | 1120000 | in good condition | present and functional
Glucommeter | Health | Portable instrument with a screen | Not engraved | 17/12/2021 | 22/02/2022 |  | in good condition | present and functional
Height Meter | Health | Movable vertical instrument with a scale | Not engraved | 17/12/2021 | 22/02/2022 | 400000 | in good condition | present and functional
Instrument Trolley | Health | stainless steel mobile trolley with 2 shelves | Not engraved | 17/12/2021 | 22/02/2022 |  | in good condition | present and functional
Microscope Binocular | Health | Binocular optical two eyed microscope | Not engraved | 17/12/2021 | 22/02/2022 | 1520000 | in good condition | present and functional
Otoscope | Health | portable illuminated instrument | Not engraved | 17/12/2021 | 22/02/2022 | 320000 | in good condition | present and new in store
Patient Screen | Health | Foldable privacy screen | Not engraved | 17/12/2021 | 22/02/2022 | 384000 | in good condition | present and functional
Patient Trolley | Health | mobile trolley | Not engraved | 17/12/2021 | 22/02/2022 | 1120000 | in good condition | present and functional
Refrigerator, Basic | Health | Electric 2 unit refrigerator | Not engraved | 17/12/2021 | 22/02/2022 | 1200000 | in good condition | present in store since solar is weak top power it
Stethoscope | Health | Acoustic medical instrument | Not engraved | 17/12/2021 | 22/02/2022 | 200000 | in good condition | present and functional
Stretcher | Health | portable patient transport stretcher with strong supporting frame | Not engraved | 17/12/2021 | 22/02/2022 | 2000000 | in good condition | present and functional
Stove, Gas | Health | Gas powered stove | Not engraved | 17/12/2021 | 22/02/2022 | 560000 | in good condition | present and functional
Weighing Scale with Height Meter, Adult | Health | Adult weighing scale combined with an integrated height measuring device | Not engraved | 17/12/2021 | 22/02/2022 | 1280000 | in good condition | present and functional
Weighing Scale, Infant | Health | basin like desined to measure infants | Not engraved | 17/12/2021 | 22/02/2022 | 400000 | in good condition | present and functional
Weighing Scale , Toddler | Health | designed to measure toddlers weight | Not engraved | 17/12/2021 | 22/02/2022 | 960000 | in good condition | present and functional
Wheel Chair | Health | manual wheeled mobility chair with footrests and armrests | Not engraved | 17/12/2021 | 22/02/2022 | 640000 | in good condition | present and functional
Audio Visual Equipment | Health | Display equipment like TV | Not engraved | 17/12/2021 | 22/02/2022 | 640000 | in good condition | present and functional
wall clock | Health | wall mounted round clock | Not engraved | 17/12/2021 | 22/02/2022 | 120000 | in good condition | present and functional
Diagonistic Equipment set for MCH | Health | stainless steel set with various tools inside | Not engraved | 17/12/2021 | 22/02/2022 | 200000 | in good condition | present and functional
Diagonistic Equipment set for OPD | Health | stainless steel set with various tools inside | Not engraved | 17/12/2021 | 22/02/2022 | 1100000 | in good condition | present and functional
Glassware Set, Laboratory, Basic | Health | Basic laboratory glassware set including commonly used measuring and spacimen handling items | Not engraved | 17/12/2021 | 22/02/2022 | 240000 | in good condition | present and functional
Hollow ware Set, Dressing | Health | stainless steel set with various tools inside | Not engraved | 17/12/2021 | 22/02/2022 | 360000 | in good condition | present and functional
Instrument Set , Basic ENT | Health | stainless steel set with various tools inside | Not engraved | 17/12/2021 | 22/02/2022 | 1440000 | in good condition | present and functional
Instrument Set, Suture | Health | stainless steel set with various tools inside | Not engraved | 17/12/2021 | 22/02/2022 | 360000 | in good condition | present and functional
Pulse Oximeter, Hand held | Health | portable hand held | Not engraved | 17/12/2021 | 22/02/2022 | 2400000 | in good condition | present and functional
Bed Adult Patient With Mattress | Health | metalic beds with matress | Not engraved | 17/12/2021 | 22/02/2022 | 1120000 | in good condition | present and functional
Bed Pediatric Patient with Mattress | Health | metalic beds with matress | Not engraved | 17/12/2021 | 22/02/2022 | 960000 | in good condition | present and functional
Bedside Locker | Health | metalic with drawers | Not engraved | 17/12/2021 | 22/02/2022 | 520000 | in good condition | present and functional
Cupboard, Instrument | Health | lockable cabinet | Not engraved | 17/12/2021 | 22/02/2022 | 1440000 | in good condition | present and functional
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | apparatus compatible with a cylinder | Not engraved | 17/12/2021 | 22/02/2022 | 1760000 | in good condition | present and functional
Resuscitator Manual, infant, with all mask sizes | Health | manual infant resuscitator bag | Not engraved | 17/12/2021 | 22/02/2022 | 400000 | in good condition | New in store
Resuscitator Manual, Adult, with all mask sizes | Health | manual infant resuscitator bag | Not engraved | 17/12/2021 | 22/02/2022 | 400000 | in good condition | New in store
Suction Apparatus(Electric) | Health | Electric powered | Not engraved | 17/12/2021 | 22/02/2022 | 3360000 | in good condition | present and functional
Nebulizer, Ultrasonic | Health | Ultrasonic nebulizer | Not engraved | 17/12/2021 | 22/02/2022 | 720000 | in good condition | present still newly boxed in store
Oxgyen Concentrator, Duo Flow | Health | Duo in nature | Not engraved | 17/12/2021 | 22/02/2022 | 8000000 | in good condition | present, new in store
Bench | Health | wooden without back rest | Not engraved | 17/12/2021 | 22/02/2022 | 480000 | in good condition | present and functional
Disinfection Buckets | Health | plastic buckets | Not engraved | 17/12/2021 | 22/02/2022 | 40000 | in good condition | present and functional
Baby Cot | Health | stainless steel with a matress | Not engraved | 17/12/2021 | 22/02/2022 | 640000 | in good condition | present and functional
Diagnostic Equipment Set, for Ward | Health | stainless steel set with various tools inside | Not engraved | 17/12/2021 | 22/02/2022 | 2900000 | in good condition | present and functional
Instrument Set , Delivery | Health | stainless steel set with various tools inside | Not engraved | 17/12/2021 | 22/02/2022 | 600000 | in good condition | present and functional
Instrument Set, Stitch Removing | Health | stainless steel set with various tools inside | Not engraved | 17/12/2021 | 22/02/2022 | 580000 | in good condition | present and functional
MVA Kit | Health | plastic container with different tools in | Not engraved | 17/12/2021 | 22/02/2022 | 750000 | in good condition | present still in store boxed
Stool, Laboratory | Health | movable raised stool | Not engraved | 17/12/2021 | 22/02/2022 | 480000 | in good condition | present and functional
Penguin Sucker | Health | hand operated | Not engraved | 17/12/2021 | 22/02/2022 | 32000 | in good condition | present and functional
Fetoscope, Doppler | Health | hand held doppler | Not engraved | 17/12/2021 | 22/02/2022 | 24000 | in good condition | present and functional
Centrifuge (Electric) | Health | electrically powered | Not engraved | 17/12/2021 | 22/02/2022 | 8000000 | in good condition | present and in store boxed
Kangaroo Mother Care Chair | Health | comfortable supportive leather chair | Not engraved | 17/12/2021 | 22/02/2022 | 2560000 | in good condition | present and functional
Haemoglobin Meter, Sahli | Health | sahli haemoglobin meter | Not engraved | 17/12/2021 | 22/02/2022 | 880000 | in good condition | present andstill boxed
Delivery Bed | Health | adjustablemetalic bed designed for labor | Not engraved | 17/12/2021 | 22/02/2022 | 1520000 | in good condition | present and functional
Office Chair | Health | movable adjustable leather chair | Not engraved | 17/12/2021 | 22/02/2022 | 1700000 | in good condition | present and functional
Bag valve mask (Ambu Bag), Neonatal | Health | manual neonatal resustation device | Not engraved | 17/12/2021 | 22/02/2022 | 580000 | in good condition | present and functional
Desk | Health | office work station with flat writing station | Not engraved | 17/12/2021 | 22/02/2022 | 640000 | in good condition | present and functional
Filing cabinet | Health | lockable cabinet | Not engraved | 17/12/2021 | 22/02/2022 | 960000 | in good condition | present and functional
Non Residential Buildings | Health | permanent buildings with various rooms | Not engraved | 17/12/2021 |  |  | in good condition | present and functional
Residential Buildings | Health | accomodation 2 unit structure | Not engraved | 17/12/2021 |  |  | in good condition | present and functional
NYABIKUNGU HEALTH CENTRE lll UGIFT Asset Verification Tool Kit RWAMPARA
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service | Cost | Equipment status | Remarks
B.P Machine,Digital | Health | Portable with a digital display | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
B.P machine (Aneroid wall mounted) | Health | Aneroid wall mounted | Not engraved |  | 2024/2025FY | 350000 | In good Condition | Present and functional
Autoclave 20 litres, Duo operated | Health | metalic 20 litre, Duo operated | UGIFT/FY2024-2025 |  | 2024/2025FY | 600000 | In good Condition | Present and functional
Bowl,Kick | Health | Metalic bowel shaped | Not engraved |  | 2024/2025FY |  | In good Condition | most of them still new in store
Bowl stand | Health | metalic stand for supporting kick bowls | Not engraved |  | 2024/2025FY | 250000 | In good Condition | new still in store
CountingChamber Neubauer-improved | Health | precision glass counting chamber | Not engraved |  | 2024/2025FY | 30000 | In good Condition | Present and functional
cupboard steel, lockable | Health | steel storage cupboard withlockable doors | UGIFT/FY2024-2025 |  | 2024/2025FY | 700000 | In good Condition | Present and functional
Drip stand | Health | Height adjustable mobile stand | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
ESR stand | Health | Stand for holding ESR tubes in an upright position | UGIFT/FY2024-2025 |  | 2024/2025FY | 150000 | In good Condition | Present and functional
Examination Couch | Health | padded patient examination couch | Not engraved |  | 2024/2025FY | 650000 | In good Condition | Present and functional
Examination light, LED | Health | Adjustable LED examination lamp | Not engraved |  | 2024/2025FY | 1800000 | In good Condition | Present and functional
Glucommeter | Health | Portable instrument with a screen | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Height Meter | Health | Movable vertical instrument with a scale | Not engraved |  | 2024/2025FY | 450000 | In good Condition | Present and functional
Instrument Trolley | Health | stainless steel mobile trolley with 2 shelves | Not engraved |  | 2024/2025FY | 550000 | In good Condition | Present and functional
Microscope Binocular | Health | Binocular optical two eyed microscope | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Otoscope | Health | portable illuminated instrument | Not engraved |  | 2024/2025FY | 290000 | In good Condition | Present and functional
Patient Screen | Health | Foldable privacy screen | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Patient Trolley | Health | mobile trolley | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Refrigerator, Basic | Health | Electric 2 unit refrigerator | Not engraved |  | 2024/2025FY | 1800000 | In good Condition | Present and functional
Stethoscope | Health | Acoustic medical instrument | Not engraved |  | 2024/2025FY | 90000 | In good Condition | Present and functional
Stop watch | Health | portable hand held with asmall screen | Not engraved |  | 2024/2025FY | 10000 | In good Condition | Present, in store new
Stretcher | Health |  | Not engraved |  | 2024/2025FY | 700000 | In good Condition | Present and functional
Stove, Gas | Health | Gas powered stove | Not engraved |  | 2024/2025FY | 750000 | In good Condition | Present and functional
Weighing Scale with Height Meter, Adult | Health | Adult weighing scale combined with an integrated height measuring device | Not engraved |  | 2024/2025FY | 850000 | In good Condition | Present and functional
Weighing Scale, Infant | Health | basin like desined to measure infants | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Weighing Scale , Toddler | Health | designed to measure toddlers weight | Not engraved |  | 2024/2025FY | 500000 | In good Condition | Present, only 1 in use
Wheel Chair | Health | manual wheeled mobility chair with footrests and armrests | UGIFT PROJECT FY2023/2024 |  | 2023/2024FY |  | In good Condition | most of them still in store
Audio Visual Equipment | Health | Display equipment like TV | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
wall clock | Health | wall mounted round clock | Not engraved |  | 2024/2025FY |  | In good Condition | Present, not mounted on walls
Diagonistic Equipment set for MCH | Health | stainless steel set with various tools inside | Not engraved |  | 2024/2025FY |  | In good Condition | Present and most still in the store new
Diagonistic Equipment set for OPD | Health | stainless steel set with various tools inside | Not engraved |  | 2024/2025FY |  | In good Condition | Present and most still in the store new
Glassware Set, Laboratory, Basic | Health | Basic laboratory glassware set including commonly used measuring and spacimen handling items | Not engraved |  | 2024/2025FY |  | In good Condition | Present and most still in the store new
Hollow ware Set, Dressing | Health | stainless steel set with various tools inside | Not engraved |  | 2024/2025FY |  | In good Condition | Present and most still in the store new
Instrument Set , Basic ENT | Health | stainless steel set with various tools inside | Not engraved |  | 2024/2025FY |  | In good Condition | Present and most still in the store new
Instrument Set, Suture | Health | stainless steel set with various tools inside | Not engraved |  | 2024/2025FY |  | In good Condition | Present and most still in the store new
Pulse Oximeter, Hand held | Health | portable hand held | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Bed Adult Patient With Mattress | Health | metalic beds with matress | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Bed Pediatric Patient with Mattress | Health | metalic beds with matress | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Bedside Locker | Health | metalic with drawers | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Cupboard, Instrument | Health | lockable cabinet | UGIFT/FY2024-2025 |  | 2024/2025FY | 500000 | In good Condition | Present and functional
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | apparatus compatible with a cylinder | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Resuscitator Manual, infant, with all mask sizes | Health | manual infant resuscitator bag | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Resuscitator Manual, Adult, with all mask sizes | Health | manual infant resuscitator bag | UGIFT/2024-2025 |  | 2024/2025FY | 250000 | In good Condition | present still boxed in store
Suction Apparatus(Electric) | Health | Electric powered | Not engraved |  | 2024/2025FY | 2500000 | In good Condition | Present, still boxed in store
Nebulizer, Ultrasonic | Health | Ultrasonic nebulizer | Not engraved |  | 2024/2025FY |  | In good Condition | New still in box
Oxgyen Concentrator, Duo Flow | Health | Duo in nature | Not engraved |  | 2024/2025FY |  | In good Condition | Presnt, 1 functional, other still boxed
Bench | Health | wooden with back rest | UGIFT/FY2024-2025 |  | 2024/2025FY |  | In good Condition | Present and functional
Disinfection Buckets | Health | plastic buckets | GOU/MOH-UGIFT PROJECT FY2023/2024 |  | 2023/2024FY | 50000 | In good Condition | Present and functional
Baby Cot | Health | stainless steel with a matress | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Diagnostic Equipment Set, for Ward | Health | stainless steel set with various tools inside | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Hollow Ware Set,Ward | Health | stainless steel set with various tools inside | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Instrument Set , Delivery | Health | stainless steel set with various tools inside | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Instrument Set, Stitch Removing | Health | stainless steel set with various tools inside | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
MVA Kit | Health | plastic container with different tools in | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Stool, Laboratory | Health | movable raised stool | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Penguin Sucker | Health | hand operated | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Fetoscope, Doppler | Health | hand held doppler | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Centrifuge (Electric) | Health | electrically powered | Not engraved |  | 2024/2025FY | 3500000 | In good Condition | Still kept in store new
Kangaroo Mother Care Chair | Health | comfortable supportive leather chair | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Haemoglobin Meter, Sahli | Health | sahli haemoglobin meter | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Delivery Bed | Health | adjustablemetalic bed designed for labor | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Office Chair | Health | movable adjustable leather chair | UGIFT/FY2024-2025 |  | 2024/2025FY | 1400000 | In good Condition | Present and functional
Bag valve mask (Ambu Bag), Neonatal | Health | manual neonatal resustation device | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Desk | Health | office work station with flat writing station | Not engraved |  | 2024/2025FY | 1400000 | In good Condition | Present and functional
Filing cabinet | Health | lockable cabinet | UGIFT/FY2024-2025 |  | 2024/2025FY | 700000 | In good Condition | Present and functional
Non Residential Buildings | Health | permanent buildings with various rooms | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Residential Buildings | Health | accomodation 2 unit structure | Not engraved |  | 2024/2025FY |  | In good Condition | Present and functional
Medical waste bins | Health | metalic round containers with covers | Not engraved |  | 2023/2024FY | 250000 | In good Condition | Present and functional
Radiant infant warmer | Health |  | Not engraved |  |  | 26000000 | In good Condition | Present and functional
KYABAKARA HEALTH CENTRE lll UGIFT Asset Verification Tool Kit RUBIRIZI
Equipment | Department | Item Description | Tag Number(engrave no.) | Date of purchase | Date placed in service |  | Equipment status | Remarks
B.P Machine,Digital | Health | small electronic device with a screen and an inflatable arm cuff connected by a tube. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
B.P machine (Aneroid wall mounted) | Health | Round pressure gauge mounted on the wall. Has an arm cuff connected by a rubber tube. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Autoclave 20 litres, Duo operated | Health | Small, sturdy metal chamber,Has pressure gauges | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bowl,Kick | Health | stainless-steel bowl with a wide, rounded shape. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bowl stand | Health | metal stand with a circular holder at the top. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
CountingChamber Neubauer-improved | Health | flat rectangular glass slide. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
cupboard steel, lockable | Health | Tall, rectangular cabinet made of steel. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Drip stand | Health | slim metal pole with a sturdy base | Not Engraved | 21/6/2023 |  |  | Available | In good condition
ESR stand | Health | Small metal or plastic stand with several upright slots. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Examination Couch | Health | Long, padded table with a firm mattress-like surface. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Examination light, LED | Health | Slim adjustable stand with an LED light head. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Glucommeter | Health | electronic device with a screen and a slot for test strips. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Height Meter | Health | all measuring scale with a movable headpiece | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Trolley | Health | Stainless-steel wheeled trolley with flat shelves | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Microscope Binocular | Health | Laboratory microscope with two eyepieces | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Otoscope | Health | handheld instrument with a narrow cone-shaped tip | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Patient Screen | Health | Foldable privacy screen with a metal frame | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Patient Trolley | Health | Wheeled metal trolley with a flat padded bed | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Refrigerator, Basic | Health | upright refrigerator | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Stethoscope | Health | Flexible rubber tubing with two earpieces | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Stop watch | Health | Small handheld timer with a digital display |  | 21/6/2023 |  |  | Available
Stretcher | Health |  | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Stove, Gas | Health | gas cylinder and stove |  | 21/6/2023 |  |  | Available
Weighing Scale with Height Meter, Adult | Health | Upright weighing scale with a flat platform | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Weighing Scale, Infant | Health | Small flat scale with a curved tray on top | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Weighing Scale , Toddler | Health | Small weighing scale with a flat platform and an upright support. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Wheel Chair | Health | wheel chair | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Audio Visual Equipment | Health | TV and ptojector | Not Engraved | 21/6/2023 |  |  | Available | in good condition
wall clock | Health | Roud clock | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Diagonistic Equipment set for MCH | Health | Compact kit containing small handheld tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Diagonistic Equipment set for OPD | Health | Portable case containing assorted basic medical examination tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Glassware Set, Laboratory, Basic | Health | Set of clear glass laboratory items such as test tubes, beakers | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Hollow ware Set, Dressing | Health | Set of stainless-steel bowls, trays, and containers | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Set , Basic ENT | Health | Compact set of small metal examination instruments | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Set, Suture | Health | Set of small stainless-steel surgical tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Pulse Oximeter, Hand held | Health | handheld device with a display screen and a clip-shaped sensor | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bed Adult Patient With Mattress | Health | adult hospital bed with a padded mattress, raised side rails | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bed Pediatric Patient with Mattress | Health | hospital bed for children with a padded mattress and raised safety side rails. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bedside Locker | Health | bedside cabinet with a drawer and cupboard compartment | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Cupboard, Instrument | Health | Tall metal cabinet with doors and shelves | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Oxgyen Therapy Apparatus, Minimum 45L Cylinder | Health | Tall oxygen cylinder with a pressure gauge | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Resuscitator Manual, infant, with all mask sizes | Health | Hand-operated infant resuscitation bag with attached tubing and masks | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Resuscitator Manual, Adult, with all mask sizes | Health | Hand-operated adult resuscitation bag with attached tubing and masks | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Suction Apparatus(Electric) | Health | Compact electric machine with a collection bottle | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Nebulizer, Ultrasonic | Health | Compact electric machine with a collection bottle | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Oxgyen Concentrator, Duo Flow | Health | Compact electric machine with a control panel, and air vents | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Bench | Health | sitting benches | Not Engraved | 21/6/2023
Disinfection Buckets | Health | normal buckets |  | 21/6/2023 |  |  | Available
Baby Cot | Health | Small infant bed with a sturdy frame | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Diagnostic Equipment Set, for Ward | Health | Portable case containing basic examination tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Hollow Ware Set,Ward | Health | Set of stainless-steel bowls, trays, basins, and containers | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Set , Delivery | Health | Set of stainless-steel delivery instruments | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Instrument Set, Stitch Removing | Health | Small set of stainless-steel tools | Not Engraved | 21/6/2023 |  |  | Available | In good condition
MVA Kit | Health | Compact medical kit containing small metal instruments | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Stool, Laboratory | Health | plastic stool with metal support | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Penguin Sucker | Health | mall soft rubber suction device shaped like a bulb, with a bird-like nozzle | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Fetoscope, Doppler | Health | Handheld electronic device with a small probe and display | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Centrifuge (Electric) | Health | Compact laboratory machine with a round spinning chamber | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Kangaroo Mother Care Chair | Health | Padded chair with a high back and wide seat. | Not Engraved | 21/6/2023
Radiant Infant warmer | Health | Infant bed with a clear overhead heating unit and control panel. |  |  |  |  | NOT AVAILABLE
Haemoglobin Meter, Sahli | Health | Small manual testing device with a graduated tube and stand | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Delivery Bed | Health | Adjustable hospital bed with a padded surface, and leg supports. | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Office Chair | Health | office chairs | Not Engraved | 21/6/2023
Bag valve mask (Ambu Bag), Neonatal | Health | Small hand-operated resuscitation bag with a face mask |  |  |  |  | NOT AVAILABLE
Incubator | Health | incubator |  | 21/6/2023 |  |  | NOT AVAILABLE
Desk | Health | office desks | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Filing cabinet | Health | metal cabinet with several drawers for storing files | Not Engraved | 21/6/2023 |  |  | Available | In good condition
Non Residential Buildings | Health | [5 empty] | Present | In good condition
Residential Buildings | Health | [5 empty] | Present | In good condition