ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | ANKOLE/KIGEZI |
| Name of Local Government | KANUNGU |
| VERIFIER PARTICULARS |  |
| Full name | PRINCE NKUUTU KINAABA HC III MUHAIRWE APOLLO BUSHOGYE SEED SCHOOL |
| Contact/ email and Telephone | princenkuutu@gmail.com 0772693026 muhairweapollo@gmail.com 0782131393 |
| Supervisor/ Sub team leader |  |
| Name | MR GIMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission | 10/09/2026 |

All equipment at the centre were not engraved.

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KINAABA HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | They said that the facility had it could not show it. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | All in the tool |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift. |
| --- | --- |

The person found on site said that they normally report to the DHO every breakage and the DHO organises for a person to repair them and that sometimes they use part of PHC funds for repairs especially the small equipment.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | According to the officer in-charge, they were not doing it but promised to start doing it in his term of office. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

It has greatly improved maternal and child health care services. The health facility can now handle emergences that they did not handle before. Staff have gained more knowledge and experience as they use the equipment that they use to lack.

Challenges:

Some service providers are fake/corrupt suppliers who supply equipment that do not meet the specifications/standards required, Inadequate staffing, lack of transport means to move to communities for outreaches, poor staff houses, lack of data for e-registration, lack of electricity in most structures at the health centre, the solar system provided under UgIFT does not provide power whenever the sun sets.

Recommendations:

Government should as much as possible avoid corrupt/fake suppliers who supply fake equipment, try to implement at least half of the new staffing structure,  provide at least one motorcycle to enable easier movements for staff especially for outreaches and to attend meetings at the district, improve staff houses, provide data or a new system that does not require data for e-registration of patients, the solar system should be checked by a technician and have it rectified, and help connect our structures to power.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…………KANUNGU……………… NAME OF HEALTH FACILITY……KINAABA HCIII………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  |  |  | All equipment are not engraved |  | Date is not known |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | Wall mounted |  |  |  |  |  |  |  |  |  | Functioning and new | 02 |
| Autoclave 20 Liters.,Duo Operated | Health |  | YX280B 20 litres Duo operated |  |  |  |  |  |  |  |  |  | New and functioning | 01 |
| Bowl, Kick | Health |  |  |  |  |  |  |  |  |  |  |  |  | 06 |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl/kick stand small | Health |  | Plastic and steel |  |  |  |  |  |  |  |  |  |  | 01 |
| Counting chamber Neubauer- Improved | Health |  | improved |  |  |  |  |  |  |  |  |  |  | 02 |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | Health |  | Steel and plastic |  |  |  |  |  |  |  |  |  |  | 08 |
| Stool surgeon | Health |  |  |  |  |  |  |  |  |  |  |  |  | 01 |
| Fetal scope | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| ESR Stand | Health |  |  |  |  |  |  |  |  |  |  |  |  | 01 |
| Examination Couch | Health |  |  |  |  |  |  |  |  |  |  |  |  | 04 |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope | Health |  | XSZ-107 |  |  |  |  |  |  |  |  |  |  | 01 |
| Otoscope | Health |  |  |  |  |  |  |  |  |  |  |  |  | 01 |
| Patient Screen | Health |  | Stell and a blue cloth |  |  |  |  |  |  |  |  |  |  | 05 |
| Patient Trolley | Health |  | Steel parts |  |  |  |  |  |  |  |  |  |  | 01 |
| Refrigerator, Basic | Health |  | BCD-188P156 |  |  |  |  |  |  |  |  |  | Brandy new | 02 received 88 ltrs & 26 ltrs instead of 55ltrs & 36ltrs |
| Stethoscope | Health |  |  |  |  |  |  |  |  |  |  |  | New and in use | 08 in good condition |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  |  |  |  |  |  |  |  |  |  |  |  | 01 |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | Health |  | Measures both height & weight |  |  |  |  |  |  |  |  |  |  | 02 |
| Weighing Scale, Infant | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Weighing Scale, Toddler | Health |  | RGZ-50 |  |  |  |  |  |  |  |  |  |  | 01 |
| Wheel Chair | Health |  |  |  |  |  |  |  |  |  |  |  |  | 04 |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | Assorted |  |  |  |  |  |  |  |  |  |  | 20 |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for OPD | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Glassware Set, Laboratory, Basic | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Hollow Ware Set, Treatment | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Instrument Set, Dressing | Health |  |  |  |  |  |  |  |  |  |  |  |  | 04 |
| Instrument Set, Basic ENT | Health |  |  |  |  |  |  |  |  |  |  |  |  | 03 |
| Instrument Set, Suture | Health |  |  |  |  |  |  |  |  |  |  |  |  | 03 |
| Pulse Oximeter, Hand held | Health |  | Jerry-T |  |  |  |  |  |  |  |  |  |  | 02 |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator | Health |  |  |  |  |  |  |  |  |  |  |  |  | 01 |
| Bed, Pediatric Patient, With Mattress | Health |  |  |  |  |  |  |  |  |  |  |  |  | 04 |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | Minimum 45L |  |  |  |  |  |  |  |  |  |  | 02 |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Health |  | Ultrasonic 407A |  |  |  |  |  |  |  |  |  |  | 01 |
| Oxygen Concentrator, Duo Flow | Health |  | JAY-10AW |  |  |  |  |  |  |  |  |  |  | 01 |
| Suction apparatus | Health |  | 7A-23B |  |  |  |  |  |  |  |  |  |  | 01 |
| Bench | Health |  | 4 seater |  |  |  |  |  |  |  |  |  |  | 04 |
| Oxygen flow splitter | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Instrument Set, Delivery | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Instrument Set, Stitch Removing | Health |  |  |  |  |  |  |  |  |  |  |  |  | 03 |
| MVA Kit re-usable | Health |  |  |  |  |  |  |  |  |  |  |  |  | 05 |
| Stool, Laboratory | Health |  |  |  |  |  |  |  |  |  |  |  |  | 03 |
| Penguin Sucker | Health |  |  |  |  |  |  |  |  |  |  |  |  | 03 |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | Electric TD4c, 60W |  |  |  |  |  |  |  |  |  |  | 01 |
| Kangaroo Mother Care Chair | Health |  | With baby rest provision |  |  |  |  |  |  |  |  |  |  | 01 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Delivery Bed | Health |  |  |  |  |  |  |  |  |  |  |  |  | 01 |
| Examination light | Health |  |  |  |  |  |  |  |  |  |  |  |  | 03 |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  |  |  |  |  |  |  |  |  |  |  |  | 07 |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

BUSHOGYE Seed school was formerly not on the list of facilities to be verified but in a conversation with the Education Department of KANUNGU District Local Government, the school was discovered.

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: BUSHOGYE SEED SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No, the head teacher does not have any documents at all. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | The head teacher does not know. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | No, the equipment are still new. Nothing has broken so far. But he hasn’t thought of it. |  |
| --- | --- | --- | --- |
| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |  |

Students no longer move long distances for education. They expect the children to learn new computer skills when the computers are delivered.

Challenges:

The school project is incomplete, many equipment are not yet delivered for example the ICT equipment, the buildings are not yet connected to power, the laboratory has no equipment, no school fence, solar power system not yet delivered,

Recommendations:

Let the school be completed, all equipment should be delivered for example the ICT equipment, the fence, buildings should be connected to power, solar system should be delivered.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

BUSHOGYE was formerly not on the list of seed schools that were to be verified. In a conversation with the District Education Office, it was identified.

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: KANUNGU…………………… Name of SCHOOL: BUSHOGYE MOSLEM SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks | Education |  | Attached to bench |  | Bushogye SSUGIFT/24-25 |  |  |  |  |  |  |  |  | 79 |
| Office chairs | Education |  |  |  | Not engraved |  |  |  |  |  |  |  |  | 10 |
| Tables | Education |  |  |  | Bushogye SSUGIFT/24-25 |  |  |  |  |  |  |  |  | 06 |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: KANUNGU……………………………………………… Name of SCHOOL: BUSH)GYE MOSLEM SEED SCHOOL………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ICT ITEMS HAVE | NOT | BEEN | SUPPLIED |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: KANUNGU……………………………………………………………… Name of SCHOOL: BUSHOGYE SEED SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Administration block | Education |  | 3 rooms |  |  |  |  |  |  |  |  |  |  | Head teacher, deputy HT, bursar, receptionist, staffroom. |
| ICT/Library Block | ‘’ |  | 2 rooms |  |  |  |  |  |  |  |  |  |  | Housing the library and the ICT lab |
| Science lab block |  |  | 2 rooms |  |  |  |  |  |  |  |  |  |  | Sconce laboratory |
| 2 classroom block |  |  | 2 units |  |  |  |  |  |  |  |  |  |  | 6 classrooms |
| Multipurpose Hall |  |  | 3 rooms |  |  |  |  |  |  |  |  |  |  | Meetings/conferences/any other functions |
| Play ground |  |  | 1 |  |  |  |  |  |  |  |  |  |  | For games and sports |
| Twin teachers’ house with a kitchen and toilet Staff latrine |  |  | 4 rooms |  |  |  |  |  |  |  |  |  |  | For staff accommodation |
| Students’ latrine |  |  | 5 stances for girls and 5 stances for boys |  |  |  |  |  |  |  |  |  |  | To promote hygiene and sanitation |
| Tanks: 1 small tank serving the students’ latrine |  |  | 500L |  |  |  |  |  |  |  |  |  |  |  |
| 1 big tank at the multipurpose hall |  |  | 10,000L |  |  |  |  |  |  |  |  |  |  |  |
| 2 big water tanks serving the ICT/Library block |  |  | 10,000L each |  |  |  |  |  |  |  |  |  |  | Centrally located to serve the school |