ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | ANKOLE /KIGEZI |
| Name of Local Government | KANUNGU |
| VERIFIER PARTICULARS |  |
| Full name | PRINCE NKUUTU MK |
| Contact/ email and Telephone | princenkuutu@gmail.com 0772693026 |
| Supervisor/ Sub team leader |  |
| Name | MR. GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission | 10/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NTUNGAMO HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes they have the a record of all assets provided under UGIFT |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They inform the DHO whenever they have any breakages and the DHO call in the technician from Kabaale national referral hospital to move in and repair the equipment.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No, they had not started this practice by the time of this verification. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

When they received the UgIFT equipment they started to handle bigger numbers of patients/beneficiaries in a better way, the staff became familiar in using the equipment that hitherto was never the case and this has enabled them even to use them better, the maternity ward and the latrines plus the water tanks, hygiene and sanitation has improved and this has meant eradicating some diseases that come due to poor hygiene and sanitation,

Challenges:

Some of the equipment supplied are not of good quality for example the chairs, tables, cupboards and the wheel chairs. Many of them got broken immediately on delivery, the work done on the maternity ward and the placenta pit was also poor and immediately after handover, the two developed big cracks (a report is attached), the verandah of the maternity ward had very big cracks but the contractor came around and repaired it, the gas cylinder was supplied with defects and lacks some of the parts so they can’t use it. Actually they are thinking of buying another one.

There is no OPD and this means congestion in the maternity ward. The incharge has no office and there is no kitchen for the patients,

Recommendations:

Government should build OPD with a store, a kitchen for the patients should be built, the maternity ward and the placenta pit should be repaired – the cracks expand day by day and pose a danger to the lives of the patients,

Authentic suppliers should be selected to supply quality equipment to the health centres,

At least a motorcycle should be provided to ease transport to the community.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: KANUNGU………………………… NAME OF HEALTH FACILITY: NTUNGAMO…………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| B.P. Machine (Aneroid wall mounted) | Health |  | Wall mounted |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Autoclave 20 Liters.,Duo Operated | Health |  | 20L, Duo operated |  |  |  | 27.5.2024 |  |  |  |  |  |  | 02 |
| Bowl, Kick | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 01 |
| Bowl Stand | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 03 |
| Counting chamber Neubauer- Improved | Health |  | Improved type |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Cupboard Steel, Lockable | Health |  | Steel & lockable |  | NCH/CB/001 NCH/CB/006 |  | 7.9.2023 |  |  |  |  |  |  | 06 |
| Drip Stand | Health |  | Steel/Plastic |  |  |  | 22.5.2024 |  |  |  |  |  |  | 09 |
| Stool surgeon | Health |  |  |  |  |  | 22.5.2024 |  |  |  |  |  |  | 01 |
| ESR Stand | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 1 |
| Examination Couch | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 04 |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  |  |  |  |  |  |  |  |  |  |  |  | 02 |
| Instrument Trolley | health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 04 |
| Microscope Binocular | Health |  | 50VA,240 vacpower |  |  |  | 27.5.2024 |  |  |  |  |  |  | 01 |
| Otoscope | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 01 |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Health |  |  |  | Not engraved |  | 27.5.2024 |  |  |  |  |  |  | 2 |
| Stethoscope | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 08 |
| Stop Watch | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 1 |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | health |  | Measures both height and weight |  |  |  |  | 27.5.2024 |  |  |  |  |  | 02 |
| Weighing Scale, Infant | health |  |  |  |  |  |  | 27.5.2024 |  |  |  |  |  | 02 |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Health |  |  |  |  |  |  | 7.9.2023 |  |  |  |  |  | 04 |
| Audio Visual Equipment | Health |  |  |  |  |  |  | 7.9.2023 |  |  |  |  |  | 01 |
| Medical Waste Bin | health |  |  |  | NCH/CDB/001 NCH/WB/020 |  | 7.9.2023 |  |  |  |  |  |  | 20 |
| Nasal canula | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 30 |
| Nasal catheter | health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 30 |
| Wall Clock | Health |  |  |  | NCH/WC/001 NCH/WC/004 |  | 7.9.2023 |  |  |  |  |  |  | 04 |
| Oxygen Flow Splitters | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for MCH | health |  |  |  |  |  | 22.5.2024 |  |  |  |  |  |  | 03 |
| Diagnostic Equipment Set for OPD | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Glassware Set, Laboratory, Basic | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Hollow Ware Set, Treatment | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 02 |
| Instrument Set, Dressing | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 07 |
| Instrument Set, Basic ENT | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 01 |
| Instrument Set, Suture | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 03 |
| Pulse Oximeter, Hand held | Health |  | Hand held |  |  |  | 22.5.2024 |  |  |  |  |  |  | 02 |
| Bed, Adult Patient with Mattress |  |  |  |  | NCH/HB/001 NHC/HB/010 |  | 7.9.2023 |  |  |  |  |  |  | 10 |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 01 |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | Minimum 45L |  |  |  | 27.5.2024 |  |  |  |  |  |  | 02 |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 01 |
| Resuscitator Manual, Adult, with all mask sizes | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 01 |
| Suction Apparatus, (Electric) | Health |  | electric |  |  |  | 27.5.2024 |  |  |  |  |  |  | 01 |
| Nebulizer, Ultrasonic | Health |  | Ultrasonic |  |  |  | 7.9.2023 |  |  |  |  |  |  | 01 |
| Oxygen Concentrator, Duo Flow |  |  | Duo flow |  |  |  | 27.5.2024 |  |  |  |  |  |  | 01 |
|  | Health |  |  |  | Not engraved |  | 7.9.2023 |  |  |  |  |  |  | 04 |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Baby Cot | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for Ward | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Hollow Ware Set, Ward | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Instrument Set, Delivery | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 05 |
| Instrument Set, Stitch Removing | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 05 |
| MVA Kit | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  | In use | 05 in good condition |
| Stool, Laboratory | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 03 |
| Penguin Sucker | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 03 |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 01 |
| Kangaroo Mother Care Chair | Health |  | With baby rest position |  |  |  | 27.5.2024 |  |  |  |  |  |  | 01 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Delivery Bed | Health |  |  |  | NCH/HB/001 NCH/HB/014 |  | 7.9.2023 |  |  |  |  |  |  | 01 |
| Fetoscope | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 02 |
| Examination light | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 03 |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  |  |  |  |  | 27.5.2024 |  |  |  |  |  |  | 14 |
| Bag valve mask adult (ambu bag | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 15 |
| Bag valve mask neonatal | Health |  |  |  |  |  | 7.9.2023 |  |  |  |  |  |  | 15 |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  |  |  | NCH/OC/001 NCH/OC/006 |  | 7.9.2023 |  |  |  |  |  |  | 06 |
| Desk | Health |  |  |  | Not engraved |  | 7.9.2023 |  |  |  |  |  |  | 05 |
| Filing Cabinet | Health |  |  |  | Not engraved |  | 7.9.2023 |  |  |  |  |  |  | 06 |
| Non Residential Buildings |  |  | Maternity ward With two water tanks (5000L and 10.000L), Latrine for patients, 4 stances (2 for females and 2 for males) and a small tank to supply water. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Placenta Pit |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  | Staff house 2 units, accommodating 2 people (In-charge & 1 midwife), with a kitchen and a toilet inside. |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |