ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | ANKOLE/KIGEZI |
| Name of Local Government | RUKUNGIRI |
| VERIFIER PARTICULARS |  |
| Full name | PRINCE NKUUTU MK |
| Contact/ email and Telephone | princenkuutu@gmial.com 0772693026 |
| Supervisor/ Sub team leader |  |
| Name | MR. GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission | 10/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes they do and it covers item and numbers supplied but not costs. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift. |
| --- | --- |

They use part of PHC if government takes long to intervene. Sometimes they transport all equipment for repair to Itojo hospital where repairs for all equipment in the region is done.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they have a record of all broken down equipment. |  |
| --- | --- | --- | --- |
| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |  |

The equipment supplied to the HC under UgIFT has made work for the medical staff at the HC easier. They use the weighing machines to determine prescription for many patients that require nutrition improvement. And with the lab equipment, they are able to screen blood and diagnose different conditions and treat patients scientifically as opposed to guess work. Mother delivery handling is now an easier work. The centrifuge machine helps to prepare samples for shipment to UVRI – Entebbe to establish the viral load. At the centre they can now handle emergencies because they have the necessary equipment (C-PAP) machine that helps to administer oxygen is available.

Challenges:

They are understaffed at the moment. They are only 11 instead of the required 52 according to the new structure. Maternity was constructed but they don’t have OPD. There is congestion because maternity serves all purposes including those for OPD! As a result, equipment/item are scattered all over. The centrifuge machines supplied were of a very poor quality hence they don’t serve the propose for which they were supplied. The refrigerators supplied were for home use not medical so they can’t be used to preserve medicines. The facility lacks a room for a lab as well as a store.

The solar system does not work.it provides power when the sunshine is on, the moment the sunsets, power goes off completely.

Recommendations:

UgIFT should provide a block to serve as a lab, OPD and store. Staffing levels should be improved to match the new staffing structure to deliver quality service, UgFIT should supply medical refrigerators, UgFIT should ensure that the contractors supply good quality equipment to fit the purpose. Before deciding on the equipment to supply, a needs assessment for health centres should be conducted so that they only supply priorities. It will help avoid wastage of government resources.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: NTUNGAMO (MUNICIPALITY)……………………… NAME OF HEALTH FACILITY: RUHOKO HCIII

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | Digital |  | Not engraved |  | 30.5.2025 |  |  |  |  |  | In use | 02 |
| B.P. Machine (Aneroid wall mounted) | ‘’ |  | Aneroid wall mounted |  |  |  | 30.6.2025 |  |  |  |  |  |  | 2 |
| Autoclave 20 Liters.,Duo Operated |  |  | 20L, duo operated |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Bowl, Kick | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 01 |
| Bowl Stand | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Counting chamber Neubauer- Improved | ‘’ |  | Improved type |  |  |  | 30.6.2025 |  |  |  |  |  |  | 02 |
| Cupboard Steel, Lockable | ‘’ |  | Steel, lockable |  |  |  | 30.6.2025 |  |  |  |  |  |  | 02 |
| Drip Stand | ‘’ |  | Steel & plastic |  |  |  | 30.6.2025 |  |  |  |  |  |  | 08 |
| Mid upper arm tape | ‘’ |  |  |  |  |  | 11.6.2025 |  |  |  |  |  |  | 04 |
| ESR Stand | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Examination Couch | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Examination light,LED | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Glucometer |  |  |  |  |  |  | 11.6.2025 |  |  |  |  |  |  | 02 |
| Haemoglobin Meter, Digital |  |  | Digital |  |  |  | 11.6.2025 |  |  |  |  |  |  | 02 |
| Height Meter | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Instrument Trolley | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Microscope Binocular | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Otoscope | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Patient Screen | ‘’ |  |  |  |  |  | 11.6.2025 |  |  |  |  |  |  | 04 |
| Patient Trolley | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Refrigerator, Basic | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Stethoscope | ‘’ |  |  |  |  |  | 11.6.2025 |  |  |  |  |  |  | 04 |
| Stop Watch | ‘’ |  |  |  |  |  | 30.5.2021 |  |  |  |  |  |  |  |
| Stretcher | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Stove, Gas | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Weighing Scale with Height Meter, Adult | ‘’ |  | Measures both height and weight |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Weighing Scale, Infant | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Weighing Scale, Toddler | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Wheel Chair | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Audio Visual Equipment | ‘’ |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | ‘’ |  |  |  |  |  | 11.6.2025 |  |  |  |  |  |  | 06 |
| Wall Clock | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 04 |
| Diagnostic Equipment Set for MCH | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for OPD | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Glassware Set, Laboratory, Basic | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 sets |
| Hollow Ware Set, Treatment | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 sets |
| Instrument Set, Dressing | ‘’ |  |  |  |  |  | 11.6.2025 |  |  |  |  |  |  | 03 sets |
| Instrument Set, Basic ENT | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 03 sets |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | ‘’ |  | Hand held |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Bed, Adult Patient with Mattress | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 10 |
| Bed, Pediatric Patient, With Mattress | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 05 |
| Bedside Locker | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Cupboard, Instrument | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Delivery Bed, Hydraulic Manual |  |  | Hydraulic manual |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | 45L |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | Manual |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Resuscitator Manual, Adult, with all mask sizes | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Suction Apparatus, (Electric) | ‘’ |  | Electric |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Nebulizer, Ultrasonic | ‘’ |  | Ultrasonic |  |  |  | 11.6.2025 |  |  |  |  |  |  | 01 |
| Oxygen Concentrator, Duo Flow |  |  | Duo flow type |  |  |  | 30.5.2025 |  |  |  |  |  |  | 04 |
| Bench | ‘’ |  | 4 seater |  |  |  | 11.6.2025 |  |  |  |  |  |  | 04 |
| Disinfection Buckets | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 06 |
| Baby Cot | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 05 |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 03 |
| Hollow Ware Set, Ward | ‘’ |  |  |  |  |  | 11.6.2025 |  |  |  |  |  |  | 03 sets |
| Instrument Set, Delivery | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 03 |
| Instrument Set, Stitch Removing | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 03 |
| MVA Kit | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 04 |
| Stool, Laboratory | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Penguin Sucker | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 03 |
| Fetoscope, Dopplar | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Bubble CPAP | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Centrifuge (Electric) | ‘’ |  | Electric |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Kangaroo Mother Care Chair | ‘’ |  | With baby rest provision |  |  |  | 11.6.2025 |  |  |  |  |  |  | O1 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | ‘’ |  | Executive, swinging chair, armrest |  |  |  | 30.5.2025 |  |  |  |  |  |  | 07 |
| Desk | ‘’ |  | 6 drawers |  |  |  | 11.6.2025 |  |  |  |  |  |  | 03 |
| Filing Cabinet | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Non Residential Buildings | Health |  | Maternity Ward with 2 water tanks (2000L & 10.000L). A pit latrine to serve the patients with 4 stances (2 for females and 2 for males) with a water tank of 500L. A Placenta Pit. The facility is fenced. |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |