ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | ANKOLE/KIGEZI |
| Name of Local Government | NTUNGAMO |
| VERIFIER PARTICULARS |  |
| Full name | PRNCE NKUUTU MK |
| Contact/ email and Telephone | princenkuutu@gmail.com 0772693026 |
| Supervisor/ Sub team leader |  |
| Name | MR. GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission | 10/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KAINA HCIII

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes they have the assets register for the UgFIT assests. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

For the minor repairs that require little money, they use part of the PHC funds and for bigger repairs they contact the DHO who arranges for the repair works.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No they were not doing by the time of the verification exercise. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The patients have somewhere to sit, the facility has the required equipment to assess the patients and prescribe treatment, they can handle emergencies, maternal health care and PHC services have improved with the equipment in place.

Challenges:

Facility in charges are not involved in deciding what the priorities are regarding the equipment, some items were of very poor quality for example after a few days of delivery of the equipment, the Glucometer broke immediately, the baby weighing scale refused to work, the delivery bed was delivered when already faulty – one stand was already off! The building was not connected to power, there is no water in the staff quarters,

Recommendations:

In charges should be involved in deciding what to buy for the health centers, good quality equipment should be supplied to get value for money, the buildings should be connected to power,

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: NTUNGAMO…………………………………… NAME OF HEALTH FACILITY: KAINA HCIII

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  | All equipment not engraved |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | ‘’ |  | Wall mounted |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| ‘’ |  |  | ‘’ |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Autoclave 20 Liters.,Duo Operated | ‘’ |  | 20L, duo operated |  |  |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Bowl, Kick | ‘’ |  |  |  |  |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Bowl Stand | ‘’ |  |  |  |  |  | 3.3.2023 |  |  |  |  |  |  | 03 |
| Counting chamber Neubauer- Improved | ‘’ |  | Improved |  |  |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Cupboard Steel, Lockable | ‘’ |  | Steel, lockable |  |  |  | 3.3.2023 |  |  |  |  |  |  | 06 |
| Drip Stand | ‘’ |  |  |  |  |  | 25.11.202 |  |  |  |  |  |  | 08 |
| ‘’ | ‘’ |  |  |  |  |  | 3.3.2023 |  |  |  |  |  |  | 08 |
| B.P. machine aneroid | ‘’ |  |  |  |  |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| ESR Stand | ‘’ |  |  |  |  |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Examination Couch | ‘’ |  |  |  |  |  | 3.3.2023 |  |  |  |  |  |  | 04 |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | ‘’ |  |  |  |  |  | 3.3.2023 |  |  |  |  |  |  | 02 but one was broken |
| ‘’ | ‘’ |  |  |  |  |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Haemoglobin Meter, Digital |  |  | digital |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular | ‘’ |  |  |  | Not engraved |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| ‘’ | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Otoscope | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| ‘’ |  |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Patient Screen | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 05 |
| ‘’ |  |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 05 |
| Patient Trolley | ‘’ ‘’ |  |  |  | ‘’ ‘’ |  | 3.3.2023 25.11.2022 |  |  |  |  |  |  | 01 01 |
| Refrigerator, Basic | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Stethoscope | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 08 |
| Stop Watch | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Stretcher | ‘’ ‘’ |  |  |  | ‘’ |  | 3.3.2023 25.11.2022 |  |  |  |  |  |  | 02 02 |
| Stove, Gas | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Weighing Scale with Height Meter, Adult | ‘’ |  | Measures both weight and height |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Weighing Scale, Infant | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Weighing Scale, Toddler | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Wheel Chair | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 04 |
| Audio Visual Equipment | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Medical Waste Bin | ‘’ |  | Assorted sizes |  | Not engraved |  | 3.3.2023 |  |  |  |  |  |  | 20 |
| Wall Clock | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 04 |
| Venturi mask | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 15 |
| Diagnostic Equipment Set for MCH | ‘’ ‘’ |  |  |  | ‘’ ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 02 02 |
| Diagnostic Equipment Set for OPD | ‘’ ‘’ |  |  |  | ‘’ ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 02 02 |
| Glassware Set, Laboratory, Basic | ‘’ |  |  |  | ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 02 02 |
| Hollow Ware Set, Treatment | ‘’ ‘’ |  |  |  | ‘’ ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 02 02 |
| Instrument Set, Dressing | ‘’ |  |  |  | ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 04 04 |
| Instrument Set, Basic ENT | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Instrument Set, Suture | ‘’ ‘’ |  |  |  | ‘’ ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 03 03 |
| Pulse Oximeter, Hand held | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 04 |
| Bedside Locker | ‘’ |  |  |  | Not engraved |  | 3.3.2023 |  |  |  |  |  |  | 10 |
| Cupboard, Instrument | ‘’ |  |  |  | Not engraved |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  | 01 but with a broken leg |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | ;; |  | 45L |  |  |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Resuscitator Manual, Infant, with all Mask sizes | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Suction Apparatus, (Electric) | ‘’ |  | Electric |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Nebulizer, Ultrasonic | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Oxygen Concentrator, Duo Flow | ‘’ |  |  |  | ‘’ |  | 3.3.2023 25.11.2022 |  |  |  |  |  |  | 05 01 |
| Bench | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 04 |
| Stool, surgeon | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Disinfection Buckets | ;\’’ |  |  |  | Not engraved |  | 3.3.2023 |  |  |  |  |  |  | 03 |
| Baby Cot | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Flow splitters | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for Ward | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Hollow Ware Set, Ward | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Instrument Set, Delivery | ‘’ |  |  |  | ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 02 02 |
| Instrument Set, Stitch Removing | ‘’ |  |  |  | ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 01 03 |
| MVA Kit | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 05 |
| Mid upper arm tape |  |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 04 |
| Stool, Laboratory | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 03 |
| Penguin Sucker | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 03 |
| Fetoscope, Dopplar | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 02 |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | ‘’ |  | Electric |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Kangaroo Mother Care Chair | ‘’ |  | With baby rest provision |  | ‘’ |  |  |  |  |  |  |  |  | 01 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | ‘’ |  |  |  | ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 02 02 |
| Delivery Bed | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Examination light | ‘’ |  |  |  | Not engraved |  | 3.3.2023 |  |  |  |  |  |  | 03 |
| Instrument set, ENT Basic for HCIII | ‘’ |  |  |  | ‘’ |  | 3.3.2023 |  |  |  |  |  |  | 01 |
| Bag Valve mask (Ambu Bag), Neonatal | ‘’ |  |  |  | Not engraved |  | 3.3.2023 |  |  |  |  |  |  | 14 |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | ‘’ |  | Executive, swinging with arm rest |  | ‘’ |  | 25.11.2022 3.3.2023 |  |  |  |  |  |  | 07 07 |
| Desk | ‘’ |  | With 6 drawers |  | ‘’ |  |  |  |  |  |  |  |  | 05 |
| Filing Cabinet | Health |  | Metallic |  | Not engraved |  | 3.3.2023 |  |  |  |  |  |  | 06 |
| Non Residential Buildings | Health |  | Maternity Ward, 3 big water tanks (2 each 10.000L and 1 for 5000L0, a pit latrine with 4 stances (2 – female & 2 – males), with a bathroom on each side. A small water tank (500L) for the latrine but faulty and a Placenta Pit |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  | A staff house (2-unit block) each with a toilet inside & a kitchen, a latrine outside with 4 stances and a bathroom on each side. A small tank of water. |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |