ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | ANKOLE/KIGEZI |
| Name of Local Government | NTUNGAMO |
| VERIFIER PARTICULARS |  |
| Full name | PRINCE NKUUTU mk |
| Contact/ email and Telephone | princenkuutu@gmail.com 0772693026 |
| Supervisor/ Sub team leader |  |
| Name | MR GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission | 10/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KARURUMA HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES, they have an assets register and all assets provided under UgIFT are registered. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They are repaired by the efforts organised by the DHO. For minor repairs they use part of PHC funds.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

No, by the time of this verification exercise, they were not doing it.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The equipment has enabled the staff to handle bigger cases efficiently than before. The equipment they received under UgIFT has enabled them handle deliveries much better than before.  The medical staff on ground have gained more skills and experience they work with the new equipment on a daily basis. The health centre has capacity to handle emergencies today because there is all the necessary equipment. Due to the new equipment, maternal and primary health care services have improved greatly.

Challenges:

They don’t have OPD something that has meant congestion in the limited available space.

There are some medical staff who don’t know how to use some of the equipment. Limited participation in the procurement of equipment that lead to not working on priorities.

Assets were not engraved.

Recommendations:

There is need for increased participation in UgIFT program by staff workers to help identify the most pressing needs in terms of equipment and other medical services.

The UgFIT program should include refresher trainings for medical staff at health centre IIIs to improve their skills and knowledge. In future, UgIFT should also cater for transport at the health centres for example a motorcycle per health centre III to ease transport to the district for meetings and for outreaches in the community. This will help combat preventable diseases and conditions through community awarenesses.

All the assets should be engraved accordingly to determine ownership.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: NTUNGAMO………………………… NAME OF HEALTH FACILITY: KARURUMA HCIII…………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | Didgital |  | All equipment are not engraved |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | Wall mounted |  |  |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Autoclave 20 Liters.,Duo Operated | Health |  | 20Ltrs, duo operated |  | All equipment are not engraved |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Counting chamber Neubauer- Improved | Health |  | Improved type |  | All equipment are not engraved |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | health |  | Steel and plastic |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 09 |  |
| Nasal Canulas | health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 26 |  |
| Oxygen flow splitters | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| ESR Stand | Health |  | Plastic & steel |  |  |  | 24.11.2024 |  |  |  |  |  | O1 |  |
| Examination Couch | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 04 |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 04 |  |
| Microscope Binocular | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Otoscope | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Patient Screen | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 05 |  |
| Patient Trolley | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Refrigerator, Basic | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 2 |  |
| Stethoscope | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 08 |  |
| Stop Watch | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Stretcher | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Stove, Gas | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Weighing Scale with Height Meter, Adult | Health |  | For both weights and height |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler | Health |  | For toddlers |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Wheel Chair | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 04 |  |
| Audio Visual Equipment | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Medical Waste Bin | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 20 |  |
| Wall Clock | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 04 |  |
| Diagnostic Equipment Set for MCH | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 03 |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Instrument Set, Dressing | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 07 |  |
| Instrument Set, Basic ENT | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Instrument Set, Suture | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 03 |  |
| Pulse Oximeter, Hand held | Health |  | Hand held |  |  |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 04 |  |
| Bedside Locker | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 10 |  |
| Cupboard, Instrument | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | health |  | Minimum 45L |  |  |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | Manual, infant |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | Manual, adult |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Suction Apparatus, (Electric) | Health |  | Electric |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Nebulizer, Ultrasonic | Health |  | Ultrasonic |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Oxygen Concentrator, Duo Flow | Health |  | Duo flow |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Stool surgeon | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Bench | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 04 |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Diagnostic Equipment Set for Ward | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Hollow Ware Set, Ward | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Instrument Set, Delivery | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 05 |  |
| Instrument Set, Stitch Removing | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 05 |  |
| MVA Kit | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 05 |  |
| Stool, Laboratory | Health |  |  |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 03 |  |
| Penguin Sucker | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 03 |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Kangaroo Mother Care Chair | Health |  | With baby rest provision |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 02 |  |
| Delivery Bed | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 01 |  |
| Examination light | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 03 |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 10 |  |
| Ambu bad adult | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 15 |  |
| Ambu bag infant | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 15 |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | Swinging, executive |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | O7 |  |
| Filling cabinets | health |  | Steel |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 06 |  |
| Venture mask with tubing | Health |  |  |  |  |  | 24.11.2024 |  |  |  |  |  | 17 |  |
| Desk | Health |  | With 6 drawers |  | Not engraved |  | 24.11.2024 |  |  |  |  |  | 06 |  |
| Buckets | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | 02 |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |