ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | ANKOLE/KIGEZI |
| Name of Local Government | NTUNGAMO |
| VERIFIER PARTICULARS |  |
| Full name | AYAMABA PROMISE |
| Contact/ email and Telephone | ayambapromise@gmail.com 0766017488 |
| Supervisor/ Sub team leader |  |
| Name | MR. GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission | 10/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KYAMWASHA HCII

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes they have a list of the UgIFT assets. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They handle their own repair and services of equipment.

The district promised to engrave all the assets at the facility but had not done it by the time of this verification.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes the facility takes regular record of functionality of the assets provided. |  |
| --- | --- | --- | --- |
| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |  |

The facility has improved the services after acquiring the UgIFT assets. This has also improved the maternal health and primary health care services. This has even attracted more patients to the health center.

Challenges:

Some of the equipment were of very low quality, they lack OPD at the facility, other issues are understaffing, lack of transport at the centre for outreaches,

Recommendations:

UgIFT should always identify contractors and monitor them closely to deliver quality assets at the HCs, some budget should be set aside to cater for OPD at the centre, staffing structure should be improved by increasing the staff numbers. For transport, a motorcycle for a start can suffice.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: NTUNGAMO…………………………………… NAME OF HEALTH FACILITY: KHAMWASHA HCIII

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | Digital |  | Not engraved |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| B.P. Machine (Aneroid wall mounted) | ‘’ |  | Wall mounted |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Autoclave 20 Liters.,Duo Operated | ‘’ |  | Duo operated |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Bowl, Kick | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Bowl Stand | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Counting chamber Neubauer- Improved | ‘’ |  | Improved type |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Cupboard Steel, Lockable | ‘’ |  | Steel, lockable |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Drip Stand | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| ESR Stand | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Examination Couch | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Examination light,LED |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Glucometer |  |  |  |  |  |  | 10.6.2025 |  |  |  |  |  |  | 02 |
| Haemoglobin Meter, Digital | ‘’ |  | Digital |  | ‘’ |  | 10.6.2025 |  |  |  |  |  |  | 02 |
| Height Meter | Health |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Instrument Trolley | ‘’ |  | Steel parts |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Microscope Binocular |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Otoscope | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Patient Screen | ‘’ |  |  |  |  |  | 10.6.2025 |  |  |  |  |  |  | 04 |
| Patient Trolley |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Refrigerator, Basic |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Stethoscope |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 04 |
| Stop Watch |  |  |  |  |  |  | 10.6.2025 |  |  |  |  |  |  | 02 |
| Stretcher |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Stove, Gas |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Weighing Scale with Height Meter, Adult | ‘’ |  | Duo purpose weight and height |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Weighing Scale, Infant | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Weighing Scale, Toddler |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Wheel Chair | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Audio Visual Equipment | ‘’ |  |  |  | ‘’ |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | ‘’ |  | Assorted |  |  |  | 30.5.2025 |  |  |  |  |  |  | 06 |
| Mid upper arm tape |  |  |  |  |  |  | 10.6.2025 |  |  |  |  |  |  | 04 |
| Wall Clock | ‘’ |  |  |  | ‘’’ |  | 30.5.2025 |  |  |  |  |  |  | 04 |
| Diagnostic Equipment Set for MCH | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for OPD | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Glassware Set, Laboratory, Basic | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Hollow Ware Set, Treatment | ‘’ |  |  |  | ‘’ |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Instrument Set, Basic ENT | ‘’ |  |  |  | ‘’ |  | 10.6.2025 |  |  |  |  |  |  | 03 |
| Instrument Set, Suture | ‘’ |  |  |  | ‘’ |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | ‘’ |  | Hand held |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Bed, Adult Patient with Mattress | ‘’ |  |  |  | Not engraved |  | 30.5.2025 |  |  |  |  |  |  | 10 |
| Bed, Pediatric Patient, With Mattress | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 05 |
| Bedside Locker | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Cupboard, Instrument | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Delivery Bed, Hydraulic Manual | ‘’ |  | Hydraulic manual |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | ‘’ |  | 45L |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Resuscitator Manual, Infant, with all Mask sizes | ‘’ |  | Manual |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Resuscitator Manual, Adult, with all mask sizes | ‘’ |  | Manual |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Suction Apparatus, (Electric) | ‘’ |  | Electric |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Nebulizer, Ultrasonic | ‘’ |  | Ultrasonic |  | ‘’ |  | 10.6.2025 |  |  |  |  |  |  | 01 |
| Oxygen Concentrator, Duo Flow | ‘’ |  | Duo flow |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 04 |
| Bench | ‘’ |  | 4 seater |  |  |  | 10/6.2025 |  |  |  |  |  |  | 04 |
| Disinfection Buckets | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 06 |
| Baby Cot | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 05 |
| Diagnostic Equipment Set for Ward | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 03 |
| Hollow Ware Set, Ward | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 03 |
| Instrument Set, Delivery | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 03 |
| Instrument Set, Stitch Removing | ‘’ |  |  |  | ‘’ |  |  |  |  |  |  |  |  |  |
| MVA Kit | ‘’ |  |  |  | ‘’ |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory | ‘’ |  |  |  | ‘’ |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | ‘’ |  |  |  | ‘’ |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar | ‘’ |  |  |  | ‘’ |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | ‘’ |  | Executive, swinging with arms rest |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 07 |
| Desk | ‘’ |  | 6 drawers |  |  |  | 10.6.2025 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 03 |
| Filing Cabinet | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 in use but the locks are broken. |
| Non Residential Buildings | Health |  | Maternity Ward with 2 water tanks (1.000L & 3,000L). A patients’ pit latrine – 4 stances (2 for males & 2 for females) and a bathroom with a small water tank (500L) to serve the patients’ latrine. |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | Health |  | Staff house block, self-contained with a kitchen, 1 water tank (10,000L), a pit latrine – 2 stances and a bathroom. A small water tank (500L) to serve the pit latrine. |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |