ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | ANKOLE/KIGEZI |
| Name of Local Government | NTUNGAMO |
| VERIFIER PARTICULARS |  |
| Full name | MUHAIRWE APOLLO – KAFUNJO HCIII muhairweapollo@gmail.com 0782131393 PRINCE NKUUTU MK – NYABIHOKO SEED SCHOOL princenkuutu@gmail.com 0772693026 |
| Contact/ email and Telephone |  |
| Supervisor/ Sub team leader |  |
| Name | MR. GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission | 10/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes the facility has a record of the assets provided under UgIFT. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They use PHC funds to do the repairs especially small items.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The equipment supplied under UgIFT has helped improve service delivery in the community. They can keep the medicines and drugs in good conditions, can handle emergencies, can serve bigger numbers, it has improved deliveries and handling of mothers because the necessary equipment is available at the health centre.

Challenges:

There is no power at the centre, staff members do not have where to live nearby, the road is very poor, understaffing is another problem, the solar system does not work well, it only provides power when the sun is shining and whenever the sun sets, the system goes off. The toilets in the staff building do not function because the toilet equipment were not supplied. They are just empty rooms. The health centre latrine are not marked (For males/for females) to offer guidance.

Recommendations:

Government should provide accommodation for staff near the health centre; work on the roads, as well as the connection of power to the buildings, the new staffing structure should follow the new one.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: NTUNGAMO…………………………………… NAME OF HEALTH FACILITY: KAFUNJO HCIII

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  | All equipment/assets are not engraved. |
| B.P. Machine (Aneroid wall mounted) | ‘’ |  | Wall mounted |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Autoclave 20 Liters.,Duo Operated |  |  | 20L |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  | Improved |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | Health |  | Steel & plastic |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 08 |
| B.P Machine Aneroid | ‘’ |  |  |  |  |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | ‘’ |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 04 |
| Microscope Binocular | ‘’ |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Otoscope | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Patient Screen | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 05 |
| Patient Trolley | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 04 |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | ‘’ |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for OPD | ‘’ |  |  |  | ‘ |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | ‘ |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Instrument Set, Dressing | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 04 |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 03 |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | ‘’ |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 04 |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | ‘’ |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Resuscitator Manual, Adult, with all mask sizes | ‘’ |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Suction Apparatus, (Electric) | ‘’ |  | Electric |  |  |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Nebulizer, Ultrasonic | ‘’ |  | Ultrasonic |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Oxygen Concentrator, Duo Flow | ‘’ |  | Duo flow |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Flow splitters |  |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | Health |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Instrument Set, Delivery | Health |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Instrument Set, Stitch Removing | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 03 |
| MVA Kit | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 05 |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 02 |
| Delivery Bed | ‘’ |  |  |  | ‘’ |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | Health |  |  |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 01 |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | Executive, swinging with arms rest chairs. |  | Not engraved |  | 25.11.2022 |  |  |  |  |  |  | 07 |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Health |  | Maternity Ward, 1 water tank (10,000L), a pit latrine for the patients– 4 stances (2 for females & 2 for males and a bathroom with 4 stances 2 for male & 2 another for females). A Placenta Pit |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | Health |  | Staff house – 2 units, water tank (5000L), a toilet/kitchen inside. Pit latrine with 2 stances & 2 bathrooms |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NYABIHOKO SEED SCHOOL.

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Ys they do have a list of the items. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They repair themselves according to the head teacher but still the items are all new and nothing had broken by the time of the verification.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | No, they had not started this good practice. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Education has been brought closer to the community, it has created jobs for the local people around as they sell their pancakes, chapatti etc, it has also helped increase enrolment because the equipping of the school to a modern one has attracted many children, the playing field has boosted games and sports.

Challenges:

All the 21 desktop computers and their CPUs were stolen plus the projector, the school is not fenced, shoddy work was done on power connection. Each building was supposed to be connected to the main but the contractor instead connected all buildings including the staff house on one main so when one side is switched off, the whole school and the staff quarters goes off, the ICT/Library building has a big crack right from the front veranda, up to ring beam and goes up to the veranda behind. This is a great threat to the children and teachers. According to the head teacher, fewer lightening conductors than those in BOQs were supplied and installed.

Recommendations:

The contractor should be called upon to complete all the works that was either done in a shoddy way or remained unfinished for example the fence if it was in the contract, the electricity connection for the school buildings, the crack on the ICT/library block and any other works. The contractor should buy and replace the CPUs that were stolen before handover. They were lost in the hands of the contractor.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: NTUNGAMO ………………………………………… Name of SCHOOL: NYABIHOKO SEED SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chairs | Health |  |  |  | NYABI SSS/UGIFT/21-22 |  | 20.6.2025 |  |  |  |  |  |  | 182 |
| Tables | Health |  |  |  | NYABI SSS/UGIFT/21-22 |  | ‘’ |  |  |  |  |  |  | 147 |
| Lab stools | ‘’ |  |  |  | NYABI SSS/UGIFT/21-22 |  | ‘’ |  |  |  |  |  |  | 123 |
| Desks | ‘’ |  |  |  | NYABI SSS/UGIFT/21-22 |  | ‘’ |  |  |  |  |  |  | 120 |
| Book shelves | ‘’ |  |  |  | NYABI SSS/UGIFT/21-22 |  | ‘’ |  |  |  |  |  |  | 15 |
| Soft boards | ‘’ |  |  |  | NYABI SSS/UGIFT/21-22 |  | ‘’ |  |  |  |  |  |  | 75 |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: NTUNGAMO………………………………………………………… Name of SCHOOL: NYABIHOKO SEED SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desk top computers (monitor) | Education |  |  |  | Not engraved |  | 20.06.2025 |  |  |  |  |  | New but in store; CPUs were stolen | 21 |
| Projector | ‘’ |  |  |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | 01 was stolen |
| Mouse | ‘’ |  |  |  | ‘’ |  | 20.06.2025 |  |  |  |  |  | In store | 21 |
| Key board | ‘’ |  |  |  | ‘’ |  | 20.06.2025 |  |  |  |  |  | In store | 21 |
| Small projector | ‘’ |  |  |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | 01 |
| Printer | ‘’ |  | MFP4103DW HP LaserJet |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | 01 |
| CPU | ‘’ |  |  |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | 21 all were stolen |
| Fire extinguisher | ‘’ |  |  |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | 16 |
| Lab equipment | ‘’ |  | Assorted |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | Chemicals and other equipment |
| CCTV cameras | ‘’ |  | Network video recorder 8 channels IP Camera |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | 01 |
| Air conditioner | ‘’ |  |  |  | Not engraved |  | 20.06.2025 |  |  |  |  |  |  | 01 |
| Internet connection | ‘’ |  |  |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | 01 |
| Server | ‘’ |  | Lenovo M707G5-13700 |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | 01 |
| TV for CCTV camera Processor | ‘’ |  |  |  | ‘’ |  | 20.06.2025 |  |  |  |  |  |  | 01 |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: NTUNGAMO……………………………………… Name of SCHOOL: NYABIHOKO SEED SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 Classroom block | Education | . | Each block has 3 classrooms 3 Water tanks (10,000L, 5,000L & 3,000L). 1 latrine with 5 stances, 1 bathroom and 1 stance for PWDs times 2 to cater for boys and girls. 1 latrine with 2 stances for teachers |  |  |  | Head teacher is not aware. |  |  |  |  |  |  | 6 classrooms in total. N.B. The head teacher reported that he did not know when the buildings at the school were constructed because he joined the school after the construction work. |
| Multipurpose block | ‘’ |  | 3 rooms |  |  |  |  |  |  |  |  |  |  | For functions/meetings |
| ICT/Library block | ‘’ |  | 2 rooms |  |  |  |  |  |  |  |  |  |  |  |
| Science Lab | ‘’ |  | 2 rooms |  |  |  |  |  |  |  |  |  |  |  |
| Administration Block | ‘’ |  | 5 rooms |  |  |  |  |  |  |  |  |  |  | 5 offices: Head teacher, deputy HT, bursar, staff room, reception |
| 3 blocks for Staff houses | ‘’ |  | 6 rooms 1 water tank &3,000L) 3 latrines each with stances and 2 bathrooms each latrine, A shower & a Kitchen inside with a sink. |  |  |  |  |  |  |  |  |  |  |  |
| Football pitch | ‘’ |  | It has goal posts provided under UgIFT project. |  |  |  |  |  |  |  |  |  |  | 01 |