ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | ANKOLE/KIGEZI |
| Name of Local Government | NTUNGAMO |
| VERIFIER PARTICULARS |  |
| Full name | MUHAIRWE APOLLO |
| Contact/ email and Telephone | Muhaireapollo@gmail 0782131393 |
| Supervisor/ Sub team leader |  |
| Name | MR. GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission | 10/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NYANGA HCIII

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes the facility has a record of all assets provided by UgIFT. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The DHO sends people to work on the broken assets once the in charge has reported them to the DHOs office.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes the facility takes records of the functionality and breakdown assets. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The availability of equipment has eased the handling of people and enabled us to work on many people in a record time without struggling like it was before. Improved the maternal health, EMTCT and TB services. The sick can now wait patiently when seated under a good shelter.

Challenges:

The facility is understaffed, there is no transport for staff to the field for outreach, the building was not connected to power, the solar system that was provided give power for two hours of the set, at the staff quarters there was no water tank, the delivery bed was supplied when faulty it doesn’t work well because the stand is off, the drip stands are fake- poor quality, the equipment -  not engraved because it is very expensive.

Recommendations:

UgIFT should try as much as possible to avoid fake equipment suppliers/contractors, government should increase staff at the HCIIIs, the solar system should be rectified by the contractor, a water tank should be provided for the staff quarters,

All equipment supplied when faulty the contractor should be contacted to have them either repaired or replaced, engraving the equipment should be part of the terms in the contract so that it is done once before delivery.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: NTUNGAMO …………………………………… NAME OF HEALTH FACILITY: NYANGA HCIII

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | Wall mounted, aneroid |  |  |  | 24.11.2021 |  |  |  |  |  |  | 02 |
| Autoclave 20 Liters.,Duo Operated | ‘’ |  | 20L, duo operated |  |  |  | 24.11.2021 |  |  |  |  |  |  | 02 |
| Bowl, Kick | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  | Improved type |  | Not engraved |  | 24.11.2021 |  |  |  |  |  |  | 02 |
| Cupboard Steel, Lockable | ‘’ |  |  |  | Lockable |  | 20.12.2021 |  |  |  |  |  |  | 05 |
| Drip Stand | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 09 |
| ESR Stand | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Examination Couch | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 04 |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 02 |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular | ‘’ |  |  |  | Not engraved |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Otoscope | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Patient Screen | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 05 |
| Patient Trolley | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Refrigerator, Basic | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 02 |
| Stethoscope | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 08 |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 02 |
| Stove, Gas | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Weighing Scale with Height Meter, Adult | ‘’ |  | Measures both weight & height |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Medical Waste Bin | ‘’ |  | Assorted |  |  |  | 20.12.2021 |  |  |  |  |  |  | 20 |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 03 |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | ‘ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 02 |
| Hollow Ware Set, Treatment | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 01 |
| Instrument Set, Dressing | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 07 |
| Instrument Set, Basic ENT | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 01 |
| Instrument Set, Suture | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 03 |
| Pulse Oximeter, Hand held | ‘’ |  | Hamd held |  |  |  | 24.11.2021 |  |  |  |  |  |  | 02 |
| Bed, Adult Patient with Mattress | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 10 |
| Bed, Pediatric Patient, With Mattress | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 04 |
| Bedside Locker | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 10 |
| Cupboard, Instrument | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | ‘’ |  | 45L |  |  |  | 20.12.2021 |  |  |  |  |  |  | 01 |
| Resuscitator Manual, Infant, with all Mask sizes | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 02 |
| Resuscitator Manual, Adult, with all mask sizes | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 02 |
| Suction Apparatus, (Electric) | ‘’ |  | Electric |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | ‘’ |  | Duo flow |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Bench | ‘’ |  | 4 seater |  |  |  | 24.11.2021 |  |  |  |  |  |  | 04 |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 02 |
| Diagnostic Equipment Set for Ward | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Hollow Ware Set, Ward | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 02 |
| Instrument Set, Delivery | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 05 |
| Instrument Set, Stitch Removing | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 05 |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool surgeon |  |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 01 |
| Stool, Laboratory | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 03 |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | ‘’ |  | Electric |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Kangaroo Mother Care Chair | ‘’ |  | With baby rest provision |  |  |  | 20.12.2021 |  |  |  |  |  |  | 01 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 02 |
| Delivery Bed | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 01 |
| Examination light | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 03 |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | ‘’ |  | Executive, swinging chair |  |  |  | 20.12.2021 |  |  |  |  |  |  | 07 |
| Venture mask with tubing | ‘’ |  |  |  |  |  | 24.11.2021 |  |  |  |  |  |  | 16 |
| Desk |  |  | 6 drawer |  |  |  | 20.12.2021 |  |  |  |  |  |  | 05 |
| Filing Cabinet | ‘’ |  |  |  |  |  | 20.12.2021 |  |  |  |  |  |  | 06 |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |