ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | ANKOLE/KIGEZI |
| Name of Local Government | RUKUNGIRI |
| VERIFIER PARTICULARS |  |
| Full name | AYAMABA PROMISE ayambapromise@gmail.com |
| Contact/ email and Telephone | 1766017488 |
| Supervisor/ Sub team leader |  |
| Name | MR. GUMISIRIZA JOHNSON |
| Contact | 0703056064 |
| Date of submission | 10/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: RUKONI WEST HCIII

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift. They use part of PHC funds |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? The facility updates the asset register periodically. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The equipment provision under UgIFT has made the services offered at the HCIII easier and professional. Today they EVEN can now handle emergencies, delivery of mothers was simplified with the provision of the maternal ward and the equipment.

Challenges:

Most of the equipment uses power and there is no power at the centre. Understaffing is high, they lack means of transport to the outreaches, the buildings (latrine, solar pole) were destroyed by hailstorms,

N.B. most of the equipment/items supplied under UgIFT project are still in the store because there is no power at the facility to run them.

Recommendations:

Government should implement the new staffing structure, power should be provided at the centre to be able to use the equipment supplied and provide quality services to the citizens, government should provide at least a motorcycle to the centre so that staff can be able to run outreaches without a bigger struggle.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: …………………………………… NAME OF HEALTH FACILITY:

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | Digital |  |  |  | 30.5.2025 |  |  |  |  |  | Brand new | 02 in good condition |
| B.P. Machine (Aneroid wall mounted) | ‘’ |  | Wall mounted |  |  |  | 19.4.2024 |  |  |  |  |  |  | 02 |
| Autoclave 20 Liters.,Duo Operated | ‘’ |  | 20L, duo operated |  |  |  | 19.4.2024 |  |  |  |  |  | Still in store | 02 |
| Bowl, Kick | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| ‘’ | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  |  |
| Bowl Stand | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 03 |
| Counting chamber Neubauer- Improved | Health |  | Improved type |  | Not engraved |  | 19.4.2024 |  |  |  |  |  | In use | 02 |
| Cupboard Steel, Lockable | ‘’ |  | Lockable |  | GOU/MOH/UgIFT project FY 2023/2024 |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Drip Stand | ‘’ |  | Steel/plastic |  | Not engraved |  | 19.4.2024 |  |  |  |  |  |  | 13 |
| ESR Stand | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| ‘’ | ‘’ |  |  |  |  |  | 19.4.2025 |  |  |  |  |  |  | 01 |
| Examination Couch | Health |  | Metallic with mattress |  |  |  | 19.4.2024 |  |  |  |  |  |  | 04 |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 04 |
| Haemoglobin Meter, Digital | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 04 |
| Height Meter | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 02 |
| Instrument Trolley | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 04 |
| Microscope Binocular | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 02 |
| Otoscope | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 01 |
| Patient Screen | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 08 |
| Patient Trolley | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 01 |
| ‘’ |  |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 01 |
| Refrigerator, Basic | ‘’ |  | Basic |  |  |  | 30.5.2025 |  |  |  |  |  | Still in store | 02 |
| Stethoscope | ‘’ |  | Rubber/steel |  |  |  | 19.4.2024 |  |  |  |  |  |  | 08 |
| Stop Watch | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 01 |
| Stretcher | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | O2 |
| Stove, Gas | ‘’ |  |  |  |  |  | 11.52025 |  |  |  |  |  | In store | 01 |
| Weighing Scale with Height Meter, Adult | ‘’ |  | Measures both height and weight |  |  |  | 30.5.2025 |  |  |  |  |  | In use | 01 |
| Weighing Scale, Infant | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  | In use | 04 |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Audio Visual Equipment | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  | In store | 03 |
| ‘’ | ‘’ |  |  |  |  |  | 11.5.2024 |  |  |  |  |  |  | 01 |
| Medical Waste Bin | ‘’ |  | Assorted sizes |  | Not engraved |  | 11.5.2024 |  |  |  |  |  | In use | 20 |
| Mid upper arm tape | ‘’ |  |  |  |  |  | 19.4.2024 |  |  |  |  |  | In use | 04 |
| Wall Clock | ‘’ |  | Plastic |  |  |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| ‘’ |  |  | ‘’ |  |  |  | 11.5.2024 |  |  |  |  |  |  | 05 |
| Diagnostic Equipment Set for MCH | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 1 set |
| ‘’ | ‘’ |  |  |  |  |  | 29.05.2024 |  |  |  |  |  |  | 2 sets |
| Diagnostic Equipment Set for OPD | ‘’ |  |  |  |  |  | 29.5.2024 |  |  |  |  |  | 1 in use,1 is in store | 2 sets |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | ‘’ |  |  |  | Not engraved |  | 29.5.2024 |  |  |  |  |  |  | 2 sets |
| Instrument Set, Dressing | ‘’ |  |  |  | ‘’ |  | 29.5.2024 |  |  |  |  |  |  | 2 sets |
| Instrument Set, Basic ENT | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 1 set |
| ‘’ | ‘’ |  |  |  | ‘’ |  | 29.5.2024 |  |  |  |  |  |  | 2 sets |
| Instrument Set, Suture | ‘’ |  |  |  | ‘’ |  | 30.5.2024 |  |  |  |  |  |  | 1 |
|  | ‘’ |  |  |  | ‘’ |  | 29.5.2024 |  |  |  |  |  |  | 2 sets |
| Pulse Oximeter, Hand held | ‘’ |  | Hand held |  | ‘’ |  | 30.4.2024 |  |  |  |  |  |  | 2 |
| ‘’ | ‘’ |  | Hand held |  | Not engraved |  | 19.4.2024 |  |  |  |  |  |  | 2 |
| Bed, Adult Patient with Mattress | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 10 |
| ‘’ | ‘’ |  |  |  | ‘’ |  | 19.4.2024 |  |  |  |  |  |  | 20 |
| Stool, surgeon | ‘’ |  |  |  | ‘’ |  | 11.5.2025 |  |  |  |  |  |  | 1 |
| Bed, Pediatric Patient, With Mattress | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 10 |
| Bedside Locker | ‘’ |  |  |  | Not engraved |  | 30.5.2025 |  |  |  |  |  |  | 10 |
| Cupboard, Instrument | ‘’ |  |  |  | Not engraved |  | 19.4.2024 |  |  |  |  |  |  | 1 |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | ‘’ |  | 45L |  | Not engraved |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| ‘’ | ‘’ |  | 45L |  | ‘’ |  | 19.4.2024 |  |  |  |  |  |  | 02 |
| Resuscitator Manual, Infant, with all Mask sizes | ‘’ ‘’ |  | Manual Manual |  | ‘’ |  | 30.5.2025 19.4.2024 |  |  |  |  |  |  | 05 05 |
| Resuscitator Manual, Adult, with all mask sizes | ‘’ ‘’ |  |  |  | Not engraved ‘’ |  | 30.5.2025 19.4.2025 |  |  |  |  |  | In store | 05 06 |
| Suction Apparatus, (Electric) | ‘’ ‘’ |  | Electric Electric |  | Not engraved ‘’ |  | 30.5.2025 19.4.2024 |  |  |  |  |  | In store | 01 02 |
| Nebulizer, Ultrasonic | ‘’ |  | Ultrasonic |  | ‘’ |  | 11.4.2024 |  |  |  |  |  | In store | 01 |
| Nebulizer | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  | In store | 01 |
| Oxygen Concentrator, Duo Flow | ‘’ |  | Duo flow |  | ‘’ |  | 11.4.2024 |  |  |  |  |  | In use | 04 |
| Bench | Health |  | Wooden |  | GOU/MOH-UgIFT FY 2023/2024 |  | 11.5.2024 |  |  |  |  |  |  | 04 |
| Disinfection Buckets | ‘’ ‘’ |  |  |  | Not engraved ‘’ |  | 30.5.2025 17.5.2024 |  |  |  |  |  |  | 06 03 |
| Baby Cot | ‘’ ‘’ |  |  |  | ‘’ ‘’ |  | 30.5.2025 17.5.2024 |  |  |  |  |  |  | 02 03 |
| Diagnostic Equipment Set for Ward | ‘’ |  |  |  | ‘’ |  | 30.5.2025 29.5.2024 |  |  |  |  |  |  | 02 02 |
| Hollow Ware Set, Ward | ‘’ ‘’ |  |  |  | Not engraved ‘’ |  | 30.5.2025 29.5.2024 |  |  |  |  |  | In use | 02 02 |
| Instrument Set, Delivery | ‘’ ‘’ |  |  |  | ‘’ |  | 30.5.2025 29.5.2024 |  |  |  |  |  | In use | 02 sets 02 sets |
| Instrument Set, Stitch Removing | ‘’ |  |  |  | ‘’ |  | 30.5.2025 29.5.2024 |  |  |  |  |  | In use | 02 sets 02 sets |
| MVA Kit | ‘’ |  |  |  | ‘’ |  | 30.5.2025 17.5.2025 |  |  |  |  |  |  | 03 sets 02 sets |
| Stool, Laboratory | ‘’ |  |  |  | Not engraved |  | 30.5.2025 17.5.2025 |  |  |  |  |  |  | 02 sets 03 sets |
| Penguin Sucker | ‘’ |  |  |  | ‘’ |  | 30.5.2025 19.4.2024 |  |  |  |  |  |  | 03 03 |
| Fetoscope, Dopplar | ‘’ |  |  |  | ‘’ |  | 19.4.2024 |  |  |  |  |  |  | 03 |
| Bubble CPAP | ‘’ |  |  |  | ‘’ |  | 30.5.2025 |  |  |  |  |  |  | 02 |
| Centrifuge (Electric) | ‘’ |  | Electric |  |  |  | 30.5.2025 19.4.2024 |  |  |  |  |  |  | 01 01 |
| Kangaroo Mother Care Chair | ‘’ |  | With baby rest provision |  |  |  | 19.4.2024 |  |  |  |  |  |  | 01 |
| Radiant Infant Warmer | ‘’ |  |  |  | ‘’ |  | 30.5.2025 19.4.2024 |  |  |  |  |  |  | 01 01 |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  |  |  |  |  | 19.4.2024 |  |  |  |  |  |  | 02 |
| Mid upper arm tape | ‘’ |  |  |  |  |  | 30.5.2025 |  |  |  |  |  |  | 05 |
| Examination light | ‘’ |  |  |  | ‘’ |  | 19.4.2024 |  |  |  |  |  |  | 04 |
| Instrument set, ENT Basic for HCIII | ‘’ |  |  |  | Not engraved |  | 29.5.2024 |  |  |  |  |  |  | 02 sets |
| Bag Valve mask (Ambu Bag), Neonatal | ‘’ |  |  |  | ‘’ |  | 19.4.2024 |  |  |  |  |  |  | 15 bags |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | ‘’ |  | Executive, swinging, with arm rest |  | Not engraved |  | 17.5.2024 |  |  |  |  |  |  | 07 |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | ‘’ |  |  |  | ‘’ |  | 30.5.2025 17.5.2024 |  |  |  |  |  |  | 02 04 |
| Non Residential Buildings | ‘’ |  | Maternity ward, with 3 water tanks (2 for 10.000L each, 1 overhead 3000L), a patients’ latrine with 4 stances (2- males, 2 -females) a bathroom, a small tank (500L) for handwashing OPD block Placenta Pit |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  | Staff house, 2 units, toilets & kitchen inside, a latrine, and 1 big tank – 10.000L and an overhead tank 3000L |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |