ASSET VERIFICATION AND RECORDING TOOL KIT
KATUUGO HEALTH CENTRE III
LUWERO DISTRICT LOCAL GOVERNMENT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Central |
| --- | --- |
| SUB-REGION: | Buganda North |
| Name of Local Government | Luwero District Local Government |
| VERIFIER PARTICULARS |  |
| Full name | Namujuzi Haulah |
| Contact/ email and Telephone | 0754249412 / hawlahnamujuzi@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Kalyowa Lawrence |
| Contact | 0774106047 |
| Date of submission | September 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Katuugo Health Centre III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. The RIMA (E.A) Limited Installation Protocol and delivery notes for Contract MOH/SPLS/2023-20224/00023 list every scheduled item and the quantity delivered. Numbers supplied are shown; unit costs are not. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | Not applicable - the record is held at the facility. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |
|  | Maintained by the supplier, RIMA (E.A) Limited, whose biomedical engineer (Edrine Joseph Ssemakula, 0706551600) installed, commissioned and trained users. Day-to-day repairs are arranged by the in-charge through Luwero District Local Government. |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, against the installation protocol, signed item by item at commissioning on 15/09/2025. Nothing was non-functional at verification; items shown nil were never delivered rather than broken down. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Benefits: maternity, ward, out-patient and laboratory equipment - 10 adult and 5 paediatric beds, a hydraulic delivery bed, 4 oxygen concentrators, 2 bubble CPAP units, 2 electric centrifuges and a binocular microscope - has expanded in-patient, maternity and laboratory services. Issues: 26 scheduled items were never delivered, among them the autoclave, examination couch and light, instrument trolley, stretcher, wheel chair, bedside lockers, dressing and suture sets and the radiant infant warmer. Recommendations: supply the outstanding items; agree a servicing schedule with the supplier for the oxygen, CPAP and centrifuge equipment; and provide the storage furniture needed to secure what has been delivered. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Luwero District Local Government          NAME OF HEALTH FACILITY: Katuugo Health Centre III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| B.P. Machine (Aneroid wall mounted) | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Bowl, Kick | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Bowl Stand | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| ESR Stand | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Glucometer | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Supplementary delivery 24/11/2025 |
| Haemoglobin Meter, Digital | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Microscope Binocular | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Otoscope | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Patient Screen | Health Centre III |  | 4 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Patient Trolley | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Refrigerator, Basic | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Stop Watch | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Weighing Scale with Height Meter, Adult | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Weighing Scale, Infant | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Weighing Scale, Toddler | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Office Chair | Health Centre III |  | 7 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Wall Clock | Health Centre III |  | 4 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Diagnostic Equipment Set for MCH | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Diagnostic Equipment Set for OPD | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Supplementary delivery 24/11/2025 |
| Glassware Set, Laboratory, Basic | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Instrument Set, Basic ENT | Health Centre III |  | 3 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Supplementary delivery 24/11/2025 |
| Pulse Oximeter, Hand held | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Bed, Adult Patient with Mattress | Health Centre III |  | 10 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Bed, Pediatric Patient, With Mattress | Health Centre III |  | 5 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Delivery Bed, Hydraulic Manual | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Resuscitator Manual, Adult, with all mask sizes | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Suction Apparatus, (Electric) | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Nebulizer, Ultrasonic | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Oxygen Concentrator, Duo Flow | Health Centre III |  | 4 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Bench | Health Centre III |  | 4 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Disinfection Buckets | Health Centre III |  | 6 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Baby Cot | Health Centre III |  | 5 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Diagnostic Equipment Set for Ward | Health Centre III |  | 3 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Supplementary delivery 24/11/2025 |
| Hollow Ware Set, Ward | Health Centre III |  | 3 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Instrument Set, Delivery | Health Centre III |  | 3 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Supplementary delivery 24/11/2025 |
| MVA Kit | Health Centre III |  | 4 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Penguin Sucker | Health Centre III |  | 3 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Fetoscope, Dopplar | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Bubble CPAP | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Centrifuge (Electric) | Health Centre III |  | 2 units supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |
| Kangaroo Mother Care Chair | Health Centre III |  | 1 unit supplied |  | Not engraved |  | 15/09/2025 |  |  |  |  |  | Functional | Delivered and verified |

Source of the verified data above: Installation Protocol, Contract MOH/SPLS/2023-20224/00023, RIMA (E.A) Limited. Verified by Namujuzi Haulah, supervised by Kalyowa Lawrence, August to September 2026.