ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TORO |
| Name of Local Government | BUNDIBUGYO |
| VERIFIER PARTICULARS |  |
| Full name | NASSEJJENADIA,NABBOSA SUMAYAH,ZALWANGO MARIA |
| Contact/ email and Telephone | 0754884004,0708098456,0751977570 |
| Supervisor/ Sub team leader |  |
| Name | DEPAUL MBONIGABA |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …BUNDIMULANGYA HEALTH CENTRE III……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Inquire from the District Health Officer for any maintenance who usually sends in a maintenance team, at the district level to service or repair the assets.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes the facility takes regular record about the functionality or breakdown of the assets.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift support has helped power supply through construction of power house and installation of a solar Pannel that distributes power to the facility which leads to operation of every hour.

The facility was upgraded from health center II to health center III.

Challenges: Bore holes not being constructed.

Recommendations

Need for a borehole to be constructed for easy water supply.

Need more medical equipment to be provided to the health facility.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…BUNDIBUGYO……………………………… NAME OF HEALTH FACILITY……………………BUNDIMULANGYA HEALTH FACILITY III……………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (01) | Health |  | Black in color |  |  | 11/05/23 |  |  | 679,997 |  |  |  | Good condition | In use |
| Autoclave 20 Liters.,Duo Operated (01) | health |  | boxed |  |  | 11/05/23 |  |  | 825,710 |  |  |  | Good condition | Not in use still stored |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (01) | Health |  | Silver in color |  |  | 11/05/23 |  |  |  |  |  |  | Good condition | In use |
| Counting chamberNeubauer- Improved (01) | Health |  | boxed |  |  | 11/05/23 |  |  | 174,856 |  |  |  | Good condition | Not in use still stored |
| Cupboard Steel, Lockable (07) | Health |  | Grey in color with black locks |  |  | 11/05/23 |  |  |  |  |  |  | Good condition | In use |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (03) | health |  | Black mattress with stands |  |  | 11/05/23 |  |  |  |  |  |  | Good condition | In use |
| Examination light,LED (01) | health |  | White in color |  |  | 11/05/23 |  |  | 1,845,706 |  |  |  | Good condition | In use |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital (02) | Healh |  | Boxed |  |  | 11/05/23 |  |  | 825,710 |  |  |  | Good condition | Not In use still stored |
| Height Meter)(02) | Health |  | Long and white in color |  |  | 11/05/23 |  |  | 437,141 |  |  |  | Good condition | In use |
| Instrument Trolley (01) | Health |  | Silver in color |  |  | 11/05/23 |  |  | 728,568 |  |  |  | Good condition | In use |
| Microscope Binocular (01) | health |  | White in color |  |  | 11/05/23 |  |  | 1,800,000 |  |  |  | Good condition | In use |
| Otoscope(01) | Health |  | boxed |  |  | 11/05/23 |  |  | 310,856 |  |  |  | Good condition | Not In use still stored |
| Patient Screen (03) | health |  | Blue in color |  |  | 11/05/23 |  |  | 310,856 |  |  |  | Good condition | In use |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (02) | Health |  | Boxed |  |  | 11/05/23 |  |  | 2,428,560 |  |  |  | Good condition | Not In use still stored |
| Stethoscope (08) | health |  | Black and green in color |  |  | 11/05/23 |  |  | 194,285 |  |  |  | Good condition | One In useand the seven are not in use still stored. |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas (01) | Health |  | Siver stove and orange gas |  |  | 11/05/23 |  |  |  |  |  |  | Good condition | In use |
| Weighing Scale with Height Meter, Adult (01) | Health |  | White in color |  |  |  |  |  |  |  |  |  | Faulty | Not in use still stored |
| Weighing Scale, Infant (01) | Health |  | White in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair(02) | Health |  | Black in color |  |  | 11/05/23 |  |  | 850,000 |  |  |  | faulty | Not in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (06) | Health |  | Boxed |  |  | 11/05/23 |  |  | 369,141 |  |  |  | Good condition | Not In use still stored |
| Wall Clock (02) | Health |  | Black in color |  |  | 11/05/23 |  |  |  |  |  |  | Good condition | In use |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Health |  | Boxed |  |  | 11/05/23 |  |  | 1,252,212 |  |  |  | Good condition | Not in use still stored |
| Glassware Set, Laboratory, Basic | Health |  | Boxed |  |  | 11/05/23 |  |  | 350,000 |  |  |  | Good condition | Not in use still stored |
| Hollow Ware Set, Treatment | Health |  | Boxed |  |  | 11/05/23 |  |  | 2,428,560 |  |  |  | Good condition | Not in use still stored |
| Instrument Set, Dressing | Health |  | Boxed |  |  | 11/05/23 |  |  | 388,570 |  |  |  | Good condition | Not in use still stored |
| Instrument Set, Basic ENT | Health |  | Boxed |  |  | 11/05/23 |  |  |  |  |  |  | Good condition | Not in use still stored |
| Instrument Set, Suture | Health |  | Boxed |  |  | 11/05/23 |  |  | 437,141 |  |  |  | Good condition | Not in use still stored |
| Pulse Oximeter, Hand held | Health |  | Boxed |  |  | 11/05/23 |  |  | 2,329,947 |  |  |  | Good condition | Not in use still stored |
| Bed, Adult Patient with Mattress(17) | Health |  | black mattress grey and white bed with silver stand |  |  | 11/05/23 |  |  |  |  |  |  | Good condition | In use |
| Bed, Pediatric Patient, With Mattress (01) | Health |  | Blue in color |  |  | 11/05/23 |  |  | 890,000 |  |  |  | Good condition | In use |
| Bedside Locker (07) | Health |  | Blue and grey in color |  |  | 11/05/23 |  |  |  |  |  |  | Good condition | In use |
| Cupboard, Instrument (02) | Health |  | Grey color with glass like structure |  |  | 11/05/23 |  |  |  |  |  |  | Faulty no seals | Not in use still stored |
| Delivery Bed, Hydraulic Manual (01) | Health |  | Pink in color |  |  | 11/05/23 |  |  |  |  |  |  | Good condition | Not In use still stored |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | health |  | Black in color |  |  | 11/05/23 |  |  | 2,827,158 |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Health |  | White in color |  |  | 11/05/23 |  |  | 2,620,000 |  |  |  | Good condition | Not in use still stored |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (01) | Health |  | White in color |  |  | 11/05/23 |  |  | 8,000,000 |  |  |  | Good condition | Not in use still stored |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot (02) | Health |  | Silver stands black like mattress |  |  | 11/05/23 |  |  | 777,139 |  |  |  | Good condition | In use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (01) | Health |  | Grey and white color |  |  | 11/05/23 |  |  | 3,900,000 |  |  |  | Good condition | In use |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (01) | Health |  | Black in color |  |  | 11/05/23 |  |  | 3,360,000 |  |  |  | Good condition | In use |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (10) | Health |  | Black in color |  |  | 11/05/23 |  |  | 1,457,136 |  |  |  | Not in good condition | Not functional because parts of the chairs are not complete and weren’t delivered |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet (02) | health |  | Grey and black in color |  |  |  |  |  |  |  |  |  | Good condition | in use |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………BURONDO SEED SCHOOL………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | The incharge don’t know |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The assets under Ugift are still new and not in use .

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | No |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Challenges

Lack of the perimeter wall or security which lead to the risk of theft for the assets.

Recommendations

Need for space for a playground.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……BUNDIBUGYO…………………………………………………………… Name of SCHOOL……………………………BURONDO SEED SCHOOL…………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks (128) | Education |  | Wooden and brown in color |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Office chairs (266) | Education |  | Brown in color with black stands |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Laboratory stools (118) | Education |  | Brown in color with black stands |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Book shelves (23) | Eduaction |  | Wooden brown in color closed book shelves |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Tables | Education |  | Wooden brown in color size 1.5by670were13 |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
|  |  |  | Size by 1.7 by 800 by 750 are 14 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Size 800 by 60 by 75 are 21 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Size 1.2 by 850 by 750 and |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Size 1.8 by 850 by 900 are 24 |  |  |  |  |  |  |  |  |  |  |  |
| Soft pin boards | Education |  | Brown in color |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…BUNDIBUGYO……………………………………………………………………… Name of SCHOOL…BURONDO SEED SCHOOL……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | ICT items are not yet delivered to the facility |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…BUNDIBUGYO DISTRICT……………………………………………………………………… Name of SCHOOL………BURONDO SEED SCHOOL………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non residential building | Education |  | They are still under construction and they are seven buildings |  |  |  |  |  |  |  |  |  | Good condition | Not in use |
|  |  |  | Multi purpose building, two class blocks,ICT and library block |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Science laboratory and |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | the administration block |  |  |  |  |  |  |  |  |  |  |  |
| Residential buildings | Education |  | Two staff houses with two units each |  |  |  |  |  |  |  |  |  | Good condition | Not in use |
|  |  |  | Unit has two rooms with the back door and infront door |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Painted orange and cream |  |  |  |  |  |  |  |  |  |  |  |
| Kitchens | Education |  | Painted orange |  |  |  |  |  |  |  |  |  | Good condition | Not in use |
| Pit latrines | Education |  | Painted cream and orange |  |  |  |  |  |  |  |  |  | Good condition | Not in use |
| Water tanks (3) | Education |  | Black in color |  |  |  |  |  |  |  |  |  | Good in condition | Not in use |