ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | BUNDIBUGYO |
| VERIFIER PARTICULARS |  |
| Full name | ZALWANGO MARIA NASSEJJE NADIA NABBOSA SUMAYAH |
| Contact/ email and Telephone | 0708098456 0754884004 0751977570 |
| Supervisor/ Sub team leader |  |
| Name | DE PAUL MBONIGABA |
| Contact | 0788483159 |
| Date of submission | 07/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: BUSANGA HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | DON’T KNOW |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | DON’T KNOW |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

We didn’t find clinical officer at the facility we tried to contact him but was not picking

We talked to nurses we found  and they had little information about the equipment

We couldn’t do key informative interview on clinical officer

We couldn’t access to record asset and some equipment because the store was closed by clinical officer

We went back to district to access more information mostly the cost but we didn’t get enough help

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………………………………BUNDIBUGYO    DISTRICT………… NAME OF HEALTH FACILITY…BUSANGA   HEALTH   CENTRE III………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost |  | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (1) |  |  | Machine with cuff works with battery |  |  | 11/11/2022 |  |  |  |  |  |  |  | Good condition | functional |
| B.P. Machine (Aneroid wall mounted) (2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated (1) | Health |  | Stainless steel |  |  | 11/11/2022 |  | 720,000 |  |  |  |  |  | Good condition | functinal |
| Bowl, Kick (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (03) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (06) | Health |  | Grey in colour with locks |  | BCHIII004/04 BCHIII004/08 BCHIII004/05 | 11/11/2022 |  |  |  | 1120000 |  |  |  | Good condition | There are all good |
| Drip Stand | Health |  | Stainless steel stand with blue stars |  |  | 11/11/2022 |  |  |  | 280000 |  |  |  | Good condition | In use (functional) |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | Health |  | Black and silver steal stand |  |  | 11/11/22 |  |  |  | 720000 |  |  |  | Good condition | Fuctional |
| Examination light,LED (3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (2) | Health |  | Steel with black stand | - |  | 11/11/2022 |  |  |  | 437141 |  |  |  | Good condition | One not functional One in use |
| Instrument Trolley | Health |  | Stainless steel material |  |  | 11/11/2022 |  |  |  | 728568 |  |  |  |  | functional |
| Microscope Binocular (1) | Health |  | Boxed |  |  | 11/11/2022 |  |  |  | 1800000 |  |  |  | Good condition | Not fuctional |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (5) |  |  | Blue in colour with stainless stand |  |  | 11/11/2022 |  |  |  | 407998 |  |  |  | Good condition | Fuctional |
| Patient Trolley (1) | Health |  | Siliver steel & black balls |  |  | 11/11/2022 |  |  |  | 2428560 |  |  |  | Good condition | Good condition |
| Refrigerator, Basic | Health |  | Small size,blue color, double doors |  | - | 11/11/2022 |  |  |  | 1,120,000 |  |  |  | Good condition | Fuctional |
| Stethoscope | Health |  | Black in colour |  |  | 11/11/2022 |  |  |  | 200,000 |  |  |  | Good condition | Well used |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (2) | Health |  | Stainless steel with blue leather cover |  |  | 11/11/2022 |  |  |  | 2137133 |  |  |  | Good condition | In use |
| Stove, Gas (2) | Health |  | 12kg gas with cooker |  |  | 11/11/2022 |  |  |  | 560000 |  |  |  | Good | In use |
| Weighing Scale with Height Meter, Adult (2) | Health |  | Grey / white/black colour stand |  |  | 11/11/2022 |  |  |  | 1280000 |  |  |  | Good condition | In use |
| Weighing Scale, Infant(2) | Health |  | White / black stand |  |  | 11/11/2022 |  |  |  | 640000 |  |  |  | Good condition | In use |
| Weighing Scale, Toddler (1) | Health |  | White with yellow and blue chair |  |  | 11/11/2022 |  |  |  | 960000 |  |  |  | Good condition | In use |
| Wheel Chair (4) | Health |  | Black seat and wheels |  |  | 11/11/2022 |  |  |  | 850000 |  |  |  | Don’t have rubbers on wheel | Not in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (4) | Health |  | Stainless steel and black bottom boxed |  |  | 11/11/2022 |  |  |  | 369141 |  |  |  | Good condition | Fuctional |
| Wall Clock (4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment (2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (1) | Health |  | Stainless steel |  |  | 11/11/2022 |  |  |  | 388570 |  |  |  | Good condition | Fuctinal |
| Instrument Set, Basic ENT (1) | Health |  | Stainless steel |  |  | 11/11/2022 |  |  |  | 2112133 |  |  |  | Good condition | Fuctional |
| Instrument Set, Suture (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health |  | Box |  |  | 11/11/20 |  |  |  | 2329947 |  |  |  |  | Not in use |
| Bed, Adult Patient with Mattress (5) | Health |  | Stainless black mattress have trolls | - |  | 11/11/2022 |  |  |  |  |  |  |  | Good condition | In use |
| Bed, Pediatric Patient, With Mattress | Health |  | Stainless Black mattress | - |  | 11/11/2022 |  |  |  |  |  |  |  | Good condition | In use |
| Bedside Locker | Health |  | Blue steel material |  |  | 11/11/2022 |  |  |  | 520,000 |  |  |  | Good condition | Seven in use Three not in use |
| Cupboard, Instrument (2) | Health |  | Grey in color |  |  | 11/11/2022 |  |  |  | 1,420,000 |  |  |  | Good condition | In use |
| Delivery Bed, Hydraulic Manual (1) | Health |  | Black in color with stainless steel stand |  |  | 11/11/2022 |  |  |  |  |  |  |  | Good condition | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (2) | Health |  | Black in colour |  |  | 11/11/2022 |  |  |  | 1,760,000 |  |  |  | Good condition | In use |
| Resuscitator Manual, Infant, with all Mask sizes (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Health |  | Boxed |  |  | 11/11/2022 |  |  |  |  |  |  |  | Good condition | Not in use |
| Nebulizer, Ultrasonic (1) | Health |  | Boxed |  |  | 11/11/2022 |  |  |  | 720,000 |  |  |  | Good condition | Not in use |
| Oxygen Concentrator, Duo Flow (1) | Health |  | Grey in color Boxed |  |  | 11/11/2022 |  |  |  | 6400000 |  |  |  | Good condition | kept |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | Fuctional |
| Bench |  |  | Wood material |  |  | 11/11/2022 |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot (2) | Health |  | Blue metallic steel |  |  | 11/11/2022 |  |  |  | 777139 |  |  |  | Good condition | In use |
| Diagnostic Equipment Set for Ward (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward (2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (2) | Health |  | Silver |  |  | 11/11/2022 |  |  |  |  |  |  |  | Good condition | In use |
| Instrument Set, Stitch Removing (3) | Health |  | BOX |  |  | 11/11/2022 |  |  |  | 450000 |  |  |  | Good condition | Not in use |
| MVA Kit (5) | Health |  | In OPD |  |  | 11/11/2022 |  |  |  | 730000 |  |  |  | Good condition | Not in use |
| Stool, Laboratory (2) | Health |  |  |  |  | 11/11/2022 |  |  |  | 480000 |  |  |  | Good condition | Received one One is missing |
| Penguin Sucker (1) | Health |  | Silicon white color |  |  |  |  |  |  | 32094 |  |  |  | Good condition | functional |
| Fetoscope, Dopplar (1) | Health |  | Silver in colour |  |  | 11/11/2022 |  |  |  | 24286 |  |  |  | Good condition | Not in use |
| Bubble CPAP (1) | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - |
| Centrifuge (Electric) | Health |  | Boxed |  |  | 11/11/2022 |  |  |  | 3900000 |  |  |  | Good condition | fuctional |
| Kangaroo Mother Care Chair (1) | Health |  | Blue in colour |  |  | 11/11/2022 |  |  |  | 1900000 |  |  |  | Good condition | Fuctional |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli (1) | Health |  | Boxed |  |  | 11/11/2022 |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  | Black |  |  | 11/11/2022 |  |  |  | 3360000 |  |  |  | Good condition | In use |
| Examination light |  |  |  |  |  |  |  |  |  | 1845706 |  |  |  | Good condition | In use |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | Leather black swinging chair |  |  | 11/11/2022 |  |  |  |  |  |  |  | Good condition | In use |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet (4) | Health |  | Grey in colour |  |  | 11/11/2022 |  |  |  |  |  |  |  | Good condition | In use |
| Non Residential Buildings (3) | Health |  | OPD building well finished |  |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Residential Buildings (1) | Health |  | Stuff quarters one building, It has two units each unit has two bedrooms and one sitting room. |  |  |  |  |  |  |  |  |  |  | Good condition | In use But not enough |
|  |  |  | Kitchen has two units |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Two pit latrine with two units |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |