ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TORO |
| Name of Local Government | BUNDIBUGYO |
| VERIFIER PARTICULARS |  |
| Full name | NASSEJJE NADIA, NABBOSA SUMAYAH, ZALWANGO MARIA |
| Contact/ email and Telephone | 0754884004,0708098456,0751977570 |
| Supervisor/ Sub team leader |  |
| Name | DEPAUL MBONIGABA |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …BURONDO HEALTH CENTRE III……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Note :  We did not find the in charge at the health center we called him but he didn’t pick or return our calls we physically verified what the nurse who also knew  very few things from Ugift showed and had access to since the in charge was on leave

Health centre checklist

NAME OF LG……BUNDIBUGYO…………………………………… NAME OF HEALTH FACILITY…BURONDO HEALTH CENTER………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable(01) | health |  | Grey in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (04) | Health |  | Black and silver stand |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (04) | Health |  | Green in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Patient Trolley (02) | Health |  | Silver in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (01) | Health |  | Silver in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter,Adult (02) | Health |  | White in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Weighing Scale, Infant (01) | Health |  | White in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair (01) | Health |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress (10) | health |  | Black mattress with silver stand |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Bed, Pediatric Patient, With Mattress (05) | Health |  | Pink and blue in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument (01) | health |  | Grey in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Delivery Bed, Hydraulic Manual (01) | Health |  | Pink in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (01) | Health |  | Grey or off white in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Bench (04) | Health |  | Brown in color |  |  |  |  |  |  |  |  |  | Good condition | Three in use and one is broken |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (01) | Health |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (01) | Health |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …KISUBA SEED SCHOOL……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes the facility has a record |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Through committees  and partners who raise money so that the facility is mainatained.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes the facility does take a regular record |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift support has helped increase enrollment of students at Kisuba Seed School.

Community uses the school playground for functions and town council uses the main hall of the school.

Challenges-Number of the students increased from less 100 to 300 thus limited space.

- Lack of laboratory equipment therefore borrowing from neighboring schools.

-Lack of security since they don’t have perimeter walls.

-High water table in the ground from the pit latrines.

-Inadequate stationery in library.

Recommendations-More structures need to be constructed .

-Requesting for a boarding section to be built.

-Library and laboratory  equipment should be restocked.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…BUNDIBUGYO…DISTRICT…………………………………………………………… Name of SCHOOL……KISUBA SEED SCHOOL…………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks (121) | Education |  | Brown in color with black stands |  |  |  |  |  |  |  |  |  | Good condition | In use but two school desks are broken |
| Office chairs (312) | Education |  | Brown in color |  |  |  |  |  |  |  |  |  | Good condition | 312 were physically verified |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 18 were locked in the staff quarters and two chairs were locked in the school canteen |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | And not physically verified |
| Laboratory stools (158) | Education |  | Brown in color seats and black stands |  |  |  |  |  |  |  |  |  | Good condition | All in use |
| Book shelves (17) | education |  | Grey wooden in color |  |  |  |  |  |  |  |  |  | Good condition | All in use |
| Cupboard (05) | Education |  | Brown in color with locker and keys and attached to the walls |  |  |  |  |  |  |  |  |  | Good condition | All in use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG …BUNDIBUGYO…DISTRICT…………………………………………………………… Name of SCHOOL…KISUBA SEED SCHOOL…………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UPS | Education |  | Black in color |  |  |  |  |  |  |  |  |  | All the Ups | The ups are not |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Are in | Working well |
| (01) |  |  | Model AP700V |  |  |  |  |  |  |  |  |  | Good condition |  |
|  |  |  | A serial No. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 310011873A |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 11382300561 |  |  |  |  |  |  |  |  |  |  |  |
| (02) |  |  | AP-700VA |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 310011873A |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 11382300124 |  |  |  |  |  |  |  |  |  |  |  |
| (03) |  |  | AP-700VA |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 00582 |  |  |  |  |  |  |  |  |  |  |  |
| (04) |  |  | AP-700VA |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 01601 |  |  |  |  |  |  |  |  |  |  |  |
| (05) |  |  | AP-700VA |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 00121 |  |  |  |  |  |  |  |  |  |  |  |
| Air conditioner | Education |  | Type Bruitm |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
|  |  |  | White in |  |  |  |  |  |  |  |  |  | Still in box |  |
|  |  |  | color |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | size |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | L820xW300x11605mm |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | AP-700VA |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1325 |  |  |  |  |  |  |  |  |  |  |  |
| Camera (0%) | Education |  | Whit in color |  |  |  |  |  |  |  |  |  | Cameras are working well | All in use |
|  |  |  | Type Boschen |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | model |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | BS-1008K-AH24 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | S/N |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 202008589877 |  |  |  |  |  |  |  |  |  |  |  |
| Desk top |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| computer | Education |  | Type Dell |  |  |  |  |  |  |  |  |  | Some are in good | 15 desk top computers |
|  |  |  | S/N year 2017 |  |  |  |  |  |  |  |  |  | condition | Are working and 8 |
|  |  |  | CN-07CxPR |  |  |  |  |  |  |  |  |  | And others are spoilt | Are not working and they don’t have for maintenance waiting for the district |
|  |  |  | Type -HPS/N |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 3CQ9471W84 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Year nov-2019 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Type-HP S/N |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 3CQ9510791 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Dec 2019 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Type H.P S/N |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 3CQ6101953 |  |  |  |  |  |  |  |  |  |  |  |
| Air |  |  | Year Mar -2016 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Type H.P S/N |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 3CQ013201Q |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | March -2020 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Type H.P S/N |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 3CQ9150W02 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | April-2019 |  |  |  |  |  |  |  |  |  |  |  |
| Seve |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Server processor | Education |  | Black in color |  |  |  |  |  |  |  |  |  | Boxed and not | Failed to work from day one |
|  |  |  | S/N |  |  |  |  |  |  |  |  |  | working |  |
|  |  |  | 310011B73A |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 11382300009 |  |  |  |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…BUNDIBUGYO……DISTRICT…………………………………………………………………… Name of SCHOOL………KISUBA SEED SCHOOL………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Nonresidential | Education |  | Painted orange and cream |  |  |  |  |  |  |  |  |  | Good condition | All In use but limited space for students |
| building |  |  | Classroom block |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Science and computer |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | laboratory |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Main hall |  |  |  |  |  |  |  |  |  |  |  |
| Residential building | Education |  | Two buildings with each two |  |  |  |  |  |  |  |  |  | Good | In use |
|  |  |  | Units painted |  |  |  |  |  |  |  |  |  | condition |  |
|  |  |  | Orange and cream |  |  |  |  |  |  |  |  |  |  |  |
| Kitchen | Education |  | Painted cream and orange |  |  |  |  |  |  |  |  |  | Good | In use |
|  |  |  |  |  |  |  |  |  |  |  |  |  | condition |  |
| Pit latrines(06) | Education |  | Painted orange |  |  |  |  |  |  |  |  |  | Bad condition | All in use |
|  |  |  | And cream |  |  |  |  |  |  |  |  |  | Filled with high table water |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | From the ground |  |
| Water tanks | Education |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | Not filled with water unless it rains |