ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | BUNDIBUGYO |
| VERIFIER PARTICULARS |  |
| Full name | ZALWANGO MARIA NASSEJJE NADIA NABBOSA SUMAYAH |
| Contact/ email and Telephone | 0708098456 0754884004 0751977570 |
| Supervisor/ Sub team leader |  |
| Name | DE PAUL MBONIGABA |
| Contact | 0788483159 |
| Date of submission | 07/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: TOMBWE HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- Technicians comes in to repair

- Minor repairs we do it for ourselves

- District committee comes in to verify the damaged asset beyond repair to dispose off.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

We take the records because the district need to verify.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- We are satisfied because we upgraded from healthy centre II to III

- UGift extended more health services to community.

- People are nolonger walk long distances for healthy services

No challenges with UGift

We recommend that UGift to provide transport means to the stuff and ambulences to the patients.

Other machines like HB are needed for more blood tests.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………BUNDIBUGYO………………………………… NAME OF HEALTH FACILITY……………TOMBWE      HEALTH   CENTRE III……………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost |  | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (1) | Health |  | Coloured display black board White battons |  |  | 11/11/2022 | 9/08/2024 | 96000 |  |  |  |  |  | Good condition | In use |
| B.P. Machine (Aneroid wall mounted) (2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated (1) | Health |  | Boxes |  |  | 11/11/2022 | 9/08/2024 | 720,000 |  |  |  |  |  | Good condition | Not in use |
| Bowl, Kick (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (03) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved | Health |  |  |  |  | 11/11/2022 | 9/08/2024 |  |  | 174856 |  |  |  | Good condition | In store |
| Cupboard Steel, Lockable (06) | Health |  | Grey color with silver locks |  |  | 11/11/2022 | 9/08/2024 |  |  | 1200000 |  |  |  | Good condition | There are all good |
| Drip Stand | Health |  | Stainless steel stand with blue stars |  |  | 11/11/2022 | 9/08/2024 |  |  | 280000 |  |  |  |  | In use (functional) |
| ESR Stand | - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED (3) | Healthy |  | Blue and white colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 720000 |  |  |  | Good condition | In use |
| Glucometer (3) | Health |  | White in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 1,120,000 |  |  |  | Good condition | One in use 2 in store not functional |
| Haemoglobin Meter, Digital | Health |  | Blue colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 880,000 |  |  |  | Good condition | Not functional None |
| Height Meter (2) | Health |  | Steel with black stand | - |  | 11/11/2022 | 9/08/2024 |  |  | 400,000 |  |  |  | Good condition | One not functional One in use |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Microscope Binocular (1) | Health |  | Boxed |  |  | 11/11/2022 | 9/08/2024 |  |  | 1,520,000 |  |  |  | Good condition | Not in use |
| Otoscope (2) | Health |  | Blue in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 320,000 |  |  |  | Good condition | Not functional |
| Patient Screen (5) |  |  | Blue in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 384,000 |  |  |  | Good condition | Not functional |
| Patient Trolley (1) | Health |  | Siliver steel & blue balls |  |  | 11/11/2022 | 9/08/2024 |  |  | 1,120,000 |  |  |  | Good condition | Good condition |
| Refrigerator, Basic (2) | Health |  | White in colour |  | - | 11/11/2022 | 9/08/2024 |  |  | 1,120,000 |  |  |  | Good condition | one in use One not in use |
| Stethoscope | Health |  | Green in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 200,000 |  |  |  | Good condition | Well used |
| Stop Watch | - | - | - | - | - | - | - | - |  | - | - | - | - | - | Not received |
| Stretcher (2) | Health |  | Silver in colour |  | - | 11/11/2022 | 9/08/2024 |  |  | 2,000,000 |  |  |  | Good condition | In use |
| Stove, Gas (2) | Health |  | Silver in colour |  | - | 11/11/2022 | 9/08/2024 |  |  | 560,000 |  |  |  | Good | In use |
| Weighing Scale with Height Meter, Adult (2) | Health |  | Grey / white/black colour stand |  | - | 11/11/2022 | 9/08/2024 |  |  | 1,280,000 |  |  |  | Good condition | In use |
| Weighing Scale, Infant(2) | Health |  | White / black stand |  | - | 11/11/2022 | 9/08/2024 |  |  | 640,000 |  |  |  | Good condition | In use |
| Weighing Scale, Toddler (1) | Health |  | White with yellow and blue chair |  |  | 11/11/2022 | 9/08/2024 |  |  | 960,000 |  |  |  | Good condition | In use |
| Wheel Chair (4) | Health |  | Black seat stainless stand |  |  | 11/11/2022 | 9/08/2024 |  |  | 640,000 |  |  |  | Good condition | Not in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Not in use |
| Medical Waste Bin (4) | Health |  | Silver in colour boxed |  |  | 11/11/2022 | 9/08/2024 |  |  | 256,000 |  |  |  | Good condition | Not in use |
| Wall Clock (4) | Health |  | Gloss silver and black back |  |  | 11/11/2022 | 9/08/2024 |  |  | - |  |  |  | Good condition | One in use Three not in use |
| Diagnostic Equipment Set for MCH (1) | Health |  | Silver in colour |  | - | 11/11/2022 | 9/08/2024 |  |  | 200,000 |  |  |  | Good condition | Not in use |
| Diagnostic Equipment Set for OPD | - | - | - | - | - |  | - |  |  | -- | - | - | - | - | Not received |
| Glassware Set, Laboratory, Basic (1) | Health |  | Silver in colour |  |  | 11/11/2022 | 9/08/2024 |  |  |  |  |  |  | Good condition | Not in use |
| Hollow Ware Set, Treatment (2) | Health |  | Silver in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 200,000 |  |  |  | Good condition | Not in use |
| Instrument Set, Dressing (1) | Health |  | Silver in colour |  | - | 11/11/2022 | 9/08/2024 |  |  |  |  |  |  | Good condition | Not in use |
| Instrument Set, Basic ENT (1) | Health |  | Silver |  |  | 11/11/2022 | 9/08/2024 |  |  | 200,000 |  |  |  | Good condition | Not in use |
| Instrument Set, Suture (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress (5) | Health |  | Stainless black mattress have trolls | - |  | 11/11/2022 | 9/08/2024 |  |  |  |  |  |  | Good condition | In use |
| Bed, Pediatric Patient, With Mattress (7) | Health |  | Stainless Black mattress | - |  | 11/11/2022 | 9/08/2024 |  |  |  |  |  |  | Good condition | In use |
| Bedside Locker (10) | Health |  | Blue stainless |  |  | 11/11/2022 | 9/08/2024 |  |  | 520,000 |  |  |  | Good condition | Seven in use Three not in use |
| Cupboard, Instrument (2) | Health |  | Grey in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 1,420,000 |  |  |  | Good condition | In use |
| Delivery Bed, Hydraulic Manual (1) | Health |  | Pink in colour |  |  | 11/11/2022 | 9/08/2024 |  |  |  |  |  |  | Good condition | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (2) | Health |  | Black in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 1,760,000 |  |  |  | Good condition | In use |
| Resuscitator Manual, Infant, with all Mask sizes (1) | Health |  | Black, leather long bag with child |  |  | 11/11/2022 | 9/08/2024 |  |  | 400,000 |  |  |  | Good condition | Not in use |
| Resuscitator Manual, Adult, with all mask sizes (1) | Health |  | Black, leather long bag with green on unto |  |  | 11/11/2022 | 9/08/2024 |  |  | 400,000 |  |  |  | Good condition | Not in use |
| Suction Apparatus, (Electric) | Health |  | Silver in colour |  |  | 11/11/2022 | 9/08/2024 | - |  |  |  |  |  | Good condition | Not in use |
| Nebulizer, Ultrasonic (1) | Health |  | White colour boxed |  |  | 11/11/2022 | 9/08/2024 |  |  | 720,000 |  |  |  | Good condition | Not in use |
| Oxygen Concentrator, Duo Flow (1) | Health |  | Brown in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 480,000 |  |  |  | Good condition | Not in use |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Health |  | Metallic Silver in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 256,000 |  |  |  | Good condition | In use |
| Baby Cot (2) | Health |  | Blue metallic silver |  |  | 11/11/2022 | 9/08/2024 |  |  | 640,000 |  |  |  | Good condition | In use |
| Diagnostic Equipment Set for Ward (1) | Health |  | Silver in colour |  |  | 11/11/2022 | 9/08/2024 |  |  |  |  |  |  | Good condition | Not In use in store |
| Hollow Ware Set, Ward (2) | Health |  | Boxed |  |  | 11/11/2022 | 9/08/2024 |  |  | 2,320,000 |  |  |  | Good condition | Not in use |
| Instrument Set, Delivery (2) | Health |  | Silver |  |  | 11/11/2022 | 9/08/2024 |  |  | 60,000 |  |  |  | Good condition | Not in use |
| Instrument Set, Stitch Removing (3) | Health |  | Silver |  |  | 11/11/2022 | 9/08/2024 |  |  | 320,000 |  |  |  | Good condition | Not in use |
| MVA Kit (5) | Health |  | Stainless steel |  |  | 11/11/2022 | 9/08/2024 |  |  | 730000 |  |  |  | Good condition | Not in use |
| Stool, Laboratory (2) | Health |  | Black in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 480,000 |  |  |  | Good condition | Received one One is missing |
| Penguin Sucker (1) | - | - | - | - | - | - | - | - |  | 33000 | - | - | - | - | Not received |
| Fetoscope, Dopplar (1) | Health |  | Silver in colour |  |  | 11/11/2022 | 9/08/2024 | _ |  | 24000 |  |  |  | Good condition | Not in use |
| Bubble CPAP (1) | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - |
| Centrifuge (Electric) | Health |  | Boxed |  |  | 11/11/2022 | 9/08/2024 |  |  | 8,000,000 |  |  |  | Good condition | Not in use |
| Kangaroo Mother Care Chair (1) | Health |  | Blue in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 2.560,000 |  |  |  | Good condition | Not in use |
| Radiant Infant Warmer | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - |
| Haemoglobin Meter, Sahli (1) | Health |  | Boxed |  |  | 11/11/2022 | 9/08/2024 |  |  | 825710 |  |  |  | Good condition | Not in use |
| Delivery Bed | Health |  | Black |  |  | 11/11/2022 | 9/08/2024 |  |  | 1,520,000 |  |  |  | Good condition | In use |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | Black |  |  | 11/11/2022 | 9/08/2024 |  |  | 1457136 |  |  |  | Good condition | One in use Two got spoit |
| Desk | Health |  | Black in colour |  |  | 11/11/2022 | 9/08/2024 |  |  | 640,000 |  |  |  | Good condition | In use |
| Filing Cabinet (4) | Health |  | Grey in colour |  |  | 11/11/2022 | 9/08/2024 |  |  |  |  |  |  | Good condition | In use |
| Non Residential Buildings (3) | Health |  | Finished |  |  | 11/11/2022 | 9/08/2024 |  |  |  |  |  |  | Good condition | In use |
| Residential Buildings (1) | Health |  | Painted Orange Well finished |  |  | 11/11/2022 | 9/08/2024 |  |  |  |  |  |  | Good condition | In use But not enough |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |