ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | TORO |
| Name of Local Government | KABAROLE |
| VERIFIER PARTICULARS |  |
| Full name | NASSEJJE NADIA, NABBOSA SUMAYAH,ZALWANGO MARIA |
| Contact/ email and Telephone | 0754884004,0708098456,0751977570 |
| Supervisor/ Sub team leader |  |
| Name | DEPAUL MBONIGABA |
| Contact | O788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KIKO TOWN COUNCIL HEALTH CENTRE III…………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility uses Primary Health Care (PHC) funds to maintain the medical equipment provided under Ugift.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift support has helped in the easier assessment and management of patients better.

Challenges-Some diagnostic equipment require replacement after sometime .Some equipment were not provided yet are needed urgently by the health centre such as the Sterilizers

Recommendations- Requesting for a sterilizer to be provided.

-Requesting for a biomedical engineer to tarin the staff how to use the equipment.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…KABAROLE………………………………… NAME OF HEALTH FACILITY…KIKO TOWN COUNCIL HEALTH CENTRE III………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (01) | Health |  | White in color |  |  |  | 11/09/25 |  | 400,000 |  |  |  | Good condition | In use |
| B.P. Machine (Aneroid wall mounted)(02) | Health |  | Grey in color with clock like structure |  |  |  | 11/09/25 |  | 640,000 |  |  |  | One in good condition and one faulty | One in use and one not in use |
| Autoclave 20 Liters.,Duo Operated (02) | Health |  | Silver or black in color |  |  |  | 11/09/25 |  | 899,000 |  |  |  | Good condition | In use |
| Bowl, Kick(01) | Health |  | Silver color |  |  |  | 11/09/25 |  | 150,000 |  |  |  | Good condition | In use |
| Bowl Stand(01) | Health |  | Silver steel |  |  |  | 11/09/25 |  | 299,500 |  |  |  | Good condition | In use |
| Counting chamber Neubauer- Improved(01) | Health |  | White and stored in small container |  |  |  | 11/09/25 |  | 230,000 |  |  |  | Good condition | In use |
| Cupboard Steel, Lockable (02) | Health |  | Off white in color |  |  |  | 11/09/25 |  | 1,355,000 |  |  |  | Good condition | In use |
| Drip Stand (13) | Health |  | Blue in color with silver stand with rolling casters at the bottom |  |  |  | 11/09/25 |  | 400,000 |  |  |  | Good condition | Three in use ten not in use still stored |
| ESR Stand (01) | Health |  | Silver and black rolls in color |  |  |  | 11/09/25 |  | 190,000 |  |  |  | Good condition | In use |
| Examination Couch (04) | Health |  | Black, silver stand |  |  |  | 11/09/25 |  | 700,000 |  |  |  | Good condition | In use |
| Examination light,LED (03) | Health |  | White in color |  |  |  | 11/09/25 |  | 1,000,000 |  |  |  | Good condition | In use |
| Glucometer (01) | Health |  | Grey in color |  |  |  | 11/09/25 |  | 261,500 |  |  |  | Good condition | In use |
| Haemoglobin Meter, Digital (01) | health |  | White or red color |  |  |  | 11/09/25 |  | 185,000 |  |  |  | Good condition | In use |
| Height Meter (02) | Health |  | Silver and black color |  |  |  | 11/09/25 |  | 500,000 |  |  |  | Good condition | In use |
| Instrument Trolley (03) | Health |  | Silver in color |  |  |  | 11/09/25 |  | 741,000 |  |  |  | Good condition | In use |
| Microscope Binocular (01) | Health |  | White and black in color |  |  |  | 11/09/25 |  | 1,400,000 |  |  |  | Good condition | In use |
| Otoscope (01) | Health |  | boxed |  |  |  | 11/09/25 |  | 240,000 |  |  |  | Good condition | Not in use still stored |
| Patient Screen (08) | Health |  | Blue in color |  |  |  | 11/09/25 |  | 464,500 |  |  |  | Good condition | In use |
| Patient Trolley (04) | Health |  | Silver in color |  |  |  | 11/09/25 |  | 1,200,000 |  |  |  | Good condition | In use |
| Refrigerator, Basic (02) | Health |  | Grey in color |  |  |  | 11/09/25 |  | 4,300,000 |  |  |  | Good condition | In use |
| Stethoscope (08) | Health |  | Grey in color |  |  |  | 11/09/25 |  | 500,000 |  |  |  | Good condition | In use |
| Stop Watch (01) | Health |  | Grey in color |  |  |  | 11/09/25 |  | 130,000 |  |  |  | Good condition | In use |
| Stretcher(03) | Health |  | Black and silver stand |  |  |  | 11/09/25 |  | 550,000 |  |  |  | Good condition | In use |
| Stove, Gas (02) | Health |  | Silver stove and orange gas |  |  |  | 11/09/25 |  | 498,500 |  |  |  | Good condition | In use |
| Weighing Scale with Height Meter, Adult (04) | Health |  | White in color |  |  |  | 11/09/25 |  | 1,300,000 |  |  |  | Good condition | In use |
| Weighing Scale, Infant (02) | Health |  | White in color |  |  |  | 11/09/25 |  | 463,500 |  |  |  | Good condition | In use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair (06) | Health |  | Black in color |  |  |  | 11/09/25 |  | 541,500 |  |  |  | Good condition | In use |
| Audio Equipment (01) | Health |  | Black in color |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Medical Waste Bin (17) | Health |  | Silver in color |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Wall Clock (02) | Health |  | Black and white in color |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (02) | Health |  |  |  |  |  | 11/09/25 |  | 837,000 |  |  |  |  |  |
| Bed, Adult Patient with Mattress (26) | Health |  | Black mattress with silver stand with big rolling casters |  |  |  | 11/09/25 |  | 1,000,000 |  |  |  | Good condition | Twenty in use and six not in use with mattress |
| Bed, Pediatric Patient, With Mattress (09) | Health |  | Pink and black in color silver stand rolling caster |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Bedside Locker (10) | Health |  | Blue and white color |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Cupboard, Instrument (01) | Health |  | White in color |  |  |  | 11/09/25 |  | 1,301,500 |  |  |  | Good condition | In use |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (02) | Health |  | Black and white color |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | Not in use still stored |
| Resuscitator Manual, Infant, with all Mask sizes(05) | Health |  | boxed |  |  |  | 11/09/25 |  | 400,000 |  |  |  | Good condition | Not in use still stored |
| Resuscitator Manual, Adult, with all mask sizes (06) | Health |  | boxed |  |  |  | 11/06/25 |  | 400,000 |  |  |  | Good condition | Not in use still stored |
| Suction Apparatus, (Electric) (01) | Health |  | White in color |  |  |  | 11/09/25 |  | 1,800,000 |  |  |  | Good condition | In use |
| Nebulizer, Ultrasonic (01) | Health |  | boxed |  |  |  | 11/09/25 |  | 583,500 |  |  |  | Good condition | Not In use still stored |
| Oxygen Concentrator, Duo Flow (01) | Health |  | White in color |  |  |  | 11/09/25 |  | 4,000,000 |  |  |  | Good condition | In use |
| Bench (03) | Health |  | Brown in color wooden |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Disinfection Buckets (03) | health |  | Silver in color |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Baby Cot (05) | Health |  | Silver stands in color |  |  |  | 11/09/25 |  | 1,100,000 |  |  |  | Good condition | In use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (01) | Health |  | boxed |  |  |  | 11/09/25 |  | 530,000 |  |  |  | Good condition | Not in use still stored |
| Stool, Laboratory (06) | Health |  | Silver and black in color |  |  |  | 11/09/25 |  | 420,000 |  |  |  | Good condition | In use |
| Penguin Sucker (03) | Health |  | white in color |  |  |  | 11/09/25 |  | 40,000 |  |  |  | Good condition | In use |
| Fetoscope, Dopplar (01) | Health |  | Blue and white color |  |  |  | 11/09/25 |  | 50,000 |  |  |  | Good condition | In use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (01) | health |  | White in color |  |  |  | 11/09/25 |  | 1,200,000 |  |  |  | faulty | Not functional no strips |
| Kangaroo Mother Care Chair (01) | health |  | Pitch and grey in color |  |  |  | 11/09/25 |  | 2,109,000 |  |  |  | Good condition | In use |
| Radiant Infant Warmer (02) | health |  | Grey and blue in color |  |  |  | 11/09/25 |  | 11,709,000 |  |  |  | Good condition | In use |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (02) | health |  | Blue and black color |  |  |  | 11/09/25 |  | 3,500,000 |  |  |  | Good condition | In use |
| Examination light (01) | Health |  | Black in color |  |  |  | 11/09/25 |  | 1,000,000 |  |  |  | Good condition | In use |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal (06) | health |  | In white container and others in the box |  |  |  | 11/09/25 |  | 400,000 |  |  |  | Good condition | In use and some are not in use still stored |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (05) | Health |  | Black in color |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Desk (03) | Health |  | Brown and black in color |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Filing Cabinet (05) | Health |  | Grey in color |  |  |  | 11/09/25 |  |  |  |  |  | Good condition | In use |
| Non Residential Buildings(02) | Health |  | Painted cream and orange |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Residential Buildings (02 | health |  | Painted cream and orange |  |  |  |  |  |  |  |  |  | Some damages | In use |

Note: Where there are missed cost we didn’t have access to it  the people in charge didn’t  give us the prices or costs of the equipment.

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |