ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TORO |
| Name of Local Government | KABAROLE |
| VERIFIER PARTICULARS |  |
| Full name | NASSEJJE NADIA,NABBOSA SUMAYAH,ZALWANG O MARIA. |
| Contact/ email and Telephone | 0754884004,0708098456,0751977570 |
| Supervisor/ Sub team leader |  |
| Name | DEPAUL MBONIGABA |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …KITUULE HEALTH  CENTRE III……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | The incharge doesn’t know how many assets were supplied and when. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Regional referral maintenance team is called incase of any repairs and service of the assets provided under Ugift.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

No the facility doesn’t take regular record about functionality or breakdown of the assets.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift support helped Kituule health center II to upgrade to health center III.

Challenges.-Staff doesn’t know how to use the medical equipment.

Medical equipment are not engraved.

Recommendations-Request construction of staff quarters .

More training of staff to use the medical equipment.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………KABAROLE DISTRICT………………………………… NAME OF HEALTH FACILITY   KITUULE HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated (01) | Health |  | Silver and black in color |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Bowl, Kick (01) | Health |  | Silver in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Bowl Stand (04) | Health |  | Silver in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand (05) | Health |  | Silver and black with rolling casters |  |  |  |  |  |  |  |  |  | Good condition | In use |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (02) | Health |  | Black and silver in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (02) | Health |  | White in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Instrument Trolley (02) | Health |  | Silver with rolling black casters |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Microscope Binocular (01) | Health |  | Grey and black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (04) | Health |  | Blue in color with rolling casters |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (02) | Health |  | Grey in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (03) | Health |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Stove, Gas(01) | Health |  | Silver and black gas |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Weighing Scale with Height Meter, Adult (02) | Health |  | White in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Weighing Scale, Infant (02) | Health |  | White in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair (03) | health |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (10) | health |  | Silver in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Wall Clock (02) | Health |  | Black and white in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress (09) | Health |  | Black mattress with silver stand |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker (09) | Health |  | Black or grey in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Cupboard, Instrument (06) | health |  | Grey in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Delivery Bed, Hydraulic Manual (01) | Health |  | Blue in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (02) | Health |  | Black and white in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (01) | Health |  | White and grrey in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (01) | Health |  | White and black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Bench (03) | Health |  | Brown in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Disinfection Buckets (04) | Health |  | Pink,blue,green in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Baby Cot (02) | Health |  | Grey in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory (01) | Health |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (01) | health |  | Grey in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light (01) | Health |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (04) | Health |  | Black with rolling casters |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Desk (02) | Health |  | Black and brown in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Filing Cabinet (06) | Health |  | Grey in color |  |  |  |  |  |  |  |  |  | Good condition | In use |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings (01) | Health |  | Painted cream and orange |  |  |  |  |  |  |  |  |  | Good condition | In use |

Note :  We have provide the information was able to obtain from the health facility and the in charge did not know the  cost of assets provided under Ugift  and didn’t even have an asset register and  wasn’t given an asset register  for Kituule health center III at the  local government.

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |