ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KABAROLE |
| VERIFIER PARTICULARS |  |
| Full name | ZALWANGO MARIA, NASSEJJE NADIA, NABBOSA SUMAYA |
| Contact/ email and Telephone | 0751977570/ 0754884004/ 0708098456 |
| Supervisor/ Sub team leader |  |
| Name | DEPAUL MBONIGABA |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON JULIUS BAGYEMA)

Name of Health Centre: NYAKITOKOLI HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | Delivered on 06/08/2024 |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Passing through regional referral officials

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

It has provided space for the patients since new buildings are being set up.

Challenges

The glucometer is of a different type and they are done so getting another type is difficult in there are.

Some items like office chairs were brought faulty and lockable cupboards ,yet the local personels are not being able to repire them.

Recommendations

They recommend that they need more beds for male ward and female ward and also to provide the glucometer of a type that is easy to get.

They recommed that they need a visual set equiments

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: KABAROLE DISTRICT   NAME OF HEALTH FACILITY: IRUHURA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | Boxed |  |  |  | 6\8\2024 |  |  |  |  |  | Good condition | not in use still in store |
| Autoclave 20 Liters.,Duo Operated | Health |  | Silver in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 not in use |
| Bowl, Kick | Health |  | Silver |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 1 not in use |
| Bowl Stand | Health |  | Silver |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2not in use |
| Counting chamber Neubauer- Improved | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 received and still in store |
| Cupboard Steel, Lockable | Health |  | Steel and Grey in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 6Still in store 0ne faulty and 4 are in use |
| Drip Stand | Health |  | Have wheels and a metallic stand silver in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 7are still in use. |
| ESR Stand | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 1 Still in store |
| Examination Couch | Health |  | Black mattresses with metallic stand |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 4 are in use |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | Health |  | White in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 in use but the strips are done |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  | White in colour |  |  |  | 6\8\2024 |  |  |  |  |  | Good condition | 2 are in use |
| Instrument Trolley | Health |  | Metallic and silver with wheels |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 are in use |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 1 not yet used |
| Patient Screen | Health |  | Blue in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 4 not in use |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Health |  | White in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 in use |
| Stethoscope | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 8 are still in store |
| Stop Watch | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 1 still in store |
| Stretcher | Health |  | White in colour with wheels |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 1 not in use and verified |
| Stove, Gas | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 not in use. |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | Health |  | White in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 Still in store |
| Weighing Scale, Toddler | Health |  | White in color |  |  |  | 6\8\2024 |  |  |  |  |  | Good condition | Its in use and its one verified |
| Wheel Chair | Health |  | Black with wheels |  |  |  | 8/8/2024 |  |  |  |  |  | Good condition | 4 Not in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | Silver in color |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 9 are in use |
| Wall Clock | Health |  | White in color |  |  |  | 6/8/2024 |  |  |  |  |  | One got broken. Others are in good condition | 4 still in store. |
| Diagnostic Equipment Set for MCH | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 still in store |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 still in store |
| Hollow Ware Set, Treatment | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 still in health |
| Instrument Set, Dressing | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 still in store |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | Health |  | Boxed |  |  |  | 6\8\2024 |  |  |  |  |  | Good conditi0n | They received 3 and are still in store |
| Pulse Oximeter, Hand held | Health |  | White in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 and are still in store |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | Health |  | Black mattresses |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 4 not in use |
| Bedside Locker | Health |  | Grey in colour |  |  |  |  |  |  |  |  |  | Good condition | Some are in use and others in store. |
| Cupboard, Instrument | Health |  | White in color with glasses |  |  |  | 6\8\2024 |  |  |  |  |  | Good condition | Its in use |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 still in store |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 1 still in store |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 1 still in store |
| Suction Apparatus, (Electric) | Health |  | White in colour |  |  |  |  |  |  |  |  |  | Good condition | 1 Not in use |
| Nebulizer, Ultrasonic | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | They received the electric one 1 still in store. |
| Oxygen Concentrator, Duo Flow | Health |  | White in colour with oxygen tubes |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 1 Not in use |
| Bench | Health |  | Brown in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 4 in use |
| Disinfection Buckets | Health |  | White in colour |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 6 still in store |
| Baby Cot | Health |  | Glassy with black mattresses |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 not yet used. |
| Diagnostic Equipment Set for Ward | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 still in store |
| Hollow Ware Set, Ward | Health |  | Boxed |  |  |  | 6/8/2024 |  |  |  |  |  | Good condition | 2 still in store |
| Instrument Set, Delivery | Health |  | Boxed |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 2 still in store |
| Instrument Set, Stitch Removing | Health |  | Boxed |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 3 still in store |
| MVA Kit | Health |  | Boxed |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 5 still in store |
| Stool, Laboratory | Health |  | Black in color with wheels |  |  | 6\8\2024 |  |  |  |  |  |  | Good Condition | They are in use |
| Penguin Sucker | Health |  | Boxed |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 3 still in store |
| Fetoscope, Dopplar | Health |  | Boxed |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 2 still in store |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | White in colour |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 1 still in store |
| Kangaroo Mother Care Chair | Health |  | Green in colour |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 1 still in store |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  | Boxed |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 1 still in store |
| Delivery Bed | Health |  | Black in color |  |  | 6\82024 |  |  |  |  |  |  | Good condition | Its in use |
| Examination light | Health |  | Black in colour with light glasses with wheels |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 4 Still in store |
| Instrument set, ENT Basic for HCIII | Health |  | Boxed |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 1 still in store |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | Black in colour with soft seats and wheels |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition 2 are faulty | 4 still in store |
| Desk | Healh |  | Brown and wooden |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 4 are in use |
| Filing Cabinet | Health |  | Grey in colour with blue, green, orange lockers |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | 0ne faulty and the four are in use |
| Non Residential Buildings | Health |  | Painted orange and white |  |  | 6/8/2024 |  |  |  |  |  |  | Good condition | They are 3 and they are in use |
| Residential Buildings | Health |  | Painted orange and cream |  |  | 8/8/2024 |  |  |  |  |  |  | Good condition | They are 2 and they are in use |

Refrigerator				disinfection bucket                                                Auto clave                                                     Items still in store

kangaroo chair                                                                           Pit latrine                                                   faulty chair                                Pit latrine

Sydraulic delivery bed     	Cupboard                         	      Sunction machine                            Items still in boxes

Ladder