ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KABAROLE |
| VERIFIER PARTICULARS |  |
| Full name | ZALWANGO MARIA, NASSEJJE NADIA, NABBOSA SUMAYA |
| Contact/ email and Telephone | 0751977570/ 0754884004/ 0708098456 |
| Supervisor/ Sub team leader |  |
| Name | DEPAUL MBONIGABA |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NYAMBUSA HEALTH SENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Challenges

Most items were broken

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: KABAROLE DISTRICT   NAME OF HEALTH FACILITY: NYAMBUUSA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | Health |  | Silver and black in colour |  |  |  |  |  |  |  |  |  | Good condition | 2 still in store. |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health |  | Grey in colour |  |  |  |  |  |  |  |  |  | Good condition | Still in store |
| Drip Stand | Health |  | Silver with black wheels |  |  |  |  |  |  |  |  |  | Good condition | 5 Still in store |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | Health |  | Black mattresses |  |  |  |  |  |  |  |  |  | Good condition | Still in store |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health |  | White in colour |  |  |  |  |  |  |  |  |  | Good condition | 2 are in use |
| Instrument Trolley | Health |  | White and silver in colour |  |  |  |  |  |  |  |  |  | Good condition | 7 are still in store |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Health |  | Blue in colour |  |  |  |  |  |  |  |  |  | One faulty others are in good condition | Still in store. |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  | Black in colour |  |  |  |  |  |  |  |  |  | Good condition | 2 still in store |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  | They only have plates |
| Weighing Scale with Height Meter, Adult | Health |  | White with a screen |  |  |  |  |  |  |  |  |  | Good condition | They are in use |
| Weighing Scale, Infant | Health |  | White in colour |  |  |  |  |  |  |  |  |  | Good condition | Still in store |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Health |  | Black in colour |  |  |  |  |  |  |  |  |  | Good condition | 6 Not in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | Silver in colour |  |  |  |  |  |  |  |  |  | Good condition | Some are in use the rest still in store. |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health |  | White in colour |  |  |  |  |  |  |  |  |  | Good condition | Still in store |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | Health |  | Grey in colour |  |  |  |  |  |  |  |  |  | Some are faulty and others in good condition | 13 still in store |
| Cupboard, Instrument | Health |  | White in colour |  |  |  |  |  |  |  |  |  | Good condition | 5 still in store |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Health |  | White in colour |  |  |  |  |  |  |  |  |  | Good condition | 1 Not in use |
| Nebulizer, Ultrasonic | Health |  | White in colour |  |  |  |  |  |  |  |  |  | Good condition | 1 Not in use |
| Oxygen Concentrator, Duo Flow | Health |  | Grey in colour |  |  |  |  |  |  |  |  |  | Good condition | 1 Not in use |
| Bench | Health |  | Brown in colour |  |  |  |  |  |  |  |  |  | Good condition | 1 in use |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | Health |  | Glassy with black mattresses |  |  |  |  |  |  |  |  |  | Good condition | Still in store |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  | Most items were still in store. The incharge was not around so we did not have access to the store and the asset register. The ones which are here are the ones which were verified. |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  | Black and pink in colour |  |  |  |  |  |  |  |  |  | Good condition | 2 are in use |
| Examination light | Health |  | Black in colour |  |  |  |  |  |  |  |  |  | Good condition | Still in store |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

OPD                                              Patient screen, a stretcher & drip stand                             Signpost                                                      Faulty items

Examination couch                                    	Bowl stand	Faulty items					Instruments

Patient

Bed with	                                 Reception

a drip

stand	Power house

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOMBE SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, but it has no costs. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | 426. he is not sure of the exact date. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility uses the school budget to repair/service/replace all the assets provided under UgIFT.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes. The desks were broken (some) |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Source of employment opportunities to the community.

- Provides education as a service to the community which has been led to its development.

Recommendations: If possible Ugift should provide more laboratory equipments and the ICT equiments for the students.

Also they are requesting for a boarding section to be constructed because a lot of children come from very far so they reach at school very late.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: NTOROKO DISTRICT                      Name of SCHOOL: NOMBE SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks | Education |  | Wooden and brown in colour |  |  |  |  |  |  |  |  |  | Two desks were faulty and the rest were in good condition | They are in use. 100 desks received. |
| Office chairs | Education |  | Brown in colour. 9 were black with wheels. Some were maroon in colour with spongy seats and metallic seats. |  |  |  |  |  |  |  |  |  | Good condition | All are in use. They are 161 |
| Labaratory stools | Education |  | Brown in colour with metallic stands. |  |  |  |  |  |  |  |  |  | Good condition | They are all in use. They are 120. |
| Bookshelves | Education |  |  |  |  |  |  |  |  |  |  |  |  | Were not constructed. |
| Tables | Education |  | Wooden and brown in colour |  |  |  |  |  |  |  |  |  | Good condition | They are all in use. They are 26 tables. |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ICT ITEMS |  |  |  |  |  |  |  |  |  |  |  |  |  | They never received any ICT items |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non residential | Education |  | Painted cream and white |  |  |  |  |  |  |  |  |  | Good condition | They are in use. They are seven in number. |
| Residential | Education |  | Painted cream and white |  |  |  |  |  |  |  |  |  | Good condition | They are all in use. They are 3 in number. |
| Kitchen | Education |  |  |  |  |  |  |  |  |  |  |  |  | Not built. |
| Toilets | Education |  |  |  |  |  |  |  |  |  |  |  |  | Not constructed |
| Pit latrine | Education |  | They are painted cream and white. |  |  |  |  |  |  |  |  |  | Good condition | They are all in use. They are all in use. 3 are for residential and 3 are not for residential. |
| Water tanks | Education |  | They are black in colour |  |  |  |  |  |  |  |  |  | One is faulty and two are working. | Two in use. They re three. Not constructed. |
| Fence |  |  |  |  |  |  |  |  |  |  |  |  |  | Not constructed. |