ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | TOORO REGION |
| Name of Local Government | KABAROLE DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | ZALWANGO MARIA,NASSEJJE NADIA,NABBOSSA SUMAYA |
| Contact/ email and Telephone | 0751977570,0754884004,0708098456 |
| Supervisor/ Sub team leader |  |
| Name | DEPAUL MBONIGABA |
| Contact | 0788483159 depaulrukara@gmail.com |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  KIDUBULI HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

It is maintained by the facility officials/in charge. For example, of recent the facility covered the mattresses with capilas

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do. In case of breakage, the one Mariam Jidudu said that they normally use a counter book to record all equipments broken. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The UGIFT has consistently helped in supplying health equipements to the facility and this has eased admissions hence managing the overwhelming at the facility. It has also helped in the accommodations of staff by building staff quarters near the facility. This has reduced absenteeism at the facility since officials are ever present at the facility. It also minimumly increased the health workers at the facility hence reducing the overwhelming health to patient ratio. It has also helped in good sanitation because of the increased number of assets at the facility like the placenta pits, pit latrines and bathrooms for patient. Labor wards and available equipements for labor such as labor beds and labor suits have created enough space for mothers in labor hence reducing congestion. Because of the available equipements, and assets the facility can now handle overwhelming admissions hence reducing unnecessary referrals. However, the facility has always hard issues and challenges which include: - The Lab is generally very small hence causing delay in service. - Inadequate inventory store at the facility and has forced the facility to improvise the men’s ward into a store and the men are now admitted together with ladies in the same female ward. - Adult beds are not enough. They only have 4 yet averagely on a single day, 70 patients are received. - Theft and threats attributed to lack of a perimeter fence. Hence putting health officers and patients at stake. - Stock Outs and delays of restocking is really a big challenge hence hindering admissions and normal treating of the patients. Notwithstanding, i. we recommend that the OPD facility be increased to reduce the overwhelming daily admissions at the facility. ii. we also recommend a perimeter wall to be installed at the facility since they lack one to improve on the security |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG MAYUGE DISTRICT LOCAL GOVERNMENT. NAME OF HEALTH FACILITY : KIDUBULI HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | Boxed |  |  |  | 6th/08/2024 |  |  |  |  |  | Received 2 and all still functioning. | All the 2 that were received were verified and are all functioning |
| B.P. Machine (Aneroid wall mounted) | health |  | Boxed |  |  |  | 6th/08/2024 |  |  |  |  |  | All functioning | All the 2 received were verified and 1 faulty |
| Autoclave 20 Liters.,Duo Operated | health |  | Silver bowl with a round top and black handles with a gauge. |  |  |  | 6th/08/2024 |  |  |  |  |  | They are in good status | All the 2 were received and verified |
| Bowl, Kick | health |  |  |  |  |  | 6th/08/2024 |  |  |  |  |  |  | Not Received Not verified |
| Bowl Stand | health |  | . |  |  |  |  |  |  |  |  |  |  | They were still in store |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  | Not verified |
| Cupboard Steel, Lockable | health |  | Grey in color with compartments, lockable in nature |  | Not engraved |  |  |  |  |  |  |  | functioning | verified and all functioning` |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | health |  | Boxed |  | Not engraved |  |  |  |  |  |  |  | Good condition | They were still in store |
| Examination Couch | health |  | 4 silver stands with a black soft sponge mattress with a lifter |  | Not engraved |  |  |  |  |  |  |  | functioning | 2 received and verified |
| Examination light,LED | health |  | White in color |  |  |  |  |  |  |  |  |  | functioning | 2 received and veried |
| Glucometer | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | health |  | Boxed |  |  |  |  |  |  |  |  |  | functioning 2 received | They are in store |
| Height Meter | health |  | White and black in color |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | health |  | Silver in color with 2 partitions and 4 black wheels |  |  |  |  |  |  |  |  |  | functioning | 2 verified |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Otoscope | health |  | Boxed |  | Not engraved |  |  |  |  |  |  |  | functioning | Verified but just kept |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Health |  | Grey in color with 2 compartments , the lower one bigger than the upper one |  |  |  |  |  |  |  |  |  | functioning | 1 verified and functioning |
| Stethoscope | health |  | Boxed |  |  |  |  |  |  |  |  |  | functioning | 4 received |
| Stop Watch | health |  | Boxed |  |  |  |  |  |  |  |  |  | functioning | 2 received |
| Stretcher | Health |  | It has 4 black wheels with two rails and a blue soft sponge |  |  |  |  |  |  |  |  |  | All Functioning | 1 seen and verified |
| Stove, Gas | health |  | White in color, 6kg(stabex) |  |  |  |  |  |  |  |  |  | working | 1 seen and verified |
| Weighing Scale with Height Meter, Adult | health |  | White in color, automated with a height and a guage. With a black rectangular base in nature |  |  |  |  |  |  |  |  |  | functioning | 2 seen, verified and functioning |
| Weighing Scale, Infant | health |  | White in color |  |  |  |  |  |  |  |  |  | functioning | 2 verified |
| Weighing Scale, Toddler | health |  | White in color |  |  |  |  |  |  |  |  |  | functioning | 2 verified |
| Wheel Chair | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | health |  | Not verified |  |  |  |  |  |  |  |  |  | 19 functioning out of 20 | 1 if faulty |
| Wall Clock | health |  | Boxed |  | Not engraved |  |  |  |  |  |  |  | 4 functioning | They are still in store |
| Diagnostic Equipment Set for MCH | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | health |  | White in color |  |  |  |  |  |  |  |  |  | Functioning 2 received | Its not in use |
| Bed, Adult Patient with Mattress | health |  | White in color with black mattress |  |  |  |  |  |  |  |  |  | Functioning 10 received | 5 in use and 5 not in use |
| Bed, Pediatric Patient, With Mattress | health |  | White in color with blue soft sponge blue mattress |  |  |  |  |  |  |  |  |  | functioning | 5 seen and verified |
| Bedside Locker | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | health |  | White in color |  |  |  |  |  |  |  |  |  | functioning | 1 verified |
| Delivery Bed, Hydraulic Manual | health |  | Model H7 with peach mattress and a drip stand |  |  |  |  |  |  |  |  |  | functioning | Only 2 , seen , verified and functioning |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | health |  | Boxed |  |  |  |  |  |  |  |  |  | functioning | 2 received but still in store |
| Resuscitator Manual, Adult, with all mask sizes | health |  | Boxed |  |  |  |  |  |  |  |  |  | functioning | 2 received but still in store |
| Suction Apparatus, (Electric) | health |  | White, with 2 bags of water and a guage.not Model COO1-A with 4 wheels |  | Not engraved |  |  |  |  |  |  |  | functioning | 1 seen and verified |
| Nebulizer, Ultrasonic | health |  | Boxed |  |  |  |  |  |  |  |  |  | functioning | 1 verified but still in store |
| Oxygen Concentrator, Duo Flow |  |  | Grey,2 handles on top and a cylinder also on top |  |  |  |  |  |  |  |  |  | functioning | All seen and verifies |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | health |  | Normal buckets with rounded tops and silver handles |  |  |  |  |  |  |  |  |  | functioning | 6 seen and functioning |
| Baby Cot |  |  | Silver in color, rectangular mattress with rails |  |  |  |  |  |  |  |  |  | functioning | 2 seen and verified |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | health |  | Boxed |  |  |  |  |  |  |  |  |  | Functioning 1 received | Still in store |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | health |  | Boxed |  |  |  |  |  |  |  |  |  | Good condition | Still in store 3 received |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | health |  | Rubber tune in nature |  |  |  |  |  |  |  |  |  | functioning | 3 verified |
| Fetoscope, Dopplar |  |  | Silver in nature, cylindrical with a round top and base |  |  |  |  |  |  |  |  |  | functioning | 2 verified |
| Bubble CPAP | health |  | Boxed |  |  |  |  |  |  |  |  |  | functioning | Still in store |
| Centrifuge (Electric) | health |  | Boxed |  |  |  |  |  |  |  |  |  | 1 faulty, and 1 working | Still in store |
| Kangaroo Mother Care Chair | health |  | Not verified |  |  |  |  |  |  |  |  |  | Functioning | Still in store |
| Radiant Infant Warmer | health |  | White in color with baby cot |  |  |  |  |  |  |  |  |  | functioning | 1 verified |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Office Chair | health |  | Black in color, swinging in nature with 5 black wheels |  |  |  |  |  |  |  |  |  | functioning | 4 verified and seen |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | health |  | Grey in color |  |  |  |  |  |  |  |  |  | 1 faulty and 1 working | 2 verified |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | health |  | Painted in orange and cream |  |  |  |  |  |  |  |  |  | Good condition | 2 verified |

Sign post                                                                             Delivery bed                                                        Autoclave

stretcher                                                    Kangaroo chair                                                        Centrifuge                                                Hydraulic delivery bed

Sanction machine                                           Radiant infant warmer                                             Fridge and filling cabinet                               Patient bed