ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TORO |
| Name of Local Government | NTOROKO |
| VERIFIER PARTICULARS |  |
| Full name | NABBOSASUMAYAH,NASSEJJE NADIA,ZALWANGO MARIA |
| Contact/ email and Telephone | 0708098456,0754884004,0751977570 |
| Supervisor/ Sub team leader |  |
| Name | DEPAUL MBONIGABA |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …BUTUNGAMA HEALTH CENTRE III

……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | New in charge doesn’t know how many assets were supplied and when |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Contacts the regional referral maintenance team for servicing and repairing who do it for the medical equipments.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, it does. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift support is a big deal for the community.

Challenges -Maternity building is not well built .

Staff quarters have no toilets .

Recommendations.- Request to build the staff quarters toilets.

Construction of a borehole.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…NTOROKO DISTRICT………………… NAME OF HEALTH FACILITY……………BUTUNGAMA HEALTH CENTRE III……………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings(01) | Health |  | IPD and Maternity ward OPD Building toilets, Placenta pit and bath rooms |  |  |  |  |  |  |  |  |  | The building is in a good condition and is clean | In use and very good maintenance |
| Residential Buildings(01) | Health |  | One block with two units every unit contains two bed room and one sitting room |  |  |  |  |  |  |  |  |  | Good condition | In use and well mainatained |

The Butungama Health centre III has not got any assets apart from the buildings constructed by Ugift and the assets they are using they get it from other health centres and other non government organisations.

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …BUTUNGAMA SEEDS SCHOOL…………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

We haven’t done any repairs because its still under construction

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes |
| --- | --- | --- |

We wish to take the records but now  all the are assets are still new.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift support-Sometime back we had few students but after the ugift program pupils are increased

-Education program has increased and students easily approach the school.

Challenges -The school is in the cattle corridor area which leads to cows easily access the school premises.

-Lack of security since the school has no fence.

-We have few governmental pay roll teachers.

Recommendations-We Thank the organization for the good project which helped improve the standard of living to the people of the community

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…NTOROKO DISTRICT……………………………………………………………… Name of SCHOOL…………BUTUNGAMA SEED SCHOOL……………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks (82) | Education |  | Brown in color with steel black stand |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Laboratory stools | Education |  | Brown wooden long black stand in round form |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Office chairs | Education |  | Brown wooden chairs |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Office tables | Education |  | Brown wooden in rectangular form |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG………………………………NTOROKO…………………………………………… Name of SCHOOL…………BUTUNGAMA SEED SCHOOL……………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computer (20) | Education |  | Black in color |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Projector (01) | Education |  | Boxed |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Server (01) | Education |  | Boxed |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |
| Multi purpose printer (01) | Education |  | Boxed |  |  |  |  |  |  |  |  |  | Good condition | Not in use still stored |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG NTOROKO………………………………………………………………………… Name of SCHOOL……BUTUNGAMA SEED SCHOOL…………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non -Residential building | Education |  | Administration Block |  |  |  |  |  |  |  |  |  | They are all still under constuction | Constructors are doing a great job |
|  |  |  | Classroom on three blocks |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Library with the computer laboratory |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Science Laboratory |  |  |  |  |  |  |  |  |  |  |  |
| Residential building (03) | Education |  | Three houses of staff quarters |  |  |  |  |  |  |  |  |  | They are all still under constuction | Constructors are doing a great job |
|  |  |  | Each has two units each unit has two bedrooms one sitting room and a store |  |  |  |  |  |  |  |  |  |  |  |
| Kitchen (03) | Education |  | Each block |  |  |  |  |  |  |  |  |  | They are all still under constuction | Constructors are doing a great job |
|  |  |  | Has two units |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Outing chimney |  |  |  |  |  |  |  |  |  |  |  |
| Toilets | Education |  | Staff toilets |  |  |  |  |  |  |  |  |  | They are all still under constuction | Constructors are doing a great job |
| Pit latrines | Education |  | Boys latrines and girl latrines |  |  |  |  |  |  |  |  |  | They are all still under constuction | Constructors are doing a great job |
|  |  |  | Boys and girl latrines have |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Four units with one for persons with disabilities |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Staff latrines have two units |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Teacher quarter have two units and two bath rooms |  |  |  |  |  |  |  |  |  |  |  |