ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL REGION |
| --- | --- |
| SUB-REGION: | ISLANDS |
| Name of Local Government | BUVUMA |
| VERIFIER PARTICULARS |  |
| Full name | NDGALA PETER |
| Contact/ email and Telephone | 0779221224 |
| Supervisor/ Sub team leader | MR KALYOWA LAWRENCE |
| Name | MR KALYOWA LAWRENCE |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……………HC…III…………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………BUVUMA…………………… NAME OF HEALTH FACILITY……HC…III…………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | HEALTH |  | Measures haemoglobin level |  | Not Engraved |  | 10/06/25 |  | sh. 450,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | HEALTH |  | Examines ears |  | Not Engraved |  | 10/06/25 |  | sh. 120,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.1 |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | HEALTH |  | Stores vaccines/ drugs that need cooling |  | Not Engraved |  | 10/06/25 |  | sh. 8,632,800 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.1 |
| Stethoscope | HEALTH |  | Listens to heart, lungs, and bowel sounds |  | Not Engraved |  | 10/06/25 |  | sh. 46,501 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.4 |
| Stop Watch | HEALTH |  | Times procedures (e.g. pulse, ESR) |  | Not Engraved |  | 10/06/25 |  | sh.39,858 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | HEALTH |  | Heats water or sterilizes |  | Not Engraved |  | 10/06/25 |  | sh. 100,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.1 |
| Weighing Scale with Height Meter, Adult | HEALTH |  | Weighs and measures adult height and weight |  | Not Engraved |  | 10/06/25 |  | sh. 367,080 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Weighing Scale, Infant | HEALTH |  | Weighs and measures babies weight |  | Not Engraved |  | 10/06/25 |  | sh. 250,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Weighing Scale, Toddler | HEALTH |  | Weighs and measures children’s weight |  | Not Engraved |  | 10/06/25 |  | sh. 49,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | Collects infectious waste safely |  | Not Engraved |  | 10/06/25 |  | sh. 33,215 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.3 |
| Wall Clock | HEALTH |  | Keeps time in the facility |  | Not Engraved |  | 10/06/25 |  | sh.33,215 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.4 |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | HEALTH |  | Basic tools for outpatient examination |  | Not Engraved |  | 10/06/25 |  | sh. 357,903 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Glassware Set, Laboratory, Basic | HEALTH |  | Basic lab glassware that holds samples and reagents in the lab |  | Not Engraved |  | 10/06/25 |  | sh. 3,065,118 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | HEALTH |  | Instruments for cleaning and dressing wounds |  | Not Engraved |  | 10/06/25 |  | sh. 330,372 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Instrument Set, Basic ENT | HEALTH |  | Instruments for ear, nose & throat examination |  | Not Engraved |  | 10/06/25 |  | sh. 1,817,115 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | HEALTH |  | Measures oxygen level and pulse rate |  | Not Engraved |  | 10/06/25 |  | sh. 850,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | HEALTH |  | Stores clean instruments safely |  | Not Engraved |  | 10/06/25 |  | sh. 1,269,168 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.1 |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | Helps breathe for newborn/baby in emergency |  | Not Engraved |  | 10/06/25 |  | sh. 200,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.3 |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | Helps breathe for adult in emergency |  | Not Engraved |  | 10/06/25 |  | sh. 200,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.3 |
| Suction Apparatus, (Electric) | HEALTH |  | Removes fluid/secretions from airway |  | Not Engratved |  | 10/06/25 |  | sh. 1,057,770 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.1 |
| Nebulizer, Ultrasonic | HEALTH |  | Delivers medicine as mist for breathing |  | Not Engraved |  | 10/06/25 |  | sh. 669,921 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 1 |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Produces continuous oxygen for patients |  | Not Engraved |  | 10/06/25 |  | sh. 4,220,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 2 |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | HEALTH |  | Holds disinfectant for cleaning instruments |  | Not Engraved |  | 10/06/25 |  | sh. 34,887 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 6 |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | HEALTH |  | Basic tools for ward patient examination |  | Not Engraved |  | 10/06/25 |  | sh. 2,036,634 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 1 |
| Hollow Ware Set, Ward | HEALTH |  | Bowls & containers used on the ward |  | Not Engraved |  | 10/06/25 |  | sh. 298,847 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.1 |
| Instrument Set, Delivery | HEALTH |  | Instruments used during childbirth |  | Not Engraved |  | 10/06/25 |  | sh. 1,592,190 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 3 |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | HEALTH |  | Manual vacuum aspiration for uterine evacuation |  | Not Engraved |  | 10/06/25 |  | sh. 432,748 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 3 |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | HEALTH |  | Clears newborn airway |  | Not Engraved |  | 10/06/25 |  | sh. 13,286 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.3 |
| Fetoscope, Dopplar | HEALTH |  | Listens to foetal heart |  | Not Engraved |  | 10/06/25 |  | sh. 130,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Bubble CPAP | HEALTH |  | Helps babies breathe |  | Not Engraved |  | 10/06/25 |  | sh. 2,914,931 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 2 |
| Centrifuge (Electric) | HEALTH |  | Spins blood samples |  | Not Engraved |  | 10/06/25 |  | sh. 3,800,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 1 |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer | HEALTH |  | An open medical device that uses infrared heat to keep newborn babies warm. |  | Not Engraved |  | 10/06/25 |  | sh. 16,800,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.1 |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | swinging office chairs with wheels |  | Not Engraved |  | 10/06/25 |  | sh. 365,365 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 4 |
| Desk | HEALTH |  | office desk with side drawers |  | Not Engraved |  | 10/06/25 |  | sh. 598,043 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 3 |
| Mide Upper Arm tap | HEALTH |  | specialized, non-elastic measuring band used to quickly screen for malnutrition and assess nutritional status in children and adults |  | Not Engraved |  | 10/06/25 |  | sh. 10,000 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.4 |
| Delivery Set |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | HEALTH |  | an office furniture piece with drawers or shelves used to store paper documents in folders |  | Not Engraved |  | 10/06/25 |  | sh. 780,045 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |