ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL REGION |
| --- | --- |
| SUB-REGION: | ISLANDS |
| Name of Local Government | BUVUMA |
| VERIFIER PARTICULARS |  |
| Full name | NDGALA PETER EMMANUEL |
| Contact/ email and Telephone | 0779221224 |
| Supervisor/ Sub team leader |  |
| Name | MR KALYOWA LAWRENCE |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Lubya H.C III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | The facility has records of all assets provided by Ugift and the supplier was Nairobi Enterprises Limited |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

We don’t have a documented maintenance plan but we write to the DHO for assistance when we have a non-functional equipment. Ministry of Health also sends teams to support in maintenance and repairs.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | They do it monthly on functionality |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Challenges

- Need some training on how to operate some equipments.

- The new building wasn’t given electricity so some machines aren’t functional because of power.

Recommendations

- Provide electricity to use these electoral equipments.

- Provision of a water ambulance that is cheaper for referrals.

- Provide training to the staff on the operation of some equipments.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: BUVUMA                                             NAME OF HEALTH FACILITY  Lubya Health centre III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | HEALTH |  |  |  |  |  | 10/6/25 |  | 130,000 |  |  |  | FUNCTIONAL | Received 3 glucometers |
| Haemoglobin Meter, Digital | HEALTH |  | Measures haemoglobin level |  | Not Engraved |  | 10/06/25 |  | 450,000 |  |  |  | FUNCTIONAL | Received 2 Haemoglobin meters |
| Height Meter | HEALTH |  |  |  | Not Engraved |  | 10/6/25 |  | 290887 |  |  |  | FUNCTIONAL | Received one Height meter |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | HEALTH |  | Examines ears |  | Not Engraved |  | 10/06/25 |  | 120,000 |  |  |  | FUNCTIONAL | Received 1 Otoscope |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | HEALTH |  | Stores vaccines/ drugs that need cooling |  | Not Engraved |  | 10/06/25 |  | sh. 8,632,800 |  |  |  | FUNCTIONAL | Not being used due to low power |
| Stethoscope | HEALTH |  | Listens to heart, lungs, and bowel sounds |  | Not Engraved |  | 10/06/25 |  | 46,501 |  |  |  | FUNCTIONAL | Received 4 stethoscopes |
| Stop Watch | HEALTH |  | Times procedures (e.g. pulse, ESR) |  | Not Engraved |  | 10/06/25 |  | 39,858 |  |  |  | FUNCTIONAL | Received 2 stop watches |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | HEALTH |  | Heats water or sterilizes |  | Not Engraved |  | 10/06/25 |  | 100,000 |  |  |  | FUNCTIONAL | The stove gas is fully utilised |
| Weighing Scale with Height Meter, Adult | HEALTH |  | Weighs and measures adult height and weight |  | Not Engraved |  | 10/06/25 |  | 367,080 |  |  |  | FUNCTIONAL | Received 2 weighing scales with Height Meter. |
| Weighing Scale, Infant | HEALTH |  | Weighs and measures babies weight |  | Not Engraved |  | 10/06/25 |  | 250,000 |  |  |  | FUNCTIONAL | Received 2 weighing scales, infant |
| Weighing Scale, Toddler | HEALTH |  | Weighs and measures children’s weight |  | Not Engraved |  | 10/06/25 |  | 49,000 |  |  |  | FUNCTIONAL | Received 2 weighing scales, Toddlers |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | Collects infectious waste safely |  | Not Engraved |  | 10/06/25 |  | 33,215 |  |  |  | FUNCTIONAL | Received 3 waste bins which aren’t enough |
| Wall Clock | HEALTH |  | Keeps time in the facility |  | Not Engraved |  | 10/06/25 |  | 33,215 |  |  |  | FUNCTIONAL | Received wall clocks all in use |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | HEALTH |  | Basic tools for outpatient examination |  | Not Engraved |  | 10/06/25 |  | 357,903 |  |  |  | FUNCTIONAL | Received 2 Diagnostic equipment set for OPD |
| Glassware Set, Laboratory, Basic | HEALTH |  | Basic lab glassware that holds samples and reagents in the lab |  | Not Engraved |  | 10/06/25 |  | 3,065,118 |  |  |  | FUNCTIONAL | Received 2 Glassware set, Laboratory, Basic |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | HEALTH |  | Instruments for cleaning and dressing wounds |  | Not Engraved |  | 10/06/25 |  | 330,372 |  |  |  | FUNCTIONAL | Received 2 instrument set,Dressing |
| Instrument Set, Basic ENT | HEALTH |  | Instruments for ear, nose & throat examination |  | Not Engraved |  | 10/06/25 |  | 1,817,115 |  |  |  | FUNCTIONAL | Received 2 Instrument Set, Basic ENT |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | HEALTH |  | Measures oxygen level and pulse rate |  | Not Engraved |  | 10/06/25 |  | 850,000 |  |  |  | FUNCTIONAL | Received 2 Pulse Oximeter, Hand held |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | HEALTH |  | Stores clean instruments safely |  | Not Engraved |  | 10/06/25 |  | 1,269,168 |  |  |  | FUNCTIONAL | Received just 1 Cupboard, Instrument |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | Helps breathe for newborn/baby in emergency |  | Not Engraved |  | 10/06/25 |  | 200,000 |  |  |  | FUNCTIONAL | Received 3 Resuscitator Manual, Infant, with all Mask sizes |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | Helps breathe for adult in emergency |  | Not Engraved |  | 10/06/25 |  | 200,000 |  |  |  | FUNCTIONAL | Received 3 Resuscitator Manual, Adult, with all mask sizes |
| Suction Apparatus, (Electric) | HEALTH |  | Removes fluid/secretions from airway |  | Not Engraved |  | 10/06/25 |  | 1,057,770 |  |  |  | FUNCTIONAL | Suction Apparatus, (Electric) |
| Nebulizer, Ultrasonic | HEALTH |  | Delivers medicine as mist for breathing |  | Not Engraved |  | 10/06/25 |  | 669,921 |  |  |  | FUNCTIONAL | Received 1 Nebulizer, Ultrasonic |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Produces continuous oxygen for patients |  | Not Engraved |  | 10/06/25 |  | 4,220,000 |  |  |  | FUNCTIONAL | Received 2 Oxygen Concentrator, Duo Flow |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | HEALTH |  | Holds disinfectant for cleaning instruments |  | Not Engraved |  | 10/06/25 |  | 34,887 |  |  |  | FUNCTIONAL | Received 6 Disinfection Buckets |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | HEALTH |  | Basic tools for ward patient examination |  | Not Engraved |  | 10/06/25 |  | 2,036,634 |  |  |  | FUNCTIONAL | Received 1 Diagnostic Equipment Set for Ward |
| Hollow Ware Set, Ward | HEALTH |  | Bowls & containers used on the ward |  | Not Engraved |  | 10/06/25 |  | 298,847 |  |  |  | FUNCTIONAL |  |
| Instrument Set, Delivery | HEALTH |  | Instruments used during childbirth |  | Not Engraved |  | 10/06/25 |  | 1,592,190 |  |  |  | FUNCTIONAL | Received 3 Instrument Sets, Delivery |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no. 3 |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | HEALTH |  | Manual vacuum aspiration for uterine evacuation |  | Not Engraved |  | 10/06/25 |  | 432,748 |  |  |  | FUNCTIONAL | Received 3 MVA Kit |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | HEALTH |  | Clears newborn airway |  | Not Engraved |  | 10/06/25 |  | 13,286 |  |  |  | FUNCTIONAL | Received 3 Penguin Suckers |
| Fetoscope, Dopplar | HEALTH |  | Listens to foetal heart |  | Not Engraved |  | 10/06/25 |  | sh. 130,000 |  |  |  | FUNCTIONAL | Received 2 Fetoscope, Dopplar |
| Bubble CPAP | HEALTH |  | Helps babies breathe |  | Not Engraved |  | 10/06/25 |  | 2,914,931 |  |  |  | FUNCTIONAL | Received 2 Bubble CPAP |
| Centrifuge (Electric) | HEALTH |  | Spins blood samples |  | Not Engraved |  | 10/06/25 |  | 3,800,000 |  |  |  | FUNCTIONAL | Not fully utilized due to low power supply |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer | HEALTH |  | An open medical device that uses infrared heat to keep newborn babies warm. |  | Not Engraved |  | 10/06/25 |  | 16,800,000 |  |  |  | FUNCTIONAL | Received 1 Radiant Infant Warmer |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | swinging office chairs with wheels |  | Not Engraved |  | 10/06/25 |  | 365,365 |  |  |  | FUNCTIONAL | Received 4 office chairs but one needs repair on the arm rest |
| Desk | HEALTH |  | office desk with side drawers |  | Not Engraved |  | 10/06/25 |  | 598,043 |  |  |  | FUNCTIONAL | Good condition |
| Mide Upper Arm tape | HEALTH |  | specialized, non-elastic measuring band used to quickly screen for malnutrition and assess nutritional status in children and adults |  | Not Engraved |  | 10/06/25 |  | 10,000 |  |  |  | FUNCTIONAL | Received 4 Mide Upper Arm tape |
| Delivery Set |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | HEALTH |  | an office furniture piece with drawers or shelves used to store paper documents in folders |  | Not Engraved |  | 10/06/25 |  | 780,045 |  |  |  | FUNCTIONAL |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | no.2 |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Toilets | Health |  |  |  |  |  |  |  |  |  |  |  | Functional | In use |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff quarters | Health |  |  |  |  |  |  |  |  |  |  |  | Functional | Occupied |