ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL |
| --- | --- |
| SUB-REGION: | BUGANDA / ISLANDS |
| Name of Local Government | BUVUMA |
| VERIFIER PARTICULARS |  |
| Full name | NDAGALA PETER EMMANUEL |
| Contact/ email and Telephone | 0704391661 |
| Supervisor/ Sub team leader |  |
| Name | Mr. Kalyowa Lawrence |
| Contact | 0704882826 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Lukale Health Centre III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | The records book has all equipments received at the facility combined and not separated by the provider. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

As a facility there is no maintenance mechanism available incase of a breakdown of an equipment we just keep it aside.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Observation of the inventory book, indicates last records of the assets provided was done on 16th July 2026 |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Support

- Improved service delivery to the community after upgrading the health centre from a health centre II to health centre III with a maternity ward where mothers now don’t need to cross water to go give birth.

- We got privacy for our meetings with the expansion of the health centre rooms.

- UgiFT support gave women privacy giving birth now with the maternity room.

challenges

- Some equipments are not in use because of the poor solar batteries that can run all of them at the same time.

- Outbreak of fire burnt some equipments like the patient screens, wheel chair etc

Recommendation

- Provide reliable solar panel systems that can run the equipments at the same time.

- Need for replacement of the equipments that were burnt like wheel chair, patient mattress etc

- Train health workers on how to operate the equipments.

- More staff quarters to accommodate health workers and avoid walking longer distances.

- Need for more patient adult beds.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health Centre checklist

NAME OF LG BUVUMA  LG                                                      NAME OF HEALTH FACILITY Lukale Health Centre III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | Health |  |  |  | Not engraved |  | 2/6/23 |  | 537,099 |  |  |  | Functional | The bowl kick is still in good condition |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health |  | Saikang medical cupboard steel lockable |  | Not engraved |  | 2/6/23 |  | 1,131,736 |  |  |  | Functional | Some cupboard steel are abit rusty at the bottom |
| Drip Stand | Health |  |  |  | Not engraved |  | 2/6/23 |  | 198,054 |  |  |  | Functional | They provided two but using one and the other kept |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | Health |  |  |  | Not engraved |  | 2/6/23 |  | 924,251 |  |  |  | Functional | They provided 2 Examination couches but all in good condition. |
| Examination light,LED | Health |  |  |  | Not engraved |  | 2/6/23 |  | 753,799 |  |  |  | Functional | The facility received two Examination Light, LED and still new |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | Health |  |  |  | Not engraved |  | 2/6/23 |  | 1,505,440 |  |  |  |  | Didn’t observe it |
| Height Meter | Health |  |  |  | Not engraved |  | 20/6/23 |  | 225,091 |  |  |  | Functional | They received two and are all still in good condition |
| Instrument Trolley | Health |  |  |  | Not engraved |  | 2/6/23 |  | 1,556,137 |  |  |  | Functional | It’s still durable |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Health |  |  |  | Not engraved |  | 14/6/23 |  | 518,713 |  |  |  | Functional | Receieved five patient screens |
| Patient Trolley | Health |  |  |  | Not engraved |  | 14/6/23 |  | 5,896,671 |  |  |  | Functional | Received one patient trolley |
| Refrigerator, Basic | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  |  |  |  |  | Function | Not used due to low power |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  |  |  | Not engraved |  | 14/6/23 |  | 5,376,020 |  |  |  | Functional | Fully being used for carrying patients |
| Stove, Gas | Health |  | Totai Brand stove and gas |  | Not engraved | 6/6/23 | 20/6/23 |  | 314,527 |  |  |  | Functional | Stove has a weak and rusty plate |
| Weighing Scale with Height Meter, Adult | Health |  | Kinlee Brand |  | Not engraved | 6/6/23 | 20/6/23 |  | 482,337 |  |  |  | Functional |  |
| Weighing Scale, Infant | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 230,450 |  |  |  | Functional | Still new |
| Weighing Scale, Toddler | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 482,337 |  |  |  | Functional | Its in use and received one |
| Wheel Chair | Health |  |  |  | Not engraved |  | 2/6/23 |  | 613,112 |  |  |  | Functional | One-wheel chair was burnt during a fire breakout |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  |  |  | Not engraved |  | 2/6/23 |  | 141,467 |  |  |  | Functional | Almost every corner of the wards has a waste bin |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 560,884 |  |  |  | Functional | The equipments are clean |
| Diagnostic Equipment Set for OPD | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 433,673 |  |  |  | Functional | The equipments are still new |
| Glassware Set, Laboratory, Basic | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 318,027 |  |  |  | Functional | Facility received 2 glassware set |
| Hollow Ware Set, Treatment | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 2,255,101 |  |  |  | Functional | The instruments are still new |
| Instrument Set, Dressing | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 474,150 |  |  |  | Functional | The instruments are still new |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 722,789 |  |  |  | Functional | Still new |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | Health |  | Mespa brand |  | Not engraved | 6/6/23 | 20/6/23 |  | 1,171,015 |  |  |  | Operational | One bed burnt in fire of the four that were provided. |
| Bedside Locker | Health |  |  |  | Not engraved |  | 14/6/23 |  | 424,401 |  |  |  | Functional | The facility received 10 bedside lockers |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  |  |  | Not engraved |  | 14/6/23 |  | 799,765 |  |  |  | Functional | Not being used |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 975,834 |  |  |  | Functional | Not being used |
| Resuscitator Manual, Adult, with all mask sizes | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 797,045 |  |  |  | Functional | Not being used |
| Suction Apparatus, (Electric) | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 366,943 |  |  |  | Non functional | Limited power access for the sunction apparatus foot. |
| Nebulizer, Ultrasonic | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 366,943 |  |  |  | Functional | Its in good condition |
| Oxygen Concentrator, Duo Flow | Health |  | New Hospivac Brand |  | Not engraved | 6/6/23 | 20/6/23 |  | 2,862,313 |  |  |  | Functional | It has never been used |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 | 940,900 |  |  |  |  | Functional | Very good condition |
| Diagnostic Equipment Set for Ward | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 | 720,000 |  |  |  |  |  |  |
| Hollow Ware Set, Ward | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 | 1,553,000 |  |  |  |  | Functional | The facility received 2 Hollow ware set,ward |
| Instrument Set, Delivery | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 650,000 |  |  |  | Functional | Hygienic and durable |
| Instrument Set, Stitch Removing | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 546,549 |  |  |  | Functional | 5 Instrument Sets, Stitch Removing all in good condition |
| MVA Kit | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 570,000 |  |  |  | Functional | Not observed |
| Stool, Laboratory | Health |  |  |  | Not engraved |  | 14/6/23 |  | 1,497,464 |  |  |  | Functional | For now not in use |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 2,650,000 |  |  |  | Functional | The chair is in good condition |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 5,650,654 |  |  |  | Operational | The bed is still stable |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 1,387,754 |  |  |  | Functional | The equipment set is still new |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 606,881 |  |  |  | Functional | Some chairs need repairs on the arm rests. |
| Desk | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Functional | The desks are very strong and being used. |
| Filing Cabinet | Health |  |  |  | Not engraved |  | 14/6/23 |  | 668,133 |  |  |  | Functional | Received 6 filling cabinets all in good condition. |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Placenta Pit | Health |  |  |  |  |  |  |  |  |  |  |  | Functional | Its in use and helps the facility in disposing off waste materials |
| Toilets | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | The toilets haven’t been commissioned yet and water connection were not completed. |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff quarters | Health |  | 4 units staff houses |  |  |  |  |  | 581,175,900 |  |  |  | Functional | The |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |