ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL |
| --- | --- |
| SUB-REGION: | BUGANDA / ISLANDS |
| Name of Local Government | BUVUMA |
| VERIFIER PARTICULARS |  |
| Full name | NDAGALA PETER EMMANUEL |
| Contact/ email and Telephone | 0704391661 |
| Supervisor/ Sub team leader |  |
| Name | Mr. Kalyowa Lawrence |
| Contact | 0704882826 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Nkata Health Centre III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | The facility has a delivery note copy. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

As a facility with we’ve never repaired or replaced any equipment because all are functional but incase it happens we write to the DHO and records officer at the district.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | When taking inventory, its easy to note what’s functional or non-functional but for now we’ve never experienced a breakdown of assets, |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Issues

Some equipments are not put to use due to low solar batteries that can’t support the power usage at the same time.

Support

- Improved service delivery to the community after upgrading the health centre from a health centre II to health centre III with a maternity ward where mothers now don’t need to cross water to go give birth.

- We got privacy for our meetings with the expansion of the health centre rooms.

- Women have privacy giving birth now with the maternity room.

challenges

- Some equipments are not in use because of the poor solar batteries that can run all of them at the same time.

- Some equipments we don’t know how to use them.

- Patient beds provided aren’t enough for the over whelming number of in-patients.

Recommendation

- Provide reliable solar panel systems that can run the equipments at the same time.

- Train health workers on how to operate the equipments.

- Provision of more patient beds to support the inpatients department.

- Think of a water ambulance to ease transportation in case of urgent referrals for the facility.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health Centre checklist

NAME OF LG BUVUMA  LG                                                      NAME OF HEALTH FACILITY Nkata Health Centre III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | Health |  |  |  | Not engraved |  | 2/6/23 |  | 537,099 |  |  |  | Functional | The bowl kick is still in good condition |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health |  | Saikang medical cupboard steel lockable |  | Not engraved |  | 2/6/23 |  | 1,131,736 |  |  |  | Functional | Some cupboard steel are abit rusty at the bottom |
| Drip Stand | Health |  |  |  | Not engraved |  | 2/6/23 |  | 198,054 |  |  |  | Functional | They provided two but using one and the other kept |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | Health |  |  |  | Not engraved |  | 2/6/23 |  | 924,251 |  |  |  | Functional | They provided 2 Examination couches but all in good condition. |
| Examination light,LED | Health |  |  |  | Not engraved |  | 2/6/23 |  | 753,799 |  |  |  | Functional | The facility received two Examination Light, LED and still new |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | Health |  |  |  | Not engraved |  | 2/6/23 |  | 1,505,440 |  |  |  |  | Didn’t observe it |
| Height Meter | Health |  |  |  | Not engraved |  | 20/6/23 |  | 225,091 |  |  |  | Functional | They received two and are all still in good condition |
| Instrument Trolley | Health |  |  |  | Not engraved |  | 2/6/23 |  | 1,556,137 |  |  |  | Functional | It’s still durable |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Health |  |  |  | Not engraved |  | 14/6/23 |  | 518,713 |  |  |  | Functional | Receieved five patient screens |
| Patient Trolley | Health |  |  |  | Not engraved |  | 14/6/23 |  | 5,896,671 |  |  |  | Functional | Received one patient trolley |
| Refrigerator, Basic | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  |  |  |  |  | Function | Not used due to low power |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  |  |  | Not engraved |  | 14/6/23 |  | 5,376,020 |  |  |  | Functional | Fully being used for carrying patients |
| Stove, Gas | Health |  | Totai Brand stove and gas |  | Not engraved | 6/6/23 | 20/6/23 |  | 314,527 |  |  |  | Functional | Stove has a weak and rusty plate |
| Weighing Scale with Height Meter, Adult | Health |  | Kinlee Brand |  | Not engraved | 6/6/23 | 20/6/23 |  | 482,337 |  |  |  | Functional |  |
| Weighing Scale, Infant | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 230,450 |  |  |  | Functional | Still new |
| Weighing Scale, Toddler | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 482,337 |  |  |  | Functional | Its in use and received one |
| Wheel Chair | Health |  |  |  | Not engraved |  | 2/6/23 |  | 613,112 |  |  |  | Functional | One-wheel chair was burnt during a fire breakout |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  |  |  | Not engraved |  | 2/6/23 |  | 141,467 |  |  |  | Functional | Almost every corner of the wards has a waste bin |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 560,884 |  |  |  | Functional | The equipments are clean |
| Diagnostic Equipment Set for OPD | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 433,673 |  |  |  | Functional | The equipments are still new |
| Glassware Set, Laboratory, Basic | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 318,027 |  |  |  | Functional | Facility received 2 glassware set |
| Hollow Ware Set, Treatment | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 2,255,101 |  |  |  | Functional | The instruments are still new |
| Instrument Set, Dressing | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 474,150 |  |  |  | Functional | The instruments are still new |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 722,789 |  |  |  | Functional | Still new |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | Health |  | Mespa brand |  | Not engraved | 6/6/23 | 20/6/23 |  | 1,171,015 |  |  |  | Operational | One bed burnt in fire of the four that were provided. |
| Bedside Locker | Health |  |  |  | Not engraved |  | 14/6/23 |  | 424,401 |  |  |  | Functional | The facility received 10 bedside lockers |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  |  |  | Not engraved |  | 14/6/23 |  | 799,765 |  |  |  | Functional | Not being used |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 975,834 |  |  |  | Functional | Not being used |
| Resuscitator Manual, Adult, with all mask sizes | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 797,045 |  |  |  | Functional | Not being used |
| Suction Apparatus, (Electric) | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 366,943 |  |  |  | Non functional | Limited power access for the sunction apparatus foot. |
| Nebulizer, Ultrasonic | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 366,943 |  |  |  | Functional | Its in good condition |
| Oxygen Concentrator, Duo Flow | Health |  | New Hospivac Brand |  | Not engraved | 6/6/23 | 20/6/23 |  | 2,862,313 |  |  |  | Functional | It has never been used |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 | 940,900 |  |  |  |  | Functional | Very good condition |
| Diagnostic Equipment Set for Ward | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 | 720,000 |  |  |  |  |  |  |
| Hollow Ware Set, Ward | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 | 1,553,000 |  |  |  |  | Functional | The facility received 2 Hollow ware set,ward |
| Instrument Set, Delivery | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 650,000 |  |  |  | Functional | Hygienic and durable |
| Instrument Set, Stitch Removing | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 546,549 |  |  |  | Functional | 5 Instrument Sets, Stitch Removing all in good condition |
| MVA Kit | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 570,000 |  |  |  | Functional | Not observed |
| Stool, Laboratory | Health |  |  |  | Not engraved |  | 14/6/23 |  | 1,497,464 |  |  |  | Functional | For now not in use |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 2,650,000 |  |  |  | Functional | The chair is in good condition |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 5,650,654 |  |  |  | Operational | The bed is still stable |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 1,387,754 |  |  |  | Functional | The equipment set is still new |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  |  |  | Not engraved | 6/6/23 | 20/6/23 |  | 606,881 |  |  |  | Functional | Some chairs need repairs on the arm rests. |
| Desk | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Functional | The desks are very strong and being used. |
| Filing Cabinet | Health |  |  |  | Not engraved |  | 14/6/23 |  | 668,133 |  |  |  | Functional | Received 6 filling cabinets all in good condition. |
| MUAC TAPE | Health |  |  |  |  |  | 14/6/23 |  | 9,785 |  |  |  | Functional | Not observed |
| Stool Surgeon | Health |  |  |  | Not engraved |  | 14/6/23 |  | 1,526,574 |  |  |  | Functional | Not observed |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Toilets | Health |  |  |  |  |  |  |  |  |  |  |  | Functional | The toilet are being used. |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff quarters | Health |  | 4 units staff houses |  |  |  |  |  |  |  |  |  | Functional |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |